## Price Comparison
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | Comp. Date : 08/04/2024 | Comp. Date : 08/04/2024 | Comp. Date : 08/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION (RV232414136) | [5 empty] | Vendor Name : Arrow Electricals (RV232411833) | [5 empty] | Vendor Name : ANJLE MEP PROJECTS PVT LTD (RV232413533)
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ #: R0775 | RFQ #: R0775 | RFQ #: R0775 | Contact Name : Mohd Ashraf | [5 empty] | Contact Name : | [5 empty] | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ Date : 05/04/2024 12:27:23 | RFQ Date : 05/04/2024 12:27:23 | RFQ Date : 05/04/2024 12:27:23 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | BCD Date : 06/04/2024 16:04:00 | BCD Date : 06/04/2024 16:04:00 | BCD Date : 06/04/2024 16:04:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | Email : projectspioneer@gmail.com | [5 empty] | Email : khakesantosh10@gmail.com | [5 empty] | Email : anjlemepprojects@gmail.com
Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | FAS | NOS | 1.00 |  | 104000.00 | PIONEER PROJECT SOLUTION | 104000.00 | 0.00 | 18.00 |  | 104,000.00 | 104,000.00 | 166900.00 | 0.00 | 18.00 |  | 166,900.00 | 166,900.00 | 37000.00 | 0.00 | 18.00 |  | 262,310.00 | 262,310.00
Item Total | [8 empty] | .00 | 18,720.00 |  |  | 104,000.00 |  | .00 | 30,042.00 |  |  | 166,900.00 |  | .00 | 47,215.80 |  |  | 262,310.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 18,720.00 | [5 empty] | 30,042.00 | [5 empty] | 47,215.80
Net Landed Cost | [11 empty] | INR | 122,720.00 |  |  |  |  | INR | 196,942.00 |  |  |  |  | INR | 309,525.80
Vendor Status | [7 empty] | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232414136 | PIONEER PROJECT SOLUTION | [5 empty] | Participate
2 | RV232413533 | ANJLE MEP PROJECTS PVT LTD | [5 empty] | Participate
3 | RV232412099 | Electech Enterprises | [5 empty] | Not Participate
4 | RV232411833 | Arrow Electricals | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | Comp. Date : 08/04/2024 | Comp. Date : 08/04/2024 | Comp. Date : 08/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : Arrow Electricals | Vendor Name : Arrow Electricals | Vendor Name : ANJLE MEP PROJECTS PVT LTD | Vendor Name : ANJLE MEP PROJECTS PVT LTD
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ #: R0775 | RFQ #: R0775 | RFQ #: R0775 | Contact Name : Mohd Ashraf | Contact Name : Mohd Ashraf | Contact Name : | Contact Name : | Contact Name : Priyanka/Premkant Rajpoot | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ Date : 05/04/2024 12:27:23 | RFQ Date : 05/04/2024 12:27:23 | RFQ Date : 05/04/2024 12:27:23 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | BCD Date : 06/04/2024 16:04:00 | BCD Date : 06/04/2024 16:04:00 | BCD Date : 06/04/2024 16:04:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : khakesantosh10@gmail.com | Email : khakesantosh10@gmail.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com
Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | FAS | FAS | NOS | 1.000 |  |  | 104,000.00 |  | 166,900.00 |  | 262,310.00
1 | a | Supply, installation, testing commissioning of Conventional Type optical Smoke Detector with inbuilt scattered light measurement, rate of rise and fixed temperature based technology and LED indication should be on the centre of the detector with mounting base complete as required. | Supply, installation, testing commissioning of Conventional Type optical Smoke Detector with inbuilt scattered light measurement, rate of rise and fixed temperature based technology and LED indication should be on the centre of the detector with mounting base complete as required. | No. | 5.000 | 26,250.00 | 6200.00 | 31,000.00 | 6200.00 | 31,000.00 | 5250.00 | 26,250.00
2 | c | Supply, installation, testing commissioning of conventional Manual Call Point (break glass type)complete with push button,enclosed in box with provision of conduit cable coupling.The unit to be painted fire red outside ,white inside and written in case of fire break glass or as required. | Supply, installation, testing commissioning of conventional Manual Call Point (break glass type)complete with push button,enclosed in box with provision of conduit cable coupling.The unit to be painted fire red outside ,white inside and written in case of fire break glass or as required. | No. | 1.000 | 6,200.00 | 6200.00 | 6,200.00 | 8250.00 | 8,250.00 | 7650.00 | 7,650.00
3 | d | Supply, installation, testing commissioning of Conventional Hooter cum Strobe complete as required.110 cd light 85 dB adjustable at different locations complete with all fixing accessories etc under false ceiling ,roof,wall etc complete as required. | Supply, installation, testing commissioning of Conventional Hooter cum Strobe complete as required.110 cd light 85 dB adjustable at different locations complete with all fixing accessories etc under false ceiling ,roof,wall etc complete as required. | No. | 1.000 | 6,400.00 | 6400.00 | 6,400.00 | 9250.00 | 9,250.00 | 8260.00 | 8,260.00
4 | e | Supply, installation, testing commissioning of 2 zone based conventional Fire alarm control panel with standard set complete as required. | Supply, installation, testing commissioning of 2 zone based conventional Fire alarm control panel with standard set complete as required. | Set | 1.000 | 45,000.00 | 45000.00 | 45,000.00 | 110000.00 | 110,000.00 | 210000.00 | 210,000.00
5 | f | Supplying and erecting PVC armoured cable 2 core 1.5 sq. mm FRLS copper conductor complete erected on wall celling as per specification | Supplying and erecting PVC armoured cable 2 core 1.5 sq. mm FRLS copper conductor complete erected on wall celling as per specification | Mtr. | 70.000 | 8,400.00 | 220.00 | 15,400.00 | 120.00 | 8,400.00 | 145.00 | 10,150.00

## Technical Score Detail
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | Comp. Date : 08/04/2024 | Comp. Date : 08/04/2024 | Comp. Date : 08/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION |  | Vendor Name : Arrow Electricals |  | Vendor Name : ANJLE MEP PROJECTS PVT LTD
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ #: R0775 | RFQ #: R0775 | RFQ #: R0775 | Contact Name : Mohd Ashraf |  | Contact Name : |  | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ Date : 05/04/2024 12:27:23 | RFQ Date : 05/04/2024 12:27:23 | RFQ Date : 05/04/2024 12:27:23 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | BCD Date : 06/04/2024 16:04:00 | BCD Date : 06/04/2024 16:04:00 | BCD Date : 06/04/2024 16:04:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT | RFQ No: R0775 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | PR Number : TFSPL-2324-00458 | Email : projectspioneer@gmail.com |  | Email : khakesantosh10@gmail.com |  | Email : anjlemepprojects@gmail.com
Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Package / RFQ Name : TFAS / RFQ / TFSPL-2324-00458 | Round # : 2 (RFQ) |  | Round # : 2 (RFQ) |  | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | FAS |  | NOS | 1.000 | 0.00 | 0.00
2 | a | Supply, installation, testing commissioning of Conventional Type optical Smoke Detector with inbuilt scattered light measurement, rate of rise and fixed temperature based technology and LED indication should be on the centre of the detector with mounting base complete as required. |  | No. | 5.000 | 0.00 | 0.00
3 | c | Supply, installation, testing commissioning of conventional Manual Call Point (break glass type)complete with push button,enclosed in box with provision of conduit cable coupling.The unit to be painted fire red outside ,white inside and written in case of fire break glass or as required. |  | No. | 1.000 | 0.00 | 0.00
4 | d | Supply, installation, testing commissioning of Conventional Hooter cum Strobe complete as required.110 cd light 85 dB adjustable at different locations complete with all fixing accessories etc under false ceiling ,roof,wall etc complete as required. |  | No. | 1.000 | 0.00 | 0.00
5 | e | Supply, installation, testing commissioning of 2 zone based conventional Fire alarm control panel with standard set complete as required. |  | Set | 1.000 | 0.00 | 0.00
6 | f | Supplying and erecting PVC armoured cable 2 core 1.5 sq. mm FRLS copper conductor complete erected on wall celling as per specification |  | Mtr. | 70.000 | 0.00 | 0.00