## Price Comparison
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : Arrow Electricals (RV232411833) | [5 empty] | Vendor Name : Electech Enterprises (RV232412099) | [5 empty] | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd (RV232413816)
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ #: R0787 | RFQ #: R0787 | RFQ #: R0787 | Contact Name : | [5 empty] | Contact Name : | [5 empty] | Contact Name : Gangadhar Sharma
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ Date : 08/04/2024 12:12:19 | RFQ Date : 08/04/2024 12:12:19 | RFQ Date : 08/04/2024 12:12:19 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | BCD Date : 12/04/2024 17:22:00 | BCD Date : 12/04/2024 17:22:00 | BCD Date : 12/04/2024 17:22:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | Email : khakesantosh10@gmail.com | [5 empty] | Email : alam@electechenterprises.net | [5 empty] | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Electrical | NOS | 1.00 |  | 1449485.00 | Electech Enterprises | 1600801.00 | 0.00 | 18.00 |  | 1,600,801.00 | 1,600,801.00 | 1682145.00 | 0.00 | 18.00 |  | 1,449,485.00 | 1,449,485.00 | 1718645.00 | 0.00 | 18.00 |  | 1,718,645.00 | 1,718,645.00
Item Total | [8 empty] | .00 | 288,144.18 |  |  | 1,600,801.00 |  | .00 | 260,907.30 |  |  | 1,449,485.00 |  | .00 | 309,356.10 |  |  | 1,718,645.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 288,144.18 | [5 empty] | 260,907.30 | [5 empty] | 309,356.10
Net Landed Cost | [11 empty] | INR | 1,888,945.18 |  |  |  |  | INR | 1,710,392.30 |  |  |  |  | INR | 2,028,001.10
Vendor Status | [7 empty] | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421261 | Rudra Ineriors | [5 empty] | Participate
2 | RV232412099 | Electech Enterprises | [5 empty] | Participate
3 | RV232411833 | Arrow Electricals | [5 empty] | Participate
4 | RV242522470 | SM Infra Services llp | [5 empty] | Not Participate
5 | RV232413816 | Pikture Perfect Design Studio Pvt. Ltd | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : Arrow Electricals | Vendor Name : Arrow Electricals | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ #: R0787 | RFQ #: R0787 | RFQ #: R0787 | Contact Name : | Contact Name : | Contact Name : | Contact Name : | Contact Name : Gangadhar Sharma | Contact Name : Gangadhar Sharma
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ Date : 08/04/2024 12:12:19 | RFQ Date : 08/04/2024 12:12:19 | RFQ Date : 08/04/2024 12:12:19 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | BCD Date : 12/04/2024 17:22:00 | BCD Date : 12/04/2024 17:22:00 | BCD Date : 12/04/2024 17:22:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | Email : khakesantosh10@gmail.com | Email : khakesantosh10@gmail.com | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical | Electrical | NOS | 1.000 |  |  | 1,600,801.00 |  | 1,449,485.00 |  | 1,718,645.00
1 | A | INCOMER ISOLATOR MCCB PANEL | INCOMER ISOLATOR MCCB PANEL
2 | A.1 | Supply, Installation, Testing Commissioning of Incomer Isolator MCCC Panel complete with Enclosure (If required as per site condition Airport TDM). Make Electrical Panel DB s Creakers (MCC, RCBO, ELCB MCBC) Legrand, ACC, Schneider, Siemens or equivalent. | Supply, Installation, Testing Commissioning of Incomer Isolator MCCC Panel complete with Enclosure (If required as per site condition Airport TDM). Make Electrical Panel DB s Creakers (MCC, RCBO, ELCB MCBC) Legrand, ACC, Schneider, Siemens or equivalent.
3 | A1.1 | 250A ISOLATOR MCCB PANEL | 250A ISOLATOR MCCB PANEL | Nos. | 1.000 | 12,000.00 | 48500.00 | 48,500.00 | 12000.00 | 12,000.00 | 48000.00 | 48,000.00
4 | B | METER METER PANEL | METER METER PANEL
5 | B.1 | Supply, Installation, Testing Commissioning of kWH MFM Energy Meter Panel complete with Enclosure (If required as per site condition Airport TDM). Make Schneider, Secure, L T or equivalent with Airport approval. | Supply, Installation, Testing Commissioning of kWH MFM Energy Meter Panel complete with Enclosure (If required as per site condition Airport TDM). Make Schneider, Secure, L T or equivalent with Airport approval.
6 | B.1.1 | 250A 5A ENERGY METER (CT TYPE) | 250A 5A ENERGY METER (CT TYPE) | Nos. | 1.000 | .00 | 22500.00 | 22,500.00 | 0.00 | .00 | 36500.00 | 36,500.00
7 | C | LV CABLING | LV CABLING
8 | C.1 | Supply, Installation, Testing Commissioning of Fire Rated LS LSZH PVC insulated PVC sheathed, Copper conductor, Steel Tape Wire Armoured, 1100V grade cable, Number of Cable Core as per SLD Load Calculation Sheet (Main Cable) Unarmoured Single Core Wire (ECC), complete with Termination of the same with Single Compression Crass Glands, Solderless Tinned Copper Lugs, Gland earthing, etc. The cable shall be laid Underground on Cable Tray through Cable Trunking in Pipe on Wall Trench as required. Make Electrical Wires Cables Polycab, KEI, RR, Havells, Gemco or equivalent. For cables laid on Cable Tray in Pipe on Wall Trench - the rate shall include necessary supporting clamping arrangements. | Supply, Installation, Testing Commissioning of Fire Rated LS LSZH PVC insulated PVC sheathed, Copper conductor, Steel Tape Wire Armoured, 1100V grade cable, Number of Cable Core as per SLD Load Calculation Sheet (Main Cable) Unarmoured Single Core Wire (ECC), complete with Termination of the same with Single Compression Crass Glands, Solderless Tinned Copper Lugs, Gland earthing, etc. The cable shall be laid Underground on Cable Tray through Cable Trunking in Pipe on Wall Trench as required. Make Electrical Wires Cables Polycab, KEI, RR, Havells, Gemco or equivalent. For cables laid on Cable Tray in Pipe on Wall Trench - the rate shall include necessary supporting clamping arrangements.
9 | C.1.1 | 4C x 95 MM2 CABLE | 4C x 95 MM2 CABLE | Mtr. | 18.000 | 72,000.00 | 4410.00 | 79,380.00 | 4000.00 | 72,000.00 | 4200.00 | 75,600.00
10 | C.1.2 | 4C x 35 MM2 CABLE | 4C x 35 MM2 CABLE | Mtr. | 21.000 | 39,900.00 | 2285.00 | 47,985.00 | 1900.00 | 39,900.00 | 2000.00 | 42,000.00
11 | C.1.3 | 4C x 16 MM2 CABLE | 4C x 16 MM2 CABLE | Mtr. | 15.000 | 14,700.00 | 980.00 | 14,700.00 | 1100.00 | 16,500.00 | 1200.00 | 18,000.00
12 | C.1.4 | 4C x 6 MM2 CABLE | 4C x 6 MM2 CABLE | Mtr. | 15.000 | 7,245.00 | 483.00 | 7,245.00 | 640.00 | 9,600.00 | 640.00 | 9,600.00
13 | C.1.5 | 4C x 4 MM2 CABLE | 4C x 4 MM2 CABLE | Mtr. | 15.000 | 5,580.00 | 372.00 | 5,580.00 | 550.00 | 8,250.00 | 550.00 | 8,250.00
14 | C.1.6 | 1C x 50 MM2 CABLE | 1C x 50 MM2 CABLE | Mtr. | 18.000 | 9,756.00 | 542.00 | 9,756.00 | 1080.00 | 19,440.00 | 1080.00 | 19,440.00
15 | C.1.7 | 1C x 16 MM2 CABLE | 1C x 16 MM2 CABLE | Mtr. | 31.000 | 8,990.00 | 290.00 | 8,990.00 | 300.00 | 9,300.00 | 300.00 | 9,300.00
16 | C.1.8 | 1C x 6 MM2 CABLE | 1C x 6 MM2 CABLE | Mtr. | 15.000 | 1,425.00 | 95.00 | 1,425.00 | 110.00 | 1,650.00 | 110.00 | 1,650.00
17 | C.1.9 | 1C x 4 MM2 CABLE | 1C x 4 MM2 CABLE | Mtr. | 15.000 | 825.00 | 55.00 | 825.00 | 60.00 | 900.00 | 60.00 | 900.00
18 | D | DISTRICUTION BOARDS | DISTRICUTION BOARDS
19 | D.1 | Supply, Installation, Testing Commissioning of Surface Flush mounting 10kA 25kA (As per Panel requirement) Distribution boards. The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate knock out at the top and bottom. The DB shall have hinged lockable door. The busbar shall be tinned copper, for phases mounted on suitable type Insulator, Independent neutral busbar including interconnecting wiring earth bus on insulation mount. Make Electrical Panel DB s Creakers (MCC, RCBO, ELCB MCCB) Legrand, ACC, Schneider, Siemens or equivalent. All DB s must named as per the SLD Load Calculation Sheet. Laminated SLD Load Calculation Sheet shall be placed near to DB Panel Locations. The RCCB RCBO shall Ce Hpi Si series MCB s shall Ce C B Curve (As per requirement). | Supply, Installation, Testing Commissioning of Surface Flush mounting 10kA 25kA (As per Panel requirement) Distribution boards. The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate knock out at the top and bottom. The DB shall have hinged lockable door. The busbar shall be tinned copper, for phases mounted on suitable type Insulator, Independent neutral busbar including interconnecting wiring earth bus on insulation mount. Make Electrical Panel DB s Creakers (MCC, RCBO, ELCB MCCB) Legrand, ACC, Schneider, Siemens or equivalent. All DB s must named as per the SLD Load Calculation Sheet. Laminated SLD Load Calculation Sheet shall be placed near to DB Panel Locations. The RCCB RCBO shall Ce Hpi Si series MCB s shall Ce C B Curve (As per requirement).
20 |  | SMDB | SMDB
21 | D.1.1 | 10 Way TPN Panel Board with 250A TP MCCB incomer,and outgoings as per SLD Load Calculation Sheet. | 10 Way TPN Panel Board with 250A TP MCCB incomer,and outgoings as per SLD Load Calculation Sheet. | Nos. | 1.000 | 261,500.00 | 261500.00 | 261,500.00 | 350000.00 | 350,000.00 | 375000.00 | 375,000.00
22 |  | LPDB | LPDB
23 | D.1.2 | 16 Way TPN Panel Board with 125A 30mA 4P RCBO incomer,and outgoings as per SLD Load Calculation Sheet. | 16 Way TPN Panel Board with 125A 30mA 4P RCBO incomer,and outgoings as per SLD Load Calculation Sheet. | Nos. | 1.000 | 44,370.00 | 44370.00 | 44,370.00 | 184000.00 | 184,000.00 | 184000.00 | 184,000.00
24 |  | UPS DB | UPS DB
25 | D.1.3 | 4 Way SPN Panel Board with 20A 30 mA 2P RCBO incomer and outgoings as per SLD Load Calculation Sheet. | 4 Way SPN Panel Board with 20A 30 mA 2P RCBO incomer and outgoings as per SLD Load Calculation Sheet. | Nos. | 1.000 | 11,000.00 | 11000.00 | 11,000.00 | 12100.00 | 12,100.00 | 12100.00 | 12,100.00
26 | E | LIGHT FIXTURES POINT WIRING | LIGHT FIXTURES POINT WIRING
27 | E.1 | Supply, Installation, Testing Commissioning of Light Fixture Point wiring (Light Fixtures to be as approved by Architect Design BOQ) with Lamps, Callasts Drivers Starters, Switches Lighting Control Switch Board with Fire Rated LS LSZH PVC insulated FlexiBle Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Cack boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Light Fixtures Philips, Wipro, Havells or equivalent. Make AKG, CEC (ISI marker) or equivalent. Make GI Conduits Techno Flex India, K. M. Cables Conduits or equivalent with Airport approval. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. | Supply, Installation, Testing Commissioning of Light Fixture Point wiring (Light Fixtures to be as approved by Architect Design BOQ) with Lamps, Callasts Drivers Starters, Switches Lighting Control Switch Board with Fire Rated LS LSZH PVC insulated FlexiBle Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Cack boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Light Fixtures Philips, Wipro, Havells or equivalent. Make AKG, CEC (ISI marker) or equivalent. Make GI Conduits Techno Flex India, K. M. Cables Conduits or equivalent with Airport approval. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension.
28 | E.1.1 | PENDANT LIGHT (Point Wiring only) | PENDANT LIGHT (Point Wiring only) | Nos. | 57.000 | 137,370.00 | 2410.00 | 137,370.00 | 2500.00 | 142,500.00 | 2700.00 | 153,900.00
29 | E.1.2 | CEILING SPOT LIGHT (Point Wiring only) | CEILING SPOT LIGHT (Point Wiring only) | Nos. | 53.000 | 127,730.00 | 2410.00 | 127,730.00 | 2700.00 | 143,100.00 | 3100.00 | 164,300.00
30 | E.1.3 | 600x600mm LED PANEL LIGHT (Point Wiring only) | 600x600mm LED PANEL LIGHT (Point Wiring only) | Nos. | 11.000 | 27,610.00 | 2510.00 | 27,610.00 | 2600.00 | 28,600.00 | 2800.00 | 30,800.00
31 | E.1.4 | WALL LIGHT (Point Wiring only) | WALL LIGHT (Point Wiring only) | Nos. | 18.000 | 36,000.00 | 2410.00 | 43,380.00 | 2000.00 | 36,000.00 | 2000.00 | 36,000.00
32 | E.1.5 | LED STRIP LIGHT (Point Wiring only) | LED STRIP LIGHT (Point Wiring only) | RO | 0.000 | .00 | 2410.00 | .00 | 0.00 | .00 | 0.00 | .00
33 | E.1.6 | SIGNAGE (Point Wiring only) | SIGNAGE (Point Wiring only) | Nos. | 3.000 | 7,500.00 | 2550.00 | 7,650.00 | 2500.00 | 7,500.00 | 2800.00 | 8,400.00
34 | E.1.7 | EXIT LIGHT (Wall Ceiling Mounted) | EXIT LIGHT (Wall Ceiling Mounted) | Nos. | 4.000 | 9,280.00 | 2320.00 | 9,280.00 | 2500.00 | 10,000.00 | 2800.00 | 11,200.00
35 | 8 | LIGHTING CONTROL SWITCH COARD WITH SWITCHES AS REQUIRED (Point Wiring only) | LIGHTING CONTROL SWITCH COARD WITH SWITCHES AS REQUIRED (Point Wiring only) | Nos. | 2.000 | 4,800.00 | 3800.00 | 7,600.00 | 2400.00 | 4,800.00 | 2400.00 | 4,800.00
36 | F | WIRING DEVICES (SWITCHES SOCKETS) | WIRING DEVICES (SWITCHES SOCKETS)
37 | F.1 | Supply, Installation, Testing Commissioning of Wiring Devices (Switches Sockets - Face Plate Finish as approved By Architect Matching to Architecture Finishes) with Fire Rated LS LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI back Boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Switch Sockets Anchor Roma Penta, Legrand, Havells CraCtree, Finolex, L T Switchgear or equivalent with Airport approval. Make PVC Conduits AKG, CEC (ISI marker) or equivalent. Make GI Conduits Techno Flex India, K. M. Cables Conduits or equivalent with Airport approval. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports Crackets for conduit and Trunking suspension. | Supply, Installation, Testing Commissioning of Wiring Devices (Switches Sockets - Face Plate Finish as approved By Architect Matching to Architecture Finishes) with Fire Rated LS LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI back Boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Switch Sockets Anchor Roma Penta, Legrand, Havells CraCtree, Finolex, L T Switchgear or equivalent with Airport approval. Make PVC Conduits AKG, CEC (ISI marker) or equivalent. Make GI Conduits Techno Flex India, K. M. Cables Conduits or equivalent with Airport approval. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports Crackets for conduit and Trunking suspension.
38 | F.1.1 | 6 16A SINGLE SWITCHED SOCKET OUTLET | 6 16A SINGLE SWITCHED SOCKET OUTLET | Nos. | 17.000 | 13,600.00 | 4210.00 | 71,570.00 | 800.00 | 13,600.00 | 800.00 | 13,600.00
39 | F.1.2 | 6 16A DUAL SWITCHED SOCKET OUTLET | 6 16A DUAL SWITCHED SOCKET OUTLET | Nos. | 7.000 | 7,700.00 | 4760.00 | 33,320.00 | 1100.00 | 7,700.00 | 1200.00 | 8,400.00
40 | F.1.3 | 6 16A DUAL SWITCHED UNIVERSAL SOCKET OUTLET + DUAL USB PORT | 6 16A DUAL SWITCHED UNIVERSAL SOCKET OUTLET + DUAL USB PORT | Nos. | 26.000 | 83,200.00 | 6920.00 | 179,920.00 | 3200.00 | 83,200.00 | 4200.00 | 109,200.00
41 | F.1.4 | 16A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | 16A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | Nos. | 16.000 | 41,600.00 | 5172.00 | 82,752.00 | 2600.00 | 41,600.00 | 2900.00 | 46,400.00
42 | F.1.5 | 20A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | 20A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | Nos. | 4.000 | 11,200.00 | 5305.00 | 21,220.00 | 2800.00 | 11,200.00 | 3100.00 | 12,400.00
43 | F.1.6 | 32A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | 32A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | Nos. | 2.000 | 6,000.00 | 5466.00 | 10,932.00 | 3000.00 | 6,000.00 | 3200.00 | 6,400.00
44 | F.1.7 | 63A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | 63A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) | Nos. | 1.000 | 3,100.00 | 5842.00 | 5,842.00 | 3100.00 | 3,100.00 | 3300.00 | 3,300.00
45 | F.1.8 | 32A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) (WALL MOUNTED) | 32A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) (WALL MOUNTED) | Nos. | 2.000 | 22,400.00 | 11200.00 | 22,400.00 | 11500.00 | 23,000.00 | 13200.00 | 26,400.00
46 | F.1.9 | 63A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) (WALL MOUNTED) | 63A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) (WALL MOUNTED) | Nos. | 1.000 | 12,000.00 | 14500.00 | 14,500.00 | 12000.00 | 12,000.00 | 14000.00 | 14,000.00
47 | F.1.7 | 20A UNSWITCHED FUSED CONNECTION OUTLET WITH-OUT NEON INDICATOR | 20A UNSWITCHED FUSED CONNECTION OUTLET WITH-OUT NEON INDICATOR | Nos. | 1.000 | 800.00 | 4127.00 | 4,127.00 | 800.00 | 800.00 | 800.00 | 800.00
48 | F.1.8 | 20A DOUCLE POLE SWITCH WITH NEON INDICATOR | 20A DOUCLE POLE SWITCH WITH NEON INDICATOR | Nos. | 1.000 | 1,050.00 | 4422.00 | 4,422.00 | 1050.00 | 1,050.00 | 1050.00 | 1,050.00
49 | F.1.9 | 16A SINGLE PHASE ISOLATOR | 16A SINGLE PHASE ISOLATOR | Nos. | 1.000 | 675.00 | 2500.00 | 2,500.00 | 675.00 | 675.00 | 675.00 | 675.00
50 | F.1.10 | 16A THREE PHASE ISOLATOR | 16A THREE PHASE ISOLATOR | Nos. | 1.000 | 2,000.00 | 5500.00 | 5,500.00 | 2000.00 | 2,000.00 | 2000.00 | 2,000.00
51 | F.1.11 | 20A THREE PHASE ISOLATOR | 20A THREE PHASE ISOLATOR | Nos. | 2.000 | 5,000.00 | 5890.00 | 11,780.00 | 2500.00 | 5,000.00 | 2500.00 | 5,000.00
52 | F.1.12 | 63A THREE PHASE ISOLATOR | 63A THREE PHASE ISOLATOR | Nos. | 1.000 | 2,500.00 | 6450.00 | 6,450.00 | 2500.00 | 2,500.00 | 2500.00 | 2,500.00
53 | G | CONTAINMENT (CABLE TRAY TRUNKING) | CONTAINMENT (CABLE TRAY TRUNKING)
54 | G.1 | Supply Installation of GI Cable Tray GI Cable Trunking, through Wall Ceiling Floor as per drawings, complete with standard accessories factory made fittings, earthing throughout the run with copper braids, wall ceiling suspended supports, etc. Make Cable Management System MEM, Profab (ISI marked) or equivalent. | Supply Installation of GI Cable Tray GI Cable Trunking, through Wall Ceiling Floor as per drawings, complete with standard accessories factory made fittings, earthing throughout the run with copper braids, wall ceiling suspended supports, etc. Make Cable Management System MEM, Profab (ISI marked) or equivalent.
55 | G.1.1 | 100 x 25 CABLE TRAY | 100 x 25 CABLE TRAY | Mtr. | 30.000 | 16,350.00 | 545.00 | 16,350.00 | 550.00 | 16,500.00 | 550.00 | 16,500.00
56 | G.1.2 | 50 x 50 MM CABLE TRUNKING | 50 x 50 MM CABLE TRUNKING | Mtr. | 66.000 | 40,260.00 | 610.00 | 40,260.00 | 870.00 | 57,420.00 | 870.00 | 57,420.00
57 | G.1.3 | 50 x 50 MM CABLE TRUNKING | 50 x 50 MM CABLE TRUNKING | Mtr. | 78.000 | .00 | 610.00 | 47,580.00 | 0.00 | .00 | 870.00 | 67,860.00
58 | H | UPS SYSTEM | UPS SYSTEM
59 | H.1 | Supply, Installation, Testing Commissioning of UPS along with required Cattery for specified back-up time, complete with battery Stand (If required) standard accessories equipments required for complete functioning of the system, earthing, support system (if required), etc. Make UPS System Luminous, APC, Microtek or equivalent with Airport approval. | Supply, Installation, Testing Commissioning of UPS along with required Cattery for specified back-up time, complete with battery Stand (If required) standard accessories equipments required for complete functioning of the system, earthing, support system (if required), etc. Make UPS System Luminous, APC, Microtek or equivalent with Airport approval.
60 | H.1.1 | 2 KVA Single phase UPS with 30 Minute Cack-up | 2 KVA Single phase UPS with 30 Minute Cack-up | Nos. | 1.000 | 54,000.00 | 95000.00 | 95,000.00 | 54000.00 | 54,000.00 | 75000.00 | 75,000.00

## Technical Score Detail
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : Arrow Electricals |  | Vendor Name : Electech Enterprises |  | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ #: R0787 | RFQ #: R0787 | RFQ #: R0787 | Contact Name : |  | Contact Name : |  | Contact Name : Gangadhar Sharma
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ Date : 08/04/2024 12:12:19 | RFQ Date : 08/04/2024 12:12:19 | RFQ Date : 08/04/2024 12:12:19 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | BCD Date : 12/04/2024 17:22:00 | BCD Date : 12/04/2024 17:22:00 | BCD Date : 12/04/2024 17:22:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT | RFQ No: R0787 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | PR Number : TFSPL-2324-00472 | Email : khakesantosh10@gmail.com |  | Email : alam@electechenterprises.net |  | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Package / RFQ Name : Electrical work , Irish House, Delhi T1 | Round # : 2 (RFQ) |  | Round # : 2 (RFQ) |  | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | Electrical |  | NOS | 1.000 | 0.00 | 0.00
2 | A | INCOMER ISOLATOR MCCB PANEL |  |  | 0.000 | 0.00 | 0.00
3 | A.1 | Supply, Installation, Testing Commissioning of Incomer Isolator MCCC Panel complete with Enclosure (If required as per site condition Airport TDM). Make Electrical Panel DB s Creakers (MCC, RCBO, ELCB MCBC) Legrand, ACC, Schneider, Siemens or equivalent. |  |  | 0.000 | 0.00 | 0.00
4 | A1.1 | 250A ISOLATOR MCCB PANEL |  | Nos. | 1.000 | 0.00 | 0.00
5 | B | METER METER PANEL |  |  | 0.000 | 0.00 | 0.00
6 | B.1 | Supply, Installation, Testing Commissioning of kWH MFM Energy Meter Panel complete with Enclosure (If required as per site condition Airport TDM). Make Schneider, Secure, L T or equivalent with Airport approval. |  |  | 0.000 | 0.00 | 0.00
7 | B.1.1 | 250A 5A ENERGY METER (CT TYPE) |  | Nos. | 1.000 | 0.00 | 0.00
8 | C | LV CABLING |  |  | 0.000 | 0.00 | 0.00
9 | C.1 | Supply, Installation, Testing Commissioning of Fire Rated LS LSZH PVC insulated PVC sheathed, Copper conductor, Steel Tape Wire Armoured, 1100V grade cable, Number of Cable Core as per SLD Load Calculation Sheet (Main Cable) Unarmoured Single Core Wire (ECC), complete with Termination of the same with Single Compression Crass Glands, Solderless Tinned Copper Lugs, Gland earthing, etc. The cable shall be laid Underground on Cable Tray through Cable Trunking in Pipe on Wall Trench as required. Make Electrical Wires Cables Polycab, KEI, RR, Havells, Gemco or equivalent. For cables laid on Cable Tray in Pipe on Wall Trench - the rate shall include necessary supporting clamping arrangements. |  |  | 0.000 | 0.00 | 0.00
10 | C.1.1 | 4C x 95 MM2 CABLE |  | Mtr. | 18.000 | 0.00 | 0.00
11 | C.1.2 | 4C x 35 MM2 CABLE |  | Mtr. | 21.000 | 0.00 | 0.00
12 | C.1.3 | 4C x 16 MM2 CABLE |  | Mtr. | 15.000 | 0.00 | 0.00
13 | C.1.4 | 4C x 6 MM2 CABLE |  | Mtr. | 15.000 | 0.00 | 0.00
14 | C.1.5 | 4C x 4 MM2 CABLE |  | Mtr. | 15.000 | 0.00 | 0.00
15 | C.1.6 | 1C x 50 MM2 CABLE |  | Mtr. | 18.000 | 0.00 | 0.00
16 | C.1.7 | 1C x 16 MM2 CABLE |  | Mtr. | 31.000 | 0.00 | 0.00
17 | C.1.8 | 1C x 6 MM2 CABLE |  | Mtr. | 15.000 | 0.00 | 0.00
18 | C.1.9 | 1C x 4 MM2 CABLE |  | Mtr. | 15.000 | 0.00 | 0.00
19 | D | DISTRICUTION BOARDS |  |  | 0.000 | 0.00 | 0.00
20 | D.1 | Supply, Installation, Testing Commissioning of Surface Flush mounting 10kA 25kA (As per Panel requirement) Distribution boards. The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate knock out at the top and bottom. The DB shall have hinged lockable door. The busbar shall be tinned copper, for phases mounted on suitable type Insulator, Independent neutral busbar including interconnecting wiring earth bus on insulation mount. Make Electrical Panel DB s Creakers (MCC, RCBO, ELCB MCCB) Legrand, ACC, Schneider, Siemens or equivalent. All DB s must named as per the SLD Load Calculation Sheet. Laminated SLD Load Calculation Sheet shall be placed near to DB Panel Locations. The RCCB RCBO shall Ce Hpi Si series MCB s shall Ce C B Curve (As per requirement). |  |  | 0.000 | 0.00 | 0.00
21 |  | SMDB |  |  | 0.000 | 0.00 | 0.00
22 | D.1.1 | 10 Way TPN Panel Board with 250A TP MCCB incomer,and outgoings as per SLD Load Calculation Sheet. |  | Nos. | 1.000 | 0.00 | 0.00
23 |  | LPDB |  |  | 0.000 | 0.00 | 0.00
24 | D.1.2 | 16 Way TPN Panel Board with 125A 30mA 4P RCBO incomer,and outgoings as per SLD Load Calculation Sheet. |  | Nos. | 1.000 | 0.00 | 0.00
25 |  | UPS DB |  |  | 0.000 | 0.00 | 0.00
26 | D.1.3 | 4 Way SPN Panel Board with 20A 30 mA 2P RCBO incomer and outgoings as per SLD Load Calculation Sheet. |  | Nos. | 1.000 | 0.00 | 0.00
27 | E | LIGHT FIXTURES POINT WIRING |  |  | 0.000 | 0.00 | 0.00
28 | E.1 | Supply, Installation, Testing Commissioning of Light Fixture Point wiring (Light Fixtures to be as approved by Architect Design BOQ) with Lamps, Callasts Drivers Starters, Switches Lighting Control Switch Board with Fire Rated LS LSZH PVC insulated FlexiBle Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Cack boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Light Fixtures Philips, Wipro, Havells or equivalent. Make AKG, CEC (ISI marker) or equivalent. Make GI Conduits Techno Flex India, K. M. Cables Conduits or equivalent with Airport approval. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. |  |  | 0.000 | 0.00 | 0.00
29 | E.1.1 | PENDANT LIGHT (Point Wiring only) |  | Nos. | 57.000 | 0.00 | 0.00
30 | E.1.2 | CEILING SPOT LIGHT (Point Wiring only) |  | Nos. | 53.000 | 0.00 | 0.00
31 | E.1.3 | 600x600mm LED PANEL LIGHT (Point Wiring only) |  | Nos. | 11.000 | 0.00 | 0.00
32 | E.1.4 | WALL LIGHT (Point Wiring only) |  | Nos. | 18.000 | 0.00 | 0.00
33 | E.1.5 | LED STRIP LIGHT (Point Wiring only) |  | RO | 0.000 | 0.00 | 0.00
34 | E.1.6 | SIGNAGE (Point Wiring only) |  | Nos. | 3.000 | 0.00 | 0.00
35 | E.1.7 | EXIT LIGHT (Wall Ceiling Mounted) |  | Nos. | 4.000 | 0.00 | 0.00
36 | 8 | LIGHTING CONTROL SWITCH COARD WITH SWITCHES AS REQUIRED (Point Wiring only) |  | Nos. | 2.000 | 0.00 | 0.00
37 | F | WIRING DEVICES (SWITCHES SOCKETS) |  |  | 0.000 | 0.00 | 0.00
38 | F.1 | Supply, Installation, Testing Commissioning of Wiring Devices (Switches Sockets - Face Plate Finish as approved By Architect Matching to Architecture Finishes) with Fire Rated LS LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI back Boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Switch Sockets Anchor Roma Penta, Legrand, Havells CraCtree, Finolex, L T Switchgear or equivalent with Airport approval. Make PVC Conduits AKG, CEC (ISI marker) or equivalent. Make GI Conduits Techno Flex India, K. M. Cables Conduits or equivalent with Airport approval. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports Crackets for conduit and Trunking suspension. |  |  | 0.000 | 0.00 | 0.00
39 | F.1.1 | 6 16A SINGLE SWITCHED SOCKET OUTLET |  | Nos. | 17.000 | 0.00 | 0.00
40 | F.1.2 | 6 16A DUAL SWITCHED SOCKET OUTLET |  | Nos. | 7.000 | 0.00 | 0.00
41 | F.1.3 | 6 16A DUAL SWITCHED UNIVERSAL SOCKET OUTLET + DUAL USB PORT |  | Nos. | 26.000 | 0.00 | 0.00
42 | F.1.4 | 16A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) |  | Nos. | 16.000 | 0.00 | 0.00
43 | F.1.5 | 20A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) |  | Nos. | 4.000 | 0.00 | 0.00
44 | F.1.6 | 32A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) |  | Nos. | 2.000 | 0.00 | 0.00
45 | F.1.7 | 63A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) (WALL MOUNTED) |  | Nos. | 1.000 | 0.00 | 0.00
46 | F.1.8 | 32A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) (WALL MOUNTED) |  | Nos. | 2.000 | 0.00 | 0.00
47 | F.1.9 | 63A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) (WALL MOUNTED) |  | Nos. | 1.000 | 0.00 | 0.00
48 | F.1.7 | 20A UNSWITCHED FUSED CONNECTION OUTLET WITH-OUT NEON INDICATOR |  | Nos. | 1.000 | 0.00 | 0.00
49 | F.1.8 | 20A DOUCLE POLE SWITCH WITH NEON INDICATOR |  | Nos. | 1.000 | 0.00 | 0.00
50 | F.1.9 | 16A SINGLE PHASE ISOLATOR |  | Nos. | 1.000 | 0.00 | 0.00
51 | F.1.10 | 16A THREE PHASE ISOLATOR |  | Nos. | 1.000 | 0.00 | 0.00
52 | F.1.11 | 20A THREE PHASE ISOLATOR |  | Nos. | 2.000 | 0.00 | 0.00
53 | F.1.12 | 63A THREE PHASE ISOLATOR |  | Nos. | 1.000 | 0.00 | 0.00
54 | G | CONTAINMENT (CABLE TRAY TRUNKING) |  |  | 0.000 | 0.00 | 0.00
55 | G.1 | Supply Installation of GI Cable Tray GI Cable Trunking, through Wall Ceiling Floor as per drawings, complete with standard accessories factory made fittings, earthing throughout the run with copper braids, wall ceiling suspended supports, etc. Make Cable Management System MEM, Profab (ISI marked) or equivalent. |  |  | 0.000 | 0.00 | 0.00
56 | G.1.1 | 100 x 25 CABLE TRAY |  | Mtr. | 30.000 | 0.00 | 0.00
57 | G.1.2 | 50 x 50 MM CABLE TRUNKING |  | Mtr. | 66.000 | 0.00 | 0.00
58 | G.1.3 | 50 x 50 MM CABLE TRUNKING |  | Mtr. | 78.000 | 0.00 | 0.00
59 | H | UPS SYSTEM |  |  | 0.000 | 0.00 | 0.00
60 | H.1 | Supply, Installation, Testing Commissioning of UPS along with required Cattery for specified back-up time, complete with battery Stand (If required) standard accessories equipments required for complete functioning of the system, earthing, support system (if required), etc. Make UPS System Luminous, APC, Microtek or equivalent with Airport approval. |  |  | 0.000 | 0.00 | 0.00
61 | H.1.1 | 2 KVA Single phase UPS with 30 Minute Cack-up |  | Nos. | 1.000 | 0.00 | 0.00