## Price Comparison
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : Arrow Electricals (RV232411833) | [5 empty] | Vendor Name : Rudra Ineriors (RV232421261) | [5 empty] | Vendor Name : Electech Enterprises (RV232412099)
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ #: R0839 | RFQ #: R0839 | RFQ #: R0839 | Contact Name : | [5 empty] | Contact Name : Manoj | [5 empty] | Contact Name :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ Date : 12/04/2024 12:34:43 | RFQ Date : 12/04/2024 12:34:43 | RFQ Date : 12/04/2024 12:34:43 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | BCD Date : 12/04/2024 16:58:00 | BCD Date : 12/04/2024 16:58:00 | BCD Date : 12/04/2024 16:58:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | Email : khakesantosh10@gmail.com | [5 empty] | Email : manoj@rudrasip.com | [5 empty] | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Electrical | NOS | 1.00 |  | 1000455.00 | Arrow Electricals | 1075563.00 | 0.00 | 18.00 |  | 1,000,455.00 | 1,000,455.00 | 1233800.00 | 0.00 | 18.00 |  | 1,233,800.00 | 1,233,800.00 | 1295710.00 | 0.00 | 18.00 |  | 1,295,710.00 | 1,295,710.00
Item Total | [8 empty] | .00 | 180,081.90 |  |  | 1,000,455.00 |  | .00 | 222,084.00 |  |  | 1,233,800.00 |  | .00 | 233,227.80 |  |  | 1,295,710.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 180,081.90 | [5 empty] | 222,084.00 | [5 empty] | 233,227.80
Net Landed Cost | [11 empty] | INR | 1,180,536.90 |  |  |  |  | INR | 1,455,884.00 |  |  |  |  | INR | 1,528,937.80
Vendor Status | [7 empty] | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421261 | Rudra Ineriors | [5 empty] | Participate
2 | RV232412099 | Electech Enterprises | [5 empty] | Participate
3 | RV232411833 | Arrow Electricals | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : Arrow Electricals | Vendor Name : Arrow Electricals | Vendor Name : Rudra Ineriors | Vendor Name : Rudra Ineriors | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ #: R0839 | RFQ #: R0839 | RFQ #: R0839 | Contact Name : | Contact Name : | Contact Name : Manoj | Contact Name : Manoj | Contact Name : | Contact Name :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ Date : 12/04/2024 12:34:43 | RFQ Date : 12/04/2024 12:34:43 | RFQ Date : 12/04/2024 12:34:43 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | BCD Date : 12/04/2024 16:58:00 | BCD Date : 12/04/2024 16:58:00 | BCD Date : 12/04/2024 16:58:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | Email : khakesantosh10@gmail.com | Email : khakesantosh10@gmail.com | Email : manoj@rudrasip.com | Email : manoj@rudrasip.com | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical | Electrical | NOS | 1.000 |  |  | 1,000,455.00 |  | 1,233,800.00 |  | 1,295,710.00
1 | I | PANEL SWITCHGEAR | PANEL SWITCHGEAR
2 | 1 | Supply, installation, testing commissioning of Switchgears.(Standard Product) | Supply, installation, testing commissioning of Switchgears.(Standard Product)
3 |  | MAIN PANEL-1 | MAIN PANEL-1 | Nos. | 1.000 | 165,000.00 | 165000.00 | 165,000.00 | 320000.00 | 320,000.00 | 285000.00 | 285,000.00
4 |  | Incomer 63 AMPS 4P MCB, 10kA | Incomer 63 AMPS 4P MCB, 10kA
5 |  | Meter Protection ELR with CBCT; 60 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG) | Meter Protection ELR with CBCT; 60 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG)
6 |  | Indication Phase indicating lamps with 6A MCB | Indication Phase indicating lamps with 6A MCB
7 |  | Busbar 75A TPN AL Busbar | Busbar 75A TPN AL Busbar
8 |  | Outgoings | Outgoings
9 |  | a) 63A 4P MCB, C TYPE - 3 Nos | a) 63A 4P MCB, C TYPE - 3 Nos
10 |  | b) 40A 4P MCB, C TYPE - 2 Nos | b) 40A 4P MCB, C TYPE - 2 Nos
11 |  | c) 32A DP MCB, C TYPE - 2 Nos | c) 32A DP MCB, C TYPE - 2 Nos
12 |  | d) 20A 4P MCB, C TYPE - 2 Nos | d) 20A 4P MCB, C TYPE - 2 Nos
13 |  | e) MPCB SUITABLE for 1.5 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-1 Nos. | e) MPCB SUITABLE for 1.5 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-1 Nos.
14 |  | f) MPCB SUITABLE for 1.1 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-2 Nos. | f) MPCB SUITABLE for 1.1 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-2 Nos.
15 | 1.1 | Supply,Installation,Testing and Commissioning of 20 Amps,DP ELMCB 100mA for HVAC Outdoor Isolation all complete with mounting accessories | Supply,Installation,Testing and Commissioning of 20 Amps,DP ELMCB 100mA for HVAC Outdoor Isolation all complete with mounting accessories | Nos. | 0.000 | .00 | 9500.00 | .00 | 0.00 | .00 | 0.00 | .00
16 | 1.2 | Supply,Installation,Testing and Commissioning of 63 Amps,3Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. | Supply,Installation,Testing and Commissioning of 63 Amps,3Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. | Nos. | 0.000 | .00 | 7800.00 | .00 | 0.00 | .00 | 0.00 | .00
17 | 1.3 | Supply,Installation,Testing and Commissioning of 40 Amps,4Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. | Supply,Installation,Testing and Commissioning of 40 Amps,4Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. | Nos. | 3.000 | 13,500.00 | 4500.00 | 13,500.00 | 6500.00 | 19,500.00 | 4500.00 | 13,500.00
18 | 1.4 | Supply,Installation,Testing and Commissioning of 32 Amps, DP, MCB for UPS Isolation all complete with mounting accessories for UPS. | Supply,Installation,Testing and Commissioning of 32 Amps, DP, MCB for UPS Isolation all complete with mounting accessories for UPS. | Nos. | 2.000 | 6,100.00 | 3050.00 | 6,100.00 | 4500.00 | 9,000.00 | 4300.00 | 8,600.00
19 | 1.14 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make model No. 6078 80 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make model No. 6078 80 | Nos. | 2.000 | 11,000.00 | 11110.00 | 22,220.00 | 5500.00 | 11,000.00 | 12000.00 | 24,000.00
20 | 1.17 | 20 32A Rey roll socket complete with 25 amps SPMCB with 3 pin metal clad socket Plug top | 20 32A Rey roll socket complete with 25 amps SPMCB with 3 pin metal clad socket Plug top | Nos. | 2.000 | 5,620.00 | 2810.00 | 5,620.00 | 3850.00 | 7,700.00 | 3200.00 | 6,400.00
21 |  | I) 25A, 3Pin industrial metal clad Socket with MCB – 1nos | I) 25A, 3Pin industrial metal clad Socket with MCB – 1nos
22 |  | I) 20A, 3Pin industrial metal clad Socket with MCB – 1nos | I) 20A, 3Pin industrial metal clad Socket with MCB – 1nos
23 |  | ii)set of 2nos 16A Bakelite Socket with 2nos 16A Switch –3nos | ii)set of 2nos 16A Bakelite Socket with 2nos 16A Switch –3nos
24 |  | iii) Data Socket – 2nos | iii) Data Socket – 2nos
25 |  | iv) Telephone Socket – 1no. | iv) Telephone Socket – 1no.
26 | II | UPS | UPS
27 | 1 | Supply, Installation, testing and commissioning of 3.0 KVA UPS System Single Phase I C Single Phase O G complete with 30 Minutes Battery Back-up the required accessories as specified in the drawings the specifications. | Supply, Installation, testing and commissioning of 3.0 KVA UPS System Single Phase I C Single Phase O G complete with 30 Minutes Battery Back-up the required accessories as specified in the drawings the specifications. | Nos. | 1.000 | 55,000.00 | 75000.00 | 75,000.00 | 55000.00 | 55,000.00 | 78000.00 | 78,000.00
28 | III | DISTRIBUTION BOARDS | DISTRIBUTION BOARDS
29 |  | Supply, installation, testing commissioning of Distribution Boards surface flush mounted with Double door containing MCB ELMCB as incomer and SPMCB as outgoing. All MCBs are of 10KA breaking capacity and ELMCBs RCCB should be of 30mA 100 300 mA sensiv | Supply, installation, testing commissioning of Distribution Boards surface flush mounted with Double door containing MCB ELMCB as incomer and SPMCB as outgoing. All MCBs are of 10KA breaking capacity and ELMCBs RCCB should be of 30mA 100 300 mA sensiv
30 | 2 | Kitchen Power DB - KPDB | Kitchen Power DB - KPDB | Nos. | 1.000 | 8,500.00 | 24500.00 | 24,500.00 | 8500.00 | 8,500.00 | 52000.00 | 52,000.00
31 |  | 8 way TPN DB | 8 way TPN DB
32 |  | I C-63A FP MCB -1 Nos | I C-63A FP MCB -1 Nos
33 |  | SUB I C 40A DP RCCB @ 100mA - 3 Nos | SUB I C 40A DP RCCB @ 100mA - 3 Nos
34 |  | O G -18 # 10 16 20A SP MCB | O G -18 # 10 16 20A SP MCB
35 | 3 | LDB | LDB | Nos. | 1.000 | 6,500.00 | 9000.00 | 9,000.00 | 6500.00 | 6,500.00 | 12000.00 | 12,000.00
36 |  | 12 way SPN DB | 12 way SPN DB
37 |  | I C-32A RCBO 30mA-1 Nos | I C-32A RCBO 30mA-1 Nos
38 |  | O G -8 # 6 10A SP MCB | O G -8 # 6 10A SP MCB
39 | 4 | UPSDB | UPSDB | Nos. | 1.000 | 6,500.00 | 9000.00 | 9,000.00 | 6500.00 | 6,500.00 | 12000.00 | 12,000.00
40 |  | 12 way SPN DB | 12 way SPN DB
41 |  | I C-32A RCBO 30mA-1 Nos | I C-32A RCBO 30mA-1 Nos
42 |  | O G -8 # 6 10A SP MCB | O G -8 # 6 10A SP MCB
43 | IV | CABLES ACCESSORIES | CABLES ACCESSORIES
44 |  | Supply installation of following LT XLPE FRLS cables rated for 600 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with | Supply installation of following LT XLPE FRLS cables rated for 600 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with
45 | 9 | 4C x 25 Sq. mm A2XFY | 4C x 25 Sq. mm A2XFY | Mtr. | 30.000 | 9,300.00 | 310.00 | 9,300.00 | 320.00 | 9,600.00 | 600.00 | 18,000.00
46 | 10 | 4C x 16 Sq. mm A2XFY | 4C x 16 Sq. mm A2XFY | Mtr. | 10.000 | 2,200.00 | 220.00 | 2,200.00 | 250.00 | 2,500.00 | 450.00 | 4,500.00
47 | 11 | 4C x 10 Sq. mm A2XFY | 4C x 10 Sq. mm A2XFY | Mtr. | 10.000 | 1,900.00 | 190.00 | 1,900.00 | 240.00 | 2,400.00 | 400.00 | 4,000.00
48 | 12 | 4C x 10 Sq. mm 2XFY ( Cu ) | 4C x 10 Sq. mm 2XFY ( Cu ) | Mtr. | 10.000 | 7,000.00 | 700.00 | 7,000.00 | 700.00 | 7,000.00 | 900.00 | 9,000.00
49 | 13 | 4C x 16 Sq. mm 2XFY Cable ( Cu ) | 4C x 16 Sq. mm 2XFY Cable ( Cu ) | Mtr. | 10.000 | 9,400.00 | 940.00 | 9,400.00 | 980.00 | 9,800.00 | 1250.00 | 12,500.00
50 | 14 | 4C x 6 Sq. mm 2XFY Cable ( Cu ) | 4C x 6 Sq. mm 2XFY Cable ( Cu ) | Mtr. | 10.000 | 4,550.00 | 455.00 | 4,550.00 | 490.00 | 4,900.00 | 600.00 | 6,000.00
51 | 15 | 4C x 2.5 Sq. mm 2XFY Cable ( Cu ) | 4C x 2.5 Sq. mm 2XFY Cable ( Cu ) | Mtr. | 10.000 | 2,800.00 | 280.00 | 2,800.00 | 380.00 | 3,800.00 | 320.00 | 3,200.00
52 | 17 | 3C x 4sq. mm YWY cable ( Cu ) | 3C x 4sq. mm YWY cable ( Cu ) | Mtr. | 20.000 | 5,900.00 | 295.00 | 5,900.00 | 295.00 | 5,900.00 | 400.00 | 8,000.00
53 | 18 | 3C x 2.5 Sq. mm YWY cable ( Cu ) | 3C x 2.5 Sq. mm YWY cable ( Cu ) | Mtr. | 80.000 | 18,240.00 | 228.00 | 18,240.00 | 380.00 | 30,400.00 | 250.00 | 20,000.00
54 | 24 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) | Mtr. | 45.000 | 22,275.00 | 495.00 | 22,275.00 | 580.00 | 26,100.00 | 680.00 | 30,600.00
55 | 25 | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) | Mtr. | 50.000 | 3,100.00 | 62.00 | 3,100.00 | 420.00 | 21,000.00 | 65.00 | 3,250.00
56 | B | Termination of following sizes of cables with Single compression cable gland.(COMET BRAKO) | Termination of following sizes of cables with Single compression cable gland.(COMET BRAKO)
57 | 9 | 4C x 25 Sq. mm A2XFY | 4C x 25 Sq. mm A2XFY | Nos. | 2.000 | 1,100.00 | 550.00 | 1,100.00 | 550.00 | 1,100.00 | 600.00 | 1,200.00
58 | 10 | 4C x 16 Sq. mm A2XFY | 4C x 16 Sq. mm A2XFY | Nos. | 2.000 | 900.00 | 450.00 | 900.00 | 550.00 | 1,100.00 | 450.00 | 900.00
59 | 18 | 3C x 2.5 Sq. mm YWY cable ( Cu ) | 3C x 2.5 Sq. mm YWY cable ( Cu ) | Nos. | 6.000 | 1,500.00 | 250.00 | 1,500.00 | 480.00 | 2,880.00 | 250.00 | 1,500.00
60 | 24 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) | Nos. | 4.000 | 1,460.00 | 365.00 | 1,460.00 | 500.00 | 2,000.00 | 680.00 | 2,720.00
61 | 25 | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) | Nos. | 2.000 | 130.00 | 65.00 | 130.00 | 500.00 | 1,000.00 | 65.00 | 130.00
62 | V | WIRING ACCESSORIES | WIRING ACCESSORIES
63 |  | 1) Rates for point wiring shall include supply installation of Wires wiring acccessories such as angle holders ceiling roses as required. conduits, conduit accessories such as junction boxes, Ts, elbows etc,Switches, sockets fixtures shall not be | 1) Rates for point wiring shall include supply installation of Wires wiring acccessories such as angle holders ceiling roses as required. conduits, conduit accessories such as junction boxes, Ts, elbows etc,Switches, sockets fixtures shall not be
64 |  | 2) Unless otherwise specified, all wires in point wiring shall be 2.5 sq.mm | 2) Unless otherwise specified, all wires in point wiring shall be 2.5 sq.mm
65 |  | Stranded copper conductor 1.1 KV grade, I.S.I. marked (P+N+E), | Stranded copper conductor 1.1 KV grade, I.S.I. marked (P+N+E),
66 |  | (FRLSH) PVC insulated . | (FRLSH) PVC insulated .
67 |  | Wires shall be colour coded (Red, Yellow and Blue for Phases, | Wires shall be colour coded (Red, Yellow and Blue for Phases,
68 |  | Black for Neutral Green for earth). | Black for Neutral Green for earth).
69 |  | 3) Looping of wires shall be in fittings and switch boxes only | 3) Looping of wires shall be in fittings and switch boxes only
70 |  | 4) Location of switches sockets DBs shown on the drawings shall | 4) Location of switches sockets DBs shown on the drawings shall
71 |  | be confirmed with the Architect Consultant Project Manager | be confirmed with the Architect Consultant Project Manager
72 |  | before installation. | before installation.
73 |  | 5) All Surface and concealed Conduits shall be rigid GI conduits of | 5) All Surface and concealed Conduits shall be rigid GI conduits of
74 |  | size not less than 20 mm dia as per applicable IS. | size not less than 20 mm dia as per applicable IS.
75 |  | 6)The Contractor can take more than one circuit in the same conduit | 6)The Contractor can take more than one circuit in the same conduit
76 |  | provided they are of the same phase. The size of conduit shall be | provided they are of the same phase. The size of conduit shall be
77 |  | decided according to the number of wires in it as per applicable IS as | decided according to the number of wires in it as per applicable IS as
78 |  | specified. | specified.
79 |  | 7) Payments for light fixtures fans will be made separately as per the | 7) Payments for light fixtures fans will be made separately as per the
80 |  | items given in Light Fixtures Accessories . | items given in Light Fixtures Accessories .
81 |  | 8) Type location of light fixtures shown in the drawings are | 8) Type location of light fixtures shown in the drawings are
82 |  | tentative and subject to revision as per the recommendation of | tentative and subject to revision as per the recommendation of
83 |  | Architect Consultant. The quantities (number of points and accessories) | Architect Consultant. The quantities (number of points and accessories)
84 |  | of point wiring will be revised as actual installed on account of such | of point wiring will be revised as actual installed on account of such
85 |  | revisions in the layouts. | revisions in the layouts.
86 |  | 9) Circuit wiring from DBs to the switch boards or first light point shall | 9) Circuit wiring from DBs to the switch boards or first light point shall
87 |  | Be included as primary points remaining points of the same looping | Be included as primary points remaining points of the same looping
88 |  | shall be considered as Secondary points and shall be counted in nos. | shall be considered as Secondary points and shall be counted in nos.
89 |  | 10) Circuit Wiring from DB to Kitchen Power points shall be measured in running meters | 10) Circuit Wiring from DB to Kitchen Power points shall be measured in running meters
90 | 1 | Supply, installation, testing commissioning of point wiring for light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points shall | Supply, installation, testing commissioning of point wiring for light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points shall
91 | a) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) | Nos. | 0.000 | .00 | 4250.00 | .00 | 0.00 | .00 | 0.00 | .00
92 | b) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Nos. | 0.000 | .00 | 2500.00 | .00 | 0.00 | .00 | 0.00 | .00
93 | 1 | Supply, installation, testing commissioning of point wiring for EMER light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points | Supply, installation, testing commissioning of point wiring for EMER light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points
94 | a) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) | Nos. | 0.000 | .00 | 4250.00 | .00 | 0.00 | .00 | 0.00 | .00
95 | b) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Nos. | 0.000 | .00 | 2500.00 | .00 | 0.00 | .00 | 0.00 | .00
96 | 2 | Supply, installation, testing commissioning of point wiring for light Point points, power points. Point wiring for primary point shall include wiring from Switch Board upto First point of the circuit and shall be measured in nos. Secondary points shal | Supply, installation, testing commissioning of point wiring for light Point points, power points. Point wiring for primary point shall include wiring from Switch Board upto First point of the circuit and shall be measured in nos. Secondary points shal
97 | a) | Primary Light Fan points controlled by Switch (1R 3Cx 2.5 sqmm wire) | Primary Light Fan points controlled by Switch (1R 3Cx 2.5 sqmm wire) | Nos. | 15.000 | 24,750.00 | 3800.00 | 57,000.00 | 1650.00 | 24,750.00 | 3500.00 | 52,500.00
98 | b) | Secondary Light Fan points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Secondary Light Fan points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Nos. | 22.000 | 20,900.00 | 1550.00 | 34,100.00 | 950.00 | 20,900.00 | 1600.00 | 35,200.00
99 | c) | DB to SB SB to SB circuit wiring Wiring for switch board controlled by MCB already installed in DB by using 3 X 2.5 sq. mm flexible FRLSH copper wires in 25mm rigid GI conduits as per IS 9537 part-3 or surface mounted. | DB to SB SB to SB circuit wiring Wiring for switch board controlled by MCB already installed in DB by using 3 X 2.5 sq. mm flexible FRLSH copper wires in 25mm rigid GI conduits as per IS 9537 part-3 or surface mounted. | Mtrs | 80.000 | 23,200.00 | 290.00 | 23,200.00 | 310.00 | 24,800.00 | 298.00 | 23,840.00
100 | 5 | Providing point wiring for a cluster of 2 nos.6 amps socket outlets and 1 no. 16A switch pop up box for Computer POS Power Points using 3Cx4 sq. mm PVC insulated copper conductor wires from UPSDB to plug point in Existing Floor Raceway GI Conduits a | Providing point wiring for a cluster of 2 nos.6 amps socket outlets and 1 no. 16A switch pop up box for Computer POS Power Points using 3Cx4 sq. mm PVC insulated copper conductor wires from UPSDB to plug point in Existing Floor Raceway GI Conduits a
101 | a) | Primary Point | Primary Point | Nos. | 1.000 | 1,650.00 | 4150.00 | 4,150.00 | 1650.00 | 1,650.00 | 4500.00 | 4,500.00
102 | b) | Secondary points | Secondary points | Nos. | 1.000 | 950.00 | 1810.00 | 1,810.00 | 950.00 | 950.00 | 2100.00 | 2,100.00
103 | 7 | Providing point wiring for Raw Power points 1no. 6 16A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4 sq. mm copper conductor wires . (Cost of GI Conduit is included and switch sockets are considered elsewhere). | Providing point wiring for Raw Power points 1no. 6 16A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4 sq. mm copper conductor wires . (Cost of GI Conduit is included and switch sockets are considered elsewhere).
104 | a) | Primary Point | Primary Point | Nos. | 15.000 | 24,750.00 | 4110.00 | 61,650.00 | 1650.00 | 24,750.00 | 4500.00 | 67,500.00
105 | b) | Secondary points | Secondary points | Nos. | 14.000 | 13,300.00 | 1850.00 | 25,900.00 | 950.00 | 13,300.00 | 2100.00 | 29,400.00
106 | 8 | Providing point wiring for Raw Power points 1no. 6A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4sq. mm copper conductor wires (Cost of GI Conduit is included and switch sockets are considered elsewhere). (Wires | Providing point wiring for Raw Power points 1no. 6A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4sq. mm copper conductor wires (Cost of GI Conduit is included and switch sockets are considered elsewhere). (Wires
107 | a) | Primary Point | Primary Point | Nos. | 10.000 | 16,500.00 | 4050.00 | 40,500.00 | 1650.00 | 16,500.00 | 4100.00 | 41,000.00
108 | b) | Secondary points | Secondary points | Nos. | 10.000 | 9,500.00 | 2210.00 | 22,100.00 | 950.00 | 9,500.00 | 2000.00 | 20,000.00
109 | 10 | Providing point wiring for Primary Secondary CCTV points using 3Cx4 sq. mm PVC insulated copper flexible FRLSH cable in already laid 25 mm dia. GI conduit surface mounted on ceiling, concealed in wall and or through partitions with necessary boxes pul | Providing point wiring for Primary Secondary CCTV points using 3Cx4 sq. mm PVC insulated copper flexible FRLSH cable in already laid 25 mm dia. GI conduit surface mounted on ceiling, concealed in wall and or through partitions with necessary boxes pul | Mtr. | 10.000 | 3,200.00 | 320.00 | 3,200.00 | 320.00 | 3,200.00 | 2500.00 | 25,000.00
110 | 11 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid GI conduit concealed or surface mounted making connections where ever required to complete the installation.(For Kitchen Power Poi | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid GI conduit concealed or surface mounted making connections where ever required to complete the installation.(For Kitchen Power Poi
111 | a) | 3Cx4 Sqmm Cu. Wires | 3Cx4 Sqmm Cu. Wires | Mtr. | 300.000 | 63,000.00 | 210.00 | 63,000.00 | 410.00 | 123,000.00 | 210.00 | 63,000.00
112 | b) | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 10.000 | 2,550.00 | 255.00 | 2,550.00 | 550.00 | 5,500.00 | 255.00 | 2,550.00
113 | 12 | Supply installation of 25 mm dia. GI conduit with pull box junction box all accessories for Kitchen Bar Power wiring as per the requirement | Supply installation of 25 mm dia. GI conduit with pull box junction box all accessories for Kitchen Bar Power wiring as per the requirement
114 | a | - do - but conduit pipe shall be Rigid type. | - do - but conduit pipe shall be Rigid type. | Mtr. | 150.000 | 33,000.00 | 220.00 | 33,000.00 | 220.00 | 33,000.00 | 280.00 | 42,000.00
115 | b | - do - but flexible conduit pipe | - do - but flexible conduit pipe | Mtr. | 20.000 | 1,300.00 | 65.00 | 1,300.00 | 80.00 | 1,600.00 | 70.00 | 1,400.00
116 | 13 | Supply installation of 20 mm dia. GI conduit with pull box junction box all accessories for Lighting Power wiring as per the requirement | Supply installation of 20 mm dia. GI conduit with pull box junction box all accessories for Lighting Power wiring as per the requirement
117 | a | - do - but conduit pipe shall be Rigid type. | - do - but conduit pipe shall be Rigid type. | Mtr. | 50.000 | 9,250.00 | 185.00 | 9,250.00 | 220.00 | 11,000.00 | 220.00 | 11,000.00
118 | 14 | Supply and installation of Perforated Cable Tray (ASIAN)out of 14 gauge GI sheet complete with necessary fixing arrangement with Anchor Fastener and all other accessories as per the final approval of the Consultant Architect | Supply and installation of Perforated Cable Tray (ASIAN)out of 14 gauge GI sheet complete with necessary fixing arrangement with Anchor Fastener and all other accessories as per the final approval of the Consultant Architect
119 | a | 300 x 50 x 2mm | 300 x 50 x 2mm | Mtr. | 20.000 | 23,200.00 | 1160.00 | 23,200.00 | 1160.00 | 23,200.00 | 1350.00 | 27,000.00
120 | c | 150 x 50 x 2mm | 150 x 50 x 2mm | Mtr. | 30.000 | 17,700.00 | 590.00 | 17,700.00 | 980.00 | 29,400.00 | 850.00 | 25,500.00
121 | 15 | Supply and installation of GI trunking (SV POWER ASIAN) with 2 mm thickness properties clamps for suspension at appropriate intervals as per the route approved by Architect Consultant. (For DATA CONTROL WIRING LIGHTING POWER CIRCUITS KITCHEN) | Supply and installation of GI trunking (SV POWER ASIAN) with 2 mm thickness properties clamps for suspension at appropriate intervals as per the route approved by Architect Consultant. (For DATA CONTROL WIRING LIGHTING POWER CIRCUITS KITCHEN)
122 | e | 50 x 50 x 2mm | 50 x 50 x 2mm | Mtr. | 20.000 | 11,000.00 | 550.00 | 11,000.00 | 550.00 | 11,000.00 | 720.00 | 14,400.00
123 | 16 | Supply and installation of GI raceway with 2 mm thickness proper ties clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included). | Supply and installation of GI raceway with 2 mm thickness proper ties clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included).
124 | c | 1 runs of underfloor GI raceways of size 100 x 40 mm | 1 runs of underfloor GI raceways of size 100 x 40 mm | Mtr. | 20.000 | 6,840.00 | 342.00 | 6,840.00 | 1120.00 | 22,400.00 | 900.00 | 18,000.00
125 | 17 | Supply installation of GI junction boxes with 2 mm thickness, 2mm thick SS cover with 2” extra on all sides SS cover on top and having screw fixed plates on all four sides with knock out holes for conduits. The plates shall be retained on the sidezs ha | Supply installation of GI junction boxes with 2 mm thickness, 2mm thick SS cover with 2” extra on all sides SS cover on top and having screw fixed plates on all four sides with knock out holes for conduits. The plates shall be retained on the sidezs ha
126 | d | suitable for 150 x 150 x 50 mm | suitable for 150 x 150 x 50 mm | Nos. | 3.000 | 1,500.00 | 500.00 | 1,500.00 | 550.00 | 1,650.00 | 500.00 | 1,500.00
127 | 18 | Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant | Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant
128 | a | 6A one way plate type switch | 6A one way plate type switch | Nos. | 20.000 | 4,600.00 | 230.00 | 4,600.00 | 950.00 | 19,000.00 | 280.00 | 5,600.00
129 | b | 6A 5 pin Socket outlet | 6A 5 pin Socket outlet | Nos. | 2.000 | 750.00 | 375.00 | 750.00 | 950.00 | 1,900.00 | 610.00 | 1,220.00
130 | c | 6A 5pin switch socket outlet for CCTV Charging point | 6A 5pin switch socket outlet for CCTV Charging point | Nos. | 12.000 | 7,200.00 | 600.00 | 7,200.00 | 950.00 | 11,400.00 | 600.00 | 7,200.00
131 | d | 2 nos 6A switch socket outlet | 2 nos 6A switch socket outlet | Nos. | 2.000 | 2,240.00 | 1210.00 | 2,420.00 | 1120.00 | 2,240.00 | 1600.00 | 3,200.00
132 | f | 1 nos. 6 16A socket controlled by1nos 6 16A switch for Kitchen | 1 nos. 6 16A socket controlled by1nos 6 16A switch for Kitchen | Nos. | 25.000 | 18,750.00 | 750.00 | 18,750.00 | 1450.00 | 36,250.00 | 1000.00 | 25,000.00
133 | h | Data Socket (D-Link) | Data Socket (D-Link) | Nos. | 10.000 | 5,550.00 | 555.00 | 5,550.00 | 650.00 | 6,500.00 | 680.00 | 6,800.00
134 | i | Telephone Socket | Telephone Socket | Nos. | 2.000 | 1,100.00 | 550.00 | 1,100.00 | 650.00 | 1,300.00 | 600.00 | 1,200.00
135 | j | TV Socket | TV Socket | Nos. | 4.000 | 1,400.00 | 350.00 | 1,400.00 | 650.00 | 2,600.00 | 350.00 | 1,400.00
136 | 16 | Supply, installation of temporary lighting power arrangement for construction purpose of with industrial type switch sockets MCB s ELCB s lighting fittings as required to finish the work for interior contractor necessary electrical protections thr | Supply, installation of temporary lighting power arrangement for construction purpose of with industrial type switch sockets MCB s ELCB s lighting fittings as required to finish the work for interior contractor necessary electrical protections thr | Job | 1.000 | .00 | 22000.00 | 22,000.00 | 0.00 | .00 | 30000.00 | 30,000.00
137 | 1 | 22 W DOWN LIGHT | 22 W DOWN LIGHT | Nos. | 32.000 | 6,400.00 | 200.00 | 6,400.00 | 2500.00 | 80,000.00 | 200.00 | 6,400.00
138 | 4 | TUBE LIGHT | TUBE LIGHT | Nos. | 2.000 | 200.00 | 100.00 | 200.00 | 1500.00 | 3,000.00 | 100.00 | 200.00
139 | VII | EARTHING | EARTHING
140 | 3 | Supply erection of G.I. strip of 25 x 3 mm used for earthing on wall, cable trays with necessary clamps fixed on wall painted with bituminous paint in an approved manner. | Supply erection of G.I. strip of 25 x 3 mm used for earthing on wall, cable trays with necessary clamps fixed on wall painted with bituminous paint in an approved manner. | Mtr. | 60.000 | 10,800.00 | 180.00 | 10,800.00 | 190.00 | 11,400.00 | 180.00 | 10,800.00
141 | 5 | Supplying erecting bare copper conductor of 8 swg for earthing purpose | Supplying erecting bare copper conductor of 8 swg for earthing purpose | Mtr. | 40.000 | 3,600.00 | 90.00 | 3,600.00 | 95.00 | 3,800.00 | 90.00 | 3,600.00
142 | 9 | Supplying installation testing commissioning of earth terminal box | Supplying installation testing commissioning of earth terminal box | Nos. | 1.000 | 2,500.00 | 2500.00 | 2,500.00 | 2500.00 | 2,500.00 | 2500.00 | 2,500.00
143 | VIII | MISCELLANEOUS | MISCELLANEOUS
144 | 1 | Supply Installation of 6A 3 pin plug top | Supply Installation of 6A 3 pin plug top | Nos. | 4.000 | 440.00 | 110.00 | 440.00 | 180.00 | 720.00 | 250.00 | 1,000.00
145 | 2 | Supply Installation of 16A 3 pin plug top | Supply Installation of 16A 3 pin plug top | Nos. | 8.000 | 1,200.00 | 150.00 | 1,200.00 | 220.00 | 1,760.00 | 350.00 | 2,800.00
146 | 4 | Supply laying of Rubber Mats, CPRI tested conforming to standards like BS 921, ASTM-D 178 IEC 479 for different operatng voltage ratings as below. | Supply laying of Rubber Mats, CPRI tested conforming to standards like BS 921, ASTM-D 178 IEC 479 for different operatng voltage ratings as below.
147 | 7 | Supply fixing of the best quality LT Danger Boards(415V) for of approved shape and size as specified by the local electrical authorities written in English, and local Language | Supply fixing of the best quality LT Danger Boards(415V) for of approved shape and size as specified by the local electrical authorities written in English, and local Language | Nos. | 1.000 | 400.00 | 400.00 | 400.00 | 1200.00 | 1,200.00 | 400.00 | 400.00
148 | A | DATA AND TELEPHONE SYSTEM | DATA AND TELEPHONE SYSTEM
149 | 1 | Supply Installation of 25mm.dia. HMS GI conduit with pull box junction box all accessories for DATA VOICE WIFI wiring as per the requirement. | Supply Installation of 25mm.dia. HMS GI conduit with pull box junction box all accessories for DATA VOICE WIFI wiring as per the requirement. | Mtr. | 150.000 | 27,000.00 | 190.00 | 28,500.00 | 180.00 | 27,000.00 | 280.00 | 42,000.00
150 | 2 | Supply Installation of Cat-6 E Cable in above conduits for DATA System. | Supply Installation of Cat-6 E Cable in above conduits for DATA System. | Mtr. | 200.000 | 18,000.00 | 90.00 | 18,000.00 | 220.00 | 44,000.00 | 100.00 | 20,000.00

## Technical Score Detail
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : Arrow Electricals |  | Vendor Name : Rudra Ineriors |  | Vendor Name : Electech Enterprises
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ #: R0839 | RFQ #: R0839 | RFQ #: R0839 | Contact Name : |  | Contact Name : Manoj |  | Contact Name :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ Date : 12/04/2024 12:34:43 | RFQ Date : 12/04/2024 12:34:43 | RFQ Date : 12/04/2024 12:34:43 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | BCD Date : 12/04/2024 16:58:00 | BCD Date : 12/04/2024 16:58:00 | BCD Date : 12/04/2024 16:58:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT | RFQ No: R0839 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | PR Number : TFSPL-2425-00017 | Email : khakesantosh10@gmail.com |  | Email : manoj@rudrasip.com |  | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Package / RFQ Name : Electrical work - Subway - Delhi | Round # : 2 (RFQ) |  | Round # : 2 (RFQ) |  | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | Electrical |  | NOS | 1.000 | 0.00 | 0.00
2 | I | PANEL SWITCHGEAR |  |  | 0.000 | 0.00 | 0.00
3 | 1 | Supply, installation, testing commissioning of Switchgears.(Standard Product) |  |  | 0.000 | 0.00 | 0.00
4 |  | MAIN PANEL-1 |  | Nos. | 1.000 | 0.00 | 0.00
5 |  | Incomer 63 AMPS 4P MCB, 10kA |  |  | 0.000 | 0.00 | 0.00
6 |  | Meter Protection ELR with CBCT; 60 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG) |  |  | 0.000 | 0.00 | 0.00
7 |  | Indication Phase indicating lamps with 6A MCB |  |  | 0.000 | 0.00 | 0.00
8 |  | Busbar 75A TPN AL Busbar |  |  | 0.000 | 0.00 | 0.00
9 |  | Outgoings |  |  | 0.000 | 0.00 | 0.00
10 |  | a) 63A 4P MCB, C TYPE - 3 Nos |  |  | 0.000 | 0.00 | 0.00
11 |  | b) 40A 4P MCB, C TYPE - 2 Nos |  |  | 0.000 | 0.00 | 0.00
12 |  | c) 32A DP MCB, C TYPE - 2 Nos |  |  | 0.000 | 0.00 | 0.00
13 |  | d) 20A 4P MCB, C TYPE - 2 Nos |  |  | 0.000 | 0.00 | 0.00
14 |  | e) MPCB SUITABLE for 1.5 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-1 Nos. |  |  | 0.000 | 0.00 | 0.00
15 |  | f) MPCB SUITABLE for 1.1 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-2 Nos. |  |  | 0.000 | 0.00 | 0.00
16 | 1.1 | Supply,Installation,Testing and Commissioning of 20 Amps,DP ELMCB 100mA for HVAC Outdoor Isolation all complete with mounting accessories |  | Nos. | 0.000 | 0.00 | 0.00
17 | 1.2 | Supply,Installation,Testing and Commissioning of 63 Amps,3Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. |  | Nos. | 0.000 | 0.00 | 0.00
18 | 1.3 | Supply,Installation,Testing and Commissioning of 40 Amps,4Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. |  | Nos. | 3.000 | 0.00 | 0.00
19 | 1.4 | Supply,Installation,Testing and Commissioning of 32 Amps, DP, MCB for UPS Isolation all complete with mounting accessories for UPS. |  | Nos. | 2.000 | 0.00 | 0.00
20 | 1.14 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make model No. 6078 80 |  | Nos. | 2.000 | 0.00 | 0.00
21 | 1.17 | 20 32A Rey roll socket complete with 25 amps SPMCB with 3 pin metal clad socket Plug top |  | Nos. | 2.000 | 0.00 | 0.00
22 |  | I) 25A, 3Pin industrial metal clad Socket with MCB – 1nos |  |  | 0.000 | 0.00 | 0.00
23 |  | I) 20A, 3Pin industrial metal clad Socket with MCB – 1nos |  |  | 0.000 | 0.00 | 0.00
24 |  | ii)set of 2nos 16A Bakelite Socket with 2nos 16A Switch –3nos |  |  | 0.000 | 0.00 | 0.00
25 |  | iii) Data Socket – 2nos |  |  | 0.000 | 0.00 | 0.00
26 |  | iv) Telephone Socket – 1no. |  |  | 0.000 | 0.00 | 0.00
27 | II | UPS |  |  | 0.000 | 0.00 | 0.00
28 | 1 | Supply, Installation, testing and commissioning of 3.0 KVA UPS System Single Phase I C Single Phase O G complete with 30 Minutes Battery Back-up the required accessories as specified in the drawings the specifications. |  | Nos. | 1.000 | 0.00 | 0.00
29 | III | DISTRIBUTION BOARDS |  |  | 0.000 | 0.00 | 0.00
30 |  | Supply, installation, testing commissioning of Distribution Boards surface flush mounted with Double door containing MCB ELMCB as incomer and SPMCB as outgoing. All MCBs are of 10KA breaking capacity and ELMCBs RCCB should be of 30mA 100 300 mA sensiv |  |  | 0.000 | 0.00 | 0.00
31 | 2 | Kitchen Power DB - KPDB |  | Nos. | 1.000 | 0.00 | 0.00
32 |  | 8 way TPN DB |  |  | 0.000 | 0.00 | 0.00
33 |  | I C-63A FP MCB -1 Nos |  |  | 0.000 | 0.00 | 0.00
34 |  | SUB I C 40A DP RCCB @ 100mA - 3 Nos |  |  | 0.000 | 0.00 | 0.00
35 |  | O G -18 # 10 16 20A SP MCB |  |  | 0.000 | 0.00 | 0.00
36 | 3 | LDB |  | Nos. | 1.000 | 0.00 | 0.00
37 |  | 12 way SPN DB |  |  | 0.000 | 0.00 | 0.00
38 |  | I C-32A RCBO 30mA-1 Nos |  |  | 0.000 | 0.00 | 0.00
39 |  | O G -8 # 6 10A SP MCB |  |  | 0.000 | 0.00 | 0.00
40 | 4 | UPSDB |  | Nos. | 1.000 | 0.00 | 0.00
41 |  | 12 way SPN DB |  |  | 0.000 | 0.00 | 0.00
42 |  | I C-32A RCBO 30mA-1 Nos |  |  | 0.000 | 0.00 | 0.00
43 |  | O G -8 # 6 10A SP MCB |  |  | 0.000 | 0.00 | 0.00
44 | IV | CABLES ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
45 |  | Supply installation of following LT XLPE FRLS cables rated for 600 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with |  |  | 0.000 | 0.00 | 0.00
46 | 9 | 4C x 25 Sq. mm A2XFY |  | Mtr. | 30.000 | 0.00 | 0.00
47 | 10 | 4C x 16 Sq. mm A2XFY |  | Mtr. | 10.000 | 0.00 | 0.00
48 | 11 | 4C x 10 Sq. mm A2XFY |  | Mtr. | 10.000 | 0.00 | 0.00
49 | 12 | 4C x 10 Sq. mm 2XFY ( Cu ) |  | Mtr. | 10.000 | 0.00 | 0.00
50 | 13 | 4C x 16 Sq. mm 2XFY Cable ( Cu ) |  | Mtr. | 10.000 | 0.00 | 0.00
51 | 14 | 4C x 6 Sq. mm 2XFY Cable ( Cu ) |  | Mtr. | 10.000 | 0.00 | 0.00
52 | 15 | 4C x 2.5 Sq. mm 2XFY Cable ( Cu ) |  | Mtr. | 10.000 | 0.00 | 0.00
53 | 17 | 3C x 4sq. mm YWY cable ( Cu ) |  | Mtr. | 20.000 | 0.00 | 0.00
54 | 18 | 3C x 2.5 Sq. mm YWY cable ( Cu ) |  | Mtr. | 80.000 | 0.00 | 0.00
55 | 24 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) |  | Mtr. | 45.000 | 0.00 | 0.00
56 | 25 | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) |  | Mtr. | 50.000 | 0.00 | 0.00
57 | B | Termination of following sizes of cables with Single compression cable gland.(COMET BRAKO) |  |  | 0.000 | 0.00 | 0.00
58 | 9 | 4C x 25 Sq. mm A2XFY |  | Nos. | 2.000 | 0.00 | 0.00
59 | 10 | 4C x 16 Sq. mm A2XFY |  | Nos. | 2.000 | 0.00 | 0.00
60 | 18 | 3C x 2.5 Sq. mm YWY cable ( Cu ) |  | Nos. | 6.000 | 0.00 | 0.00
61 | 24 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) |  | Nos. | 4.000 | 0.00 | 0.00
62 | 25 | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) |  | Nos. | 2.000 | 0.00 | 0.00
63 | V | WIRING ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
64 |  | 1) Rates for point wiring shall include supply installation of Wires wiring acccessories such as angle holders ceiling roses as required. conduits, conduit accessories such as junction boxes, Ts, elbows etc,Switches, sockets fixtures shall not be |  |  | 0.000 | 0.00 | 0.00
65 |  | 2) Unless otherwise specified, all wires in point wiring shall be 2.5 sq.mm |  |  | 0.000 | 0.00 | 0.00
66 |  | Stranded copper conductor 1.1 KV grade, I.S.I. marked (P+N+E), |  |  | 0.000 | 0.00 | 0.00
67 |  | (FRLSH) PVC insulated . |  |  | 0.000 | 0.00 | 0.00
68 |  | Wires shall be colour coded (Red, Yellow and Blue for Phases, |  |  | 0.000 | 0.00 | 0.00
69 |  | Black for Neutral Green for earth). |  |  | 0.000 | 0.00 | 0.00
70 |  | 3) Looping of wires shall be in fittings and switch boxes only |  |  | 0.000 | 0.00 | 0.00
71 |  | 4) Location of switches sockets DBs shown on the drawings shall |  |  | 0.000 | 0.00 | 0.00
72 |  | be confirmed with the Architect Consultant Project Manager |  |  | 0.000 | 0.00 | 0.00
73 |  | before installation. |  |  | 0.000 | 0.00 | 0.00
74 |  | 5) All Surface and concealed Conduits shall be rigid GI conduits of |  |  | 0.000 | 0.00 | 0.00
75 |  | size not less than 20 mm dia as per applicable IS. |  |  | 0.000 | 0.00 | 0.00
76 |  | 6)The Contractor can take more than one circuit in the same conduit |  |  | 0.000 | 0.00 | 0.00
77 |  | provided they are of the same phase. The size of conduit shall be |  |  | 0.000 | 0.00 | 0.00
78 |  | decided according to the number of wires in it as per applicable IS as |  |  | 0.000 | 0.00 | 0.00
79 |  | specified. |  |  | 0.000 | 0.00 | 0.00
80 |  | 7) Payments for light fixtures fans will be made separately as per the |  |  | 0.000 | 0.00 | 0.00
81 |  | items given in Light Fixtures Accessories . |  |  | 0.000 | 0.00 | 0.00
82 |  | 8) Type location of light fixtures shown in the drawings are |  |  | 0.000 | 0.00 | 0.00
83 |  | tentative and subject to revision as per the recommendation of |  |  | 0.000 | 0.00 | 0.00
84 |  | Architect Consultant. The quantities (number of points and accessories) |  |  | 0.000 | 0.00 | 0.00
85 |  | of point wiring will be revised as actual installed on account of such |  |  | 0.000 | 0.00 | 0.00
86 |  | revisions in the layouts. |  |  | 0.000 | 0.00 | 0.00
87 |  | 9) Circuit wiring from DBs to the switch boards or first light point shall |  |  | 0.000 | 0.00 | 0.00
88 |  | Be included as primary points remaining points of the same looping |  |  | 0.000 | 0.00 | 0.00
89 |  | shall be considered as Secondary points and shall be counted in nos. |  |  | 0.000 | 0.00 | 0.00
90 |  | 10) Circuit Wiring from DB to Kitchen Power points shall be measured in running meters |  |  | 0.000 | 0.00 | 0.00
91 | 1 | Supply, installation, testing commissioning of point wiring for light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points shall |  |  | 0.000 | 0.00 | 0.00
92 | a) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) |  | Nos. | 0.000 | 0.00 | 0.00
93 | b) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) |  | Nos. | 0.000 | 0.00 | 0.00
94 | 1 | Supply, installation, testing commissioning of point wiring for EMER light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points |  |  | 0.000 | 0.00 | 0.00
95 | a) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) |  | Nos. | 0.000 | 0.00 | 0.00
96 | b) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) |  | Nos. | 0.000 | 0.00 | 0.00
97 | 2 | Supply, installation, testing commissioning of point wiring for light Point points, power points. Point wiring for primary point shall include wiring from Switch Board upto First point of the circuit and shall be measured in nos. Secondary points shal |  |  | 0.000 | 0.00 | 0.00
98 | a) | Primary Light Fan points controlled by Switch (1R 3Cx 2.5 sqmm wire) |  | Nos. | 15.000 | 0.00 | 0.00
99 | b) | Secondary Light Fan points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) |  | Nos. | 22.000 | 0.00 | 0.00
100 | c) | DB to SB SB to SB circuit wiring Wiring for switch board controlled by MCB already installed in DB by using 3 X 2.5 sq. mm flexible FRLSH copper wires in 25mm rigid GI conduits as per IS 9537 part-3 or surface mounted. |  | Mtrs | 80.000 | 0.00 | 0.00
101 | 5 | Providing point wiring for a cluster of 2 nos.6 amps socket outlets and 1 no. 16A switch pop up box for Computer POS Power Points using 3Cx4 sq. mm PVC insulated copper conductor wires from UPSDB to plug point in Existing Floor Raceway GI Conduits a |  |  | 0.000 | 0.00 | 0.00
102 | a) | Primary Point |  | Nos. | 1.000 | 0.00 | 0.00
103 | b) | Secondary points |  | Nos. | 1.000 | 0.00 | 0.00
104 | 7 | Providing point wiring for Raw Power points 1no. 6 16A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4 sq. mm copper conductor wires . (Cost of GI Conduit is included and switch sockets are considered elsewhere). |  |  | 0.000 | 0.00 | 0.00
105 | a) | Primary Point |  | Nos. | 15.000 | 0.00 | 0.00
106 | b) | Secondary points |  | Nos. | 14.000 | 0.00 | 0.00
107 | 8 | Providing point wiring for Raw Power points 1no. 6A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4sq. mm copper conductor wires (Cost of GI Conduit is included and switch sockets are considered elsewhere). (Wires |  |  | 0.000 | 0.00 | 0.00
108 | a) | Primary Point |  | Nos. | 10.000 | 0.00 | 0.00
109 | b) | Secondary points |  | Nos. | 10.000 | 0.00 | 0.00
110 | 10 | Providing point wiring for Primary Secondary CCTV points using 3Cx4 sq. mm PVC insulated copper flexible FRLSH cable in already laid 25 mm dia. GI conduit surface mounted on ceiling, concealed in wall and or through partitions with necessary boxes pul |  | Mtr. | 10.000 | 0.00 | 0.00
111 | 11 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid GI conduit concealed or surface mounted making connections where ever required to complete the installation.(For Kitchen Power Poi |  |  | 0.000 | 0.00 | 0.00
112 | a) | 3Cx4 Sqmm Cu. Wires |  | Mtr. | 300.000 | 0.00 | 0.00
113 | b) | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires |  | Mtr. | 10.000 | 0.00 | 0.00
114 | 12 | Supply installation of 25 mm dia. GI conduit with pull box junction box all accessories for Kitchen Bar Power wiring as per the requirement |  |  | 0.000 | 0.00 | 0.00
115 | a | - do - but conduit pipe shall be Rigid type. |  | Mtr. | 150.000 | 0.00 | 0.00
116 | b | - do - but flexible conduit pipe |  | Mtr. | 20.000 | 0.00 | 0.00
117 | 13 | Supply installation of 20 mm dia. GI conduit with pull box junction box all accessories for Lighting Power wiring as per the requirement |  |  | 0.000 | 0.00 | 0.00
118 | a | - do - but conduit pipe shall be Rigid type. |  | Mtr. | 50.000 | 0.00 | 0.00
119 | 14 | Supply and installation of Perforated Cable Tray (ASIAN)out of 14 gauge GI sheet complete with necessary fixing arrangement with Anchor Fastener and all other accessories as per the final approval of the Consultant Architect |  |  | 0.000 | 0.00 | 0.00
120 | a | 300 x 50 x 2mm |  | Mtr. | 20.000 | 0.00 | 0.00
121 | c | 150 x 50 x 2mm |  | Mtr. | 30.000 | 0.00 | 0.00
122 | 15 | Supply and installation of GI trunking (SV POWER ASIAN) with 2 mm thickness properties clamps for suspension at appropriate intervals as per the route approved by Architect Consultant. (For DATA CONTROL WIRING LIGHTING POWER CIRCUITS KITCHEN) |  |  | 0.000 | 0.00 | 0.00
123 | e | 50 x 50 x 2mm |  | Mtr. | 20.000 | 0.00 | 0.00
124 | 16 | Supply and installation of GI raceway with 2 mm thickness proper ties clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included). |  |  | 0.000 | 0.00 | 0.00
125 | c | 1 runs of underfloor GI raceways of size 100 x 40 mm |  | Mtr. | 20.000 | 0.00 | 0.00
126 | 17 | Supply installation of GI junction boxes with 2 mm thickness, 2mm thick SS cover with 2” extra on all sides SS cover on top and having screw fixed plates on all four sides with knock out holes for conduits. The plates shall be retained on the sidezs ha |  |  | 0.000 | 0.00 | 0.00
127 | d | suitable for 150 x 150 x 50 mm |  | Nos. | 3.000 | 0.00 | 0.00
128 | 18 | Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant |  |  | 0.000 | 0.00 | 0.00
129 | a | 6A one way plate type switch |  | Nos. | 20.000 | 0.00 | 0.00
130 | b | 6A 5 pin Socket outlet |  | Nos. | 2.000 | 0.00 | 0.00
131 | c | 6A 5pin switch socket outlet for CCTV Charging point |  | Nos. | 12.000 | 0.00 | 0.00
132 | d | 2 nos 6A switch socket outlet |  | Nos. | 2.000 | 0.00 | 0.00
133 | f | 1 nos. 6 16A socket controlled by1nos 6 16A switch for Kitchen |  | Nos. | 25.000 | 0.00 | 0.00
134 | h | Data Socket (D-Link) |  | Nos. | 10.000 | 0.00 | 0.00
135 | i | Telephone Socket |  | Nos. | 2.000 | 0.00 | 0.00
136 | j | TV Socket |  | Nos. | 4.000 | 0.00 | 0.00
137 | 16 | Supply, installation of temporary lighting power arrangement for construction purpose of with industrial type switch sockets MCB s ELCB s lighting fittings as required to finish the work for interior contractor necessary electrical protections thr |  | Job | 1.000 | 0.00 | 0.00
138 | 1 | 22 W DOWN LIGHT |  | Nos. | 32.000 | 0.00 | 0.00
139 | 4 | TUBE LIGHT |  | Nos. | 2.000 | 0.00 | 0.00
140 | VII | EARTHING |  |  | 0.000 | 0.00 | 0.00
141 | 3 | Supply erection of G.I. strip of 25 x 3 mm used for earthing on wall, cable trays with necessary clamps fixed on wall painted with bituminous paint in an approved manner. |  | Mtr. | 60.000 | 0.00 | 0.00
142 | 5 | Supplying erecting bare copper conductor of 8 swg for earthing purpose |  | Mtr. | 40.000 | 0.00 | 0.00
143 | 9 | Supplying installation testing commissioning of earth terminal box |  | Nos. | 1.000 | 0.00 | 0.00
144 | VIII | MISCELLANEOUS |  |  | 0.000 | 0.00 | 0.00
145 | 1 | Supply Installation of 6A 3 pin plug top |  | Nos. | 4.000 | 0.00 | 0.00
146 | 2 | Supply Installation of 16A 3 pin plug top |  | Nos. | 8.000 | 0.00 | 0.00
147 | 4 | Supply laying of Rubber Mats, CPRI tested conforming to standards like BS 921, ASTM-D 178 IEC 479 for different operatng voltage ratings as below. |  |  | 0.000 | 0.00 | 0.00
148 | 7 | Supply fixing of the best quality LT Danger Boards(415V) for of approved shape and size as specified by the local electrical authorities written in English, and local Language |  | Nos. | 1.000 | 0.00 | 0.00
149 | A | DATA AND TELEPHONE SYSTEM |  |  | 0.000 | 0.00 | 0.00
150 | 1 | Supply Installation of 25mm.dia. HMS GI conduit with pull box junction box all accessories for DATA VOICE WIFI wiring as per the requirement. |  | Mtr. | 150.000 | 0.00 | 0.00
151 | 2 | Supply Installation of Cat-6 E Cable in above conduits for DATA System. |  | Mtr. | 200.000 | 0.00 | 0.00