## Price Comparison
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | Comp. Date : 04/05/2024 | Comp. Date : 04/05/2024 | Comp. Date : 04/05/2024 | Vendor Name : Arrow Electricals (RV232411833) | [5 empty] | Vendor Name : Rudra Ineriors (RV232421261) | [5 empty] | Vendor Name : Electech Enterprises (RV232412099)
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ #: R0866 | RFQ #: R0866 | RFQ #: R0866 | Contact Name : | [5 empty] | Contact Name : Manoj | [5 empty] | Contact Name :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ Date : 02/05/2024 17:39:42 | RFQ Date : 02/05/2024 17:39:42 | RFQ Date : 02/05/2024 17:39:42 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | BCD Date : 03/05/2024 15:41:00 | BCD Date : 03/05/2024 15:41:00 | BCD Date : 03/05/2024 15:41:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | Email : khakesantosh10@gmail.com | [5 empty] | Email : manoj@rudrasip.com | [5 empty] | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Round # : 4 (RFQ) | [5 empty] | Round # : 4 (RFQ) | [5 empty] | Round # : 4 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Electrical | NOS | 1.00 |  | 1459280.00 | Arrow Electricals | 1582345.00 | 1.40 | 18.00 |  | 1,459,280.00 | 1,459,280.00 | 1583740.00 | 0.00 | 18.00 |  | 1,583,740.00 | 1,583,740.00 | 1925610.00 | 0.00 | 18.00 |  | 1,478,780.00 | 1,478,780.00
Item Total | [8 empty] | 20,720.00 | 262,670.40 |  |  | 1,459,280.00 |  | .00 | 285,073.20 |  |  | 1,583,740.00 |  | .00 | 266,180.40 |  |  | 1,478,780.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | 20,720.00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 262,670.40 | [5 empty] | 285,073.20 | [5 empty] | 266,180.40
Net Landed Cost | [11 empty] | INR | 1,721,950.40 |  |  |  |  | INR | 1,868,813.20 |  |  |  |  | INR | 1,744,960.40
Vendor Status | [7 empty] | Round # : 4 (RFQ) | Round # : 4 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421261 | Rudra Ineriors | [5 empty] | Participate
2 | RV232412099 | Electech Enterprises | [5 empty] | Participate
3 | RV232411833 | Arrow Electricals | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | Comp. Date : 04/05/2024 | Comp. Date : 04/05/2024 | Comp. Date : 04/05/2024 | Vendor Name : Arrow Electricals | Vendor Name : Arrow Electricals | Vendor Name : Rudra Ineriors | Vendor Name : Rudra Ineriors | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ #: R0866 | RFQ #: R0866 | RFQ #: R0866 | Contact Name : | Contact Name : | Contact Name : Manoj | Contact Name : Manoj | Contact Name : | Contact Name :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ Date : 02/05/2024 17:39:42 | RFQ Date : 02/05/2024 17:39:42 | RFQ Date : 02/05/2024 17:39:42 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | BCD Date : 03/05/2024 15:41:00 | BCD Date : 03/05/2024 15:41:00 | BCD Date : 03/05/2024 15:41:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | Email : khakesantosh10@gmail.com | Email : khakesantosh10@gmail.com | Email : manoj@rudrasip.com | Email : manoj@rudrasip.com | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical | Electrical | NOS | 1.000 |  |  | 1,480,000.00 |  | 1,583,740.00 |  | 1,478,780.00
1 | 1.01 | Design, fabrication, assembling, wiring supply, installation, testing commissioning of Change over Panel, fabricated steel CRCA painted sheet steel. The boards shall be treated with all anticorrosive process before painting as per standards with final approved shade of powder coated as approved. 2 nos. Earthing terminals shall be provided for all panels. Boards shall be fabricated in length, height, depth etc. To match with site conditions. | Design, fabrication, assembling, wiring supply, installation, testing commissioning of Change over Panel, fabricated steel CRCA painted sheet steel. The boards shall be treated with all anticorrosive process before painting as per standards with final approved shade of powder coated as approved. 2 nos. Earthing terminals shall be provided for all panels. Boards shall be fabricated in length, height, depth etc. To match with site conditions.
2 | a | 125A 4pole Change over Switch AUTO type | 125A 4pole Change over Switch AUTO type | Unit | 0.000 | .00 | 35650.00 | .00 | 0.00 | .00 | 0.00 | .00
3 | c | 200A 4pole Change over Switch AUTO type | 200A 4pole Change over Switch AUTO type | Unit | 0.000 | .00 | 53400.00 | .00 | 0.00 | .00 | 0.00 | .00
4 | d | 250A 4pole Change over Switch AUTO type | 250A 4pole Change over Switch AUTO type | Unit | 0.000 | .00 | 66340.00 | .00 | 0.00 | .00 | 0.00 | .00
5 | 2 | SITC OF ENCLOSURES FOR MCB FOR OUTDOOR APPLICATION WITH MCB DP FP | SITC OF ENCLOSURES FOR MCB FOR OUTDOOR APPLICATION WITH MCB DP FP
6 | 2.01 | DP MCB in weather proof enclosure with MCB | DP MCB in weather proof enclosure with MCB
7 | a | 40-63A | 40-63A | Nos | 2.000 | 6,100.00 | 3050.00 | 6,100.00 | 4500.00 | 9,000.00 | 3800.00 | 7,600.00
8 | b | 6-32A | 6-32A | Nos | 3.000 | 7,530.00 | 2510.00 | 7,530.00 | 3500.00 | 10,500.00 | 3500.00 | 10,500.00
9 | 2.02 | 4 POLE MCB in weather proof enclosure with MCB | 4 POLE MCB in weather proof enclosure with MCB
10 | c | 6-32A | 6-32A | Nos | 1.000 | 4,500.00 | 6890.00 | 6,890.00 | 4500.00 | 4,500.00 | 4500.00 | 4,500.00
11 | 3 | SITC OF INDUSTRIAL TYPE LE-GRAND METRA PLUG TEMPRA PLUG FOR EQUIPMENT POWER CONNECTIONS WITH REQUIRED MCB | SITC OF INDUSTRIAL TYPE LE-GRAND METRA PLUG TEMPRA PLUG FOR EQUIPMENT POWER CONNECTIONS WITH REQUIRED MCB
12 | 3.01 | 40A 5Pin 3 Phase Plug and Socket with TPN MCB | 40A 5Pin 3 Phase Plug and Socket with TPN MCB | Nos. | 3.000 | 20,400.00 | 9500.00 | 28,500.00 | 6800.00 | 20,400.00 | 12500.00 | 37,500.00
13 | 3.02 | 32A 5Pin 3 Phase Plug and Socket with TPN MCB | 32A 5Pin 3 Phase Plug and Socket with TPN MCB | Nos | 2.000 | 12,000.00 | 8240.00 | 16,480.00 | 6000.00 | 12,000.00 | 12000.00 | 24,000.00
14 | 3.03 | 32A 3Pin Single Phase Plug and Socket with SP MCB | 32A 3Pin Single Phase Plug and Socket with SP MCB | Nos | 2.000 | 6,400.00 | 3250.00 | 6,500.00 | 4850.00 | 9,700.00 | 3200.00 | 6,400.00
15 | 3.04 | 20A 3Pin SP Metal Clad Socket with SP MCB (Industrial Type) | 20A 3Pin SP Metal Clad Socket with SP MCB (Industrial Type) | Nos | 30.000 | 72,000.00 | 2550.00 | 76,500.00 | 3250.00 | 97,500.00 | 2400.00 | 72,000.00
16 | 4 | CABLES, TRAYS TERMINATIONS | CABLES, TRAYS TERMINATIONS
17 | 4.01 | SITC of cables 1.1KV grade PVC XLPE insulated armoured Aluminium Copper conducter cables. The cables shall be laid as per drawings or on cable trays laid over MS supports, cable racks, or fixing on wall including clamping of cable, or in wall chases. Rate to include making good the wall chases with cement mortar. | SITC of cables 1.1KV grade PVC XLPE insulated armoured Aluminium Copper conducter cables. The cables shall be laid as per drawings or on cable trays laid over MS supports, cable racks, or fixing on wall including clamping of cable, or in wall chases. Rate to include making good the wall chases with cement mortar.
18 | b | 3 C X 2.5 sq. mm. CU PVC ARMOURED | 3 C X 2.5 sq. mm. CU PVC ARMOURED | Rmt | 100.000 | 22,000.00 | 220.00 | 22,000.00 | 250.00 | 25,000.00 | 230.00 | 23,000.00
19 | c | 3 C X 4 sq. mm. CU PVC ARMOURED | 3 C X 4 sq. mm. CU PVC ARMOURED | Rmt | 80.000 | 24,800.00 | 310.00 | 24,800.00 | 350.00 | 28,000.00 | 350.00 | 28,000.00
20 | d | 3 C X 6 sq. mm. CU PVC ARMOURED | 3 C X 6 sq. mm. CU PVC ARMOURED | Rmt | 40.000 | 17,200.00 | 430.00 | 17,200.00 | 450.00 | 18,000.00 | 550.00 | 22,000.00
21 | e | 3 C X 6 sq. mm. CU PVC UNARMOURED | 3 C X 6 sq. mm. CU PVC UNARMOURED | Rmt | 35.000 | 13,125.00 | 375.00 | 13,125.00 | 420.00 | 14,700.00 | 450.00 | 15,750.00
22 | j | 4 C X 4 sq. mm. CU PVC ARMOURED | 4 C X 4 sq. mm. CU PVC ARMOURED | Rmt | 100.000 | 37,800.00 | 378.00 | 37,800.00 | 450.00 | 45,000.00 | 400.00 | 40,000.00
23 | l | 4 C X 10 sq. mm. CU PVC ARMOURED | 4 C X 10 sq. mm. CU PVC ARMOURED | Rmt | 140.000 | 109,200.00 | 780.00 | 109,200.00 | 950.00 | 133,000.00 | 950.00 | 133,000.00
24 | s | 3.5 C X120 sq. mm. AL. XLPE CABLE ARMOURED | 3.5 C X120 sq. mm. AL. XLPE CABLE ARMOURED | Rmt | 45.000 | 47,250.00 | 1050.00 | 47,250.00 | 1050.00 | 47,250.00 | 1300.00 | 58,500.00
25 | 4.02 | SITC of Cable Terminations including single double compression chrome plated Brass glands and Copper lugs (crimping type). PVC taping as required with all accessories required, complete. | SITC of Cable Terminations including single double compression chrome plated Brass glands and Copper lugs (crimping type). PVC taping as required with all accessories required, complete.
26 | b | 3 C X 2.5 sq. mm. CU PVC ARMOURED | 3 C X 2.5 sq. mm. CU PVC ARMOURED | Nos | 8.000 | .00 | 300.00 | 2,400.00 | 0.00 | .00 | 200.00 | 1,600.00
27 | c | 3 C X 4 sq. mm. CU PVC ARMOURED | 3 C X 4 sq. mm. CU PVC ARMOURED | Nos | 10.000 | 3,800.00 | 390.00 | 3,900.00 | 380.00 | 3,800.00 | 380.00 | 3,800.00
28 | d | 3 C X 6 sq. mm. CU PVC ARMOURED | 3 C X 6 sq. mm. CU PVC ARMOURED | Nos | 4.000 | 1,640.00 | 410.00 | 1,640.00 | 450.00 | 1,800.00 | 500.00 | 2,000.00
29 | e | 3 C X 6 sq. mm. CU PVC UNARMOURED | 3 C X 6 sq. mm. CU PVC UNARMOURED | Nos | 4.000 | 1,800.00 | 450.00 | 1,800.00 | 450.00 | 1,800.00 | 450.00 | 1,800.00
30 | j | 4 C X 4 sq. mm. CU PVC ARMOURED | 4 C X 4 sq. mm. CU PVC ARMOURED | Nos | 10.000 | 4,000.00 | 400.00 | 4,000.00 | 480.00 | 4,800.00 | 400.00 | 4,000.00
31 | l | 4 C X 10 sq. mm. CU PVC ARMOURED | 4 C X 10 sq. mm. CU PVC ARMOURED | Nos | 8.000 | 4,400.00 | 560.00 | 4,480.00 | 550.00 | 4,400.00 | 980.00 | 7,840.00
32 | s | 3.5 C X120 sq. mm. AL. XLPE CABLE ARMOURED | 3.5 C X120 sq. mm. AL. XLPE CABLE ARMOURED | Nos | 2.000 | 1,700.00 | 1150.00 | 2,300.00 | 850.00 | 1,700.00 | 1500.00 | 3,000.00
33 | t | 3.5 C X150 sq. mm. AL. XLPE CABLE ARMOURED | 3.5 C X150 sq. mm. AL. XLPE CABLE ARMOURED
34 | 4.03 | SITC of prefabricated GI Perforated type 2MM THICK X 50MM HT. cable trays including Tees Bends Crossing Reducers Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as required including support at every 1500mm as required | SITC of prefabricated GI Perforated type 2MM THICK X 50MM HT. cable trays including Tees Bends Crossing Reducers Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as required including support at every 1500mm as required
35 | e | 300mm wide PERFORATED type cable tray with support | 300mm wide PERFORATED type cable tray with support | Rmt | 30.000 | 34,500.00 | 1190.00 | 35,700.00 | 1150.00 | 34,500.00 | 1200.00 | 36,000.00
36 | 6 | SITC OF SWITCHES, SOCKETS, INCLUSIVE OF FRONT MOUNTING PLATE BACK BOXES WITH ALL ACCESSORIES | SITC OF SWITCHES, SOCKETS, INCLUSIVE OF FRONT MOUNTING PLATE BACK BOXES WITH ALL ACCESSORIES
37 | a | 6A Switch for Lighting control. | 6A Switch for Lighting control. | Nos | 6.000 | 1,260.00 | 230.00 | 1,380.00 | 750.00 | 4,500.00 | 210.00 | 1,260.00
38 | b | 6A Power Switch Socket set | 6A Power Switch Socket set | Set | 35.000 | 21,350.00 | 610.00 | 21,350.00 | 750.00 | 26,250.00 | 620.00 | 21,700.00
39 | c | 6 16A Power Switch Socket set | 6 16A Power Switch Socket set | Set | 18.000 | 14,400.00 | 850.00 | 15,300.00 | 960.00 | 17,280.00 | 800.00 | 14,400.00
40 | d | 6A Socket | 6A Socket | Nos | 18.000 | 6,300.00 | 350.00 | 6,300.00 | 450.00 | 8,100.00 | 425.00 | 7,650.00
41 | g | 6 16A Power and Switch Socket in weather proof enclosure | 6 16A Power and Switch Socket in weather proof enclosure | Nos | 12.000 | 18,000.00 | 2050.00 | 24,600.00 | 2800.00 | 33,600.00 | 1500.00 | 18,000.00
42 | i | Door bell call bell | Door bell call bell | Nos | 1.000 | 600.00 | 1200.00 | 1,200.00 | 1800.00 | 1,800.00 | 600.00 | 600.00
43 | 7 | WIRING CONDUITING | WIRING CONDUITING
44 | 7.01 | SITC of concealed point wiring using 600V grade 3 x 2.5 sqmm FRLS copper conducter insulated wires with proper pulled through GI conduit clamped on over head slab, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar, WITH JUNCTION BOX ALL REQUIRED ACCESSORIES. (of any wire length, NO EXTRA LENGTH WILL BE PAID) | SITC of concealed point wiring using 600V grade 3 x 2.5 sqmm FRLS copper conducter insulated wires with proper pulled through GI conduit clamped on over head slab, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar, WITH JUNCTION BOX ALL REQUIRED ACCESSORIES. (of any wire length, NO EXTRA LENGTH WILL BE PAID)
45 | a | Primary light points on switch BOARD (Without Switch MCB cost- switch to be billed in section 8 above, CIRCUIT LENGTH OF SWITCH BOARD TO PANEL DB TO BE BILLED IN RESPECTIVE SECTION) | Primary light points on switch BOARD (Without Switch MCB cost- switch to be billed in section 8 above, CIRCUIT LENGTH OF SWITCH BOARD TO PANEL DB TO BE BILLED IN RESPECTIVE SECTION) | Nos | 4.000 | 5,000.00 | 2250.00 | 9,000.00 | 1250.00 | 5,000.00 | 2500.00 | 10,000.00
46 | B | Primary light points on MCB control | Primary light points on MCB control | Nos | 10.000 | 15,500.00 | 3800.00 | 38,000.00 | 1550.00 | 15,500.00 | 2400.00 | 24,000.00
47 | C | Secondary light points BY Switch or MCB | Secondary light points BY Switch or MCB | Nos | 21.000 | 19,950.00 | 1450.00 | 30,450.00 | 950.00 | 19,950.00 | 1500.00 | 31,500.00
48 | 7.02 | SITC of FRLS circuits pulled through GI conduits clamped on over head slab, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. | SITC of FRLS circuits pulled through GI conduits clamped on over head slab, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar.
49 | e | 2X6.0 + 1X4.0 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) | 2X6.0 + 1X4.0 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) | Rmt | 40.000 | 10,800.00 | 344.00 | 13,760.00 | 270.00 | 10,800.00 | 400.00 | 16,000.00
50 | f | 2X4.0 + 1X2.5 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) | 2X4.0 + 1X2.5 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) | Rmt | 480.000 | 110,400.00 | 281.00 | 134,880.00 | 230.00 | 110,400.00 | 320.00 | 153,600.00
51 | H | 2X2.5 + 1X1.5 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) or switch board for lighting | 2X2.5 + 1X1.5 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) or switch board for lighting | Rmt | 850.000 | 174,250.00 | 220.00 | 187,000.00 | 205.00 | 174,250.00 | 300.00 | 255,000.00
52 | 8 | EARTHING | EARTHING
53 | 8.01 | SITC of earthing wire including necessary accessories, clamped on over head slab or walls, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. Interconnection between lengths should be as per specifications and as per good installation practice. | SITC of earthing wire including necessary accessories, clamped on over head slab or walls, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. Interconnection between lengths should be as per specifications and as per good installation practice.
54 | b | 25 X 3 mm GI Strip | 25 X 3 mm GI Strip | Rmt | 100.000 | 10,000.00 | 190.00 | 19,000.00 | 125.00 | 12,500.00 | 100.00 | 10,000.00
55 | d | 8 SWG hard drawn bare GI wire | 8 SWG hard drawn bare GI wire | Rmt | 200.000 | 8,000.00 | 50.00 | 10,000.00 | 85.00 | 17,000.00 | 40.00 | 8,000.00
56 | e | 12 SWG hard drawn bare GI wire | 12 SWG hard drawn bare GI wire | Rmt | 150.000 | 6,000.00 | 45.00 | 6,750.00 | 120.00 | 18,000.00 | 40.00 | 6,000.00
57 | 8.02 | SITC of runs of insulated copper wire as earthing conducter including necessary accessories, clamped on over head slab or walls, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. Interconnection between lengths should be as per specifications and as per good installation practice. | SITC of runs of insulated copper wire as earthing conducter including necessary accessories, clamped on over head slab or walls, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. Interconnection between lengths should be as per specifications and as per good installation practice.
58 | b | 1C X 16 sq. mm. | 1C X 16 sq. mm. | Rmt | 60.000 | 10,800.00 | 270.00 | 16,200.00 | 350.00 | 21,000.00 | 180.00 | 10,800.00
59 | 8.03 | SITC of Copper Earthing station as per specification and IS 3043-1985 for equipment earthing for UPS and IT earthing. Following guidelines to be maintained | SITC of Copper Earthing station as per specification and IS 3043-1985 for equipment earthing for UPS and IT earthing. Following guidelines to be maintained | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
60 | a | Excavation in hard marrum | Excavation in hard marrum
61 | b | Watering pipe | Watering pipe
62 | c | Earthing strip Earthing cable | Earthing strip Earthing cable
63 | d | Plate pipe electrode | Plate pipe electrode
64 | e | Hardware | Hardware
65 | F | Brick masonry chamber with C.I. hinged cover and funnel | Brick masonry chamber with C.I. hinged cover and funnel
66 | G | Charcoal and salt fill | Charcoal and salt fill
67 | H | Equipotential bar | Equipotential bar
68 | I | 600 x 600 x 3 mm. Thick CU. Earth electrode type earth station | 600 x 600 x 3 mm. Thick CU. Earth electrode type earth station
69 | J | Brick masonry chamber with C.I. hinged cover and funnel | Brick masonry chamber with C.I. hinged cover and funnel | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
70 | 8.04 | SITC of GI Earthing station as per specification and IS 3043-1985 for equipment earthing for panel and equipment earthing. Following guidelines to be maintained | SITC of GI Earthing station as per specification and IS 3043-1985 for equipment earthing for panel and equipment earthing. Following guidelines to be maintained | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
71 | a | Excavation in hard marrum | Excavation in hard marrum
72 | b | Watering pipe | Watering pipe
73 | c | Earthing strip Earthing cable | Earthing strip Earthing cable
74 | d | Plate pipe | Plate pipe
75 | e | Hardware | Hardware
76 | F | Charcoal and salt fill | Charcoal and salt fill
77 | G | Equipotential bar | Equipotential bar
78 | H | 600 x 600 x 6 mm. Thick GI Earth electrode type earth station | 600 x 600 x 6 mm. Thick GI Earth electrode type earth station
79 | I | Brick masonry chamber with C.I. hinged cover and funnel | Brick masonry chamber with C.I. hinged cover and funnel
80 | 8.05 | SITC of Chemical Earthing station as per specification and IS 3043-1985 for equipment earthing for panel and equipment earthing. Following guidelines to be maintained | SITC of Chemical Earthing station as per specification and IS 3043-1985 for equipment earthing for panel and equipment earthing. Following guidelines to be maintained | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
81 | a | Excavation in hard marrum | Excavation in hard marrum
82 | b | Chemical compound | Chemical compound
83 | c | Earthing strip Earthing cable | Earthing strip Earthing cable
84 | d | Cu pipe in pipe electrode | Cu pipe in pipe electrode
85 | e | Hardware | Hardware
86 | F | Equipotential bar | Equipotential bar
87 | G | Brick masonry chamber with C.I. hinged cover and funnel | Brick masonry chamber with C.I. hinged cover and funnel | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
88 | 8.07 | SITC of 25 x 4mm GI Earth Bus in powder coated box | SITC of 25 x 4mm GI Earth Bus in powder coated box | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
89 | 9 | SIEMENS L T MAKE MK1 3 PHASE DOL STARTER FOR ALL EXHAUST FAN FRESH AIR INLINE FAN | SIEMENS L T MAKE MK1 3 PHASE DOL STARTER FOR ALL EXHAUST FAN FRESH AIR INLINE FAN
90 | 9.01 | 5.5 KW | 5.5 KW | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
91 | 9.02 | 3.7 KW | 3.7 KW | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
92 | 9.03 | 2.2 KW | 2.2 KW | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
93 | 10 | TELEPHONE DATA TV | TELEPHONE DATA TV
94 | 10.01 | SITC of RJ45 information outlet with face plate and box | SITC of RJ45 information outlet with face plate and box | Nos | 10.000 | 4,500.00 | 560.00 | 5,600.00 | 650.00 | 6,500.00 | 450.00 | 4,500.00
95 | 10.02 | SITC of RJ11 telephone outlet with plate and box | SITC of RJ11 telephone outlet with plate and box | Nos | 3.000 | 1,200.00 | 550.00 | 1,650.00 | 520.00 | 1,560.00 | 400.00 | 1,200.00
96 | 10.03 | SITC of CAT6 data cable EXCLUDING 20mm 25mm dia. conduits | SITC of CAT6 data cable EXCLUDING 20mm 25mm dia. conduits | Rmt | 300.000 | 19,500.00 | 85.00 | 25,500.00 | 65.00 | 19,500.00 | 65.00 | 19,500.00
97 | 10.04 | SITC of CAT5 cable EXCLUDING 20mm 25mm dia. conduits for telephone | SITC of CAT5 cable EXCLUDING 20mm 25mm dia. conduits for telephone | Rmt | 80.000 | 4,800.00 | 65.00 | 5,200.00 | 60.00 | 4,800.00 | 60.00 | 4,800.00
98 | 10.05 | SITC of 10 pair telephone tag block with enclosure | SITC of 10 pair telephone tag block with enclosure | Nos | 1.000 | .00 | 950.00 | 950.00 | 1750.00 | 1,750.00 | 0.00 | .00
99 | 11 | INSTALLATION OF LIGHTING FIXTURES | INSTALLATION OF LIGHTING FIXTURES
100 | A | FIXING OF LIGHT | FIXING OF LIGHT | Nos | 31.000 | 7,750.00 | 350.00 | 10,850.00 | 350.00 | 10,850.00 | 250.00 | 7,750.00
101 | 18 | P L OF PVC TRUNKING WITH CAP | P L OF PVC TRUNKING WITH CAP
102 | A | 4 WIDE | 4 WIDE | RMT | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
103 | B | 6 WIDE | 6 WIDE | RMT | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
104 | 1 | Supply Installation | Supply Installation
105 | a | Supply of Main LT panels | Supply of Main LT panels | Nos | 1.000 | 265,000.00 | 265000.00 | 265,000.00 | 350000.00 | 350,000.00 | 298730.00 | 298,730.00
106 | b | Supply of 18 Way SPNDB | Supply of 18 Way SPNDB | Nos | 1.000 | 9,500.00 | 9500.00 | 9,500.00 | 10500.00 | 10,500.00 | 11000.00 | 11,000.00
107 | 2 | UPS | UPS
108 | 2.01 | Supply,Installation,Testing Commissioing of single Three phase UPS with 20minute battery back-up online systems with 2 nos DP MCB in weather proof enclosures. 3KVA -single phase input and single phase output ups with 25A DP MCB and 25A DP MCB on input and output of ups. 6KVA - single phase input and single phase output ups with 40A DP MCB and 40A DP MCB on input and output of ups. | Supply,Installation,Testing Commissioing of single Three phase UPS with 20minute battery back-up online systems with 2 nos DP MCB in weather proof enclosures. 3KVA -single phase input and single phase output ups with 25A DP MCB and 25A DP MCB on input and output of ups. 6KVA - single phase input and single phase output ups with 40A DP MCB and 40A DP MCB on input and output of ups.
109 | d | 6 KVA Floor Mounted | 6 KVA Floor Mounted | Nos | 1.000 | .00 | 144485.00 | 144,485.00 | 155000.00 | 155,000.00 | 0.00 | .00

## Technical Score Detail
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | Comp. Date : 04/05/2024 | Comp. Date : 04/05/2024 | Comp. Date : 04/05/2024 | Vendor Name : Arrow Electricals |  | Vendor Name : Rudra Ineriors |  | Vendor Name : Electech Enterprises
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ #: R0866 | RFQ #: R0866 | RFQ #: R0866 | Contact Name : |  | Contact Name : Manoj |  | Contact Name :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ Date : 02/05/2024 17:39:42 | RFQ Date : 02/05/2024 17:39:42 | RFQ Date : 02/05/2024 17:39:42 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | BCD Date : 03/05/2024 15:41:00 | BCD Date : 03/05/2024 15:41:00 | BCD Date : 03/05/2024 15:41:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT | RFQ No: R0866 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | PR Number : TFSPL-2425-00026 | Email : khakesantosh10@gmail.com |  | Email : manoj@rudrasip.com |  | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Package / RFQ Name : Electrical work, KFC, Delhi T1 | Round # : 4 (RFQ) |  | Round # : 4 (RFQ) |  | Round # : 4 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | Electrical |  | NOS | 1.000 | 0.00 | 0.00
2 | 1.01 | Design, fabrication, assembling, wiring supply, installation, testing commissioning of Change over Panel, fabricated steel CRCA painted sheet steel. The boards shall be treated with all anticorrosive process before painting as per standards with final approved shade of powder coated as approved. 2 nos. Earthing terminals shall be provided for all panels. Boards shall be fabricated in length, height, depth etc. To match with site conditions. |  |  | 0.000 | 0.00 | 0.00
3 | a | 125A 4pole Change over Switch AUTO type |  | Unit | 0.000 | 0.00 | 0.00
4 | c | 200A 4pole Change over Switch AUTO type |  | Unit | 0.000 | 0.00 | 0.00
5 | d | 250A 4pole Change over Switch AUTO type |  | Unit | 0.000 | 0.00 | 0.00
6 | 2 | SITC OF ENCLOSURES FOR MCB FOR OUTDOOR APPLICATION WITH MCB DP FP |  |  | 0.000 | 0.00 | 0.00
7 | 2.01 | DP MCB in weather proof enclosure with MCB |  |  | 0.000 | 0.00 | 0.00
8 | a | 40-63A |  | Nos | 2.000 | 0.00 | 0.00
9 | b | 6-32A |  | Nos | 3.000 | 0.00 | 0.00
10 | 2.02 | 4 POLE MCB in weather proof enclosure with MCB |  |  | 0.000 | 0.00 | 0.00
11 | c | 6-32A |  | Nos | 1.000 | 0.00 | 0.00
12 | 3 | SITC OF INDUSTRIAL TYPE LE-GRAND METRA PLUG TEMPRA PLUG FOR EQUIPMENT POWER CONNECTIONS WITH REQUIRED MCB |  |  | 0.000 | 0.00 | 0.00
13 | 3.01 | 40A 5Pin 3 Phase Plug and Socket with TPN MCB |  | Nos. | 3.000 | 0.00 | 0.00
14 | 3.02 | 32A 5Pin 3 Phase Plug and Socket with TPN MCB |  | Nos | 2.000 | 0.00 | 0.00
15 | 3.03 | 32A 3Pin Single Phase Plug and Socket with SP MCB |  | Nos | 2.000 | 0.00 | 0.00
16 | 3.04 | 20A 3Pin SP Metal Clad Socket with SP MCB (Industrial Type) |  | Nos | 30.000 | 0.00 | 0.00
17 | 4 | CABLES, TRAYS TERMINATIONS |  |  | 0.000 | 0.00 | 0.00
18 | 4.01 | SITC of cables 1.1KV grade PVC XLPE insulated armoured Aluminium Copper conducter cables. The cables shall be laid as per drawings or on cable trays laid over MS supports, cable racks, or fixing on wall including clamping of cable, or in wall chases. Rate to include making good the wall chases with cement mortar. |  |  | 0.000 | 0.00 | 0.00
19 | b | 3 C X 2.5 sq. mm. CU PVC ARMOURED |  | Rmt | 100.000 | 0.00 | 0.00
20 | c | 3 C X 4 sq. mm. CU PVC ARMOURED |  | Rmt | 80.000 | 0.00 | 0.00
21 | d | 3 C X 6 sq. mm. CU PVC ARMOURED |  | Rmt | 40.000 | 0.00 | 0.00
22 | e | 3 C X 6 sq. mm. CU PVC UNARMOURED |  | Rmt | 35.000 | 0.00 | 0.00
23 | j | 4 C X 4 sq. mm. CU PVC ARMOURED |  | Rmt | 100.000 | 0.00 | 0.00
24 | l | 4 C X 10 sq. mm. CU PVC ARMOURED |  | Rmt | 140.000 | 0.00 | 0.00
25 | s | 3.5 C X120 sq. mm. AL. XLPE CABLE ARMOURED |  | Rmt | 45.000 | 0.00 | 0.00
26 | 4.02 | SITC of Cable Terminations including single double compression chrome plated Brass glands and Copper lugs (crimping type). PVC taping as required with all accessories required, complete. |  |  | 0.000 | 0.00 | 0.00
27 | b | 3 C X 2.5 sq. mm. CU PVC ARMOURED |  | Nos | 8.000 | 0.00 | 0.00
28 | c | 3 C X 4 sq. mm. CU PVC ARMOURED |  | Nos | 10.000 | 0.00 | 0.00
29 | d | 3 C X 6 sq. mm. CU PVC ARMOURED |  | Nos | 4.000 | 0.00 | 0.00
30 | e | 3 C X 6 sq. mm. CU PVC UNARMOURED |  | Nos | 4.000 | 0.00 | 0.00
31 | j | 4 C X 4 sq. mm. CU PVC ARMOURED |  | Nos | 10.000 | 0.00 | 0.00
32 | l | 4 C X 10 sq. mm. CU PVC ARMOURED |  | Nos | 8.000 | 0.00 | 0.00
33 | s | 3.5 C X120 sq. mm. AL. XLPE CABLE ARMOURED |  | Nos | 2.000 | 0.00 | 0.00
34 | t | 3.5 C X150 sq. mm. AL. XLPE CABLE ARMOURED |  |  | 0.000 | 0.00 | 0.00
35 | 4.03 | SITC of prefabricated GI Perforated type 2MM THICK X 50MM HT. cable trays including Tees Bends Crossing Reducers Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as required including support at every 1500mm as required |  |  | 0.000 | 0.00 | 0.00
36 | e | 300mm wide PERFORATED type cable tray with support |  | Rmt | 30.000 | 0.00 | 0.00
37 | 6 | SITC OF SWITCHES, SOCKETS, INCLUSIVE OF FRONT MOUNTING PLATE BACK BOXES WITH ALL ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
38 | a | 6A Switch for Lighting control. |  | Nos | 6.000 | 0.00 | 0.00
39 | b | 6A Power Switch Socket set |  | Set | 35.000 | 0.00 | 0.00
40 | c | 6 16A Power Switch Socket set |  | Set | 18.000 | 0.00 | 0.00
41 | d | 6A Socket |  | Nos | 18.000 | 0.00 | 0.00
42 | g | 6 16A Power and Switch Socket in weather proof enclosure |  | Nos | 12.000 | 0.00 | 0.00
43 | i | Door bell call bell |  | Nos | 1.000 | 0.00 | 0.00
44 | 7 | WIRING CONDUITING |  |  | 0.000 | 0.00 | 0.00
45 | 7.01 | SITC of concealed point wiring using 600V grade 3 x 2.5 sqmm FRLS copper conducter insulated wires with proper pulled through GI conduit clamped on over head slab, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar, WITH JUNCTION BOX ALL REQUIRED ACCESSORIES. (of any wire length, NO EXTRA LENGTH WILL BE PAID) |  |  | 0.000 | 0.00 | 0.00
46 | a | Primary light points on switch BOARD (Without Switch MCB cost- switch to be billed in section 8 above, CIRCUIT LENGTH OF SWITCH BOARD TO PANEL DB TO BE BILLED IN RESPECTIVE SECTION) |  | Nos | 4.000 | 0.00 | 0.00
47 | B | Primary light points on MCB control |  | Nos | 10.000 | 0.00 | 0.00
48 | C | Secondary light points BY Switch or MCB |  | Nos | 21.000 | 0.00 | 0.00
49 | 7.02 | SITC of FRLS circuits pulled through GI conduits clamped on over head slab, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. |  |  | 0.000 | 0.00 | 0.00
50 | e | 2X6.0 + 1X4.0 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) |  | Rmt | 40.000 | 0.00 | 0.00
51 | f | 2X4.0 + 1X2.5 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) |  | Rmt | 480.000 | 0.00 | 0.00
52 | H | 2X2.5 + 1X1.5 sq.mm. CU FRLS wires, circuit from DB or panel to power point (Equipment) or switch board for lighting |  | Rmt | 850.000 | 0.00 | 0.00
53 | 8 | EARTHING |  |  | 0.000 | 0.00 | 0.00
54 | 8.01 | SITC of earthing wire including necessary accessories, clamped on over head slab or walls, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. Interconnection between lengths should be as per specifications and as per good installation practice. |  |  | 0.000 | 0.00 | 0.00
55 | b | 25 X 3 mm GI Strip |  | Rmt | 100.000 | 0.00 | 0.00
56 | d | 8 SWG hard drawn bare GI wire |  | Rmt | 200.000 | 0.00 | 0.00
57 | e | 12 SWG hard drawn bare GI wire |  | Rmt | 150.000 | 0.00 | 0.00
58 | 8.02 | SITC of runs of insulated copper wire as earthing conducter including necessary accessories, clamped on over head slab or walls, laid over false ceiling or in wall chases. Rate to include making good the wall chases with cement mortar. Interconnection between lengths should be as per specifications and as per good installation practice. |  |  | 0.000 | 0.00 | 0.00
59 | b | 1C X 16 sq. mm. |  | Rmt | 60.000 | 0.00 | 0.00
60 | 8.03 | SITC of Copper Earthing station as per specification and IS 3043-1985 for equipment earthing for UPS and IT earthing. Following guidelines to be maintained |  | Nos | 0.000 | 0.00 | 0.00
61 | a | Excavation in hard marrum |  |  | 0.000 | 0.00 | 0.00
62 | b | Watering pipe |  |  | 0.000 | 0.00 | 0.00
63 | c | Earthing strip Earthing cable |  |  | 0.000 | 0.00 | 0.00
64 | d | Plate pipe electrode |  |  | 0.000 | 0.00 | 0.00
65 | e | Hardware |  |  | 0.000 | 0.00 | 0.00
66 | F | Brick masonry chamber with C.I. hinged cover and funnel |  |  | 0.000 | 0.00 | 0.00
67 | G | Charcoal and salt fill |  |  | 0.000 | 0.00 | 0.00
68 | H | Equipotential bar |  |  | 0.000 | 0.00 | 0.00
69 | I | 600 x 600 x 3 mm. Thick CU. Earth electrode type earth station |  |  | 0.000 | 0.00 | 0.00
70 | J | Brick masonry chamber with C.I. hinged cover and funnel |  | Nos | 0.000 | 0.00 | 0.00
71 | 8.04 | SITC of GI Earthing station as per specification and IS 3043-1985 for equipment earthing for panel and equipment earthing. Following guidelines to be maintained |  | Nos | 0.000 | 0.00 | 0.00
72 | a | Excavation in hard marrum |  |  | 0.000 | 0.00 | 0.00
73 | b | Watering pipe |  |  | 0.000 | 0.00 | 0.00
74 | c | Earthing strip Earthing cable |  |  | 0.000 | 0.00 | 0.00
75 | d | Plate pipe |  |  | 0.000 | 0.00 | 0.00
76 | e | Hardware |  |  | 0.000 | 0.00 | 0.00
77 | F | Charcoal and salt fill |  |  | 0.000 | 0.00 | 0.00
78 | G | Equipotential bar |  |  | 0.000 | 0.00 | 0.00
79 | H | 600 x 600 x 6 mm. Thick GI Earth electrode type earth station |  |  | 0.000 | 0.00 | 0.00
80 | I | Brick masonry chamber with C.I. hinged cover and funnel |  |  | 0.000 | 0.00 | 0.00
81 | 8.05 | SITC of Chemical Earthing station as per specification and IS 3043-1985 for equipment earthing for panel and equipment earthing. Following guidelines to be maintained |  | Nos | 0.000 | 0.00 | 0.00
82 | a | Excavation in hard marrum |  |  | 0.000 | 0.00 | 0.00
83 | b | Chemical compound |  |  | 0.000 | 0.00 | 0.00
84 | c | Earthing strip Earthing cable |  |  | 0.000 | 0.00 | 0.00
85 | d | Cu pipe in pipe electrode |  |  | 0.000 | 0.00 | 0.00
86 | e | Hardware |  |  | 0.000 | 0.00 | 0.00
87 | F | Equipotential bar |  |  | 0.000 | 0.00 | 0.00
88 | G | Brick masonry chamber with C.I. hinged cover and funnel |  | Nos | 0.000 | 0.00 | 0.00
89 | 8.07 | SITC of 25 x 4mm GI Earth Bus in powder coated box |  | Nos | 0.000 | 0.00 | 0.00
90 | 9 | SIEMENS L T MAKE MK1 3 PHASE DOL STARTER FOR ALL EXHAUST FAN FRESH AIR INLINE FAN |  |  | 0.000 | 0.00 | 0.00
91 | 9.01 | 5.5 KW |  | Nos | 0.000 | 0.00 | 0.00
92 | 9.02 | 3.7 KW |  | Nos | 0.000 | 0.00 | 0.00
93 | 9.03 | 2.2 KW |  | Nos | 0.000 | 0.00 | 0.00
94 | 10 | TELEPHONE DATA TV |  |  | 0.000 | 0.00 | 0.00
95 | 10.01 | SITC of RJ45 information outlet with face plate and box |  | Nos | 10.000 | 0.00 | 0.00
96 | 10.02 | SITC of RJ11 telephone outlet with plate and box |  | Nos | 3.000 | 0.00 | 0.00
97 | 10.03 | SITC of CAT6 data cable EXCLUDING 20mm 25mm dia. conduits |  | Rmt | 300.000 | 0.00 | 0.00
98 | 10.04 | SITC of CAT5 cable EXCLUDING 20mm 25mm dia. conduits for telephone |  | Rmt | 80.000 | 0.00 | 0.00
99 | 10.05 | SITC of 10 pair telephone tag block with enclosure |  | Nos | 1.000 | 0.00 | 0.00
100 | 11 | INSTALLATION OF LIGHTING FIXTURES |  |  | 0.000 | 0.00 | 0.00
101 | A | FIXING OF LIGHT |  | Nos | 31.000 | 0.00 | 0.00
102 | 18 | P L OF PVC TRUNKING WITH CAP |  |  | 0.000 | 0.00 | 0.00
103 | A | 4 WIDE |  | RMT | 0.000 | 0.00 | 0.00
104 | B | 6 WIDE |  | RMT | 0.000 | 0.00 | 0.00
105 | 1 | Supply Installation |  |  | 0.000 | 0.00 | 0.00
106 | a | Supply of Main LT panels |  | Nos | 1.000 | 0.00 | 0.00
107 | b | Supply of 18 Way SPNDB |  | Nos | 1.000 | 0.00 | 0.00
108 | 2 | UPS |  |  | 0.000 | 0.00 | 0.00
109 | 2.01 | Supply,Installation,Testing Commissioing of single Three phase UPS with 20minute battery back-up online systems with 2 nos DP MCB in weather proof enclosures. 3KVA -single phase input and single phase output ups with 25A DP MCB and 25A DP MCB on input and output of ups. 6KVA - single phase input and single phase output ups with 40A DP MCB and 40A DP MCB on input and output of ups. |  |  | 0.000 | 0.00 | 0.00
110 | d | 6 KVA Floor Mounted |  | Nos | 1.000 | 0.00 | 0.00