## Price Comparison
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | Comp. Date : 14/09/2024 | Comp. Date : 14/09/2024 | Comp. Date : 14/09/2024 | Vendor Name : UNITY ELECTRICAL (T054974) | [5 empty] | Vendor Name : BAY INTERIORS PRIVATE LIMITED (RV232420169) | [5 empty] | Vendor Name : Electech Enterprises (RV232422514)
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ #: R1655 | RFQ #: R1655 | RFQ #: R1655 | Contact Name : ZEESHAN | [5 empty] | Contact Name : Mehran Raza | [5 empty] | Contact Name : Alam
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ Date : 13/09/2024 08:02:26 | RFQ Date : 13/09/2024 08:02:26 | RFQ Date : 13/09/2024 08:02:26 | Vendor City : | [5 empty] | Vendor City : SAMBHAL | [5 empty] | Vendor City :
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | BCD Date : 13/09/2024 11:28:00 | BCD Date : 13/09/2024 11:28:00 | BCD Date : 13/09/2024 11:28:00 | Telephone # : | [5 empty] | Telephone # : 9548609567 | [5 empty] | Telephone # :
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT |  |  |  | Mobile # : 98337 66931 | [5 empty] | Mobile # : 9548609567 | [5 empty] | Mobile # :
PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | Email : unityelectricworks@gmail.com | [5 empty] | Email : bayinteriorsltd@gmail.com | [5 empty] | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Round # : 7 (RFQ) | [5 empty] | Round # : 7 (RFQ) | [5 empty] | Round # : 7 (RFQ)
Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark :
Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | BUDGET PRICE : | 0 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Electrical Works | EA | 1 |  | 1026515 | UNITY ELECTRICAL | 1026515 | 0 | 18 |  | 1026515 | 1026515 | 1290479 | 0 | 18 |  | 1046484 | 1046484 | 1796450 | 0 | 18 |  | 1796450 | 1796450
Item Total | [8 empty] | 0 | 184772.7 |  |  | 1026515 |  | 0 | 188367.12 |  |  | 1046484 |  | 0 | 323361 |  |  | 1796450
Discount Total Value | [7 empty] | Grand Dis. Amt | 0 |  |  |  | 0 | Grand Dis. Amt | 0 |  |  |  | 0 | Grand Dis. Amt | 0 |  |  |  | 0
GST Total Amount | [12 empty] | 184772.7 | [5 empty] | 188367.12 | [5 empty] | 323361
Net Landed Cost | [11 empty] | INR | 1211287.7 |  |  |  |  | INR | 1234851.12 |  |  |  |  | INR | 2119811
Vendor Status | [7 empty] | Round # : 7 (RFQ) | Round # : 7 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks | [8 empty] | Discount 2.5% | 26162.1
1 | RV242522873 | ALEX ELECTRICAL | [5 empty] | Not Participate | [9 empty] | Basic | 1020321.9
2 | RV232420169 | BAY INTERIORS PRIVATE LIMITED | [5 empty] | Participate | [9 empty] | GST 18% | 183657.942
3 | RV232418724 | ARROW ELECTRICALS | [5 empty] | Not Participate | [9 empty] | Total | 1203979.842
4 | RV232422514 | Electech Enterprises | [5 empty] | Participate
5 | T054974 | UNITY ELECTRICAL | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | Comp. Date : 14/09/2024 | Comp. Date : 14/09/2024 | Comp. Date : 14/09/2024 | Vendor Name : UNITY ELECTRICAL | Vendor Name : UNITY ELECTRICAL | Vendor Name : BAY INTERIORS PRIVATE LIMITED | Vendor Name : BAY INTERIORS PRIVATE LIMITED | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ #: R1655 | RFQ #: R1655 | RFQ #: R1655 | Contact Name : ZEESHAN | Contact Name : ZEESHAN | Contact Name : Mehran Raza | Contact Name : Mehran Raza | Contact Name : Alam | Contact Name : Alam
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ Date : 13/09/2024 08:02:26 | RFQ Date : 13/09/2024 08:02:26 | RFQ Date : 13/09/2024 08:02:26 | Vendor City : | Vendor City : | Vendor City : SAMBHAL | Vendor City : SAMBHAL | Vendor City : | Vendor City :
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | BCD Date : 13/09/2024 11:28:00 | BCD Date : 13/09/2024 11:28:00 | BCD Date : 13/09/2024 11:28:00 | Telephone # : | Telephone # : | Telephone # : 9548609567 | Telephone # : 9548609567 | Telephone # : | Telephone # :
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT |  |  |  | Mobile # : 98337 66931 | Mobile # : 98337 66931 | Mobile # : 9548609567 | Mobile # : 9548609567 | Mobile # : | Mobile # :
PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | Email : unityelectricworks@gmail.com | Email : unityelectricworks@gmail.com | Email : bayinteriorsltd@gmail.com | Email : bayinteriorsltd@gmail.com | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Round # : 7 (RFQ) | Round # : 7 (RFQ) | Round # : 7 (RFQ) | Round # : 7 (RFQ) | Round # : 7 (RFQ) | Round # : 7 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | BUDGET PRICE :1,100,000.00 | BUDGET PRICE :1,100,000.00 | BUDGET PRICE :1,100,000.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical Works | Purchase Request for Electrical Works | EA | 1 |  |  | 1026515 |  | 1046484 |  | 1796450
1 |  | Supply and installation of 20 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 20 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 700 | 101500 | 145 | 101500 | 170 | 119000 | 190 | 133000
2 |  | Supply and installation of 25 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 25 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 500 | 100000 | 210 | 105000 | 200 | 100000 | 210 | 105000
3 |  | Supply and installation of 20 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 20 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 70 | 3360 | 60 | 4200 | 48 | 3360 | 60 | 4200
4 |  | Supply and installation of 25 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Supply and installation of 25 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 70 | 3850 | 85 | 5950 | 55 | 3850 | 75 | 5250
5 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 900 | 99000 | 110 | 99000 | 155 | 139500 | 350 | 315000
6 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 185 | 30525 | 165 | 30525 | 210 | 38850 | 420 | 77700
7 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 725 | 58000 | 90 | 65250 | 80 | 58000 | 280 | 203000
8 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 95 | 13775 | 145 | 13775 | 150 | 14250 | 190 | 18050
9 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 30 | 8850 | 295 | 8850 | 360 | 10800 | 450 | 13500
10 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 130 | 53950 | 415 | 53950 | 450 | 58500 | 650 | 84500
11 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 100 | 71000 | 710 | 71000 | 750 | 75000 | 1050 | 105000
12 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 18 | 22950 | 1275 | 22950 | 1350 | 24300 | 1890 | 34020
13 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 10 | 9750 | 975 | 9750 | 1220 | 12200 | 1350 | 13500
14 |  | Installation testing commissiong of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Installation testing commissiong of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 2 | 5900 | 3500 | 7000 | 2950 | 5900 | 6000 | 12000
15 |  | Installation testing commissiong of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Installation testing commissiong of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 1 | 4000 | 7500 | 7500 | 4000 | 4000 | 8000 | 8000
16 |  | Installation testing commissiong of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Installation testing commissiong of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 2 | 8960 | 7500 | 15000 | 4480 | 8960 | 9000 | 18000
17 |  | Installation testing commissiong of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Installation testing commissiong of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 1 | 5000 | 7500 | 7500 | 5000 | 5000 | 12000 | 12000
18 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 4 | 21800 | 6500 | 26000 | 5450 | 21800 | 13000 | 52000
19 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 4 | 7000 | 1750 | 7000 | 1950 | 7800 | 2800 | 11200
20 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 31 | 2015 | 110 | 3410 | 65 | 2015 | 900 | 27900
21 |  | Main LT Panel - Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel | Main LT Panel - Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel | Nos | 1 | 12500 | 12500 | 12500 | 25000 | 25000 | 45000 | 45000
22 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Nos | 20 | 1500 | 150 | 3000 | 75 | 1500 | 300 | 6000
23 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Nos | 20 | 1500 | 150 | 3000 | 75 | 1500 | 300 | 6000
24 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Nos | 3 | 450 | 150 | 450 | 300 | 900 | 350 | 1050
25 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Nos | 15 | 2250 | 150 | 2250 | 300 | 4500 | 350 | 5250
26 |  | Installtion of LED INDIRECT COVE LIGHT | Installtion of LED INDIRECT COVE LIGHT | Mtr | 28 | 980 | 75 | 2100 | 35 | 980 | 60 | 1680
27 |  | Installtion of DECORATIVE HANGING LIGHT | Installtion of DECORATIVE HANGING LIGHT | Nos | 12 | 1800 | 250 | 3000 | 150 | 1800 | 600 | 7200
28 |  | Supply and Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Supply and Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 4 | 1800 | 750 | 3000 | 450 | 1800 | 1200 | 4800
29 |  | Fresh Air Motor Connection | Fresh Air Motor Connection | Nos | 2 | 1000 | 500 | 1000 | 1000 | 2000 | 1500 | 3000
30 |  | Exhaust Motor Connection | Exhaust Motor Connection | Nos | 2 | 1000 | 500 | 1000 | 1000 | 2000 | 1500 | 3000
31 |  | Installtion of Air Curtain | Installtion of Air Curtain | Nos | 2 | 1000 | 500 | 1000 | 800 | 1600 | 1200 | 2400
32 |  | Installation of Insect Killer | Installation of Insect Killer | Nos | 2 | 600 | 500 | 1000 | 300 | 600 | 500 | 1000
33 |  | Supply and fixing of 75mm x 75mm Casing Box | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 25 | 9375 | 375 | 9375 | 450 | 11250 | 900 | 22500
34 |  | Supply and fixing of 100mm x 100mm Casing Box | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 25 | 17500 | 1050 | 26250 | 700 | 17500 | 1100 | 27500
35 |  | Supply and fixing of 150mm x 150mm Casing Box | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 35 | 38500 | 1350 | 47250 | 1100 | 38500 | 1300 | 45500
36 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 200 | 9000 | 45 | 9000 | 65 | 13000 | 250 | 50000
37 |  | Supply Fixing of Lugs Punching | Supply Fixing of Lugs Punching | Nos | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 12 | 216 | 35 | 420 | 18 | 216 | 300 | 3600
39 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 24 | 600 | 45 | 1080 | 25 | 600 | 300 | 7200
40 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 8 | 368 | 55 | 440 | 46 | 368 | 400 | 3200
41 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 8 | 400 | 65 | 520 | 50 | 400 | 400 | 3200
42 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Nos | 8 | 960 | 120 | 960 | 370 | 2960 | 700 | 5600
43 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 3 | 720 | 250 | 750 | 240 | 720 | 300 | 900
44 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 6 | 1500 | 250 | 1500 | 255 | 1530 | 300 | 1800
45 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 2 | 500 | 250 | 500 | 260 | 520 | 300 | 600
46 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 2 | 500 | 250 | 500 | 270 | 540 | 400 | 800
47 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 2 | 700 | 350 | 700 | 415 | 830 | 450 | 900
48 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 12 | 2880 | 350 | 4200 | 240 | 2880 | 350 | 4200
49 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 24 | 5880 | 350 | 8400 | 245 | 5880 | 400 | 9600
50 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 8 | 2080 | 350 | 2800 | 260 | 2080 | 500 | 4000
51 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 8 | 2160 | 350 | 2800 | 270 | 2160 | 600 | 4800
52 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 4 | 1120 | 350 | 1400 | 280 | 1120 | 700 | 2800
53 |  | Supply Fixing 5 A Top | Supply Fixing 5 A Top | Nos | 5 | 500 | 100 | 500 | 100 | 500 | 300 | 1500
54 |  | Supply Fixing 15 A Top | Supply Fixing 15 A Top | Nos | 15 | 1875 | 125 | 1875 | 150 | 2250 | 400 | 6000
55 |  | Supply Installation of - 10 Modular plate with box | Supply Installation of - 10 Modular plate with box | Nos | 4 | 1580 | 490 | 1960 | 395 | 1580 | 900 | 3600
56 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 11 | 3465 | 450 | 4950 | 315 | 3465 | 600 | 6600
57 |  | Supply Installation of - 6 Modular plate with box | Supply Installation of - 6 Modular plate with box | Nos | 5 | 1350 | 400 | 2000 | 270 | 1350 | 500 | 2500
58 |  | Supply Installation of - 4 Modular plate with box | Supply Installation of - 4 Modular plate with box | Nos | 28 | 6160 | 300 | 8400 | 220 | 6160 | 450 | 12600
59 |  | Supply Installation of - 3 Modular plate with box | Supply Installation of - 3 Modular plate with box | Nos | 11 | 2145 | 300 | 3300 | 195 | 2145 | 400 | 4400
60 |  | Supply Installation of - 2 Modular plate with box | Supply Installation of - 2 Modular plate with box | Nos | 5 | 825 | 250 | 1250 | 165 | 825 | 350 | 1750
61 |  | Supply Installation of - 16A switch socket metal Box | Supply Installation of - 16A switch socket metal Box | Nos | 9 | 2610 | 325 | 2925 | 290 | 2610 | 800 | 7200
62 |  | Supply Installation of - 5 15A 5 pin socket | Supply Installation of - 5 15A 5 pin socket | Nos | 15 | 2625 | 325 | 4875 | 175 | 2625 | 850 | 12750
63 |  | Supply Installation of - 5 15A 5 pin switch | Supply Installation of - 5 15A 5 pin switch | Nos | 15 | 1725 | 325 | 4875 | 115 | 1725 | 800 | 12000
64 |  | Supply Installation of - 5 15A 3 pin socket | Supply Installation of - 5 15A 3 pin socket | Nos | 10 | 1150 | 325 | 3250 | 115 | 1150 | 850 | 8500
65 |  | Supply Installation of - Data Socket | Supply Installation of - Data Socket | Nos | 23 | 10350 | 450 | 10350 | 805 | 18515 | 600 | 13800
66 |  | Supply Installation of - USB charging Sockets | Supply Installation of - USB charging Sockets | Nos | 11 | 12650 | 1150 | 12650 | 1850 | 20350 | 1900 | 20900
67 |  | Supply Installation of - Blank Plate | Supply Installation of - Blank Plate | Nos | 20 | 700 | 750 | 15000 | 35 | 700 | 60 | 1200
68 |  | Supply Installation of - 8 Modular Surface Box | Supply Installation of - 8 Modular Surface Box | Nos | 5 | 490 | 250 | 1250 | 98 | 490 | 200 | 1000
69 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 2 | 500 | 250 | 500 | 375 | 750 | 1500 | 3000
70 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 2 | 700 | 350 | 700 | 650 | 1300 | 1200 | 2400
71 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 525 | 34125 | 65 | 34125 | 75 | 39375 | 90 | 47250
72 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 15 | 17250 | 1150 | 17250 | 1150 | 17250 | 1300 | 19500
73 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 70 | 42000 | 850 | 59500 | 700 | 49000 | 600 | 42000
74 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 4 | 6800 | 1850 | 7400 | 1700 | 6800 | 3400 | 13600
75 |  | Rubber Mat | Rubber Mat | Nos | 2 | 3000 | 3500 | 7000 | 1500 | 3000 | 5000 | 10000
76 |  | Supply and Installation of Ceiling Rose | Supply and Installation of Ceiling Rose | Nos | 45 | 2250 | 75 | 3375 | 50 | 2250 | 100 | 4500

## Technical Score Detail
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | Comp. Date : 14/09/2024 | Comp. Date : 14/09/2024 | Comp. Date : 14/09/2024 | Vendor Name : UNITY ELECTRICAL |  | Vendor Name : BAY INTERIORS PRIVATE LIMITED |  | Vendor Name : Electech Enterprises
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ #: R1655 | RFQ #: R1655 | RFQ #: R1655 | Contact Name : ZEESHAN |  | Contact Name : Mehran Raza |  | Contact Name : Alam
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ Date : 13/09/2024 08:02:26 | RFQ Date : 13/09/2024 08:02:26 | RFQ Date : 13/09/2024 08:02:26 | Vendor City : |  | Vendor City : SAMBHAL |  | Vendor City :
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | BCD Date : 13/09/2024 11:28:00 | BCD Date : 13/09/2024 11:28:00 | BCD Date : 13/09/2024 11:28:00 | Telephone # : |  | Telephone # : 9548609567 |  | Telephone # :
|  | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT | RFQ No: R1655 COST COMPARISON REPORT |  |  |  | Mobile # : 98337 66931 |  | Mobile # : 9548609567 |  | Mobile # :
PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | PR Number : DCPL-2425-00108 | Email : unityelectricworks@gmail.com |  | Email : bayinteriorsltd@gmail.com |  | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Package / RFQ Name : Electrical Works-CC Viviana Thane | Round # : 7 (RFQ) |  | Round # : 7 (RFQ) |  | Round # : 7 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | Comp. # : 7 | BUDGET PRICE : | 1,100,000.00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | Electrical Works |  | EA | 1.000 | 1100000.00 | 0.00
2 |  | Supply and installation of 20 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. |  | Mtr | 700.000 | 0.00 | 0.00
3 |  | Supply and installation of 25 mm MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. |  | Mtr | 500.000 | 0.00 | 0.00
4 |  | Supply and installation of 20 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. |  | Mtr | 70.000 | 0.00 | 0.00
5 |  | Supply and installation of 25 mm Flexible MS Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. |  | Mtr | 70.000 | 0.00 | 0.00
6 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing |  | Mtr | 900.000 | 0.00 | 0.00
7 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing |  | Mtr | 185.000 | 0.00 | 0.00
8 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing |  | Mtr | 725.000 | 0.00 | 0.00
9 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti |  | Mtr | 95.000 | 0.00 | 0.00
10 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. |  | Mtr | 30.000 | 0.00 | 0.00
11 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. |  | Mtr | 130.000 | 0.00 | 0.00
12 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. |  | Mtr | 100.000 | 0.00 | 0.00
13 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. |  | Mtr | 18.000 | 0.00 | 0.00
14 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. |  | Mtr | 10.000 | 0.00 | 0.00
15 |  | Installation testing commissiong of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing |  | Nos | 2.000 | 0.00 | 0.00
16 |  | Installation testing commissiong of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing |  | Nos | 1.000 | 0.00 | 0.00
17 |  | Installation testing commissiong of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing |  | Nos | 2.000 | 0.00 | 0.00
18 |  | Installation testing commissiong of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing |  | Nos | 1.000 | 0.00 | 0.00
19 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing |  | Nos | 4.000 | 0.00 | 0.00
20 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box |  | Nos | 4.000 | 0.00 | 0.00
21 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip |  | Nos | 31.000 | 0.00 | 0.00
22 |  | Main LT Panel - Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel |  | Nos | 1.000 | 0.00 | 0.00
23 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 |  | Nos | 20.000 | 0.00 | 0.00
24 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 |  | Nos | 20.000 | 0.00 | 0.00
25 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K |  | Nos | 3.000 | 0.00 | 0.00
26 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K |  | Nos | 15.000 | 0.00 | 0.00
27 |  | Installtion of LED INDIRECT COVE LIGHT |  | Mtr | 28.000 | 0.00 | 0.00
28 |  | Installtion of DECORATIVE HANGING LIGHT |  | Nos | 12.000 | 0.00 | 0.00
29 |  | Supply and Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) |  | Nos | 4.000 | 0.00 | 0.00
30 |  | Fresh Air Motor Connection |  | Nos | 2.000 | 0.00 | 0.00
31 |  | Exhaust Motor Connection |  | Nos | 2.000 | 0.00 | 0.00
32 |  | Installtion of Air Curtain |  | Nos | 2.000 | 0.00 | 0.00
33 |  | Installation of Insect Killer |  | Nos | 2.000 | 0.00 | 0.00
34 |  | Supply and fixing of 75mm x 75mm Casing Box |  | Mtr | 25.000 | 0.00 | 0.00
35 |  | Supply and fixing of 100mm x 100mm Casing Box |  | Mtr | 25.000 | 0.00 | 0.00
36 |  | Supply and fixing of 150mm x 150mm Casing Box |  | Mtr | 35.000 | 0.00 | 0.00
37 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System |  | Mtr | 200.000 | 0.00 | 0.00
38 |  | Supply Fixing of Lugs Punching |  | Nos | 0.000 | 0.00 | 0.00
39 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) |  | Nos | 12.000 | 0.00 | 0.00
40 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) |  | Nos | 24.000 | 0.00 | 0.00
41 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) |  | Nos | 8.000 | 0.00 | 0.00
42 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) |  | Nos | 8.000 | 0.00 | 0.00
43 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) |  | Nos | 8.000 | 0.00 | 0.00
44 |  | Supply Fixing of - 4 sq.mm x 4 core Glands |  | Nos | 3.000 | 0.00 | 0.00
45 |  | Supply Fixing of - 6 sq.mm x 4 core Glands |  | Nos | 6.000 | 0.00 | 0.00
46 |  | Supply Fixing of - 10 sq.mm x 4 core Glands |  | Nos | 2.000 | 0.00 | 0.00
47 |  | Supply Fixing of - 16 sq.mm x 4 core Glands |  | Nos | 2.000 | 0.00 | 0.00
48 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands |  | Nos | 2.000 | 0.00 | 0.00
49 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands |  | Nos | 12.000 | 0.00 | 0.00
50 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands |  | Nos | 24.000 | 0.00 | 0.00
51 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands |  | Nos | 8.000 | 0.00 | 0.00
52 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands |  | Nos | 8.000 | 0.00 | 0.00
53 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands |  | Nos | 4.000 | 0.00 | 0.00
54 |  | Supply Fixing 5 A Top |  | Nos | 5.000 | 0.00 | 0.00
55 |  | Supply Fixing 15 A Top |  | Nos | 15.000 | 0.00 | 0.00
56 |  | Supply Installation of - 10 Modular plate with box |  | Nos | 4.000 | 0.00 | 0.00
57 |  | Supply Installation of - 8 Modular plate (Horizontal) with box |  | Nos | 11.000 | 0.00 | 0.00
58 |  | Supply Installation of - 6 Modular plate with box |  | Nos | 5.000 | 0.00 | 0.00
59 |  | Supply Installation of - 4 Modular plate with box |  | Nos | 28.000 | 0.00 | 0.00
60 |  | Supply Installation of - 3 Modular plate with box |  | Nos | 11.000 | 0.00 | 0.00
61 |  | Supply Installation of - 2 Modular plate with box |  | Nos | 5.000 | 0.00 | 0.00
62 |  | Supply Installation of - 16A switch socket metal Box |  | Nos | 9.000 | 0.00 | 0.00
63 |  | Supply Installation of - 5 15A 5 pin socket |  | Nos | 15.000 | 0.00 | 0.00
64 |  | Supply Installation of - 5 15A 5 pin switch |  | Nos | 15.000 | 0.00 | 0.00
65 |  | Supply Installation of - 5 15A 3 pin socket |  | Nos | 10.000 | 0.00 | 0.00
66 |  | Supply Installation of - Data Socket |  | Nos | 23.000 | 0.00 | 0.00
67 |  | Supply Installation of - USB charging Sockets |  | Nos | 11.000 | 0.00 | 0.00
68 |  | Supply Installation of - Blank Plate |  | Nos | 20.000 | 0.00 | 0.00
69 |  | Supply Installation of - 8 Modular Surface Box |  | Nos | 5.000 | 0.00 | 0.00
70 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate |  | Nos | 2.000 | 0.00 | 0.00
71 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate |  | Nos | 2.000 | 0.00 | 0.00
72 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) |  | Mtr | 525.000 | 0.00 | 0.00
73 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. |  | Mtr | 15.000 | 0.00 | 0.00
74 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. |  | Mtr | 70.000 | 0.00 | 0.00
75 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing |  | Nos | 4.000 | 0.00 | 0.00
76 |  | Rubber Mat |  | Nos | 2.000 | 0.00 | 0.00
77 |  | Supply and Installation of Ceiling Rose |  | Nos | 45.000 | 0.00 | 0.00