## BOQ Price Bid
| RFQ No: R2118 COST COMPARISON REPORT | Comp. Date : 28/10/2024 | Comp. Date : 28/10/2024 | Vendor Name : INVENTECH SOLUTIONS
| RFQ No: R2118 COST COMPARISON REPORT | RFQ #: R2118 | RFQ #: R2118 | Contact Name : Shirish Awati | Contact Name : Shirish Awati | Contact Name : Shirish Awati | Contact Name : Shirish Awati | Contact Name : Shirish Awati | Contact Name : Shirish Awati
| RFQ No: R2118 COST COMPARISON REPORT | RFQ Date : 24/10/2024 12:22:31 | RFQ Date : 24/10/2024 12:22:31 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
| RFQ No: R2118 COST COMPARISON REPORT | BCD Date : 30/10/2024 23:55:00 | BCD Date : 30/10/2024 23:55:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
| RFQ No: R2118 COST COMPARISON REPORT |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : Semolina-2425-00620 | PR Number : Semolina-2425-00620 | PR Number : Semolina-2425-00620 | PR Number : Semolina-2425-00620 | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com
Package / RFQ Name : PR for additional Civil Interior Work & Electrical Work of Ahmedabad Idli.com... | Package / RFQ Name : PR for additional Civil Interior Work & Electrical Work of Ahmedabad Idli.com... | Package / RFQ Name : PR for additional Civil Interior Work & Electrical Work of Ahmedabad Idli.com... | Package / RFQ Name : PR for additional Civil Interior Work & Electrical Work of Ahmedabad Idli.com... | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 2(RFQ) | Round # : 1 (RFQ) | Round # : 3 (RFQ) | Round # : 1 (RFQ)
Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 1 | Comp. # : 1 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Name | UOM | Qty | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | PO Reference/Rate analysis | Revised Rates | Total
1 | Additional Civil Interior Work | NOS | 1 |  | 831112.76 |  | 742206.3 |  | 702327.58 |  |  | 651316.54
1 | CIVIL
2 | Brick work - Providing and constructing 150mm thk Siphorex block in cement mortar 1 4 of approved make like Aerocon or Siporex etc. Job to include raking out joints, scaffolding, making openings walls, curing etc. in substructure and superstructure to its true line and level in cement mortar proportion as specified in all shapes, size, at all heights, depths, leads and locations etc. complete. The rate shall also include for cleaning of surface, hacking of RCC surface in contact with brickwork, racking of joints, providing, erecting, and dismantling steel scaffolding , curing for 10 days, including 75 mm thk. R.C.C. stiffener at approximately every 1000 mm ht. with required M.S. reinforcement bars and Lintels for Doors and wall openings etc. compete as per the drgs., details and specifications. | Sq.M | 16.29 | 2100 | 34209 | 2100 | 34209 | 2100 | 34209 | PO/SKPL/23-24/000178 | 2100 | 34209
3 | Plaster work - P and A of single coat backing plaster of 15-18 mm thick in CM 1 4 proportion to the walls and others surface including scaffolding, curing the joints, etc. The rates are inclusive of providing chicken mesh of 18mm gauge and 150mm width at junction of brick and RCC etc. at the walls, columns, beams etc., seven days water treatment as anti crack of plaster. Complete as per site engineer s instruction | Sq.M | 32.87 | 1500 | 49305 | 1500 | 49305 | 1500 | 49305 | PO/SKPL/23-24/000178 | 1500 | 49305
4 | Cinder filling - CINDER BLOCK COBA of Avg. thickness mentioned below; After laying of soil pipes, floor traps is completed the floor of the sunken portion shall be covered with cinder coba embedded manually with 15-20 mm wide joints in 20 mm thk. Waterproofing mortar 1 4 ( 1 cement 4 coarse sand )in layers upto the full ht. of sunken portion, having top layer of 50 mm thk waterproof mortar 1 4 ( 1 cement 4 coarse sand ) using specialized W.P. chemical, finished smooth or rough with floating coat of neat cement all complete and as per specification up to 300mm . | Sq.m | 26.76 | 2800 | 74928 | 2200 | 58872 | 2200 | 58872 | PO/SKPL/23-24/000178 | 2200 | 58872
5 | PCC - Providing and laying up to 50-75 mm thick cement concrete flooring with 1 2 4 cement concrete laid to proper level and slope in alternate bays including compactions, filling joints, or as directed, finishing smooth with cement Mortar 1 1 of sufficient minimum thickness to give a smooth and even surface and curing etc. complete as per architects instructions. | Sq.m | 26.76 | 2600 | 69576 | 1450 | 38802 | 1450 | 38802 | PO/SKPL/23-24/000178 | 1450 | 38802
6 | Inspection Chamber - 300 x 300 inspection chamber in brick work with water proofing finished with tiles inside. | No. | 1 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | Rate analysis | 3500 | 3500
7 | Inspection Chamber cover - Providing and fixing of S.S. perforated Inspection chamber cover with necessary fittings. | No. | 1 | 9500 | 9500 | 9500 | 9500 | 9500 | 9500 | Rate analysis | 5500 | 5500
8 | Guard Rail - Providing and fixing of trolly defender made out of 50 mm 304 SS pipe with 50mm pipe vertical support fixed on floor with fasteners | RM | 4.26 | 8176 | 34829.76 | 8176 | 34829.76 | 5904 | 25151.04 | Rate analysis | 2100 | 8946
9 | Hood fixing - Fixing of hood from ceiling frame with support of MS pipe frame. | No. | 3 | 15000 | 45000 | 10000 | 30000 | 10000 | 30000 | Semolina/PO/24-25/001218 | 10000 | 30000
10 | Ele. DB box - Providing and fixing of electrical DB box made out of plywood finished with laminate and MS louvers fixed on shutters. | Sq.m | 2.06 | 18200 | 37492 | 17259 | 35553.54 | 17259 | 35553.54 | Semolina/PO/24-25/001218 | 17259 | 35553.54
11 | SS corner guard - Providing and fixing of 25 mm X 25 mm SS corner guard for wall corner. | RM | 9.2 | 1500 | 13800 | 800 | 7360 | 800 | 7360 | Semolina/PO/24-25/001218 | 800 | 7360
12 | Gas meter stand - Providing and fixing of gas meter stand made out of SS pipe. | No. | 1 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | Semolina/PO/24-25/001218 | 2000 | 2000
13 | DNB stand - Providing and fixing DNB stand made out of MS frame with 18mm plywood finished with black paint | No. | 1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | Rate analysis | 7500 | 7500
14 | Microvan shelf - Providing and fixing granite shelf with SS angle frame. | No. | 1 | 6000 | 6000 | 4500 | 4500 | 4500 | 4500 | Rate analysis | 4500 | 4500
15 | Trap door - Provision of trap door in gypsum ceiling | No. | 2 | 4000 | 8000 | 2500 | 5000 | 2500 | 5000 | Semolina/PO/24-25/001218 | 2500 | 5000
16 | Sneeze guard - Providing and fixing sneeze guard made out of 12 mm toughened glass fixed on bracket fitting. | Sq.m | 3.69 | 9500 | 35055 | 9500 | 35055 | 9500 | 35055 | Semolina/PO/24-25/001218 | 2100 | 7749
17 | Equipment shifting - Lording and unloading of outlet equipment and shifting from out side of airport premisses and arrange and fixing in side the outlet as per instructions Unloading from container transport at outside of Airport premises and shifting in located area. Again shifting from outside to second floor food court area in side the airport. Arranging of equipment as per layout in the outlet. Hood-1nos. , SS sink- 2Nos. , SS work work table-1Nos. ,SS rack-1Nos. ,SS storage unit-1Nos. ,4Gas burner-1Nos., Under counter chiller-2Nos. , Cold display unit-1Nos. ,Merryshef-1Nos. and other small items.
18 | Day one manpower | No. | 8 | 2200 | 17600 | 2200 | 17600 | 1200 | 9600 | as per rates at Airport | 1200 | 9600
19 | DayTwo manpower | No. | 8 | 2200 | 17600 | 2200 | 17600 | 1200 | 9600 | as per rates at Airport | 1200 | 9600
20 | Day Three manpower | No. | 8 | 2200 | 17600 | 2200 | 17600 | 1200 | 9600 | as per rates at Airport | 1200 | 9600
21 | PLUMBING WORK
22 | Angle cock - Providing and fixing of angle cock for inlet and outlet pipe connections | No. | 9 | 1500 | 13500 | 1350 | 12150 | 1350 | 12150 | Semolina/PO/24-25/001218 | 1350 | 12150
23 | Sink cock- Providing and fixing of single sink cock for sink counter with all fittings | No. | 3 | 4500 | 13500 | 3800 | 11400 | 3800 | 11400 | Semolina/PO/24-25/000080 | 3800 | 11400
24 | SS Sink - Providing and fixing of SS sink ( Nirali make) in granite counter with cutting and polishing work. | No. | 1 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | Semolina/PO/24-25/001218 | 8500 | 8500
25 | Grease trap - Fixing of grease trap with pipe connection including all fittings. Grease trap size - 500 x 400 x 350 40 mm CPVC pipe with elbow, bend, stop cock and required hardware. | No. | 2 | 7500 | 15000 | 7000 | 14000 | 7000 | 14000 | PO/SKPL/23-24/000178 | 7000 | 14000
26 | Number of plumber day one | No. | 2 | 3750 | 7500 | 3750 | 7500 | 2200 | 4400 | as per rates at Airport | 2200 | 4400
27 | Number of plumber day Two | No. | 2 | 3750 | 7500 | 3750 | 7500 | 2200 | 4400 | as per rates at Airport | 2200 | 4400
28 | Water heater - Supply and Fixing of Water heater of 15lts with necessary fittings | No. | 1 | 19948 | 19948 | 12500 | 12500 | 12500 | 12500 | Semolina/PO/24-25/001218 | 12500 | 12500
29 | Sink mixer cock - Providing and fixing of sink mixer cock for ss counter sink with all fittings | No. | 1 | 6500 | 6500 | 5200 | 5200 | 5200 | 5200 | Semolina/PO/24-25/001218 | 5200 | 5200
2 | Additional Electrical Work | NOS | 1
30 | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit | Mtrs | 5 | 475 | 2375 | 475 | 2375 | 475 | 2375 | Semolina/PO/24-25/000080 | 475 | 2375
31 | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit DB to U or C Chiller in kitchen-9.1Mtrs DB to Utility Socket in kitchen -8.6Mtrs DB to Vertical freezer -8.7Mtrs DB to Near Geyser Extra Point-5.6Mtrs DB to Geyser point-5.6Mtrs DB to Drain pump Extra Point -7.8Mtrs DB to Insect killer -4.7Mtrs DB to U or C Chiller -8.7Mtrs DB to Exhaust Hood -8Mtrs DB to Deep Fryer -10Mtrs DB to Combi Oven -11.4Mtrs DB to Combi Oven Near Extra Point-12Mtrs DB to Coffee machine -11Mtrs DB to Idli streamer-10.9Mtrs DB to Milk Boiler -11Mtrs DB to Bar Chiller -11.5Mtrs DB to Bar chiller Near Extra Point-11.7Mtrs DB to Water Boiler-9Mtrs DB to Oven-8.8Mtrs DB to Oven Near Extra Point-9Mtrs DB to Insect killer -7.7Mtrs DB to Exhaust chimney -13.5Mtrs DB to Utility Socket - 1-19.1Mtrs DB to Utility Socket - 2-20Mtrs DB to Utility Socket - 3-22Mtrs DB to Utility Socket - 4-23Mtrs DB to Utility Socket - 5-25Mtrs DB to Hot Ban marie-27Mtrs DB to Juice Dispenser -23Mtrs DB to Utility Socket water meter -1-7.6Mtrs DB to Utility Socket fire separation - 2-8.9Mtrs DB to Utility Socket gas panel- 1-9.8Mtrs DB to Utility Socket gas panel- 1-11.7Mtrs | Mtrs | 415 | 150 | 62250 | 150 | 62250 | 150 | 62250 | Semolina/PO/24-25/000080 | 150 | 62250
32 | 2.5sqmm X 2 +2.5sqmm DB to POS -29Mtrs DB to Emergency light point P1-8.5Mtrs Loop P1 to P2-5.7Mtrs Loop P2 to P3-3.7Mtrs DB to Raw Light point P1-9.4Mtrs Loop P1 to P2-5.4Mtrs Loop P2 to P3-3.3Mtrs Loop P3 to P4-3.8Mtrs Loop P4 to P5-4.9Mtrs DB to TV point-8.2Mtrs DB to Signage Point-11.6Mtrs DB to Emergency light point kitchen P1-5.5Mtrs DB to Raw light point kitchen P1-8Mtrs | Mtrs | 107 | 125 | 13375 | 125 | 13375 | 125 | 13375 | Semolina/PO/24-25/001218 | 125 | 13375
33 | Wiring for MCB controlled normal primary light points or Wall Point or Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | Pt | 6 | 1500 | 9000 | 1500 | 9000 | 1500 | 9000 | Semolina/PO/24-25/000080 | 1500 | 9000
34 | Wiring for secondary MCB controlled normal light points or Wall Point or Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt | 6 | 850 | 5100 | 850 | 5100 | 850 | 5100 | Semolina/PO/24-25/000080 | 850 | 5100
35 | Wiring for MCB controlled Emergency primary light points or Wall Point or Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | Pt | 2 | 2200 | 4400 | 2200 | 4400 | 2200 | 4400 | Semolina/PO/24-25/000080 | 2200 | 4400
36 | Wiring for secondary MCB controlled Emergency light points or Wall Point or Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt | 1 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | Semolina/PO/24-25/000080 | 1200 | 1200
37 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall or Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as required( Switch and socket shall be as approved by the architect or Client) | Pt. | 26 | 3050 | 79300 | 3050 | 79300 | 3050 | 79300 | Semolina/PO/24-25/000080 | 3050 | 79300
38 | Wiring for primary switch board consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A switch with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall or Ceiling including cost of providing saddles etc as required for surface conduiting and or or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A modular switch , safety shutters in a recessed or surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch or Socket Shall be as per approved sample by Architect) Note- Conduits shall be 16 SWG MS on surface and FRLS PVC for wall concealed | Pt. | 5 | 4000 | 20000 | 4000 | 20000 | 4000 | 20000 | Semolina/PO/24-25/000080 | 4000 | 20000
39 | Supply installation testing and fixing 3 pin 25A or 32A , 240V , single Phase metal Clad industrial socket outlet with 25A or 32A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | Nos. | 7 | 3200 | 22400 | 3200 | 22400 | 3200 | 22400 | Semolina/PO/24-25/000080 | 3200 | 22400
40 | Supply , fixing Laying 2.0mm Thick FRLS PVC conduits on surface or concealed complete with PVC junction boxes, cover plates, PVC bends, PVC saddles, base and other accessories all made in PVC with GI screws as required to complete the job. . 20 mm dia FRLS metal conduit | Mtrs | 137 | 210 | 28770 | 210 | 28770 | 210 | 28770 | Semolina/PO/24-25/001218 | 210 | 28770
41 | 15 w panel light | Nos. | 4 | 1000 | 4000 | 750 | 3000 | 750 | 3000 | Semolina/PO/24-25/000080 | 750 | 3000