## Summary
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Vendor Name : INTERCARE ENTERPRISE NX (RV242523725) |  | Vendor Name : ALTITUDE MARKETING LLP (RV232414079) |  | Vendor Name : Inventech Solutions (RV232412518) |  | Vendor Name : OZECA (RV242523277)
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Contact Name : KAIUM |  | Contact Name : Lalit Kumar/Vickram Chaudhary |  | Contact Name : |  | Contact Name : SAURABH MEHDIRATTA
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Vendor City : Mumbai Suburban |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Telephone # : 9987921130 |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Mobile # : 9930702814 |  | Mobile # : |  | Mobile # : |  | Mobile # : 9818846795
PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | Email : kaium@intercareenterprisenx.in |  | Email : vickram@altitudemarketing.in |  | Email : inventechsolutionspune@gmail.com |  | Email : saurabh@ozecaindia.com
Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Buyer Remark : |  | Buyer Remark : |  | Buyer Remark : |  | Buyer Remark :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Quote Currency : INR |  | Quote Currency : INR |  | Quote Currency : INR |  | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | First Bid | Final Bid | First Bid | Final Bid | First Bid | Final Bid | First Bid | Final Bid
1 | Electrical | Interior Electrical | NOS | 1 | 157655 | 24500 | 77050 | 23600 | 50800 | 50800 | 136200 | 136200
2 | Interior | Interior Work | NOS | 1 | 519600 | 389850 | 680650 | 403650 | 612950 | 762900 | 1811330 | 1811330
Item Total |  |  |  |  | 677255 | 414350 | 757700 | 427250 | 663750 | 813700 | 1947530 | 1947530
Discount Total Value |  |  |  |  | Grand Dis. Amt |  | Grand Dis. Amt |  | Grand Dis. Amt |  | Grand Dis. Amt
GST Total Amount
Net Landed Cost | [5 empty] | INR |  | INR |  | INR |  | INR
Vendor Status |  |  |  |  | Round # : 5 (RFQ)
Sr No. | Vendor Code | Vendor Name |  |  | Status
1 | RV232414079 | ALTITUDE MARKETING LLP |  |  | Participate
2 | RV232413816 | Pikture Perfect Design Studio Pvt. Ltd |  |  | Not Participate
3 | RV232413475 | M & A Interiors |  |  | Not Participate
4 | RV232412518 | Inventech Solutions |  |  | Participate
5 | RV242523600 | DAYSPRING ENTERPRISES |  |  | Participate
6 | RV242523277 | OZECA |  |  | Participate
7 | RV242523725 | INTERCARE ENTERPRISE NX |  |  | Participate

## BOQ Price Bid
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Comp. Date : 23/12/2024 | Comp. Date : 23/12/2024 | Comp. Date : 23/12/2024 | Vendor Name : INTERCARE ENTERPRISE NX |  |  |  | Vendor Name : ALTITUDE MARKETING LLP | Vendor Name : ALTITUDE MARKETING LLP | Vendor Name : ALTITUDE MARKETING LLP | Vendor Name : ALTITUDE MARKETING LLP | Vendor Name : Inventech Solutions | Vendor Name : Inventech Solutions | Vendor Name : Inventech Solutions | Vendor Name : Inventech Solutions | Vendor Name : OZECA | Vendor Name : OZECA
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ #: R2429 | RFQ #: R2429 | RFQ #: R2429 | Contact Name : KAIUM |  |  |  | Contact Name : Lalit Kumar/Vickram Chaudhary | Contact Name : Lalit Kumar/Vickram Chaudhary | Contact Name : Lalit Kumar/Vickram Chaudhary | Contact Name : Lalit Kumar/Vickram Chaudhary | Contact Name : | Contact Name : | Contact Name : | Contact Name : | Contact Name : SAURABH MEHDIRATTA | Contact Name : SAURABH MEHDIRATTA
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ Date : 23/12/2024 15:31:50 | RFQ Date : 23/12/2024 15:31:50 | RFQ Date : 23/12/2024 15:31:50 | Vendor City : Mumbai Suburban |  |  |  | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | BCD Date : 23/12/2024 23:55:00 | BCD Date : 23/12/2024 23:55:00 | BCD Date : 23/12/2024 23:55:00 | Telephone # : 9987921130 |  |  |  | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT |  |  |  | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 9818846795 | Mobile # : 9818846795
PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | Email : kaium@intercareenterprisenx.in | Email : kaium@intercareenterprisenx.in | Email : kaium@intercareenterprisenx.in | Email : kaium@intercareenterprisenx.in | Email : vickram@altitudemarketing.in | Email : vickram@altitudemarketing.in | Email : vickram@altitudemarketing.in | Email : vickram@altitudemarketing.in | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : saurabh@ozecaindia.com | Email : saurabh@ozecaindia.com
Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Initial | Round # : 5 (RFQ) | Final | Round # : 5 (RFQ) | Initial | Round # : 5 (RFQ) | Final | Round # : 5 (RFQ) | Initial | Round # : 5 (RFQ) | Final | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ)
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 | Electrical | Interior Electrical | Interior Electrical | NOS | 1 |  |  | 24500 |  | 157655 |  | 77050 |  | 23600 |  | 50800 |  | 50800 |  | 136200
1 | 1 | DISTRIBUTION BOARD | DISTRIBUTION BOARD
2 | 1.2 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, inter- connections, powder painted including earthing etc. as required. (But without MCB RCCB Isolator) Make Legrand Schneider Hager ABB | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, inter- connections, powder painted including earthing etc. as required. (But without MCB RCCB Isolator) Make Legrand Schneider Hager ABB
3 | a | 6 way , Double door | 6 way , Double door | Each | 1 | 5000 | 5000 | 5000 | 22000 | 22000 | 12325 | 12325 | 5000 | 5000 | 12000 | 12000 | 12000 | 12000 | 21000 | 21000
4 | 1.4 | Supplying and fixing 5 A to 32 A rating, 240 415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB | Supplying and fixing 5 A to 32 A rating, 240 415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB
5 | a | Single pole | Single pole | Each | 4 | 920 | 230 | 920 | 920 | 3680 | 375 | 1500 | 230 | 920 | 450 | 1800 | 450 | 1800 | 4500 | 18000
6 | 1.6 | Supplying and fixing following rating, Four pole, (three phase and neutral), 230 V, Residual Current Breaker with Over-Current (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB | Supplying and fixing following rating, Four pole, (three phase and neutral), 230 V, Residual Current Breaker with Over-Current (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB
7 | a | 25A 2P RCBO | 25A 2P RCBO | Each | 1 | 1000 | 1180 | 1180 | 4500 | 4500 | 6550 | 6550 | 1180 | 1180 | 5200 | 5200 | 5200 | 5200 | 1000 | 1000
8 | 2 | L T CABLE SYSTEM | L T CABLE SYSTEM
9 | 3 | WIRING SYSTEM (Internal wiring) | WIRING SYSTEM (Internal wiring)
10 | 3.1 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required.
11 | a | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | Metre | 5 | 850 | 280 | 1400 | 750 | 3750 | 150 | 750 | 280 | 1400 | 170 | 850 | 170 | 850 | 5000 | 25000
12 | 3.2 | Wiring for light point fan point exhaust fan point call bell point with 2x1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1x1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | Wiring for light point fan point exhaust fan point call bell point with 2x1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1x1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
13 | a | Point Wiring | Point Wiring | No | 3 | 3000 | 1000 | 3000 | 975 | 2925 | 325 | 975 | 1000 | 3000 | 1800 | 5400 | 1800 | 5400 | 2000 | 6000
14 |  | POWER POINTS | POWER POINTS
15 | 3.3 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required.
16 | a | 2 X 4 sq. mm + 1 X 2.5 sq. mm earth wire (for Power circuit loop-in-out) | 2 X 4 sq. mm + 1 X 2.5 sq. mm earth wire (for Power circuit loop-in-out) | Metre | 20 | 5000 | 250 | 5000 | 380 | 7600 | 325 | 6500 | 250 | 5000 | 300 | 6000 | 300 | 6000 | 2000 | 40000
17 | 3.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 13 6 amps modular universal socket outlet and 13 6 amps modular switch, connection etc. as required. | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 13 6 amps modular universal socket outlet and 13 6 amps modular switch, connection etc. as required. | Each | 4 | 2000 | 500 | 2000 | 850 | 3400 | 750 | 3000 | 500 | 2000 | 1250 | 5000 | 1250 | 5000 | 1800 | 7200
18 | 3.6 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing Cat6A modular socket, connection etc. as required. (for data telephone) | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing Cat6A modular socket, connection etc. as required. (for data telephone) | Each | 3 | 1500 | 600 | 1800 | 600 | 1800 | 750 | 2250 | 500 | 1500 | 1050 | 3150 | 1050 | 3150 | 6000 | 18000
19 |  | Sub Total WIRING SYSTEM (Internal wiring) | Sub Total WIRING SYSTEM (Internal wiring)
20 | LIGHTS | LIGHTS - SUPPLY OF Cove light as per design in the panel with aluminum profile on the sides of panel as per detail design. | LIGHTS - SUPPLY OF Cove light as per design in the panel with aluminum profile on the sides of panel as per detail design. | RFT | 12 | 0 | 350 | 4200 | 9000 | 108000 | 3600 | 43200 | 300 | 3600 | 950 | 11400 | 950 | 11400 | 0 | 0
2 | Interior | Interior Work | Interior Work | NOS | 1 |  |  | 389850 |  | 519600 |  | 680650 |  | 403650 |  | 762900 |  | 612950 |  | 1811330
21 | A | PLATFORM | PLATFORM
22 | 1 | Woodwork base Providing and fixing of 100mm high finsished wooden platform using 18mm plyboard with wooden battens to be used for the frame work with necessary nailing, screws, adhessive for the joinery of the platform. | Woodwork base Providing and fixing of 100mm high finsished wooden platform using 18mm plyboard with wooden battens to be used for the frame work with necessary nailing, screws, adhessive for the joinery of the platform. | sfqt | 45 | 18000 | 450 | 20250 | 450 | 20250 | 870 | 39150 | 450 | 20250 | 950 | 42750 | 700 | 31500 | 1950 | 87750
23 | 2 | Laminate wooden flooring Providing and fixing of laminate wooden flooring with specification of AC5 with thickness of 8mm, color to be specified in finished schedule | Laminate wooden flooring Providing and fixing of laminate wooden flooring with specification of AC5 with thickness of 8mm, color to be specified in finished schedule | sqft | 45 | 6750 | 150 | 6750 | 250 | 11250 | 250 | 11250 | 150 | 6750 | 450 | 20250 | 350 | 15750 | 450 | 20250
24 | 3 | SS Skirting Providing and fixing of 100mm high SS skriting in brushed finish pasted on the vertical surface of platform | SS Skirting Providing and fixing of 100mm high SS skriting in brushed finish pasted on the vertical surface of platform | Rft | 20 | 11000 | 550 | 11000 | 550 | 11000 | 625 | 12500 | 550 | 11000 | 950 | 19000 | 650 | 13000 | 1650 | 33000
25 | 4 | SS corner guard Providing and fixing of 25x25mm corner guard on the edger of skirting and laminate wooden flooring | SS corner guard Providing and fixing of 25x25mm corner guard on the edger of skirting and laminate wooden flooring | Rft | 10 | 3500 | 450 | 4500 | 450 | 4500 | 500 | 5000 | 450 | 4500 | 750 | 7500 | 550 | 5500 | 1450 | 14500
26 | B | VERTICAL PANELS | VERTICAL PANELS
27 | 1 | Panel - 1 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Back side to be finished with 1mm Laminate as per finishing schedule Front side finished with Oak wood battens, size 25x50mm finished with clear malamine clear polish and coating in matte finish. | Panel - 1 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Back side to be finished with 1mm Laminate as per finishing schedule Front side finished with Oak wood battens, size 25x50mm finished with clear malamine clear polish and coating in matte finish. | sqft | 45 | 38250 | 1200 | 54000 | 1200 | 54000 | 1650 | 74250 | 1200 | 54000 | 850 | 38250 | 1000 | 45000 | 7200 | 324000
28 | 2 | Panel - 2 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Back side to be finished with 1mm Laminate as per finishing schedule Front side finished with solid acrylic surface (corean) as per the finishing schedule with necessary adhesive and filler at the joinery. | Panel - 2 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Back side to be finished with 1mm Laminate as per finishing schedule Front side finished with solid acrylic surface (corean) as per the finishing schedule with necessary adhesive and filler at the joinery. | SqFt | 35 | 29750 | 1600 | 56000 | 1800 | 63000 | 2150 | 75250 | 1600 | 56000 | 850 | 29750 | 1500 | 52500 | 9500 | 332500
29 | 3 | Panel - 2 Panel front will have 18-20mm wide and 12mm deap LED profile without color, with led strip inside groved inside the corean surface. | Panel - 2 Panel front will have 18-20mm wide and 12mm deap LED profile without color, with led strip inside groved inside the corean surface. | Rft | 12 | 9000 | 1500 | 18000 | 1500 | 18000 | 725 | 8700 | 1500 | 18000 | 950 | 11400 | 950 | 11400 | 850 | 10200
30 | 4 | Panel-3 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Front and Back side to be finished with 1mm Laminate as per finishing schedule | Panel-3 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Front and Back side to be finished with 1mm Laminate as per finishing schedule | sqft | 25 | 21250 | 850 | 21250 | 850 | 21250 | 1450 | 36250 | 850 | 21250 | 850 | 21250 | 850 | 21250 | 7200 | 180000
31 | C | COUNTER | COUNTER
32 | 1 | Wooden Framing Providing fixing of wooden batten of 38x38mm for the partition wall for the counter cladded with HDHMR | Wooden Framing Providing fixing of wooden batten of 38x38mm for the partition wall for the counter cladded with HDHMR | Rft | 75 | 9375 | 150 | 11250 | 150 | 11250 | 350 | 26250 | 150 | 11250 | 1250 | 93750 | 550 | 41250 | 650 | 48750
33 | 2 | HDHMR Board base cladding over wooden frame Cut and shape the 18mm thk HDHMR board to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the table top. | HDHMR Board base cladding over wooden frame Cut and shape the 18mm thk HDHMR board to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the table top. | Sqft | 100 | 15000 | 150 | 15000 | 150 | 15000 | 350 | 35000 | 150 | 15000 | 850 | 85000 | 550 | 55000 | 1950 | 195000
34 | 3 | Counter Wooden batten cladding Providing fixing of Oak wooden batten cladding over HDHMR baord, size 25x50mm as per detail drawing of the counter, consider pasting, naling, adhesive and carpentry work. Finished with clear malamine clear polish and coating in matte finish. | Counter Wooden batten cladding Providing fixing of Oak wooden batten cladding over HDHMR baord, size 25x50mm as per detail drawing of the counter, consider pasting, naling, adhesive and carpentry work. Finished with clear malamine clear polish and coating in matte finish. | Sqft | 22 | 9900 | 650 | 14300 | 650 | 14300 | 975 | 21450 | 650 | 14300 | 950 | 20900 | 750 | 16500 | 2450 | 53900
35 | 4 | Storage Storage of 525mm deap to be made in 18mm HDHMR baord, finished with 1mm laminate as per finishing schedule, with necessary drawers and shutters, carcus to be finished with 1mm laminate as per finishing schedule and matching edge band. Necessary hardwae to considered like soft close hinges, soft close drawer channel, locks, handles. | Storage Storage of 525mm deap to be made in 18mm HDHMR baord, finished with 1mm laminate as per finishing schedule, with necessary drawers and shutters, carcus to be finished with 1mm laminate as per finishing schedule and matching edge band. Necessary hardwae to considered like soft close hinges, soft close drawer channel, locks, handles. | Sqft | 40 | 34000 | 850 | 34000 | 2500 | 100000 | 2850 | 114000 | 850 | 34000 | 2800 | 112000 | 2600 | 104000 | 3500 | 140000
36 | 5 | Counter Fascia and top Fascia and top of the counter ledger and working space to be finished with 10mm corean - acrylic solid surface as per the schedule with necessary adhesive and filler matching with corean brand and shade. | Counter Fascia and top Fascia and top of the counter ledger and working space to be finished with 10mm corean - acrylic solid surface as per the schedule with necessary adhesive and filler matching with corean brand and shade. | Sqft | 70 | 84000 | 1200 | 84000 | 1500 | 105000 | 2050 | 143500 | 1200 | 84000 | 1850 | 129500 | 1750 | 122500 | 3850 | 269500
37 | D | BRANDING AND SIGNAGE | BRANDING AND SIGNAGE
38 | 1 | Lit signage Providing and fixing of solid acrylic signage as per the brand name, fully lit from front and sides as per design and dimensions mentioned in the drawings. | Lit signage Providing and fixing of solid acrylic signage as per the brand name, fully lit from front and sides as per design and dimensions mentioned in the drawings. | No.s | 1 | 8950 | 8950 | 8950 | 18000 | 18000 | 40000 | 40000 | 8950 | 8950 | 65000 | 65000 | 30000 | 30000 | 40000 | 40000
39 | 2 | Acrylic Letters Providing and pasting of 8mm acrylic CNC cut letters and signage as per the design and dimension provided by the brand and as per drawing with necessary adhevise for the surface. | Acrylic Letters Providing and pasting of 8mm acrylic CNC cut letters and signage as per the design and dimension provided by the brand and as per drawing with necessary adhevise for the surface. | Rft | 276 | 13800 | 50 | 13800 | 100 | 27600 | 100 | 27600 | 100 | 27600 | 150 | 41400 | 125 | 34500 | 80 | 22080
40 | E | GUARD RAIL Providing fixing SS 304 - 25mm dia SS guard rail to be fixed on the floor ,you ll need appropriate hardware like screws or bolts , drill,and finish in original ss chrome finish. | GUARD RAIL Providing fixing SS 304 - 25mm dia SS guard rail to be fixed on the floor ,you ll need appropriate hardware like screws or bolts , drill,and finish in original ss chrome finish. | Rft | 14 | 14700 | 1200 | 16800 | 1800 | 25200 | 750 | 10500 | 1200 | 16800 | 1800 | 25200 | 950 | 13300 | 2850 | 39900

## Technical Score Detail
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | Comp. Date : 23/12/2024 | Comp. Date : 23/12/2024 | Comp. Date : 23/12/2024 | Vendor Name : INTERCARE ENTERPRISE NX |  | Vendor Name : Inventech Solutions |  | Vendor Name : DAYSPRING ENTERPRISES |  | Vendor Name : ALTITUDE MARKETING LLP |  | Vendor Name : OZECA
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ #: R2429 | RFQ #: R2429 | RFQ #: R2429 | Contact Name : KAIUM |  | Contact Name : |  | Contact Name : MITTAL BAJARIA TEJAS RAJ |  | Contact Name : Lalit Kumar/Vickram Chaudhary |  | Contact Name : SAURABH MEHDIRATTA
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ Date : 23/12/2024 15:31:50 | RFQ Date : 23/12/2024 15:31:50 | RFQ Date : 23/12/2024 15:31:50 | Vendor City : Mumbai Suburban |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | BCD Date : 23/12/2024 23:55:00 | BCD Date : 23/12/2024 23:55:00 | BCD Date : 23/12/2024 23:55:00 | Telephone # : 9987921130 |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT | RFQ No: R2429 COST COMPARISON REPORT |  |  |  | Mobile # : 9930702814 |  | Mobile # : |  | Mobile # : 9820230523 |  | Mobile # : |  | Mobile # : 9818846795
PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | PR Number : TFSPL-2425-01059 | Email : kaium@intercareenterprisenx.in |  | Email : inventechsolutionspune@gmail.com |  | Email : dayspringent@gmail.com |  | Email : vickram@altitudemarketing.in |  | Email : saurabh@ozecaindia.com
Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Package / RFQ Name : PR for ID, Electrical & Lights for GOA MEET AND GREET - DOM ARI... | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ)
Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 | Electrical | Interior Electrical |  | NOS | 1.000 | 0.00 | 0.00
2 | 1.0 | DISTRIBUTION BOARD |  |  | 0.000 | 0.00 | 0.00
3 | 1.2 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, inter- connections, powder painted including earthing etc. as required. (But without MCB RCCB Isolator) Make Legrand Schneider Hager ABB |  |  | 0.000 | 0.00 | 0.00
4 | a | 6 way , Double door |  | Each | 1.000 | 0.00 | 0.00
5 | 1.4 | Supplying and fixing 5 A to 32 A rating, 240 415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB |  |  | 0.000 | 0.00 | 0.00
6 | a | Single pole |  | Each | 4.000 | 0.00 | 0.00
7 | 1.6 | Supplying and fixing following rating, Four pole, (three phase and neutral), 230 V, Residual Current Breaker with Over-Current (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB |  |  | 0.000 | 0.00 | 0.00
8 | a | 25A 2P RCBO |  | Each | 1.000 | 0.00 | 0.00
9 | 2 | L T CABLE SYSTEM |  |  | 0.000 | 0.00 | 0.00
10 | 3 | WIRING SYSTEM (Internal wiring) |  |  | 0.000 | 0.00 | 0.00
11 | 3.1 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. |  |  | 0.000 | 0.00 | 0.00
12 | a | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire |  | Metre | 5.000 | 0.00 | 0.00
13 | 3.2 | Wiring for light point fan point exhaust fan point call bell point with 2x1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1x1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. |  |  | 0.000 | 0.00 | 0.00
14 | a | Point Wiring |  | No | 3.000 | 0.00 | 0.00
15 |  | POWER POINTS |  |  | 0.000 | 0.00 | 0.00
16 | 3.3 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. |  |  | 0.000 | 0.00 | 0.00
17 | a | 2 X 4 sq. mm + 1 X 2.5 sq. mm earth wire (for Power circuit loop-in-out) |  | Metre | 20.000 | 0.00 | 0.00
18 | 3.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 13 6 amps modular universal socket outlet and 13 6 amps modular switch, connection etc. as required. |  | Each | 4.000 | 0.00 | 0.00
19 | 3.6 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing Cat6A modular socket, connection etc. as required. (for data telephone) |  | Each | 3.000 | 0.00 | 0.00
20 |  | Sub Total WIRING SYSTEM (Internal wiring) |  |  | 0.000 | 0.00 | 0.00
21 | LIGHTS | LIGHTS - SUPPLY OF Cove light as per design in the panel with aluminum profile on the sides of panel as per detail design. |  | RFT | 12.000 | 0.00 | 0.00
22 | Interior | Interior Work |  | NOS | 1.000 | 0.00 | 0.00
23 | A | PLATFORM |  |  | 0.000 | 0.00 | 0.00
24 | 1 | Woodwork base Providing and fixing of 100mm high finsished wooden platform using 18mm plyboard with wooden battens to be used for the frame work with necessary nailing, screws, adhessive for the joinery of the platform. |  | sfqt | 45.000 | 0.00 | 0.00
25 | 2 | Laminate wooden flooring Providing and fixing of laminate wooden flooring with specification of AC5 with thickness of 8mm, color to be specified in finished schedule |  | sqft | 45.000 | 0.00 | 0.00
26 | 3 | SS Skirting Providing and fixing of 100mm high SS skriting in brushed finish pasted on the vertical surface of platform |  | Rft | 20.000 | 0.00 | 0.00
27 | 4 | SS corner guard Providing and fixing of 25x25mm corner guard on the edger of skirting and laminate wooden flooring |  | Rft | 10.000 | 0.00 | 0.00
28 | B | VERTICAL PANELS |  |  | 0.000 | 0.00 | 0.00
29 | 1 | Panel - 1 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Back side to be finished with 1mm Laminate as per finishing schedule Front side finished with Oak wood battens, size 25x50mm finished with clear malamine clear polish and coating in matte finish. |  | sqft | 45.000 | 0.00 | 0.00
30 | 2 | Panel - 2 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Back side to be finished with 1mm Laminate as per finishing schedule Front side finished with solid acrylic surface (corean) as per the finishing schedule with necessary adhesive and filler at the joinery. |  | SqFt | 35.000 | 0.00 | 0.00
31 | 3 | Panel - 2 Panel front will have 18-20mm wide and 12mm deap LED profile without color, with led strip inside groved inside the corean surface. |  | Rft | 12.000 | 0.00 | 0.00
32 | 4 | Panel-3 Cut and shape the 12mm thk HDHMR board both the sides to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the panel. Consider the joinery with the platform and make it stable for standing. 38x38mm Wooden battens for the frame structure of the panel of HDHMR Front and Back side to be finished with 1mm Laminate as per finishing schedule |  | sqft | 25.000 | 0.00 | 0.00
33 | C | COUNTER |  |  | 0.000 | 0.00 | 0.00
34 | 1 | Wooden Framing Providing fixing of wooden batten of 38x38mm for the partition wall for the counter cladded with HDHMR |  | Rft | 75.000 | 0.00 | 0.00
35 | 2 | HDHMR Board base cladding over wooden frame Cut and shape the 18mm thk HDHMR board to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the table top. |  | Sqft | 100.000 | 0.00 | 0.00
36 | 3 | Counter Wooden batten cladding Providing fixing of Oak wooden batten cladding over HDHMR baord, size 25x50mm as per detail drawing of the counter, consider pasting, naling, adhesive and carpentry work. Finished with clear malamine clear polish and coating in matte finish. |  | Sqft | 22.000 | 0.00 | 0.00
37 | 4 | Storage Storage of 525mm deap to be made in 18mm HDHMR baord, finished with 1mm laminate as per finishing schedule, with necessary drawers and shutters, carcus to be finished with 1mm laminate as per finishing schedule and matching edge band. Necessary hardwae to considered like soft close hinges, soft close drawer channel, locks, handles. |  | Sqft | 40.000 | 0.00 | 0.00
38 | 5 | Counter Fascia and top Fascia and top of the counter ledger and working space to be finished with 10mm corean - acrylic solid surface as per the schedule with necessary adhesive and filler matching with corean brand and shade. |  | Sqft | 70.000 | 0.00 | 0.00
39 | D | BRANDING AND SIGNAGE |  |  | 0.000 | 0.00 | 0.00
40 | 1 | Lit signage Providing and fixing of solid acrylic signage as per the brand name, fully lit from front and sides as per design and dimensions mentioned in the drawings. |  | No.s | 1.000 | 0.00 | 0.00
41 | 2 | Acrylic Letters Providing and pasting of 8mm acrylic CNC cut letters and signage as per the design and dimension provided by the brand and as per drawing with necessary adhevise for the surface. |  | Rft | 276.000 | 0.00 | 0.00
42 | E | GUARD RAIL Providing fixing SS 304 - 25mm dia SS guard rail to be fixed on the floor ,you ll need appropriate hardware like screws or bolts , drill,and finish in original ss chrome finish. |  | Rft | 14.000 | 0.00 | 0.00