## ELE BOQ
#REF!
ELECTRICAL BOQ
#REF!
SR. No | DESCRIPTION | TOTAL QTY. | UNIT | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT
VII | CCTV SYSTEM
1 | Supply, Installation, Testing & Commissiong of 2 MP IR Dome Camera 1/3″ Megapixel progressive scan Exmor CMOS, Dome camera with fixed lens, H.264, 720p @ 25fps, RJ-45 connection, Complete as per specification, IP66, IK10, with all required accessories to finish the work. | 2 | Nos |  |  | 0 | 0
2 | Supply & Installation of Cat-6 Cable in above conduits for DATA System. | 30 | Mtr. |  |  | 0 | 0
3 | Supply, Installation, testing & commissioing of cat-6 RJ45 Information outlet with dual face plate and back box. | 2 | Nos |  |  | 0 | 0
4 | Supply & Installation of cat-6 1mtr Patch cord | 2 | Nos |  |  | 0 | 0
5 | Supply, Installation, testing and commissioning of 4 channel Network Video Recorder - storage capacity recording all cameras at 4CIF resolution, H.264 compression and 12 fps/10fps for multi sensor cameras, lifetime Licensed software to support minimum of 4 cameras having base for fixing 4TB hard disk , H.264 profile, multicasting & Dual Streaming, Support 15 days Storage. | 1 | Nos |  |  | 0 | 0
6 | Suitbale size of Hard Disk for 15 days recording capacity. | 1 | Nos |  |  | 0 | 0
| TOTAL FOR CCTV SYSTEM | [5 empty] | 0

## SUMMARY
JOSH @ T2
SUMMARY FOR ELECTRICAL WORKS
REVISION: 01, DATE : 19.01.2022
Sr. No. | DESCRIPTION |  | TOTAL AMOUNT IN Rs.
I | DISTRIBUTION BOARDS & SWITCHGEAR | Rs. | #REF!
II | UPS | Rs.
III | CABLES & ACCESSORIES | Rs. | #REF!
IV | WIRING & ACCESSORIES | Rs. | #REF!
V | LIGHTING FITTINGS INSTALLATION | Rs. | #REF!
VI | EARTHING | Rs. | #REF!
VII | CCTV SYSTEM | Rs.
| SUB TOTAL AMOUNT IN RS. | Rs. | #REF!
TAXES EXTRA AS APPLICABLE