## SPRINKLER
BILL OF QUANTITIES FOR SPRINKLER WORK LOCATION:- Ahemdabad Food Court
SR. NO. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT | Remarks
1 | Providing, Laying, Jointing & Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C' Heavy Pipe & with necessary support & anchore fastening from slab.
a. | 25 mm dia | Rft. | 120 | 250 | 30000
c. | 40 mm dia | Rft. | 60 | 350 | 21000
d. | 50 mm dia | Rft. | 10 | 450 | 4500
2 | Synthetic Enamel Paint.
a. | 25 mm dia | Rft. | 120 | 27 | 3240
c. | 40 mm dia | Rft. | 60 | 27 | 25
d. | 50 mm dia | Rft. | 10 | 27 | 270
3 | Providing & Fixing of Butterfly Valve.
a. | 40 mm dia | No. | 3 | 4500 | 13500
b. | 50 mm dia | No. | 1 | 5200 | 5200
4 | Providing & Fixing of Ball Valve.
c. | 40 mm dia | No. | 3 | 950 | 2850
d. | 50 mm dia | No. | 1 | 1250 | 1250
f. | 80 mm dia | No. | 1 | 1400 | 1400
5 | HEADER FITTING.
a. | Flow Switch | No. | 1 | 3250 | 3250
b | Pressure Gauge | No. | 1 | 2250 | 2250
c | Air Release Valve | No. | 1 | 1580 | 1580
d | 80 mm dia NRV | No. | 1 | 6890 | 6890
6 | Providing & Fixing C.P. Brass 68 degree Quartzoid Bulb Sprinklers. Make : Tyco / viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed & EN approved.
a. | Pendant Type | No. | 21 | 900 | 18900
7 | Providing & Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make : Tyco / viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed & EN approved for high temperature area in Kitchen temprating shall be 79degree c (QR)
a. | Pendant Type | No. | 21 | 1200 | 25200
8 | Flexible Sprinkler Drop.
a. | 25mm | No. | 21 | 840 | 17640
NOTE: KINDLY FOLLOW THE GUIDELINES ISSUED BY MALL AUTHORITY FOR THE DETAILED SPECIFICATIPONS OF DIFFERENT ITEMS MENTIONED IN THIS BOQ. SPRINKLER TAP OFF TO BE TAKEN FROM EXISTING SPRINKLER LINE
Total |  |  |  |  | 158945