## Price Comparison
RFQ No: R1881 COST COMPARISON REPORT | N S Associates Pvt Ltd | Cubicon Building Services Pvt Ltd (R0) | Cubicon Building Services Pvt Ltd (R1) Auction | FALLOW DEZIENCE TREE LLP (R0) | FALLOW DEZIENCE TREE LLP (R1) Auction | FL Group (R0) | FL Group (R1) Auction
Item Description | First Bid | First Bid | First Bid | First Bid | First Bid | First Bid | First Bid
Civil & Interior | 2723500 | 2450510 | 2390510 | 3635300 | 3435300 | 4354835 | 3449620
Plumbing | 590925 | 917440 | 908240 | 496500 | 496500 | 547130 | 507130
Electrical | 1209075 | 1265975 | 1200000 | 1058000 | 1058000 | 1322552 | 1099654
Fire Sprinkler | 179875 | 213740 | 198500 | 410450 | 410450 | 175920 | 175920
FAS | 98225 | 87500 | 84000 | 109750 | 109750 | 90330 | 90330
| 4801600 | 4935165 | 4781250 | 5710000 | 5510000 | 6490767 | 5322654

## BOQ Price Bid
[6 empty] | 4801600 |  | 4935165 |  | 4781250 |  | 5710000 |  | 5510000 |  | 6490767 |  | 5322654
|  | RFQ No: R1881 COST COMPARISON REPORT | Comp. Date : 25/09/2024 | Comp. Date : 25/09/2024 | N S Associates Pvt Ltd | Vendor Name : N S Associates Pvt Ltd | Cubicon Building Services Pvt Ltd (R0) | Vendor Name : Cubicon Building Services Pvt Ltd | Cubicon Building Services Pvt Ltd (R1) Auction | Vendor Name : Cubicon Building Services Pvt Ltd | FALLOW DEZIENCE TREE LLP (R0) | Vendor Name : Cubicon Building Services Pvt Ltd | FALLOW DEZIENCE TREE LLP (R1) Auction | Vendor Name : Cubicon Building Services Pvt Ltd | FL Group (R0) | Vendor Name : FL Group | FL Group (R1) Auction | Vendor Name : FL Group
Sr No. | Item Code | Item Name | UOM | Qty | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Civil & Interior | NOS | 1 |  | 2723500 |  | 2450510 |  | 2390510 |  | 3635300 |  | 3435300 |  | 4354835 |  | 3449620
1 | 1 | LOCATION DESCRIPTION ANTI-TERMITE TREATMENT WORK
2 | 1.1 | LOCATION BOH MOH AREA DESCRIPTION Providing doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3 in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4 center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated). | Sq. ft. | 600 | 10 | 6000 | 45 | 27000 |  |  | 30 | 18000 |  |  | 110 | 66000 | 110 | 66000
3 | 2 | LOCATION DESCRIPTION CIVIL WORK
4 | 2.01 | LOCATION DESCRIPTION WATERPROOFING (MEMBRANE)
5 |  | LOCATION BOH MOH AREA DESCRIPTION Providing and laying water- proofing treatment to hand wash, BOH area consisting of 4mm Thk Apex Apcon Sheild Dr Fixit Torchsheild or equivalent polyster reinforced APP modified bitumen membrane sheet(Basic Rate Rs.2000 Roll of 10mX1m) as approved, cleaning and smoothing of entire surface, smooth plaster upto 300mm from floor rising lvl, 12mmx12mm groove at 150mm from floor rising lvl, one coat of Bitcote Dr Fixit Apex equivalent (as approved)-heavy body bitumen primer (Basic Rate Rs.82 Kg) coating as a primer on surface and till 300mm from floor rising lvl, application of membrane sheet as per application detail and packing the hole cuts for pipe line and checking the area which is water proofed. Rate includes of laying the protective layer of Plaster with curing and testing with a gaurantee of 10 years. | Sq. ft. | 1150 | 200 | 230000 | 240 | 276000 |  |  | 290 | 333500 |  |  | 230 | 264500 | 230 | 264500
6 | 2.02 | LOCATION DESCRIPTION WATERPROOFING (TAPECRETE)
7 |  | LOCATION DESCRIPTION Providing and laying water- proofing treatment to toilet, kitchen etc., consisting of 4 coats of Tape Crete to floors and vertical sides with Ist coat of TapeCrete mixed with white cement in proportion of 1 2, sealing all junctions, corners etc.and 10-12 mm thick protection plaster in cement mortar 1 4(1 cement 4 coarse sand) complete with curing and testing with a gaurantee of 10 years. | Sq. ft. | 0 | 125 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
8 | 2.03 | LOCATION DESCRIPTION CINDER LIGHT WT. SIPORAX BLOCK BATS FILLING
9 |  | LOCATION BOH MOH RAISED AREA DESCRIPTION Providing Filling light wt. Siporex block bats to conceal drainage plumbing lines for Grease trap of average thk of 300 mm . The rates shall include for Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect. | Sq. ft. | 540 | 225 | 121500 | 55 | 29700 |  |  | 450 | 243000 |  |  | 350 | 189000 | 350 | 189000
10 | 2.04 | LOCATION DESCRIPTION PCC LAYER
11 |  | LOCATION BOH MOH AREA DESCRIPTION Providing Laying P.C.C 1 3 6 of average thickness 75mm of M 10 grade of concrete ( 1 cement 3 coarse sand 6 graded stone aggregate 20 mm nominal size) as floor base. | Sq. ft. | 600 | 85 | 51000 | 85 | 51000 |  |  | 150 | 90000 |  |  | 350 | 210000 | 350 | 210000
12 | 2.05 | LOCATION DESCRIPTION BLOCK MASONARY WORK
13 |  | LOCATION 100 MM THICK BLOCK MASONARY ( BOH MOH Area Partition Walls ) DESCRIPTION Providing Laying of Light Wt. Foam Fly Ash Block masonry (Siporex AAC make) of thickness 100mm in super structure for any shapes, fins, projections, in shafts, under counter platform cupboards, using in cement mortar 1 4 (1 cement 4 coarse sand) mix, joints finished including scaffolding, curing, cutting holes for complete as per specification and drawing or as directed by Project Manager. | Sq. ft. | 855 | 200 | 171000 | 176 | 150480 |  |  | 400 | 342000 |  |  | 220 | 188100 | 220 | 188100
14 | 2.06 | LOCATION DESCRIPTION BRICK MASONARY WORK
15 |  | LOCATION DESCRIPTION Providing constructing Brick Masonry of 115 mm thk with CM 1 4 in proper line, level plumb . At every 4th coarse ht.02 nos 6mm dia round bars as stiffeners should provided. Rate should be include the cost of stiffeners,scaffolding completing with curing as per drawings or as directed by Architect site Incharge. | Sq. ft. | 0 | 200 | 0 | 225 | 0 |  |  | 0 | 0 |  |  | 250 | 0 | 250 | 0
16 |  | LOCATION DESCRIPTION Providing constructing Brick Masonry of 230 mm thk with CM 1 4 in proper line, level plumb At every 1 tm ht. interval stiffener should be provided. Rate to include the cost of stiffener, the necessary curing scaffolding etc. complete as directed by Architect. | Sq. ft. | 0 | 400 | 0 | 210 | 0 |  |  | 0 | 0 |  |  | 250 | 0 | 250 | 0
17 | 2.07 | LOCATION DESCRIPTION PLASTER
18 |  | LOCATION Plaster on 100 MM THICK BLOCK MASONARY ( BOH MOH Area Partition Walls ) DESCRIPTION P L12-15mm thick plaster in cement mortar 1 4 (1 cement 4coarse sand) to ceiling, all typesof R.C.C. work, brick work surfaces at all levels in line,level and plumb including smooth cement finish and providing necessary grooves at junctions of walls.Rate shall be inclusive of scaffolding and complete with curing etc | Sq. ft. | 2515 | 65 | 163475 | 120 | 301800 |  |  | 110 | 276650 |  |  | 140 | 352100 | 140 | 352100
19 | 2.08 | LOCATION DESCRIPTION RCC WORKS
20 |  | LOCATION RCC LINTEL on BOH MOH Area DESCRIPTION Providing laying RCC slab lintel of size 41 2 x 6 over door in FOH area. Rates include the centerring shuttering and steel reinforcement at all levels, excluding underplaster. | Rft. | 15 | 1000 | 15000 | 585 | 8775 |  |  | 450 | 6750 |  |  | 1300 | 19500 | 1300 | 19500
21 | 2.09 | LOCATION DESCRIPTION LT PANEL, SERVER COUNTER BASE WORK
22 |  | LOCATION BASE FOR LT PANAL, SERVER RACK, POS AREA COUNTER DESCRIPTION P f of 8 ht base for water tanks, DG panel LT panel with RCC lintel Rates include the centerring shuttering and steel reinforcement at all levels, excluding underplaster and waterproofing. | Sq. ft. | 20 | 500 | 10000 | 583 | 11660 |  |  | 450 | 9000 |  |  | 450 | 9000 | 450 | 9000
23 |  | LOCATION DESCRIPTION
24 |  | LOCATION DESCRIPTION SUB TOTAL OF CIVIL WORK
25 | 3 | LOCATION DESCRIPTION FLOORING
26 |  | LOCATION DESCRIPTION
27 | 3.01 | LOCATION Olive Matt Max Stone Tile Flooring ( BOH MOH Area ) DESCRIPTION FLOORING TILE Providing laying Olive Matt Max Stone tiles of size of 600 x 600 mm on 40 mm thk of cement sand bedding with CM 1 4 (fixing to be done with cement slurry paste) for dinning area with all grouting.Marfil Make (Basic Rate of tile Rs.65 - per sq.ft.) including necessary wastage ,cutting Covering Protection PVC Sheet complete | Sq. ft. | 0 | 200 | 0 | 212 | 0 |  |  | 0 | 0 |  |  | 415 | 0 | 415 | 0
28 | 3.02 | LOCATION Olive Matt Max Stone Tile Flooring ( BOH MOH Area ) DESCRIPTION Providing fixing of 12 mm thk. 0 -4 high Tile Skirting (Olive Matt Max Stone tiles ( Marfil Make ) over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the colour of tile including necessary wastage ,cutting Covering Protection PVC Sheet complete. (Base Rate of Tile is Rs.65 - sq.ft.) | Rft | 0 | 200 | 0 | 150 | 0 |  |  | 0 | 0 |  |  | 350 | 0 | 350 | 0
29 | 3.03 | LOCATION FRENCH WENGE ( SIDRON )Tile Flooring ( FOH Area ) DESCRIPTION FLOORING TILE Providing laying FRENCH WENGE ( Sidron ) tiles of size of 600 x 1200 mm on 40 mm thk of cement sand bedding with CM 1 4 (fixing to be done with cement slurry paste) for dinning area with all grouting.Marfil Make (Basic Rate of tile Rs.160 - per sq.ft.) including necessary wastage ,cutting Covering Protection PVC Sheet complete. | Sq. ft. | 130 | 375 | 48750 | 332 | 43160 |  |  | 650 | 84500 |  |  | 510 | 66300 | 510 | 66300
30 | 3.04 | LOCATION 4 SKIRTING IN GRANITE STONE FOR COUNTER FAÇADE DESCRIPTION Providing fixing of 18 mm thk. 0 -4 high Granite Stone Skirting over a bed of 12 mm thk. Cement mortar ( 1 4 ) Adhesive of approved make jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding polishing, Covering Protection PVC Sheet complete complete. (Base Rate of Tile is Rs.180 - sq.ft.) | Rft | 30 | 250 | 7500 | 475 | 14250 |  |  | 450 | 13500 |  |  | 750 | 22500 | 750 | 22500
31 | 3.05 | LOCATION GRANITE Door Cill 6 wide for BOH MOH Area DESCRIPTION Providing fixing of 19 mm thk. granite 6 wide door Cill over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding polishing and Covering Protection PVC Sheet complete complete. (Base Rate of granite is Rs 180 - sq.ft.) | Rft | 18 | 300 | 5400 | 475 | 8550 |  |  | 650 | 11700 |  |  | 700 | 12600 | 700 | 12600
32 | 3.06 | LOCATION BOH MOH Area Kota Stone Flooring ( Masala Kitchen Ultra Bar ) DESCRIPTION Providing laying of 25 thk. 560mmX560mm Kota Stone flooring over a bed of 20mm thk. Cement mortar (1 4) jointed with cement slurry mixed with pigment to match the color of kota stone including hole cutting for traps etc. necessary cutting, rubbing, grinding and mirror polishing and Covering Protection PVC Sheet completecompleted as per the details are provided in drawings or as directed by Architect Engineer. | Sq. ft. | 650 | 250 | 162500 | 202 | 131300 |  |  | 250 | 162500 |  |  | 350 | 227500 | 350 | 227500
33 | 3.07 | LOCATION BOH MOH Area Kota Stone Skirting ( Masala Kitchen Ultra Bar ) DESCRIPTION Providing fixing of 25mm thk. kota stone 4 high over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the coloure of KOTA including necessary wastage ,cutting ,grinding polishing covering protection PVC Sheet completed as per the details are provided in drawings or as directed by Architect Engineer. | Rft | 185 | 200 | 37000 | 100 | 18500 |  |  | 150 | 27750 |  |  | 330 | 61050 | 330 | 61050
34 |  | LOCATION DESCRIPTION SUB TOTAL OF FLOORING WORK
35 | 4 | LOCATION DESCRIPTION WALL TILING
36 | 4.01 | LOCATION BOH KITCHEN WALLS DESCRIPTION P fixing glazed ceramic (Kajaria Johnson Make) White- (8 x 12 ) Wall tiles as approved in kitchen over a base of 20-25mm thick plaster with cement mortar 1 3 (1 cement 3 fine sand) as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as spec.(Basic cost of tile Rs.25 - per sft.) (TILES TO BE PASTED ABOVE 4 HIGH. TILE SKIRTING TILL FALSE CEILING NO TILE TO BE CUT IN VERTICAL) | Sq. ft. | 870 | 150 | 130500 | 145 | 126150 |  |  | 190 | 165300 |  |  | 375 | 326250 | 375 | 326250
37 | 4.02 | LOCATION BOH AREA WALL PANELING DESCRIPTION P F Single Side Partition in 18mm thk HDHMR Ply with Framework of MS Box section 50x50mm ,18 gauge at a spacing of 600 mm c c in both direction to achieve rigidity in the frame of approved sections supported hung from column face floor with rust-free treatment then fixed 18mm thick HDHMR Board complete. Rate inclusive of all fixing arrangement, provision of light points, complete as per drawing. | Sq. ft. | 90 | 375 | 33750 | 590 | 53100 |  |  | 650 | 58500 |  |  | 806 | 72540 | 806 | 72540
38 | 4.03 | LOCATION BOH KITCHEN WALLS DESCRIPTION P fixing glazed ceramic (Kajaria Johnson Make) White- (8 x 12 ) Wall tiles as approved in kitchen with adhesive of approved make as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as spec.(Basic cost of tile Rs. 22 - per sft.) (TILES TO BE PASTED ABOVE 4 HIGH. TILE SKIRTING TILL FALSE CEILING NO TILE TO BE CUT IN VERTICAL) | Sq. ft. | 90 | 150 | 13500 | 140 | 12600 |  |  | 195 | 17550 |  |  | 378 | 34020 | 378 | 34020
39 | 4.04 | LOCATION WALL TILES ( MOH AREA ) DESCRIPTION Providing Fixing of 75 x 300mm RED STONE MATCHING wall Tile ( KASA DECOR ) in MOH Area with 12 thk base plaster cement mortar 1 4 and joined with white cement slurry mixed with pigment to match the shade of tile. The tile to be laid as per approved pattern. Completed as per design details are provided or as directed by Architect. (Base Rate of Tiles @Rs.165 - Sq.ft.) | Sq. ft. | 435 | 375 | 163125 | 320 | 139200 |  |  | 560 | 243600 |  |  | 550 | 239250 | 550 | 239250
40 | 4.05 | LOCATION WALL TILES ( MOH AREA ) DESCRIPTION Providing Fixing of 300 x 300mm MOROCAAN MOSAIC wall Tile ( KASA DECOR ) in MOH Area with 12 thk base plaster cement mortar 1 4 and joined with white cement slurry mixed with pigment to match the shade of tile. The tile to be laid as per approved pattern. Completed as per design details are provided or as directed by Architect. (Base Rate of Tiles @Rs.160 - Sq.ft.) | Sq. ft. | 75 | 350 | 26250 | 320 | 24000 |  |  | 550 | 41250 |  |  | 550 | 41250 | 550 | 41250
41 |  | LOCATION DESCRIPTION
42 |  | LOCATION DESCRIPTION SUB TOTAL OF WALL TILING
43 | 5 | LOCATION DESCRIPTION WOODWORK
44 | 5.01 | LOCATION DOOR FRAMES DESCRIPTION P F HARD Wood door frames i.e Sal wood or Equivalent 2.5 X 5 complete with grooves as specified complete polished matching to the laminate as specified, with all necessary hardware such as hold fasts with polish finish of approved shade etc. completed as per design details given in drawing Architect instruction. Architect to mention the size and number of HOLD FASTS, door frames to be manufactured with horns minimum 3 , rebate size and a temporary wooden strip to retain the shape of the frame etc.including polish of approved shade. Basic cost of wood is Rs..2000.00 per Cu. ft. | Rft | 60 | 800 | 48000 | 2360 | 141600 |  |  | 635 | 38100 |  |  | 650 | 39000 | 650 | 39000
45 | 5.02 | LOCATION BOH AREA (WITH VISION PANEL) KITCHEN ENTRY DOOR BAR AREA SIDE DESCRIPTION Flush door (32 mm thk 2 hour Fire rated ) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level including all necessary hardware (i.e. lock, handle, hinges, latch or tower bolt, door stopper, door pvc buffer, Door Closer, 2mm thick SS Kick push plate both sides of shutter etc ) to be provided. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. Door Size 3 -3 x 7 0 ( Base Rate of Laminate sheet @ Rs. 800 - Sqft ) | No | 1 | 32500 | 32500 | 18375 | 18375 |  |  | 45000 | 45000 |  |  | 80000 | 80000 | 80000 | 80000
46 | 5.03 | LOCATION BOH AREA BOND ROOM ENTRY DOOR WITH VISION PANEL KICK PLATE DESCRIPTION Flush door (32 mm thk 2 hour Fire rated ) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level 1.2mm thick SS Kick Plate both sides of shutter at bottom including all necessary hardware (i.e. lock, handle, hinges, latch or tower bolt, door stopper, door pvc buffer, door closer, 2mm thick SS Kick push plate both sides of shutter etc ) . All to be completed as per the details are provided in drawings or as directed by Architect Engineer. Door Size 2 -5 x 7 0 ( Base Rate of Laminate sheet @ Rs. 800 - Sqft ) | No | 1 | 32500 | 32500 | 18365 | 18365 |  |  | 35000 | 35000 |  |  | 80000 | 80000 | 80000 | 80000
47 | 5.04 | LOCATION BOH AREA KITCHEN TO BAR ENTRY DOOR ENTRY DOOR WITH VISION PANEL KICK PLATE DESCRIPTION Flush door (32 mm thk 2 hour Fire Rated ) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level 1.2mm thick SS Kick Plate both sides of shutter at bottom including all necessary hardware (i.e. lock, handle, hinges, latch or tower bolt, door stopper, door pvc buffer, door closer, 2mm thick SS Kick Push Plate both sides of shutter etc ) . All to be completed as per the details are provided in drawings or as directed by Architect Engineer. Door Size 2 -9 x 7 0 ( Base Rate of Laminate sheet @ Rs. 800 - Sqft ) | No | 1 | 32500 | 32500 | 23125 | 23125 |  |  | 38500 | 38500 |  |  | 80000 | 80000 | 80000 | 80000
48 | 5.05 | LOCATION BOND AREA SERVICE SHAFT ENTRY DOOR DESCRIPTION Flush door (32 mm thk 2 hour Fire rated ) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level 1.2mm thick SS Kick Plate both sides of shutter at bottom including all necessary hardware (i.e. lock, handle, hinges, latch or tower bolt, door stopper, door pvc buffer, door closer, 2mm thick SS Kick push plate both sides of shutter etc ) . All to be completed as per the details are provided in drawings or as directed by Architect Engineer. Door Size 2 -5 x 7 0 ( Base Rate of Laminate sheet @ Rs. 800 - Sqft ) | No | 1 | 75000 | 75000 | 23125 | 23125 |  |  | 34000 | 34000 |  |  | 80000 | 80000 | 80000 | 80000
49 | 5.06 | LOCATION FLAP SHUTTER WITH MASALA KITCHEN COUNTER DESCRIPTION Flap Door Shutter Providing and fixing single leaf 12mm thick HDHMR board finish with Laminate inside FOH side finished with ( 150mm x 300mm ) green Fluted Tiles as per design at flap shutter top 150mm wide 50mm high front matching with counter facade Cove finished with 18mm thk. Black Marquina Stone including grinding, polish, moulding, cove light arrangement at front side as per details given in drawing Architect instruction. Rate inclusive of all necessary hardware, cutting, grinding, polishing, moulding, bull nosing, required hardware for flap shutter, lighting arrangement for facia etc complete as per detail drawing. Rate shall include cost of black marquina stone .( Base rate of Black Marquina Stone @ Rs. 650 - Sqft Counter Facade Tile @ Rs. 445 - Sqft ). approx. size 815x1050mm | Nos | 1 | 15000 | 15000 | 30000 | 30000 |  |  | 24000 | 24000 |  |  | 26000 | 26000 | 26000 | 26000
50 | 5.07 | LOCATION MASALA KITCHEN MOH AREA BACK COUNTER DESCRIPTION Providing fixing of Back Counter storage( 900mm high 625mm Wide Counter) with necessary drawer, shelves shuter as per design made of 19mm thick HDHMR Board all internal surface of counter finished with laminate of approved make shade and counter top finished with 18mm thk. Black Marquina Stone including grinding, polish, moulding as required including skirting 100mm high from finish floor matching with floor, details given in drawing Architect instruction. Rate inclusive of all necessary hardware, fixtures, cutting, grinding, polishing,buffing, bull nosing, MS sections, lighting arrangement for facia etc complete as per detail drawing. Rate shall include cost of black marquina stone .( Base rate of Black Marquina Stone @ Rs. 650 - Sqft ).Elevation Area to be measured. | Sq. ft. | 10 | 3500 | 35000 | 3300 | 33000 |  |  | 6000 | 60000 |  |  | 5000 | 50000 | 5000 | 50000
51 | 5.08 | LOCATION MASALA KITCHEN COUNTER DESCRIPTION Providing fixing of Masala Kitchen Counter ( 1050mm high 150mm Wide at top 50mm latak front back side of Counter) as per design made of 50mm x 50mm tube MS Frame work @ 600c c both sides fixed on floor both side walls then fixed 12mm thick HDHMR board both sides of MS Frame work then internal surface tobe finished with laminate tile with adhesive counter facade finished with ( 150mm x 300mm ) green Fluted Tiles as per design including skirting base 100mm high from finish floor, as per design Counter top, 50mm high front back side with Cove finished with 18mm thk. Black Marquina Stone including grinding, polish, moulding, cove light arrangement at front side as per details given in drawing Architect instruction. Rate inclusive of all necessary hardware, cutting, grinding, polishing, moulding, bull nosing, MS sections, lighting arrangement for facia etc complete as per detail drawing. Rate shall include cost of black marquina stone .( Base rate of Black Marquina Stone @ Rs. 650 - Sqft Counter Facade Tile @ Rs. 445 - Sqft ). Elevation Area to be measured. | Sq. ft. | 30 | 5500 | 165000 | 3465 | 103950 |  |  | 3200 | 96000 |  |  | 3675 | 110250 | 3675 | 110250
52 | 5.09 | LOCATION MASALA KITCHEN POS Bain Marry COUNTER STORAGE DESCRIPTION Providing fixing of POS Bain Marie Counter Storage( 1050mm high 800mm Wide Counter) with necessary drawer, shelves shuter as per design made of 19mm thick HDHMR Board all internal surface visible surface of counter finished with laminate of approved make shade and Storage top to be finished with 18mm thk. Black Marquina Stone including grinding, polishing, moulding as required, skirting 100mm high from finish floor matching with floor tileas per details given in drawing Architect instruction. Rate inclusive of all necessary hardware, fixtures, cutting, grinding, polishing, moulding , bull nosing, Mesh Braket under Table, etc complete as per detail drawing. Rate shall include cost of black marquina stone .( Base rate of Black Marquina Stone @ Rs. 650 - Sqft ). Elevation Area to be measured. | Sq. ft. | 25 | 3500 | 87500 | 3465 | 86625 |  |  | 3600 | 90000 |  |  | 3185 | 79625 | 3185 | 79625
53 | 5.1 | LOCATION ULTRA BAR COUNTER DESCRIPTION Providing fixing of Ultra Bar Counter (1050mm high 400mm wide top 50mm Latak Both side ) Bar counter facade top Made of 12mm thick HDHMR Board fixed on existing bar counter wall at Top with the help of MS frame work finally finish with Black Marquina Stone at top with 50mm latak both sides Bar counter with light glowing arrangement, Facade finish with 8mm thick HDHMR Board fixed over 12mm thick HDHMR Board with wooden moulding, aluminium profile finished with paint of approved make shade wall internal surface to be finished with commercial tiles .( Base rate of Black Marquina Stone @ Rs. 350 - Sqft Counter Facade Tile @ Rs. 150 - Sqft ). Elevation Area to be measured. | Sq. ft. | 80 | 3500 | 280000 | 2215 | 177200 |  |  | 2800 | 224000 |  |  | 4500 | 360000 | 4500 | 360000
54 | 5.11 | LOCATION POS COUNTER DESCRIPTION Providing fixing of POS Counter ( 900mm high 600mm Wide Counter) with necessary drawer, shelves shuter as per design made of 19mm thick HDHMR Board all internal surface of counter finished with laminate of approved make shade and counter top finished with 18mm thk. Black Marquina Stone including polish including skirting base 100mm high from finish floor, details given in drawing Architect instruction. Rate inclusive of all necessary hardware, fixtures, cutting, grinding, polishing,buffing, bull nosing, MS sections, lighting arrangement for facia etc complete as per detail drawing. Rate shall include cost of black marquina stone .( Base rate of Black Marquina Stone @ Rs. 350 - Sqft Counter Facade Tile @ Rs. 150 - Sqft ). Elevation Area to be measured. | Sq. ft. | 15 | 3000 | 45000 | 3190 | 47850 |  |  | 3000 | 45000 |  |  | 4200 | 63000 | 4200 | 63000
55 | 5.12 | LOCATION GRAPHIC BASE ABOVE MASALA KITCHEN COUNTER DESCRIPTION Providing fixing 12mm thk. HDHMR ply on wall above Masala Kitchen Counter with the help of MS Frame work for making Graphic base including all fixing arrangement finally finished with paint of Approved make shade complete. | Sq. ft. | 20 | 300 | 6000 | 590 | 11800 |  |  | 950 | 19000 |  |  | 900 | 18000 | 900 | 18000
56 | 5.13 | LOCATION 7 WIDE GRANITE STONE PATTI CLADDING BOTH SIDES OF MASALA KITCHEN COUNTER DESCRIPTION Providing fixing of 18 mm thk. 0 -7 wide Granite Stone cladding on wall over a bed of 12 mm thk. Cement mortar ( 1 4 ) Adhesive of approved make jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding polishing complete. (Base Rate of Tile is Rs.180 - sq.ft.) | Rft | 20 | 350 | 7000 | 242 | 4840 |  |  | 850 | 17000 |  |  | 900 | 18000 | 900 | 18000
57 | 5.14 | LOCATION HDHMR BOARD PANELING ON ULTRA BAR BACK WALL DESCRIPTION Providing fixing 19mm thick HDHMR Board ( 140mm Wide ) directly fixed on wall with the help of Nails sleves including all fixing arranggement finally finish with 1mm thick laminate of approved make shade as per design complete in all respect. ( Base Rate of Laminate sheet @ Rs. 800 - Sqft ) | Rft | 40 | 200 | 8000 | 500 | 20000 |  |  | 650 | 26000 |  |  | 750 | 30000 | 750 | 30000
58 |  | LOCATION DESCRIPTION SUB TOTAL OF WOODWORK
59 | 6 | LOCATION DESCRIPTION FALSE CEILING WORK
60 | 6.01 | LOCATION GYPSUM FALSE CEILING DESCRIPTION Providing fixing of seamless GYPSUM BOARD ( Fire Rated ) 12.5mm thk fixed to the under side of the suspended grid formed of GI perimeter channel of size 20x27x30mm fixed along the wall by using wood screws metal expansion rawl plugs. The GI intermediate channel of size 45x15x0.90mm shall be fixed to the suspended strap hanger GI ceiling angle at intervals No.t more than 1220mm.The suspended GI ceiling angle strap hanger is to be connected with GI soffit cleat of size 37x27x25, 1.6mm it should be fixed on the roof slab beam by using metal expansion fasteners of 12.5mm dia. to the length of 35mm with screw at top ends, including all drops, coves etc and taping finally finish with paint of approved make shade. Rate to be inclusive cutting for lights, grills ducts etc., Paint As per the Details, completed as per the details are provided in drawings or as directed by Architect Engineer. | Sq. ft. | 475 | 175 | 83125 | 120 | 57000 |  |  | 260 | 123500 |  |  | 280 | 133000 | 280 | 133000
61 | 6.02 | LOCATION Metal Grid Ceiling in BOH Area DESCRIPTION Supply and Installation of powder quoted , metal grid false ceiling with tiles of 600 x 600 mm of 0.4mm thick of approved make with necessary supporting Grid system of approved make and accessories to hold in position as per the manufacturers specifications adhering to detail drawings. Make shall be of DMC approved equivalent make as approved by the Architects. Rate includes all lead,lifts for all scafolding, necessary hardware, wastage labour etc complete. ( Base Rate of Metal Grid Ceiling @ Rs. 150 - Sqft ) | Sq. ft. | 245 | 225 | 55125 | 250 | 61250 |  |  | 390 | 95550 |  |  | 600 | 147000 | 600 | 147000
62 | 6.03 | LOCATION TRAP DOORS [IN BMH AREA] DESCRIPTION Providing and making Trap door made of 12 mm thick HDHMR Board finished with Paint of approved make shade including all necessary frame work in Sal wood complete as per the detailed drawing instruction provided by architect. Rate is inclusive of all necessary hardware, completed as per the details are provided in drawings or as directed by Architect Engineer. | Sq. ft. | 35 | 1000 | 35000 | 220 | 7700 |  |  | 960 | 33600 |  |  | 1300 | 45500 | 1300 | 45500
63 |  | LOCATION DESCRIPTION SUB TOTAL OF FALSE CEILING
64 | 7 | LOCATION DESCRIPTION MISC. WORK
65 | 7.01 | LOCATION BULK HEAD ULTRA BAR DESCRIPTION Providing Making hanging ULTRA Bar Bulk Head 300mm wide made of MS Frame work hanging with existing ceiling then fixed Wooden strips (25mm wide x 12mm thick ) at false ceiling level finish with polishing matching with veneer, at bottom portion of Bulk headwared with 19mm thick HDHMR Board finish with paint of approbed make all MS members also finish with paint of approved make shade complete. Bulk Head Size ( 4630+1890 Long, 300mm wide 750mm high ) | Rft | 23 | 4000 | 92000 | 1235 | 28405 |  |  | 6500 | 149500 |  |  | 9500 | 218500 | 9500 | 218500
66 | 7.02 | LOCATION SS FOOT RAIL DESCRIPTION Providing fixing 50mm Dia SS FOOT RAIL around ultra bar counter including all fixing arrangement complete. | Rft | 25 | 1800 | 45000 | 975 | 24375 |  |  | 1800 | 45000 |  |  | 1800 | 45000 | 1800 | 45000
67 | 7.03 | LOCATION Hood installation DESCRIPTION Hood ( 14 -0 x 3 -2 ) installation with all hanging materials accessories etc. | Nos | 1 | 7500 | 7500 | 18000 | 18000 |  |  | 15000 | 15000 |  |  | 15000 | 15000 | 15000 | 15000
68 | 7.04 | LOCATION Hood installation DESCRIPTION Hood ( 3 -10 x 2 -0 ) installation with all hanging materials accessories etc. | Nos | 1 | 4000 | 4000 | 9000 | 9000 |  |  | 5000 | 5000 |  |  | 4500 | 4500 | 4500 | 4500
69 | 7.05 | LOCATION Hood installation DESCRIPTION Hood ( 2 -8 x 2 -7 ) installation with all hanging materials accessories etc. | Nos | 1 | 3000 | 3000 | 8000 | 8000 |  |  | 5000 | 5000 |  |  | 4500 | 4500 | 4500 | 4500
70 | 7.06 | LOCATION DEBRIS REMOVAL FROM STORE PREMISES (UP TO 2 VEHICLES) DESCRIPTION Except Civil vendor debris (Cold room, HVAC, Kitchen Equipment, furnitures, Signages, Etc) | Nos | 2 | 7500 | 15000 | 3250 | 6500 |  |  | 12000 | 24000 |  |  | 9000 | 18000 | 9000 | 18000
71 | 7.07 | LOCATION FIRST AID BOX DESCRIPTION Providing Fixing First Aid Box - good quality available in market with medicines inside. | Nos | 1 | 3500 | 3500 | 3200 | 3200 |  |  | 2500 | 2500 |  |  | 3500 | 3500 | 3500 | 3500
72 | 7.08 | LOCATION Equipment shifting from outside airport till outlets with proper safety DESCRIPTION All Equipments (imported fabricated, RO plant, Smallwares, dry store racks, IT materials, gas detection systems, furnitures etc) | Job | 1 | 40000 | 40000 | 0 | 0 |  |  | 75000 | 75000 |  |  | 25000 | 25000 | 25000 | 25000
73 | 7.09 | LOCATION FIXING OF WHITE GOODS DESCRIPTION Fixing of white goods for BOH AND FOH AREA like Pestoflash, TVs, DMB, Aircurtains, shelves, hooks, maps, internal signages, PVC buffers,Carpentry works like wire manager holes, hand towel dispenser hand dryers etc. | Job | 1 | 15000 | 15000 | 0 | 0 |  |  | 35000 | 35000 |  |  | 20000 | 20000 | 20000 | 20000
74 |  | LOCATION DESCRIPTION Total of Misc. Work
75 | 8 | LOCATION DESCRIPTION SS work
76 | 8.01 | LOCATION SS EDGE PROFILE DESCRIPTION P F of Stainless steel section edge profile protectors of size 19mm x 19mm x 1.5mm thick to protect all corners of the walls columns in kitchen | Rft | 200 | 300 | 60000 | 300 | 60000 |  |  | 450 | 90000 |  |  | 800 | 160000 | 800 | 160000
2 |  | Plumbing | NOS | 1 |  | 590925 |  | 917440 |  | 908240 |  | 496500 |  | 496500 |  | 547130 |  | 507130
77 |  | MATERIAL CPVC Pipes DESCRIPTION Supply, laying, testing commissioning of FOOD GRADE CPVC pipes conforming to CTS (Copper Tube Size) SDR-11 as per (is 15778 ASTM D 2846) with necessary fittings up to the size of 50 mm dia, jointing with CPVC solvent cement of medium body IPS brand or equivalent conform. (Make – SUPREME KASTA)
78 |  | MATERIAL DESCRIPTION 15mm dia | R.M. | 30 | 400 | 12000 | 650 | 19500 |  |  | 450 | 13500 |  |  | 1040 | 31200 | 1040 | 31200
79 |  | MATERIAL DESCRIPTION 20mm dia | R.M. | 55 | 475 | 26125 | 750 | 41250 |  |  | 500 | 27500 |  |  | 1380 | 75900 | 1380 | 75900
80 |  | MATERIAL DESCRIPTION WATER DRAIN PIPES
81 |  | MATERIAL PVC WASTE PIPE DESCRIPTION PVC Plastic Pipe for Drainage (Make – SUPREME KASTA)
82 |  | MATERIAL DESCRIPTION 100mm dia | R.M. | 40 | 1000 | 40000 | 1400 | 56000 |  |  | 850 | 34000 |  |  | 1450 | 58000 | 1450 | 58000
83 |  | MATERIAL DESCRIPTION 50mm dia | R.M. | 15 | 800 | 12000 | 1000 | 15000 |  |  | 450 | 6750 |  |  | 850 | 12750 | 850 | 12750
84 |  | MATERIAL DESCRIPTION CHAMBER GRATING
85 |  | MATERIAL INSPECTION CHAMBER DESCRIPTION Supply, Laying, Testing Commissioning of Approved SS Inspection Chamber along of Size- 300mmx300mm with SS Cover SS Grating over it. Make Jaquar Ozone. | Nos. | 5 | 10000 | 50000 | 12500 | 62500 |  |  | 8000 | 40000 |  |  | 7500 | 37500 | 7500 | 37500
86 |  | MATERIAL DESCRIPTION FLOOR TRAP | Nos. | 9 | 2000 | 18000 | 250 | 2250 |  |  | 2500 | 22500 |  |  | 3170 | 28530 | 3170 | 28530
87 |  | MATERIAL FLOOR TRAP DESCRIPTION Supply, Laying, Testing Commissioning of 100x100mm Floor Trap with Approved Make heavy duty round or Square.
88 |  | MATERIAL TOTAL DESCRIPTION
89 |  | MATERIAL DESCRIPTION VALVE AND TAP
90 |  | MATERIAL ANGLE VALVE DESCRIPTION Providing Fixing Angle Valve. | Nos. | 14 | 1500 | 21000 | 1100 | 15400 |  |  | 1800 | 25200 |  |  | 1725 | 24150 | 1725 | 24150
91 |  | MATERIAL LONG BODY TAP DESCRIPTION Providing Fixing Sink Cock. (Make – JAQUAR OZONE) | Nos. | 10 | 3000 | 30000 | 4000 | 40000 |  |  | 3500 | 35000 |  |  | 2350 | 23500 | 2350 | 23500
92 |  | MATERIAL TAP DESCRIPTION Providing Fixing Sink Cock. (Make – JAQUAR OZONE) | Nos. | 0 | 5500 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
93 |  | MATERIAL Gate Valves DESCRIPTION Providing Fixing CPVC Ball Valve ISI mark. (For Inlet) (Make – KITZ ZOLOTO AUDCO) 20mm Dia | Nos. | 3 | 2000 | 6000 | 980 | 2940 |  |  | 650 | 1950 |  |  | 1850 | 5550 | 1850 | 5550
94 |  | MATERIAL Single Lever Mixer DESCRIPTION Providing and fixing 15mm C.P. Single lever wall mixer for 3 Bowl Sink. (Jaguar-Continental make.) | Nos. | 1 | 5500 | 5500 | 14500 | 14500 |  |  | 7800 | 7800 |  |  | 1900 | 1900 | 1900 | 1900
95 |  | MATERIAL Grease Trap DESCRIPTION Providing Fixing of portable grease trap NGT-8,14,50 from Nugreen | Nos. | 2 | 65000 | 130000 | 98000 | 196000 |  |  | 45000 | 90000 |  |  | 63000 | 126000 | 63000 | 126000
96 |  | MATERIAL Bottle Trap DESCRIPTION Providing fixing 32mm CP finished Bottle Trap with wall flanges. (Make – JAQUAR OZONE) | Nos. | 2 | 12500 | 25000 | 3200 | 6400 |  |  | 6000 | 12000 |  |  | 4600 | 9200 | 4600 | 9200
97 |  | MATERIAL S.S. GRATING DESCRIPTION Providing Fixingof S.S. triple layer grating for the drain as per drawings. | Nos. | 3 | 2000 | 6000 | 1800 | 5400 |  |  | 4000 | 12000 |  |  | 0 | 0 | 0 | 0
98 |  | MATERIAL Waste Coupling DESCRIPTION Providing Waste Coupling 32mm size full thread waste coupling to be use for 3-bowl sink. (Make – JAQUAR OZONE) | Nos. | 1 | 5000 | 5000 | 1800 | 1800 |  |  | 1800 | 1800 |  |  | 2400 | 2400 | 2400 | 2400
99 |  | MATERIAL GEYSER STORAGE DESCRIPTION Geyser(Providing fixing)RECOLD MAKE
100 |  | 15 LTR | each | 1 | 1000 | 1000 | 18000 | 18000 |  |  | 15000 | 15000 |  |  | 15250 | 15250 | 15250 | 15250
101 |  | MATERIAL PVC WATER TANK DESCRIPTION Providing Fixing of PVC water, vertical type storage tanks of the approved quality Make Sintex, including making solid supported flat base as per instruction but in masonary work, and doing all connections as required. Item also inculding the lockable system require for food safety.
102 |  | 500 LTR | each | 1 | 8500 | 8500 | 10000 | 10000 |  |  | 7500 | 7500 |  |  | 9500 | 9500 | 9500 | 9500
103 |  | MATERIAL WATER MOTOR DESCRIPTION P f of 1HP water motor. | No | 1 | 15000 | 15000 | 39000 | 39000 |  |  | 10750 | 10750 |  |  | 5800 | 5800 | 5800 | 5800
104 |  | MATERIAL Jaquar continental DESCRIPTION Providing fixing Water meter of approved make sample | Nos | 1 | 10000 | 10000 | 18500 | 18500 |  |  | 12500 | 12500 |  |  | 12000 | 12000 | 12000 | 12000
105 |  | MATERIAL 03 BOWL SINK CONNECTION DESCRIPTION Providing and fixing 3-Bowl Sink Drain outlet connection with valve Drain pipe complete with all necessary fittings. | No | 5 | 6500 | 32500 | 45000 | 225000 |  |  | 4500 | 22500 |  |  | 3400 | 17000 | 3400 | 17000
106 |  | MATERIAL SINK CONNECTION DESCRIPTION Fixing Hand Wash Sink Drain outlet connection with valve Drain pipe complete with all necessary fittings. | No | 1 | 7500 | 7500 | 3500 | 3500 |  |  | 4500 | 4500 |  |  | 2100 | 2100 | 2100 | 2100
107 |  | MATERIAL SINK CONNECTION DESCRIPTION Providing and fixing Veg. Prep. Sink Drain outlet connection with valve Drain pipe complete with all necessary fittings. | No | 1 | 3000 | 3000 | 6500 | 6500 |  |  | 5000 | 5000 |  |  | 2100 | 2100 | 2100 | 2100
108 |  | MATERIAL FRESH AIR MACHINE CONNECTION DESCRIPTION Connection of fresh air overflow. Complete in all respects. | No | 1 | 3000 | 3000 | 15000 | 15000 |  |  | 5000 | 5000 |  |  | 3000 | 3000 | 3000 | 3000
109 |  | MATERIAL MAIN CONNECTION with airport drain line DESCRIPTION Making connection to existing sewer storm water drains including excavation,cutting of manhole walls and making good the same,modifying drain channels etc.complete in all respects. A)150 to 300 mm dia connection. | No | 1 | 3000 | 3000 | 35000 | 35000 |  |  | 10000 | 10000 |  |  | 4500 | 4500 | 4500 | 4500
110 |  | MATERIAL PVC 50MM DIA PIPE DESCRIPTION Providing, laying and jointing 50mm dia. PVC pipes complete (PRINCE) with PVC fittings and clamps, including cutting and making good the walls and floors, wherever necessary etc., complete. | Rm | 10 | 10000 | 100000 | 1500 | 15000 |  |  | 650 | 6500 |  |  | 850 | 8500 | 850 | 8500
111 |  | MATERIAL Pressure Pump DESCRIPTION 0.5 HP Crompton Make Pressure Pump | Nos | 1 | 800 | 800 | 35000 | 35000 |  |  | 11500 | 11500 |  |  | 5800 | 5800 | 5800 | 5800
112 |  | MATERIAL Ro Plant DESCRIPTION | Nos | 1 | 20000 | 20000 | 18000 | 18000 |  |  | 55750 | 55750 |  |  | 25000 | 25000 | 25000 | 25000
3 |  | Electrical | NOS | 1 |  | 1209075 |  | 1265975 |  | 1200000 |  | 1058000 |  | 1058000 |  | 1322552 |  | 1099654
113 | 1 | MDB ( Masala Kitchen)- Wall Mounted
114 | A | Incoming
115 |  | 1 No. 125 amps 16 kA 440 volt FP MCCB with Thermal Magnetic overcurrent and short circuit and with following
116 | C | Bus Bar
117 |  | 150 A, TPN Al. Bus Bar of suitable length having Current density 1Amp sq.mm having high conductivity electrical grade suitable to withstand symmetrical fault level of 25 kA. Neutral busbar shall be of 100% capacity.
118 | D | Outgoings
119 | a | 3 No.40 amps 4P MCB ( Type C)
120 | b | 3 No. 25 amps 4P MCB ( Type C)
121 |  | DB In built(Refer SLD)
122 | d | 1-63 amp FP MCB with 3 single phase banks each comprising of 63A DP RCCB(30 mA) and 8 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings.
123 |  | Main MDB as described above |  | 1 | 75000 | 75000 | 285000 | 285000 |  |  | 250000 | 250000 |  |  | 400000 | 400000 | 400000 | 400000
124 | 1.1 | DISTRIBUTION BOARDS
125 |  | Supply, erection, testing and commissioning of the following sheet steel clad wall recess mounting dust and vermin proof double door type distribution boards constructed from 16 SWG sheet steel IP 42 construction, finished with rust proof duly powder coa
126 |  | Note All MCBs in distribuition board for power circuits shall be of C curve
127 | i | Type A
128 |  | 1-25 amp DP MCB + DP RCCB ( 30mA) and 6 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. |  | 1 | 300000 | 300000 | 27550 | 27550 |  |  | 28000 | 28000 |  |  | 12500 | 12500 | 12500 | 12500
129 | ii | Type B
130 |  | 1-40 amp DP MCB + DP RCCB ( 30mA) and 6 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. |  | 1 | 25000 | 25000 | 28980 | 28980 |  |  | 35000 | 35000 |  |  | 24000 | 24000 | 24000 | 24000
131 | 2 | Supply installation testing and commisioning 2.0 kVA online ( 1ph input and 1ph output) UPS with 15 Min power back up complete with in buit Static by pass switch , Mannual external maintenance by pass switch , Rectifiers , Sealed MF batteries etc as requ |  | 1 | 80000 | 80000 | 210000 | 210000 |  |  | 125000 | 125000 |  |  | 75000 | 75000 | 75000 | 75000
132 | 3 | Supply, laying, testing commissioning of following sizes of Al Cu. conductor 1.1 kV grade, armoured, XLPE insulated FRLS LT Cables Control Cables including necessary cleats, clamps etc. (Cables shall be partly laid in Pipes, O H cable tray, on wall as
133 | 3.1 | 3.5C – 50.0 (Al.) FRLS Armoured XLPE Cable |  | 18 | 700 | 12600 | 875 | 15750 |  |  | 1500 | 27000 |  |  | 4500 | 81000 | 4500 | 81000
134 | 3.2 | 3C – 10.0 (Cu.) FRLS Armoured XLPE Cable |  | 25 | 200 | 5000 | 1050 | 26250 |  |  | 2100 | 52500 |  |  | 1000 | 25000 | 1000 | 25000
135 | 4 | Supply, erection, testing commissioning of following sizes of cable end terminations with Double compression gland for 1.1 kV grade, XLPE insulated, Al Cu Conductor cable
136 | 4.1 | 3.5C – 50.0 (Al.) FRLS Armoured XLPE Cable |  | 2 | 1000 | 2000 | 2550 | 5100 |  |  | 3500 | 7000 |  |  | 2400 | 4800 | 2400 | 4800
137 | 4.2 | 3C – 10.0 (Cu.) FRLS Armoured XLPE Cable |  | 2 | 750 | 1500 | 2150 | 4300 |  |  | 3500 | 7000 |  |  | 700 | 1400 | 700 | 1400
138 | 5 | Wiring for DB Submains with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in surface concealed MS surface concealed conduit including cost of providing saddles etc as required for surface conduiting and or cost of cutting and fillin
139 | 5.1 | 4 x 10 sq.mm + 2 No. 4.0 Sq. mm in 32 mm dia MS Conduit |  | 30 | 1250 | 37500 | 1325 | 39750 |  |  | 1250 | 37500 |  |  | 2670 | 80100 | 2670 | 80100
140 | 5.2 | 4 x 6 sq.mm + 2 No. 4.0 Sq. mm in 32 mm dia MS Conduit |  | 25 | 900 | 22500 | 875 | 21875 |  |  | 950 | 23750 |  |  | 1058 | 26450 | 1058 | 26450
141 | 5.3 | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit |  | 50 | 600 | 30000 | 750 | 37500 |  |  | 650 | 32500 |  |  | 529 | 26450 | 529 | 26450
142 | 5.4 | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit |  | 105 | 450 | 47250 | 390 | 40950 |  |  | 540 | 56700 |  |  | 452 | 47460 | 452 | 47460
143 | 6 | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shal
144 | 6.1 | 25X6 mm GI Strip |  | 10 | 300 | 3000 | 310 | 3100 |  |  | 110 | 1100 |  |  | 225 | 2250 | 225 | 2250
145 | 6.2 | 25X3 mm GI Strip |  | 40 | 200 | 8000 | 290 | 11600 |  |  | 180 | 7200 |  |  | 205 | 8200 | 205 | 8200
146 | 6.3 | 8 SWG Copper Wire |  | 70 | 125 | 8750 | 130 | 9100 |  |  | 250 | 17500 |  |  | 210 | 14700 | 210 | 14700
147 | 6.4 | 8 SWG GI Wire |  | 40 | 60 | 2400 | 75 | 3000 |  |  | 90 | 3600 |  |  | 35 | 1400 | 35 | 1400
148 | 6.5 | 1 Core 6.0 Sq. Mm FRLS Green Wire |  | 50 | 125 | 6250 | 130 | 6500 |  |  | 150 | 7500 |  |  | 105 | 5250 | 105 | 5250
149 | 7 | Supply, erection, testing commissioning of prefabricated GI Perforated type cable trays including Tees Bends Crossing Reducers Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as require
150 | 7.1 | 150 mm x 40 x 40 x 2 mm thick |  | 35 | 875 | 30625 | 770 | 26950 |  |  | 750 | 26250 |  |  | 975 | 34125 | 975 | 34125
151 | 8 | Wiring for MCB controlled normal primary light points Wall Point Floor Point with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall ceiling including cost of cutting and filling chases |  | 6 | 2500 | 15000 | 3800 | 22800 |  |  | 3000 | 18000 |  |  | 3924 | 23544 | 3924 | 23544
152 | 9 | Wiring for secondary MCB controlled normal light points Wall Point Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall ceiling including cost of c |  | 22 | 1000 | 22000 | 2250 | 49500 |  |  | 2500 | 55000 |  |  | 1645 | 36190 | 1645 | 36190
153 | 10 | Wiring for MCB controlled Emergency primary light points Wall Point Floor Point with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall ceiling including cost of cutting and filling cha |  | 1 | 2750 | 2750 | 4010 | 4010 |  |  | 5000 | 5000 |  |  | 3924 | 3924 | 3924 | 3924
154 | 11 | Wiring for secondary MCB controlled Emergency light points Wall Point Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall ceiling including cost o |  | 6 | 1000 | 6000 | 2890 | 17340 |  |  | 3500 | 21000 |  |  | 3924 | 23544 | 3924 | 23544
155 | 13 | Wiring for switch controlled primary light points with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25 mm dia 16 SWG MS concealed surface conduit including cost of cutting and filling chases for recessed conduiting |  | 2 | 2500 | 5000 | 3605 | 7210 |  |  | 2000 | 4000 |  |  | 3680 | 7360 | 3680 | 7360
156 | 14 | Wiring for secondary Switch controlled light points ( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS concealed surface conduit including cost of cutting and filling chase |  | 1 | 1000 | 1000 | 2250 | 2250 |  |  | 1500 | 1500 |  |  | 1645 | 1645 | 1645 | 1645
157 | 15 | Wiring for a 5 pin 240 volt 6 amp single phase and neutral switch socket outlet with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall ceiling including cost of providing circuit wirin |  | 2 | 3000 | 6000 | 4150 | 8300 |  |  | 2250 | 4500 |  |  | 5710 | 11420 | 5710 | 11420
158 | 16 | Wiring same as in Item 15 above looped from an adjacent 6 amp switch socket outlet as required and providing and fixing of a modular type 5 pin 240 Volt 6 amp shuttered socket outlet and a modular type 6 amp 240 Volt single pole switch in a recessed GI bo |  | 1 | 2000 | 2000 | 3310 | 3310 |  |  | 2500 | 2500 |  |  | 2300 | 2300 | 2300 | 2300
159 | 17 | Same as above but switch and socket provided at separate location including wiring berween switch and socket and complete as required
160 | 18 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 2.5 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall Ceiling including t |  | 5 | 2500 | 12500 | 3950 | 19750 |  |  | 2000 | 10000 |  |  | 6300 | 31500 | 6300 | 31500
161 | 19 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall Ceiling including t |  | 10 | 3000 | 30000 | 4410 | 44100 |  |  | 2500 | 25000 |  |  | 2800 | 28000 | 2800 | 28000
162 | 20 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the secon |  | 5 | 4000 | 20000 | 4400 | 22000 |  |  | 3000 | 15000 |  |  | 10200 | 51000 | 10200 | 51000
163 | 21 | Wiring for primary switch board consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 1 Nos.16A switch with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm |  | 2 | 4000 | 8000 | 4650 | 9300 |  |  | 3000 | 6000 |  |  | 10400 | 20800 | 10400 | 20800
164 | 22 | Supply installation testing and fixing 3 pin 16A 20A , 240V , single Phase metal Clad industrial socket outlet with 16A 20A DP MCB and complete in all respects( Wiring Excluded from scope of this item) |  | 2 | 3000 | 6000 | 10500 | 21000 |  |  | 4000 | 8000 |  |  | 3020 | 6040 | 3020 | 6040
165 | 23 | Supply installation testing and fixing 3 pin 25A 32A , 240V , single Phase metal Clad industrial socket outlet with 25A 32A DP MCB and complete in all respects( Wiring Excluded from scope of this item) |  | 5 | 5000 | 25000 | 11500 | 57500 |  |  | 4000 | 20000 |  |  | 4036 | 20180 | 4036 | 20180
166 | 24 | Supply installation testing and fixing 3 pin 40A , 240V , single Phase metal Clad industrial socket outlet with 40A DP MCB and complete in all respects( Wiring Excluded from scope of this item)
167 | 25 | Supply installation testing and fixing 5 pin 25A , 415V , Three Phase metal Clad industrial socket outlet with 25A FP MCB and complete in all respects( Wiring Excluded from scope of this item) |  | 2 | 5500 | 11000 | 15500 | 31000 |  |  | 3000 | 6000 |  |  | 15200 | 30400 | 15200 | 30400
168 | 26 | Supply installation testing and fixing 5 pin 40A , 415V , Three Phase metal Clad industrial socket outlet with 40A FP MCB and complete in all respects( Wiring Excluded from scope of this item) |  | 2 | 6500 | 13000 | 16500 | 33000 |  |  | 3000 | 6000 |  |  | 15200 | 30400 | 15200 | 30400
169 | 27 | Supply and Installation of following in wall mounted MS enclosure
170 | ii | 32A 25A DP RCBO |  | 5 | 7000 | 35000 | 7500 | 37500 |  |  | 4500 | 22500 |  |  | 8400 | 42000 | 8400 | 42000
171 | 28 | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic.
172 | i | Single outlet face plate with RJ-45 Jack with information outlet |  | 2 | 7500 | 15000 | 1500 | 3000 |  |  | 750 | 1500 |  |  | 1075 | 2150 | 1075 | 2150
173 | ii | Duplex outlet face plate with RJ-45 Jack with information outlet |  | 2 | 3000 | 6000 | 1500 | 3000 |  |  | 750 | 1500 |  |  | 600 | 1200 | 600 | 1200
174 | 29 | Supply, installation, testing, commissioning and laying of Category 6A cable in existing conduits raceways including Numbering-ferruling, bunching, tagging, computerised labeling of utp cable , Input Output termination Punching at both the ends , ( |  | 110 | 1000 | 110000 | 150 | 16500 |  |  | 90 | 9900 |  |  | 275 | 30250 | 275 | 30250
175 | 30 | Supplying,installation and commisioning of CAT-6A patch cords 2 mtrs. |  | 8 | 1200 | 9600 | 1050 | 8400 |  |  | 1500 | 12000 |  |  | 625 | 5000 | 625 | 5000
176 | 31 | Supplying,installation and commisioning of CAT-6A patch cords 1 mtr. |  | 8 | 100 | 800 | 950 | 7600 |  |  | 750 | 6000 |  |  | 550 | 4400 | 550 | 4400
177 | 32 | Supply , fixing Laying 16 SWG MS conduits on surface or concealed complete with PVC junction boxes, cover plates, bends, saddles, base and other accessories all made in PVC with GI screws as required to complete the job. .
178 | i | 25 mm dia 16 SWG MS conduit |  | 40 | 1500 | 60000 | 150 | 6000 |  |  | 150 | 6000 |  |  | 223 | 8920 | 223 | 8920
179 | ii | 20 mm dia 16 SWG MS conduit |  | 50 | 1200 | 60000 | 130 | 6500 |  |  | 110 | 5500 |  |  | 196 | 9800 | 196 | 9800
180 | 33 | Installation of following light fixtures including connections and complete in all respects
181 | i | 25 15 12Watt Recessed Down Lighter |  | 30 | 225 | 6750 | 350 | 10500 |  |  | 450 | 13500 |  |  | 350 | 10500 | 350 | 10500
182 | ii | Signage |  | 3 | 200 | 600 | 500 | 1500 |  |  | 3000 | 9000 |  |  | 300 | 900 | 300 | 900
183 | iii | 600mmX600mm 36-48 W LED Light |  | 9 | 300 | 2700 | 650 | 5850 |  |  | 1000 | 9000 |  |  | 500 | 4500 | 500 | 4500
184 | iv | LED Strip Light |  | 20 | 1000 | 20000 | 200 | 4000 |  |  | 450 | 9000 |  |  | 230 | 4600 | 230 | 4600
4 |  | Fire Sprinkler | NOS | 1 |  | 179875 |  | 213740 |  | 198500 |  | 410450 |  | 410450 |  | 175920 |  | 175920
185 | 1 | Providing, Laying, Jointing Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C Heavy Pipe with necessary support anchore fastening from slab.
186 | a. | 25 mm dia | Rft. | 25 | 800 | 20000 | 950 | 23750 |  |  | 2500 | 62500 |  |  | 650 | 16250 | 650 | 16250
187 | c. | 40 mm dia | Rft. | 15 | 1200 | 18000 | 1850 | 27750 |  |  | 3600 | 54000 |  |  | 925 | 13875 | 925 | 13875
188 | e. | 65mm dia | Rft. | 15 | 1800 | 27000 | 2650 | 39750 |  |  | 5000 | 75000 |  |  | 1625 | 24375 | 1625 | 24375
189 | 2 | Synthetic Enamel Paint.
190 | a. | 25 mm dia | Rft. | 25 | 50 | 1250 | 50 | 1250 |  |  | 90 | 2250 |  |  | 193 | 4825 | 193 | 4825
191 | c. | 40 mm dia | Rft. | 15 | 75 | 1125 | 100 | 1500 |  |  | 90 | 1350 |  |  | 185 | 2775 | 185 | 2775
192 | e. | 65mm dia | Rft. | 15 | 100 | 1500 | 150 | 2250 |  |  | 90 | 1350 |  |  | 300 | 4500 | 300 | 4500
193 | 3 | Providing Fixing of Butterfly Valve.
194 | b. | 65 mm dia | No. | 1 | 10000 | 10000 | 12500 | 12500 |  |  | 15000 | 15000 |  |  | 7600 | 7600 | 7600 | 7600
195 | 4 | Providing Fixing of Ball Valve.
196 | e. | 65 mm dia | No. | 1 | 3500 | 3500 | 12500 | 12500 |  |  | 14000 | 14000 |  |  | 9000 | 9000 | 9000 | 9000
197 | f. | 80 mm dia | No. | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
198 | 5 | HEADER FITTING.
199 | a. | Flow Switch | No. | 1 | 7500 | 7500 | 12500 | 12500 |  |  | 3500 | 3500 |  |  | 11400 | 11400 | 11400 | 11400
200 | b | Pressure Gauge | No. | 1 | 3500 | 3500 | 4500 | 4500 |  |  | 4500 | 4500 |  |  | 2200 | 2200 | 2200 | 2200
201 | c | Air Release Valve | No. | 1 | 3500 | 3500 | 5500 | 5500 |  |  | 3500 | 3500 |  |  | 3500 | 3500 | 3500 | 3500
202 | d | 80 mm dia NRV | No. | 1 | 15000 | 15000 | 9400 | 9400 |  |  | 4000 | 4000 |  |  | 11500 | 11500 | 11500 | 11500
203 | 6 | Providing Fixing C.P. Brass 68 degree Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved.
204 | a. | Pendant Type | No. | 10 | 1200 | 12000 | 650 | 6500 |  |  | 6500 | 65000 |  |  | 437 | 4370 | 437 | 4370
205 | b. | UP Right Type | No. | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
206 | 7 | Providing Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved for high temperature area in Kitchen temprating shall be 79degre
207 | a. | Pendant Type | No. | 10 | 1350 | 13500 | 759 | 7590 |  |  | 4000 | 40000 |  |  | 455 | 4550 | 455 | 4550
208 | 8 | Flexible Sprinkler Drop.
209 | a. | 25mm | No. | 20 | 2000 | 40000 | 1600 | 32000 |  |  | 3000 | 60000 |  |  | 2600 | 52000 | 2600 | 52000
210 | 9 | Drain Valve | No. | 1 | 2500 | 2500 | 14500 | 14500 |  |  | 4500 | 4500 |  |  | 3200 | 3200 | 3200 | 3200
5 |  | FAS | NOS | 1 |  | 98225 |  | 87500 |  | 84000 |  | 109750 |  | 109750 |  | 90330 |  | 90330
211 | 1 | R1 (RESPONSE INDICATORS)
212 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Response indicators are connected to automatic fire detectors in order to indicate quickly the source of an alarm signal from detectors which are not easily accessible or visible. They light up as soon as the connected fire detector gives an alarm.(Wiring from switches to panel and stair case pressurization not included) | Nos | 2 | 550 | 1100 | 550 | 1100 |  |  | 3000 | 6000 |  |  | 3250 | 6500 | 3250 | 6500
213 | 2 | HD (HEAT DETECTOR) INSTALL NEAR HOOD
214 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) A heat detector is a fire alarm device designed to respond when the convected thermal energy of a fire increases the temperature of a heat sensitive element. The thermal mass and conductivity of the element regulate the rate flow of heat into the element. All heat detectors have this thermal lag (Wiring from switches to panel and stair case pressurization not included) (Edwards Apollo) | Nos | 3 | 4500 | 13500 | 5500 | 16500 |  |  | 4500 | 13500 |  |  | 3760 | 11280 | 3760 | 11280
215 | 4 | MCP (MANUAL CALL POINT)
216 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Manual call points are used to initiate an alarm signal, and operate by means of a simple button press or when glass is broken revealing a button. They can form part of a manual alarm system or an automatic alarm system.Model Edwards Apollo and FM approved with GI mounting Box | Nos | 1 | 5000 | 5000 | 4530 | 4530 |  |  | 8500 | 8500 |  |  | 6500 | 6500 | 6500 | 6500
217 | 5 | H (HOOTER)
218 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Fire Alarm Systems. A fire alarm system is a electrical electronic system which is connected with many type of devices such as main panel, smoke heat detectors, mcp, sounder etc.. to detect the fire event by indiacating audio or visualize signal at the main or individual devices.Model Edwards Apollo with GI mounting Box | Nos | 1 | 10000 | 10000 | 4310 | 4310 |  |  | 15000 | 15000 |  |  | 5800 | 5800 | 5800 | 5800
219 | 6 | SD (SMOKE DETECTOR ABOVE CEILING)
220 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay.Model Edwards Apollo. | NOS | 4 | 4500 | 18000 | 4100 | 16400 |  |  | 4500 | 18000 |  |  | 3850 | 15400 | 3850 | 15400
221 | 7 | SD (SMOKE DETECTOR BELOW CEILING)
222 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model Edwards Apollo. | NOS | 5 | 4500 | 22500 | 4100 | 20500 |  |  | 4500 | 22500 |  |  | 3850 | 19250 | 3850 | 19250
223 | 8 | MSD (MULTI SENSOR DETECTOR BELOW CEILING)
224 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model Edwards Apollo. | NOS | 2 | 4750 | 9500 | 4530 | 9060 |  |  | 4500 | 9000 |  |  | 3800 | 7600 | 3800 | 7600
225 | 9 | FIRE ALARM SYSTEM LOOPING | RMT. | 45 | 225 | 10125 | 250 | 11250 |  |  | 250 | 11250 |  |  | 300 | 13500 | 300 | 13500
226 | 10 | MONITOR MODULE
227 |  | Providing and fixing Emonitor module . Model Edwards FMM-1 flash scan type UL listed and FM approved. | NOS | 1 | 8500 | 8500 | 3850 | 3850 |  |  | 6000 | 6000 |  |  | 4500 | 4500 | 4500 | 4500