## Sheet1
[5 empty] | INVENTECH SOLUTIONS(R0) | Vendor Name : INVENTECH SOLUTIONS | INVENTECH SOLUTIONS(R1) | Vendor Name : INVENTECH SOLUTIONS | INVENTECH SOLUTIONS(R2) | Vendor Name : INVENTECH SOLUTIONS | INVENTECH SOLUTIONS(R3) | Vendor Name : INVENTECH SOLUTIONS
Sr No. | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Benchmarked PO/ Rate Justification | Reference Rates/ Image
[6 empty] | 761547 |  | 738260 |  | 643793.5 |  | 623639.73
1 | Additional Civil Interior Work of Ahmedabad Nourish | NOS | 1 |  |  | 386469 |  | 376882 |  | 340413.5 |  | 321259.73
1 | CIVIL WORK
2 | Brick work - Providing and constructing 150mm thk Siphorex block in cement mortar 1 4 of approved make like Aerocon or Siporex etc. Job to include raking out joints, scaffolding, making openings walls, curing etc. in substructure and superstructure to its true line level in cement mortar proportion as specified in all shapes, size, at all heights, depths, leads locations etc. complete. The rate shall also include for cleaning of surface, hacking of RCC surface in contact with brickwork, racking of joints, providing, erecting, dismantling steel scaffolding , curing for 10 days, including 75 mm thk. R.C.C. stiffener at approximately every 1000 mm ht. with required M.S. reinforcement bars and Lintels for Doors and wall openings etc. compete as per the drgs., details specifications. Front wall - 11.4856 SQM Inner wall- 2.1472 SQM | Sq.M | 13.63 | 28623 | 2100 | 28623 | 2100 | 28623 | 2100 | 28623 | 2100 | 28623 | PO/SKPL/23-24/000178 | 210/ sqfts
3 | Plaster work - P A of single coat backing plaster of 15-18 mm thick in CM 1 4 proportion to the walls others surface including scaffolding, curing the joints, etc. The rates are inclusive of providing chicken mesh of 18mm gauge 150mm width at junction of brick RCC etc. at the walls, columns, beams etc., seven days water treatment as anti crack of plaster. Complete as per site engineer s instruction. | Sq.M | 27.27 | 40905 | 1500 | 40905 | 1500 | 40905 | 1500 | 40905 | 1500 | 40905 | PO/SKPL/23-24/000178 | 135/ sqfts
4 | Cinder filling - CINDER BLOCK COBA of Avg. thickness mentioned below; After laying of soil pipes, floor traps is completed the floor of the sunken portion shall be covered with cinder coba embedded manually with 15-20 mm wide joints in 20 mm thk. Waterproofing mortar 1 4 ( 1 cement 4 coarse sand )in layers upto the full ht. of sunken portion, having top layer of 50 mm thk waterproof mortar 1 4 ( 1 cement 4 coarse sand ) using specialized W.P. chemical, finished smooth or rough with floating coat of neat cement all complete and as per specification up to 300mm . | Sq.M | 20.89 | 45958 | 2800 | 58492 | 2800 | 58492 | 2200 | 45958 | 2200 | 45958 | PO/SKPL/23-24/000178 | 189/sqfts
5 | PCC - Providing and laying up to 50-75 mm thick cement concrete flooring with 1 2 4 cement concrete laid to proper level and slope in alternate bays including compactions, filling joints, or as directed, finishing smooth with cement Mortar 1 1 of sufficient minimum thickness to give a smooth even surface and curing etc. complete as per architects instructions. | Sq.M | 20.89 | 30290.5 | 2500 | 52225 | 2500 | 52225 | 1450 | 30290.5 | 1450 | 30290.5 | PO/SKPL/23-24/000178 | 170/Sqfts
6 | Trolly defender - Providing and fixing of trolly defender made out of 50 mm 304 SS pipe | RM | 2.77 | 16343 | 9000 | 24930 | 5900 | 16343 | 5900 | 16343 | 5900 | 16343 | TFSCPL/PO/24-25/000212
7 | Side counter - Providing and fixing of side counter made out of ply finished with laminate with granite top | NO. | 1 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 12000 | 12000 | 5' x 2' x 3.5'
8 | Hood fixing - Fixing of hood from ceiling frame with support of MS pipe frame. | NO. | 1 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 10000 | 10000 | 5' x 5.5' x 2' Fixed with MS pipe frame support taken from ceiling .
9 | Ele. DB box - Providing and fixing of electrical DB box made out of plywood finished with laminate and MS louvers fixed on shutters. | Sq.M | 1.97 | 35854 | 18200 | 35854 | 18200 | 35854 | 18200 | 35854 | 17259 | 34000.23
10 | SS corner guard - Providing and fixing of 25 mm X 25 mm SS corner guard for wall corner. | RM | 9 | 13500 | 1500 | 13500 | 1500 | 13500 | 1500 | 13500 | 800 | 7200 | 1' x 1' x 3' made out of SS pipe welded from ceiling support. | SS Fixtures anchor fasteners, supportings and angles
11 | Gas meter stand - Providing and fixing of gas meter stand made out of SS pipe. | NO. | 1 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | Rate analysis | SS Fixtures and stands
12 | Green Ceramic tile cladding (Over Servery rear wall) - Providing Fixing of Green Ceramic tile (100 x 100mm Base price rs.100 or sft)cladding with cement mortar over Servery rear wall as per design ,details finishes specified. | Sq.M | 1 | 3200 | 3200 | 3200 | 3200 | 3200 | 3200 | 3200 | 3200 | 3200 | Semolina/PO/24-25/000080 | 3200
13 | MOH WALL - P or fixing glazed ceramic (Kajaria) Veda Bianaca Décor (450x450nn) Wall tiles,in MOH back bison board partition in per approved pattern, setting the tiles in appropriate adhesive as per manufacturer s specifications, joints filled and finished neat with epoxy grout as or spec | Sq.M | 7 | 12740 | 1820 | 12740 | 1820 | 12740 | 1820 | 12740 | 1820 | 12740 | Semolina/PO/23-24/000805 | 1820
14 | Debris removal - Removing of debris from duming area to out side of airport premisses | NO. | 10 | 28000 | 2800 | 28000 | 2800 | 28000 | 2800 | 28000 | 2800 | 28000 | Rate analysis
15 | Trap door - Provision of trap door in gypsum ceiling | NO. | 2 | 5000 | 4000 | 8000 | 3500 | 7000 | 2500 | 5000 | 2500 | 5000 | Rate analysis
16 | Equipment shifting - Lording and unloading of outlet equipment and shifting from out side of airport premisses and arrange and fixing in side the outlet as per instructions | NO | 1 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | Unloading from container transport at outside of Airport premises and shifting in located area. Again shifting from outside to second floor food court area in side the airport. Arranging of equipment as per layout in the outlet. Hood-1nos. , SS sink- 2Nos. , SS work work table-1Nos. ,SS rack-1Nos. ,SS storage unit-1Nos. ,4Gas burner-1Nos., Under counter chiller-2Nos. , Cold display unit-1Nos. ,Merryshef-1Nos. and other small items.
2 | Additional Plumbing Work of Ahmedabad Nourish | NOS | 1 |  |  | 119948 |  | 118948 |  | 67550 |  | 66550
17 | Plumbing Work
18 | SS Sink - Providing and fixing of SS sink ( Nirali make) in granite counter with cutting and polishing work. | NO. | 1 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | Providing sink with making cut out in granite top and polishing the granite
19 | Angle cock - Providing and fixing of angle cock for inlet and outlet pipe connections | NO. | 9 | 12150 | 1500 | 13500 | 1500 | 13500 | 1350 | 12150 | 1350 | 12150 | Rates Analysis, includes accessories, labour charges and margin
20 | Sink cock - Providing and fixing of single sink cock for sink counter with all fittings | NO. | 1 | 3800 | 4500 | 4500 | 4500 | 4500 | 3800 | 3800 | 3800 | 3800 | Semolina/PO/24-25/000080 | 4500
21 | Sink mixer cock - Providing and fixing of sink mixer cock for ss counter sink with all fittings | NO. | 3 | 15600 | 19500 | 58500 | 19500 | 58500 | 5200 | 15600 | 5200 | 15600 | Rates Analysis, includes accessories, labour charges and margin
22 | Grease trap - Fixing of grease trap with pipe connection including all fittings | NO. | 2 | 15000 | 7500 | 15000 | 7000 | 14000 | 7500 | 15000 | 7000 | 14000 | PO/SKPL/23-24/000178 | 7500
23 | Water heater - Supply Fixing of Water heater of 15lts with necessary fittings | NO. | 1 | 12500 | 19948 | 19948 | 19948 | 19948 | 12500 | 12500 | 12500 | 12500 | Rates Analysis, includes accessories, labour charges and margin
3 | Additional Electrical Work of Ahmedabad Nourish | NOS | 1 |  |  | 255130 |  | 242430 |  | 235830 |  | 235830
24 | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit | Mtrs | 5 | 2375 | 475 | 2375 | 475 | 2375 | 475 | 2375 | 475 | 2375 | Semolina/PO/24-25/000080 | 475
25 | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit DB to Induction plate kitchen -10 Mtrs DB to Utility Socket kitchen-9.8 Mtrs DB to Geyser point-6.2 Mtrs DB to Near Geyser Extra Point-6.2 Mtrs DB to Drain Pump Extra Point -6.8 Mtrs DB to Insect killer -4.9 Mtrs DB to Exhaust Hood -7.9 Mtrs DB to Utility Socket -9.7 Mtrs DB to Merry Chef-10.2 Mtrs DB to Yogurt-10.2 Mtrs DB to Tea coffee-9.1 Mtrs DB to Extra Point Loop-8.1 Mtrs DB to Extra point Industrial box-10.4 Mtrs DB to Ice Cube -10.3 Mtrs DB to Blender -10.4 Mtrs DB to Juicer -12.4 Mtrs DB to Sandwich griller -23.2 Mtrs DB to Sandwich griller 2-13.4 Mtrs DB to Exhaust chimney -12.7 Mtrs DB to Induction-16.1 Mtrs DB to Utility Socket - 1-17.6 Mtrs DB to Utility Socket - 2-18.1 Mtrs DB to Utility Socket - 3 -18.7 Mtrs DB to Cold Display-18.7 Mtrs DB to Insect killer -11.1 Mtrs DB to Utility Socket - 1-8.9 Mtrs DB to Utility Socket - 2-9.1 Mtrs | Mtrs | 310.2 | 46530 | 150 | 46530 | 150 | 46530 | 150 | 46530 | 150 | 46530 | Semolina/PO/24-25/000080 | 150
26 | 2.5sqmm X 2 +2.5sqmm DB to TV Point 1-8.7 Mtrs DB to TV Point 2-8.7 Mtrs DB to POS -16 Mtrs DB to Signage Point-7.3 Mtrs DB to Emergency light point P1-7.8 Mtrs Loop P1 to P2-4.2 Mtrs Loop P2 to P3-5.9 Mtrs DB to Raw Light point P1-7.8 Mtrs Loop P1 to P2-3.6 Mtrs Loop P2 to P3-4.2 Mtrs Loop P3 to P4-3 Mtrs Loop P4 to P5-3.1 Mtrs DB to Emergency light point kitchen P1-4.8 Mtrs DB to Raw light point kitchen P1-7.1 Mtrs | Mtrs | 92.2 | 11525 | 125 | 11525 | 125 | 11525 | 125 | 11525 | 125 | 11525 | Rates Analysis, includes accessories, labour charges and margin
27 | Wiring for MCB controlled normal primary light points or Wall Point or Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | Pt | 6 | 9000 | 1500 | 9000 | 1500 | 9000 | 1500 | 9000 | 1500 | 9000 | Semolina/PO/24-25/000080 | 1500
28 | Wiring for secondary MCB controlled normal light points or Wall Point or Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt | 6 | 5100 | 850 | 5100 | 850 | 5100 | 850 | 5100 | 850 | 5100 | Semolina/PO/24-25/000080 | 850
29 | Wiring for MCB controlled Emergency primary light points or Wall Point or Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | Pt | 4 | 8800 | 2200 | 8800 | 2200 | 8800 | 2200 | 8800 | 2200 | 8800 | Semolina/PO/24-25/000080 | 2200
30 | Wiring for secondary MCB controlled Emergency light points or Wall Point or Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt | 1 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | Semolina/PO/24-25/000080 | 1200
31 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall or Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect or Client) | Pt. | 26 | 79300 | 3050 | 79300 | 3050 | 79300 | 3050 | 79300 | 3050 | 79300 | Semolina/PO/24-25/000080 | 3050
32 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the second outlet in 25mm dia 16 SWG MS conduit in wall or Ceiling including cost of providing saddles etc as required for surface conduiting and or or cost of cutting and filling chases and including providing and fixing of two sets of 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted switches with moulded cover plate in a recessed GI box including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch or Socket Shall be as per approved sample by Architect) | Pt. | 2 | 7600 | 3800 | 7600 | 3800 | 7600 | 3800 | 7600 | 3800 | 7600 | Semolina/PO/24-25/000080 | 3800
33 | Wiring for primary switch board consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A switch with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall or Ceiling including cost of providing saddles etc as required for surface conduiting and or or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A modular switch , safety shutters in a recessed or surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch or Socket Shall be as per approved sample by Architect) Note- Conduits shall be 16 SWG MS on surface and FRLS PVC for wall concealed | Pt. | 3 | 12000 | 4000 | 12000 | 4000 | 12000 | 4000 | 12000 | 4000 | 12000 | Semolina/PO/24-25/000080 | 4000
34 | Supply installation testing and fixing 3 pin 25A or 32A , 240V , single Phase metal Clad industrial socket outlet with 25A or 32A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | Nos. | 5 | 16000 | 3200 | 16000 | 3200 | 16000 | 3200 | 16000 | 3200 | 16000 | Semolina/PO/24-25/000080 | 3200
35 | Supply , fixing Laying 2.0mm Thick FRLS PVC conduits on surface or concealed complete with PVC junction boxes, cover plates, PVC bends, PVC saddles, base and other accessories all made in PVC with GI screws as required to complete the job. 20 mm dia FRLS metal conduit | Mtrs | 115 | 24150 | 350 | 40250 | 250 | 28750 | 210 | 24150 | 210 | 24150 | Rates includes labour charges and margin
36 | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic. Dust cover or blank shall be provided to protect unused faceplate openings. Termination caps and plastic cover shall be provided to protect jack wiring.
37 | LED Strip Light | Mtrs | 15 | 8250 | 550 | 8250 | 550 | 8250 | 550 | 8250 | 550 | 8250 | Rate analysis
38 | 15 W panel light | Nos. | 4 | 4000 | 1800 | 7200 | 1500 | 6000 | 1000 | 4000 | 1000 | 4000 | Rate analysis