## Price Comparison
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | Comp. Date : 03/01/2025 | Comp. Date : 03/01/2025 | Comp. Date : 03/01/2025 | Vendor Name : INTERCARE ENTERPRISE NX (RV242523725) | [5 empty] | Vendor Name : MVP INTERIORS (T055521) | [5 empty] | Vendor Name : Intercare Enterprise (RV242522455) | [5 empty] | Vendor Name : FL TRADERS PRIVATE LIMITED (RV232422484) | [5 empty] | Vendor Name : FALLOW DEZIENCE TREE LLP (RV232414144) | [5 empty] | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd (RV232413816)
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ #: R2177 | RFQ #: R2177 | RFQ #: R2177 | Contact Name : KAIUM | [5 empty] | Contact Name : KUMAR SINGH | [5 empty] | Contact Name : Kaium | [5 empty] | Contact Name : Julia | [5 empty] | Contact Name : FALLOW DEZIENCE TREE LLP | [5 empty] | Contact Name : Gangadhar Sharma
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ Date : 16/11/2024 11:10:54 | RFQ Date : 16/11/2024 11:10:54 | RFQ Date : 16/11/2024 11:10:54 | Vendor City : Mumbai Suburban | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | BCD Date : 16/11/2024 16:00:00 | BCD Date : 16/11/2024 16:00:00 | BCD Date : 16/11/2024 16:00:00 | Telephone # : 9987921130 | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT |  |  |  | Mobile # : 9930702814 | [5 empty] | Mobile # : 9910990210 | [5 empty] | Mobile # : 9930702814 | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | Email : kaium@intercareenterprisenx.in | [5 empty] | Email : kumar.singh@mvpinteriors.in | [5 empty] | Email : kaium@intercareenterprise.in | [5 empty] | Email : julia.roberts@flgroup.in | [5 empty] | Email : accounts@fallowdezience.com | [5 empty] | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ)
Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Buyer : Pushpak Mahesh Shewale / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : Liquidated Damages: The CONTRACTOR shall pay liquidated damages as under, for any delay in the physical completion of the works 5% of the contract value for delay during Week 1 7.5% of the contract value for delay during Week 2 10% of the contract value per week for delay from Week 3 onwards.. | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  |  |  | 1.00 |  | 3649000.00 | Intercare Enterprise | 3649388.00 | 0.00 | 18.00 |  | 3,649,388.00 | 3,649,388.00 | 4744309.00 | 0.00 | 18.00 |  | 3,653,000.00 | 3,653,000.00 | 5031893.00 | 0.00 | 18.00 |  | 3,649,000.00 | 3,649,000.00 | 6378152.40 | 0.00 | 18.00 |  | 5,078,152.40 | 5,078,152.40 | 7403955.50 | 0.00 | 18.00 |  | 4,652,086.25 | 4,652,086.25 | 11730336.50 | 0.00 | 18.00 |  | 5,183,000.00 | 5,183,000.00
Item Total | [8 empty] | .00 | 656,889.84 |  |  | 3,649,388.00 |  | .00 | 657,540.00 |  |  | 3,653,000.00 |  | .00 | 656,820.00 |  |  | 3,649,000.00 |  | .00 | 914,067.43 |  |  | 5,078,152.40 |  | .00 | 837,375.53 |  |  | 4,652,086.25 |  | .00 | 932,940.00 |  |  | 5,183,000.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 656,889.84 | [5 empty] | 657,540.00 | [5 empty] | 656,820.00 | [5 empty] | 914,067.43 | [5 empty] | 837,375.53 | [5 empty] | 932,940.00
Net Landed Cost | [11 empty] | INR | 4,306,277.84 |  |  |  |  | INR | 4,310,540.00 |  |  |  |  | INR | 4,305,820.00 |  |  |  |  | INR | 5,992,219.83 |  |  |  |  | INR | 5,489,461.78 |  |  |  |  | INR | 6,115,940.00
Vendor Status | [7 empty] | Round # : 5 (RFQ) | Round # : 5 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | T055345 | A K PROJECTS | [5 empty] | Not Participate
2 | RV242523259 | INTER CARE ENTERPRISES | [5 empty] | Not Participate
3 | RV232414144 | FALLOW DEZIENCE TREE LLP | [5 empty] | Participate
4 | RV232413816 | Pikture Perfect Design Studio Pvt. Ltd | [5 empty] | Participate
5 | T055521 | MVP INTERIORS | [5 empty] | Participate
6 | T055520 | TRIDENT DESIGN AND CONTRACT | [5 empty] | Participate
7 | RV232421261 | Rudra Ineriors | [5 empty] | Not Participate
8 | RV232413475 | M & A Interiors | [5 empty] | Not Participate
9 | RV242523962 | PAVILIONS AND INTERIORS INDIA PRIVATE LIMITED | [5 empty] | Participate
10 | RV242523680 | SN ASSOCIATES | [5 empty] | Not Participate
11 | RV232422484 | FL TRADERS PRIVATE LIMITED | [5 empty] | Participate
12 | RV242522455 | Intercare Enterprise | [5 empty] | Participate
13 | RV242523725 | INTERCARE ENTERPRISE NX | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | Comp. Date : 03/01/2025 | Comp. Date : 03/01/2025 | Comp. Date : 03/01/2025 | Vendor Name : INTERCARE ENTERPRISE NX | Vendor Name : INTERCARE ENTERPRISE NX | Vendor Name : MVP INTERIORS | Vendor Name : MVP INTERIORS | Vendor Name : Intercare Enterprise | Vendor Name : Intercare Enterprise | Vendor Name : FL TRADERS PRIVATE LIMITED | Vendor Name : FL TRADERS PRIVATE LIMITED | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd |  | Vendor Name : INTERCARE ENTERPRISE NX | Vendor Name : INTERCARE ENTERPRISE NX | Vendor Name : MVP INTERIORS | Vendor Name : MVP INTERIORS | Vendor Name : Intercare Enterprise | Vendor Name : Intercare Enterprise | Vendor Name : FL TRADERS PRIVATE LIMITED | Vendor Name : FL TRADERS PRIVATE LIMITED | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ #: R2177 | RFQ #: R2177 | RFQ #: R2177 | Contact Name : KAIUM | Contact Name : KAIUM | Contact Name : KUMAR SINGH | Contact Name : KUMAR SINGH | Contact Name : Kaium | Contact Name : Kaium | Contact Name : Julia | Contact Name : Julia | Contact Name : FALLOW DEZIENCE TREE LLP | Contact Name : FALLOW DEZIENCE TREE LLP | Contact Name : Gangadhar Sharma | Contact Name : Gangadhar Sharma |  | Contact Name : KAIUM | Contact Name : KAIUM | Contact Name : KUMAR SINGH | Contact Name : KUMAR SINGH | Contact Name : Kaium | Contact Name : Kaium | Contact Name : Julia | Contact Name : Julia | Contact Name : FALLOW DEZIENCE TREE LLP | Contact Name : FALLOW DEZIENCE TREE LLP | Contact Name : Gangadhar Sharma | Contact Name : Gangadhar Sharma
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ Date : 16/11/2024 11:10:54 | RFQ Date : 16/11/2024 11:10:54 | RFQ Date : 16/11/2024 11:10:54 | Vendor City : Mumbai Suburban | Vendor City : Mumbai Suburban | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : |  | Vendor City : Mumbai Suburban | Vendor City : Mumbai Suburban | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | BCD Date : 16/11/2024 16:00:00 | BCD Date : 16/11/2024 16:00:00 | BCD Date : 16/11/2024 16:00:00 | Telephone # : 9987921130 | Telephone # : 9987921130 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : |  | Telephone # : 9987921130 | Telephone # : 9987921130 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT |  |  |  | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : 9910990210 | Mobile # : 9910990210 | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : |  | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : 9910990210 | Mobile # : 9910990210 | Mobile # : 9930702814 | Mobile # : 9930702814 | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | Email : kaium@intercareenterprisenx.in | Email : kaium@intercareenterprisenx.in | Email : kumar.singh@mvpinteriors.in | Email : kumar.singh@mvpinteriors.in | Email : kaium@intercareenterprise.in | Email : kaium@intercareenterprise.in | Email : julia.roberts@flgroup.in | Email : julia.roberts@flgroup.in | Email : accounts@fallowdezience.com | Email : accounts@fallowdezience.com | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com |  | Email : kaium@intercareenterprisenx.in | Email : kaium@intercareenterprisenx.in | Email : kumar.singh@mvpinteriors.in | Email : kumar.singh@mvpinteriors.in | Email : kaium@intercareenterprise.in | Email : kaium@intercareenterprise.in | Email : julia.roberts@flgroup.in | Email : julia.roberts@flgroup.in | Email : accounts@fallowdezience.com | Email : accounts@fallowdezience.com | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ)
Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : |  | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : |  | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : |  | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Revised Qty | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  |  |  |  | 1 |  |  | 3649388 |  | 3653000 |  | 3649000 |  | 5078152.4 |  | 4652086.25 |  | 5183000 | 1 |  | 2921418 |  | 3314555 |  | 3436043 |  | 4282572.4 |  | 4876087.5 |  | 3924477.5
1 | 1 | CIVIL WORK | CIVIL WORK
2 | 1.1 | Providing and constructing 4 thick siporex wall with minimum compressive strength in Cement Mortar 1 6 (1 cement 6 coarse sand ) proportion,in straight as per plan in walls, including scaffolding, curing and providing RCC band or reinforcement at at every lVth cours complete at all levels and locations and as directed. | Providing and constructing 4 thick siporex wall with minimum compressive strength in Cement Mortar 1 6 (1 cement 6 coarse sand ) proportion,in straight as per plan in walls, including scaffolding, curing and providing RCC band or reinforcement at at every lVth cours complete at all levels and locations and as directed. | sq.ft | 1390 | 187650 | 150 | 208500 | 155 | 215450 | 160 | 222400 | 145 | 201550 | 135 | 187650 | 145 | 201550 | 1390 | 150 | 208500 | 155 | 215450 | 160 | 222400 | 145 | 201550 | 135 | 187650 | 145 | 201550
3 | 1.1 | Providing and constructing 9 thick siporex wall with minimum compressive strength in Cement Mortar 1 6 (1 cement 6 coarse sand ) proportion,in straight as per plan in walls, including scaffolding, curing and providing RCC band or reinforcement at at every lVth cours complete at all levels and locations and as directed. | Providing and constructing 9 thick siporex wall with minimum compressive strength in Cement Mortar 1 6 (1 cement 6 coarse sand ) proportion,in straight as per plan in walls, including scaffolding, curing and providing RCC band or reinforcement at at every lVth cours complete at all levels and locations and as directed. | sq.ft | 2180 | 327000 | 150 | 327000 | 220 | 479600 | 165 | 359700 | 180 | 392400 | 230 | 501400 | 195 | 425100 | 2180 | 150 | 327000 | 220 | 479600 | 165 | 359700 | 180 | 392400 | 230 | 501400 | 195 | 425100
4 | 1.2 | Providing laying full brick (230mm thick) partition walls with well burnt 1st class table molded, good quality approved brick In cement mortar 1 4 (1cement 4 coarse sand) including 2 nos. of 6mm dia. MS round bars at every lVth course. Cost should include scaffolding curing. rubbing the surface. racking out the joints etc., complete asdirected and specified for walls platform supports etc. | Providing laying full brick (230mm thick) partition walls with well burnt 1st class table molded, good quality approved brick In cement mortar 1 4 (1cement 4 coarse sand) including 2 nos. of 6mm dia. MS round bars at every lVth course. Cost should include scaffolding curing. rubbing the surface. racking out the joints etc., complete asdirected and specified for walls platform supports etc. | Cu.ft | 0 | 0 | 0 | 0 | 350 | 0 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 350 | 0 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1.3 | PLASTER - providing and Applying Boh area 10 - 12mm thick plaster in cement mortar 1 4(1 cement 4 coars sand) to all specified walls (small or big) surfaces induding, wall tops, jambs and cill etc. in line level and plumb including chicken wire mesh on junction and joints smooth cement finish, including providing necessary grooves at all the junctions of walls and ceiling, walls and frames for doors or window, around skirting dado or at other places as directed including raking the joints or roughening the RCC surfaces, necessary curing, scaffolding etc., complete as directed and specified | PLASTER - providing and Applying Boh area 10 - 12mm thick plaster in cement mortar 1 4(1 cement 4 coars sand) to all specified walls (small or big) surfaces induding, wall tops, jambs and cill etc. in line level and plumb including chicken wire mesh on junction and joints smooth cement finish, including providing necessary grooves at all the junctions of walls and ceiling, walls and frames for doors or window, around skirting dado or at other places as directed including raking the joints or roughening the RCC surfaces, necessary curing, scaffolding etc., complete as directed and specified | sq.ft | 6747 | 269880 | 60 | 404820 | 40 | 269880 | 65 | 438555 | 60 | 404820 | 85 | 573495 | 60 | 404820 | 6747 | 60 | 404820 | 40 | 269880 | 65 | 438555 | 60 | 404820 | 85 | 573495 | 60 | 404820
6 | 1.4 | LIGHT WEIGHT CONCRETE FILLING + PCC TOP Providing and Filling on RCC slab areas @400mm at BOH AREA with light weight concrete block waste of approximately 600 kg per cum density laid, levelled, finished, smooth, including finishing with 30-60mm top layer of 1 2 4 PCC as per specification. | LIGHT WEIGHT CONCRETE FILLING + PCC TOP Providing and Filling on RCC slab areas @400mm at BOH AREA with light weight concrete block waste of approximately 600 kg per cum density laid, levelled, finished, smooth, including finishing with 30-60mm top layer of 1 2 4 PCC as per specification. | CU.ft | 0 | 0 | 0 | 0 | 180 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 180 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 1.5 | Providing and Laying 30 mm to 50mm thk. Plain Cement Concrete (PCC) 1 4 8 (1 cement 4 coarse sand 8 graded stone aggregate 40mm nominal size), in raft bases of column footing brick wall footings base of floor and as screed over rough areas to make up levels or to form sloges as base for main flooring and laid to required levels and grade at all locations, consolidated finished fair and cured.Cost should be complete and inclusive of all side forms as required. | Providing and Laying 30 mm to 50mm thk. Plain Cement Concrete (PCC) 1 4 8 (1 cement 4 coarse sand 8 graded stone aggregate 40mm nominal size), in raft bases of column footing brick wall footings base of floor and as screed over rough areas to make up levels or to form sloges as base for main flooring and laid to required levels and grade at all locations, consolidated finished fair and cured.Cost should be complete and inclusive of all side forms as required. | sq.ft | 3650 | 109500 | 30 | 109500 | 65 | 237250 | 70 | 255500 | 280 | 1022000 | 125 | 456250 | 55 | 200750 | 1000 | 30 | 30000 | 65 | 65000 | 70 | 70000 | 280 | 280000 | 125 | 125000 | 55 | 55000
8 | 1.6 | WATERPROOFING WORKS - Providing, applying testing water proofing treatment of RCC sunken slabs (Kichen) to specified areas wall surface up to 300mm height from FFL by providing a 3MM thick bitumen based membrane comprising of the following operations. Including preperation of surface and plastering of surface with 12mm thick protective plaster 1 4 (1 cement 4 coarse sand) over treated surface etc complete. (Quoted rate to include grouting of RCC surface for any cracks fissures) This treatment shall be upto 300mm height on all walls from finished floor level, all around water proof area. Special warranty for 10 yrs to be out lined along with autorized specialized applicator executing the job | WATERPROOFING WORKS - Providing, applying testing water proofing treatment of RCC sunken slabs (Kichen) to specified areas wall surface up to 300mm height from FFL by providing a 3MM thick bitumen based membrane comprising of the following operations. Including preperation of surface and plastering of surface with 12mm thick protective plaster 1 4 (1 cement 4 coarse sand) over treated surface etc complete. (Quoted rate to include grouting of RCC surface for any cracks fissures) This treatment shall be upto 300mm height on all walls from finished floor level, all around water proof area. Special warranty for 10 yrs to be out lined along with autorized specialized applicator executing the job | sq.ft | 4414 | 242770 | 55 | 242770 | 150 | 662100 | 120 | 529680 | 120 | 529680 | 225 | 993150 | 180 | 794520 | 1000 | 55 | 55000 | 150 | 150000 | 120 | 120000 | 120 | 120000 | 225 | 225000 | 180 | 180000
9 | 1.8 | Casting of lintels above doors and wherever neccesary in R.C.C. of size | Casting of lintels above doors and wherever neccesary in R.C.C. of size | r.ft | 65 | 6500 | 100 | 6500 | 480 | 31200 | 500 | 32500 | 600 | 39000 | 500 | 32500 | 165 | 10725 | 65 | 100 | 6500 | 480 | 31200 | 500 | 32500 | 600 | 39000 | 500 | 32500 | 165 | 10725
10 | 2.1 | CEILING WORK -Reparing of existing ceiling using plaster and acrylic putty after proper curing, please note the surface area to be measured | CEILING WORK -Reparing of existing ceiling using plaster and acrylic putty after proper curing, please note the surface area to be measured | Sqft | 3850 | 77000 | 25 | 96250 | 20 | 77000 | 25 | 96250 | 70 | 269500 | 125 | 481250 | 95 | 365750 | 3850 | 25 | 96250 | 20 | 77000 | 25 | 96250 | 70 | 269500 | 125 | 481250 | 95 | 365750
11 | 3 | FLOORING Wall Tiling | FLOORING Wall Tiling
12 | 3.1 | Providing and Fixing of 25 mm thick kota stone on a PCC bed surface in brick pattern with groove of 3 mm filled by epoxy MYK laticrete grout as applicable as per site condition. Cost should be Inclusive of Skirting .of all the area basic price of kota @40 Rs Sq.ft. | Providing and Fixing of 25 mm thick kota stone on a PCC bed surface in brick pattern with groove of 3 mm filled by epoxy MYK laticrete grout as applicable as per site condition. Cost should be Inclusive of Skirting .of all the area basic price of kota @40 Rs Sq.ft. | sq.ft | 3630 | 508200 | 140 | 508200 | 155 | 562650 | 160 | 580800 | 280 | 1016400 | 195 | 707850 | 220 | 798600 | 500 | 140 | 70000 | 155 | 77500 | 160 | 80000 | 280 | 140000 | 195 | 97500 | 220 | 110000
13 | 3.2 | Providing and fixing of ceramic Wall TiIe for all kitchen area. Tile thickness to be 8-10mm with under cement mortar of 20mm thick or as applicable as per site condition. (base rate of tiles 40 Rs Sq.Ft.)Tile size of 300 X 450 in landscape orientation. | Providing and fixing of ceramic Wall TiIe for all kitchen area. Tile thickness to be 8-10mm with under cement mortar of 20mm thick or as applicable as per site condition. (base rate of tiles 40 Rs Sq.Ft.)Tile size of 300 X 450 in landscape orientation. | sq.ft | 4896 | 660960 | 140 | 685440 | 135 | 660960 | 140 | 685440 | 280 | 1370880 | 215 | 1052640 | 180 | 881280 | 4896 | 140 | 685440 | 135 | 660960 | 140 | 685440 | 280 | 1370880 | 215 | 1052640 | 180 | 881280
14 | 5 | DOOR and WINDOW | DOOR and WINDOW
15 |  | NOTES | NOTES
16 |  | Door Frames as mentioned in the specification below | Door Frames as mentioned in the specification below
17 |  | Ail flush doors in 40mm BWP Flush Doors of Green Kit ply Garnet Duro make. Oakwood finish laminate with kick plate, push plate. | Ail flush doors in 40mm BWP Flush Doors of Green Kit ply Garnet Duro make. Oakwood finish laminate with kick plate, push plate.
18 |  | Hardware- hafele Dorma Geze | Hardware- hafele Dorma Geze
19 | 5.1 | Providing and fixing Door with frames in 1st class Arau Chaap wood as per design. Rate shalL Include fixing of chaukhat in position with grouting hold fast in cement concrete 1 2 4 (1 cement 2 coarse sand 4 aggregate average 20mm size). Rate to include Hardwood Lipping with Melamine Polish of required shade including Hardwood frame 100mm x 65mm including all hardware, Door closer, door stopper, All Hardwares Doorset or Equivalent Make and necessary hardware . | Providing and fixing Door with frames in 1st class Arau Chaap wood as per design. Rate shalL Include fixing of chaukhat in position with grouting hold fast in cement concrete 1 2 4 (1 cement 2 coarse sand 4 aggregate average 20mm size). Rate to include Hardwood Lipping with Melamine Polish of required shade including Hardwood frame 100mm x 65mm including all hardware, Door closer, door stopper, All Hardwares Doorset or Equivalent Make and necessary hardware . | r.ft | 300 | 90000 | 300 | 90000 | 450 | 135000 | 800 | 240000 | 320 | 96000 | 500 | 150000 | 550 | 165000 | 300 | 300 | 90000 | 450 | 135000 | 800 | 240000 | 320 | 96000 | 500 | 150000 | 550 | 165000
20 |  | 750 X 2100 washroom flush doors shutter 35 mm thick | 750 X 2100 washroom flush doors shutter 35 mm thick | Nos | 3 | 33000 | 20000 | 60000 | 24500 | 73500 | 20000 | 60000 | 11000 | 33000 | 17500 | 52500 | 21875 | 65625 | 3 | 20000 | 60000 | 24500 | 73500 | 20000 | 60000 | 11000 | 33000 | 17500 | 52500 | 21875 | 65625
21 |  | 900 x 2100 MM Flush door Shutter 35mm thick with SS kick Plate | 900 x 2100 MM Flush door Shutter 35mm thick with SS kick Plate | Nos | 4 | 60000 | 20000 | 80000 | 24500 | 98000 | 25000 | 100000 | 15000 | 60000 | 22500 | 90000 | 29550 | 118200 | 4 | 20000 | 80000 | 24500 | 98000 | 25000 | 100000 | 15000 | 60000 | 22500 | 90000 | 29550 | 118200
22 |  | 2100 MM highsliding door Shutter 35mm thick for the wall opening of 2285 mm | 2100 MM highsliding door Shutter 35mm thick for the wall opening of 2285 mm | Nos | 1 | 28500 | 35000 | 35000 | 65000 | 65000 | 45000 | 45000 | 35000 | 35000 | 28500 | 28500 | 65625 | 65625 | 1 | 35000 | 35000 | 65000 | 65000 | 45000 | 45000 | 35000 | 35000 | 28500 | 28500 | 65625 | 65625
23 |  | 750 X 2100 sliding door shutter 35 mm thickness | 750 X 2100 sliding door shutter 35 mm thickness | Nos | 1 | 21875 | 25000 | 25000 | 35000 | 35000 | 30000 | 30000 | 23000 | 23000 | 28500 | 28500 | 21875 | 21875 | 1 | 25000 | 25000 | 35000 | 35000 | 30000 | 30000 | 23000 | 23000 | 28500 | 28500 | 21875 | 21875
24 |  | 1200x2100 MM Double leaf flush Door | 1200x2100 MM Double leaf flush Door | Nos | 2 | 70000 | 35000 | 70000 | 48500 | 97000 | 40000 | 80000 | 35000 | 70000 | 38500 | 77000 | 35000 | 70000 | 2 | 35000 | 70000 | 48500 | 97000 | 40000 | 80000 | 35000 | 70000 | 38500 | 77000 | 35000 | 70000
25 |  | Hardware for Above Doors - Lock, Latch, Door Handle Door Closer | Hardware for Above Doors - Lock, Latch, Door Handle Door Closer | SET(S) | 3 | 15000 | 7000 | 21000 | 14500 | 43500 | 7000 | 21000 | 9000 | 27000 | 7500 | 22500 | 5000 | 15000 | 3 | 7000 | 21000 | 14500 | 43500 | 7000 | 21000 | 9000 | 27000 | 7500 | 22500 | 5000 | 15000
26 |  | MS Fire Door with wired glass vision panel, having parallel push bar lock , automatic door closer and all the necessary fittings, contractor needs to provide fire door certificate. 2200 X2100 X40 | MS Fire Door with wired glass vision panel, having parallel push bar lock , automatic door closer and all the necessary fittings, contractor needs to provide fire door certificate. 2200 X2100 X40 | No. | 1 | 48000 | 65000 | 65000 | 55000 | 55000 | 85000 | 85000 | 55000 | 55000 | 48000 | 48000 | 81375 | 81375 | 1 | 65000 | 65000 | 55000 | 55000 | 85000 | 85000 | 55000 | 55000 | 48000 | 48000 | 81375 | 81375
27 |  | MS Fire Door with wired glass vision panel, having parallel push bar lock , automatic door closer and all the necessary fittings, contractor needs to provide fire door certificate. 1200X2100 X40 | MS Fire Door with wired glass vision panel, having parallel push bar lock , automatic door closer and all the necessary fittings, contractor needs to provide fire door certificate. 1200X2100 X40 | No. | 2 | 84000 | 45000 | 90000 | 42500 | 85000 | 55000 | 110000 | 45000 | 90000 | 42000 | 84000 | 43400 | 86800 | 2 | 45000 | 90000 | 42500 | 85000 | 55000 | 110000 | 45000 | 90000 | 42000 | 84000 | 43400 | 86800
28 | 6 | FIXED WOOD MS WORKS | FIXED WOOD MS WORKS
29 | 6.1 | Providing and Fixing wooden workstation as per layout having wire manager, lockable stoage pedestal 800 X 500 X 700(h) oakwod finished laminate, hettich fittings, | Providing and Fixing wooden workstation as per layout having wire manager, lockable stoage pedestal 800 X 500 X 700(h) oakwod finished laminate, hettich fittings, | NOS. | 1 | 9000 | 35000 | 35000 | 24500 | 24500 | 35000 | 35000 | 9000 | 9000 | 9500 | 9500 | 12500 | 12500 | 1 | 35000 | 35000 | 24500 | 24500 | 35000 | 35000 | 9000 | 9000 | 9500 | 9500 | 12500 | 12500
30 | 6.2 | Providing and Fixing wooden workstation as per layout having wire manager, lockable stoage with 3 no. pedestal 500 mm depth X 700(h) oakwod finished laminate, hettich fittings, | Providing and Fixing wooden workstation as per layout having wire manager, lockable stoage with 3 no. pedestal 500 mm depth X 700(h) oakwod finished laminate, hettich fittings, | Sqft | 12.69 | 24872.4 | 3200 | 40608 | 3500 | 44415 | 4200 | 53298 | 1960 | 24872.4 | 2250 | 28552.5 | 2250 | 28552.5 | 12.69 | 3200 | 40608 | 3500 | 44415 | 4200 | 53298 | 1960 | 24872.4 | 2250 | 28552.5 | 2250 | 28552.5
31 | 6.3 | Office chair Providing High back ergonomic office chair having adjustable seat and back bend and lockable system (executive chair) | Office chair Providing High back ergonomic office chair having adjustable seat and back bend and lockable system (executive chair) | NOS. | 5 | 17500 | 3500 | 17500 | 10500 | 52500 | 5000 | 25000 | 3500 | 17500 | 5500 | 27500 | 5500 | 27500 | 5 | 3500 | 17500 | 10500 | 52500 | 5000 | 25000 | 3500 | 17500 | 5500 | 27500 | 5500 | 27500
32 | 6.4 | Cafateria table top finished with merinolam 22099 slate ML 1 mm thich laminate, top to be fixed on MS round hollow pipe of 60 mm painted black to give support on two side of top | Cafateria table top finished with merinolam 22099 slate ML 1 mm thich laminate, top to be fixed on MS round hollow pipe of 60 mm painted black to give support on two side of top | NOS. | 2 | 13000 | 15000 | 30000 | 16500 | 33000 | 18000 | 36000 | 8000 | 16000 | 12500 | 25000 | 6500 | 13000 | 2 | 15000 | 30000 | 16500 | 33000 | 18000 | 36000 | 8000 | 16000 | 12500 | 25000 | 6500 | 13000
33 | 6.5 | Cafateria table top finished with merinolam 22099 slate ML 1 mm thich laminate, top to be fixed on MS round hollow pipe of 60 mm painted black to give support on two side of top (2 seater) | Cafateria table top finished with merinolam 22099 slate ML 1 mm thich laminate, top to be fixed on MS round hollow pipe of 60 mm painted black to give support on two side of top (2 seater) | NOS. | 1 | 8500 | 8500 | 8500 | 12500 | 12500 | 11000 | 11000 | 9000 | 9000 | 12500 | 12500 | 8500 | 8500 | 1 | 8500 | 8500 | 12500 | 12500 | 11000 | 11000 | 9000 | 9000 | 12500 | 12500 | 8500 | 8500
34 | 6.6 | Cafteria chair- p F of cafeteria chair with dark brown upholstery stitched over EP foam pasted on 19 mm ply base having ms legs with nylon buffer | Cafteria chair- p F of cafeteria chair with dark brown upholstery stitched over EP foam pasted on 19 mm ply base having ms legs with nylon buffer | NOS. | 10 | 25000 | 2500 | 25000 | 6500 | 65000 | 3500 | 35000 | 3000 | 30000 | 10000 | 100000 | 4500 | 45000 | 10 | 2500 | 25000 | 6500 | 65000 | 3500 | 35000 | 3000 | 30000 | 10000 | 100000 | 4500 | 45000
35 | 7 | PAINTING AND FINISHING | PAINTING AND FINISHING
36 | 7.1 | BOH area open ceiling (PLASTIC PAINT) P A 2 coats of plastic black matt paint as per app.. ASIAN PAINTS by sand papering the surface, applying one coat of primer, prepare the surface with sand papering again, repeating a coat of primer, applying one coat of plastic paint, touching up with putty applying two final roller coats of plastic paint, to internal wall slab surfaces incl. preparing the surface by cleaning scrapping, smooth filling crevices, scaffolding etc. | BOH area open ceiling (PLASTIC PAINT) P A 2 coats of plastic black matt paint as per app.. ASIAN PAINTS by sand papering the surface, applying one coat of primer, prepare the surface with sand papering again, repeating a coat of primer, applying one coat of plastic paint, touching up with putty applying two final roller coats of plastic paint, to internal wall slab surfaces incl. preparing the surface by cleaning scrapping, smooth filling crevices, scaffolding etc. | SQ.FT | 6830 | 204900 | 35 | 239050 | 35 | 239050 | 30 | 204900 | 35 | 239050 | 70 | 478100 | 40 | 273200 | 6830 | 35 | 239050 | 35 | 239050 | 30 | 204900 | 35 | 239050 | 70 | 478100 | 40 | 273200
37 | 8 | MISCELLANEOUS WORKS | MISCELLANEOUS WORKS
38 | 8.1 | Debris Removal to be verified by site engineer and security guard which should be maintained in IN Out register | Debris Removal to be verified by site engineer and security guard which should be maintained in IN Out register | NOS. | 25 | 37500 | 1500 | 37500 | 4500 | 112500 | 4500 | 112500 | 4500 | 112500 | 4000 | 100000 | 7500 | 187500 | 10 | 1500 | 15000 | 4500 | 45000 | 4500 | 45000 | 4500 | 45000 | 4000 | 40000 | 7500 | 75000
39 | 8.3 | Temporary plumbing, electricity connection to start the execution works. | Temporary plumbing, electricity connection to start the execution works. | set | 1 | 5000 | 5000 | 5000 | 15000 | 15000 | 10000 | 10000 | 10000 | 10000 | 60000 | 60000 | 15000 | 15000 | 1 | 5000 | 5000 | 15000 | 15000 | 10000 | 10000 | 10000 | 10000 | 60000 | 60000 | 15000 | 15000
40 | 8.4 | SS corner Guard on all edges W type as per the specs | SS corner Guard on all edges W type as per the specs | RFT | 250 | 45000 | 325 | 81250 | 180 | 45000 | 350 | 87500 | 600 | 150000 | 550 | 137500 | 310 | 77500 | 250 | 325 | 81250 | 180 | 45000 | 350 | 87500 | 600 | 150000 | 550 | 137500 | 310 | 77500
41 | 8.5 | Dismantling for HVAC, plumbing and other services, | Dismantling for HVAC, plumbing and other services, | SQ.FT | 500 | 5000 | 10 | 5000 | 50 | 25000 | 35 | 17500 | 50 | 25000 | 200 | 100000 | 50 | 25000 | 500 | 10 | 5000 | 50 | 25000 | 35 | 17500 | 50 | 25000 | 200 | 100000 | 50 | 25000

## Technical Score Detail
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | Comp. Date : 03/01/2025 | Comp. Date : 03/01/2025 | Comp. Date : 03/01/2025 | Vendor Name : INTERCARE ENTERPRISE NX |  | Vendor Name : MVP INTERIORS |  | Vendor Name : Intercare Enterprise |  | Vendor Name : FL TRADERS PRIVATE LIMITED |  | Vendor Name : FALLOW DEZIENCE TREE LLP |  | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ #: R2177 | RFQ #: R2177 | RFQ #: R2177 | Contact Name : KAIUM |  | Contact Name : KUMAR SINGH |  | Contact Name : Kaium |  | Contact Name : Julia |  | Contact Name : FALLOW DEZIENCE TREE LLP |  | Contact Name : Gangadhar Sharma
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ Date : 16/11/2024 11:10:54 | RFQ Date : 16/11/2024 11:10:54 | RFQ Date : 16/11/2024 11:10:54 | Vendor City : Mumbai Suburban |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | BCD Date : 16/11/2024 16:00:00 | BCD Date : 16/11/2024 16:00:00 | BCD Date : 16/11/2024 16:00:00 | Telephone # : 9987921130 |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT | RFQ No: R2177 COST COMPARISON REPORT |  |  |  | Mobile # : 9930702814 |  | Mobile # : 9910990210 |  | Mobile # : 9930702814 |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | PR Number : | Email : kaium@intercareenterprisenx.in |  | Email : kumar.singh@mvpinteriors.in |  | Email : kaium@intercareenterprise.in |  | Email : julia.roberts@flgroup.in |  | Email : accounts@fallowdezience.com |  | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Package / RFQ Name : PR for Civil for DEL DWARKA BASE KITCHEN - T1... | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ)
Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Buyer : Pushpak Mahesh Shewale | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  |  |  |  | 1.000 | 0.00 | 0.00
2 | 1 | CIVIL WORK |  |  | 0.000 | 0.00 | 0.00
3 | 1.1 | Providing and constructing 4 thick siporex wall with minimum compressive strength in Cement Mortar 1 6 (1 cement 6 coarse sand ) proportion,in straight as per plan in walls, including scaffolding, curing and providing RCC band or reinforcement at at every lVth cours complete at all levels and locations and as directed. |  | sq.ft | 1390.000 | 0.00 | 0.00
4 | 1.1 | Providing and constructing 9 thick siporex wall with minimum compressive strength in Cement Mortar 1 6 (1 cement 6 coarse sand ) proportion,in straight as per plan in walls, including scaffolding, curing and providing RCC band or reinforcement at at every lVth cours complete at all levels and locations and as directed. |  | sq.ft | 2180.000 | 0.00 | 0.00
5 | 1.2 | Providing laying full brick (230mm thick) partition walls with well burnt 1st class table molded, good quality approved brick In cement mortar 1 4 (1cement 4 coarse sand) including 2 nos. of 6mm dia. MS round bars at every lVth course. Cost should include scaffolding curing. rubbing the surface. racking out the joints etc., complete asdirected and specified for walls platform supports etc. |  | Cu.ft | 0.000 | 0.00 | 0.00
6 | 1.3 | PLASTER - providing and Applying Boh area 10 - 12mm thick plaster in cement mortar 1 4(1 cement 4 coars sand) to all specified walls (small or big) surfaces induding, wall tops, jambs and cill etc. in line level and plumb including chicken wire mesh on junction and joints smooth cement finish, including providing necessary grooves at all the junctions of walls and ceiling, walls and frames for doors or window, around skirting dado or at other places as directed including raking the joints or roughening the RCC surfaces, necessary curing, scaffolding etc., complete as directed and specified |  | sq.ft | 6747.000 | 0.00 | 0.00
7 | 1.4 | LIGHT WEIGHT CONCRETE FILLING + PCC TOP Providing and Filling on RCC slab areas @400mm at BOH AREA with light weight concrete block waste of approximately 600 kg per cum density laid, levelled, finished, smooth, including finishing with 30-60mm top layer of 1 2 4 PCC as per specification. |  | CU.ft | 0.000 | 0.00 | 0.00
8 | 1.5 | Providing and Laying 30 mm to 50mm thk. Plain Cement Concrete (PCC) 1 4 8 (1 cement 4 coarse sand 8 graded stone aggregate 40mm nominal size), in raft bases of column footing brick wall footings base of floor and as screed over rough areas to make up levels or to form sloges as base for main flooring and laid to required levels and grade at all locations, consolidated finished fair and cured.Cost should be complete and inclusive of all side forms as required. |  | sq.ft | 3650.000 | 0.00 | 0.00
9 | 1.6 | WATERPROOFING WORKS - Providing, applying testing water proofing treatment of RCC sunken slabs (Kichen) to specified areas wall surface up to 300mm height from FFL by providing a 3MM thick bitumen based membrane comprising of the following operations. Including preperation of surface and plastering of surface with 12mm thick protective plaster 1 4 (1 cement 4 coarse sand) over treated surface etc complete. (Quoted rate to include grouting of RCC surface for any cracks fissures) This treatment shall be upto 300mm height on all walls from finished floor level, all around water proof area. Special warranty for 10 yrs to be out lined along with autorized specialized applicator executing the job |  | sq.ft | 4414.000 | 0.00 | 0.00
10 | 1.8 | Casting of lintels above doors and wherever neccesary in R.C.C. of size |  | r.ft | 65.000 | 0.00 | 0.00
11 | 2.1 | CEILING WORK -Reparing of existing ceiling using plaster and acrylic putty after proper curing, please note the surface area to be measured |  | Sqft | 3850.000 | 0.00 | 0.00
12 | 3 | FLOORING Wall Tiling |  |  | 0.000 | 0.00 | 0.00
13 | 3.1 | Providing and Fixing of 25 mm thick kota stone on a PCC bed surface in brick pattern with groove of 3 mm filled by epoxy MYK laticrete grout as applicable as per site condition. Cost should be Inclusive of Skirting .of all the area basic price of kota @40 Rs Sq.ft. |  | sq.ft | 3630.000 | 0.00 | 0.00
14 | 3.2 | Providing and fixing of ceramic Wall TiIe for all kitchen area. Tile thickness to be 8-10mm with under cement mortar of 20mm thick or as applicable as per site condition. (base rate of tiles 40 Rs Sq.Ft.)Tile size of 300 X 450 in landscape orientation. |  | sq.ft | 4896.000 | 0.00 | 0.00
15 | 5 | DOOR and WINDOW |  |  | 0.000 | 0.00 | 0.00
16 |  | NOTES |  |  | 0.000 | 0.00 | 0.00
17 |  | Door Frames as mentioned in the specification below |  |  | 0.000 | 0.00 | 0.00
18 |  | Ail flush doors in 40mm BWP Flush Doors of Green Kit ply Garnet Duro make. Oakwood finish laminate with kick plate, push plate. |  |  | 0.000 | 0.00 | 0.00
19 |  | Hardware- hafele Dorma Geze |  |  | 0.000 | 0.00 | 0.00
20 | 5.1 | Providing and fixing Door with frames in 1st class Arau Chaap wood as per design. Rate shalL Include fixing of chaukhat in position with grouting hold fast in cement concrete 1 2 4 (1 cement 2 coarse sand 4 aggregate average 20mm size). Rate to include Hardwood Lipping with Melamine Polish of required shade including Hardwood frame 100mm x 65mm including all hardware, Door closer, door stopper, All Hardwares Doorset or Equivalent Make and necessary hardware . |  | r.ft | 300.000 | 0.00 | 0.00
21 |  | 750 X 2100 washroom flush doors shutter 35 mm thick |  | Nos | 3.000 | 0.00 | 0.00
22 |  | 900 x 2100 MM Flush door Shutter 35mm thick with SS kick Plate |  | Nos | 4.000 | 0.00 | 0.00
23 |  | 2100 MM highsliding door Shutter 35mm thick for the wall opening of 2285 mm |  | Nos | 1.000 | 0.00 | 0.00
24 |  | 750 X 2100 sliding door shutter 35 mm thickness |  | Nos | 1.000 | 0.00 | 0.00
25 |  | 1200x2100 MM Double leaf flush Door |  | Nos | 2.000 | 0.00 | 0.00
26 |  | Hardware for Above Doors - Lock, Latch, Door Handle Door Closer |  | SET(S) | 3.000 | 0.00 | 0.00
27 |  | MS Fire Door with wired glass vision panel, having parallel push bar lock , automatic door closer and all the necessary fittings, contractor needs to provide fire door certificate. 2200 X2100 X40 |  | No. | 1.000 | 0.00 | 0.00
28 |  | MS Fire Door with wired glass vision panel, having parallel push bar lock , automatic door closer and all the necessary fittings, contractor needs to provide fire door certificate. 1200X2100 X40 |  | No. | 2.000 | 0.00 | 0.00
29 | 6 | FIXED WOOD MS WORKS |  |  | 0.000 | 0.00 | 0.00
30 | 6.1 | Providing and Fixing wooden workstation as per layout having wire manager, lockable stoage pedestal 800 X 500 X 700(h) oakwod finished laminate, hettich fittings, |  | NOS. | 1.000 | 0.00 | 0.00
31 | 6.2 | Providing and Fixing wooden workstation as per layout having wire manager, lockable stoage with 3 no. pedestal 500 mm depth X 700(h) oakwod finished laminate, hettich fittings, |  | Sqft | 12.690 | 0.00 | 0.00
32 | 6.3 | Office chair Providing High back ergonomic office chair having adjustable seat and back bend and lockable system (executive chair) |  | NOS. | 5.000 | 0.00 | 0.00
33 | 6.4 | Cafateria table top finished with merinolam 22099 slate ML 1 mm thich laminate, top to be fixed on MS round hollow pipe of 60 mm painted black to give support on two side of top |  | NOS. | 2.000 | 0.00 | 0.00
34 | 6.5 | Cafateria table top finished with merinolam 22099 slate ML 1 mm thich laminate, top to be fixed on MS round hollow pipe of 60 mm painted black to give support on two side of top (2 seater) |  | NOS. | 1.000 | 0.00 | 0.00
35 | 6.6 | Cafteria chair- p F of cafeteria chair with dark brown upholstery stitched over EP foam pasted on 19 mm ply base having ms legs with nylon buffer |  | NOS. | 10.000 | 0.00 | 0.00
36 | 7 | PAINTING AND FINISHING |  |  | 0.000 | 0.00 | 0.00
37 | 7.1 | BOH area open ceiling (PLASTIC PAINT) P A 2 coats of plastic black matt paint as per app.. ASIAN PAINTS by sand papering the surface, applying one coat of primer, prepare the surface with sand papering again, repeating a coat of primer, applying one coat of plastic paint, touching up with putty applying two final roller coats of plastic paint, to internal wall slab surfaces incl. preparing the surface by cleaning scrapping, smooth filling crevices, scaffolding etc. |  | SQ.FT | 6830.000 | 0.00 | 0.00
38 | 8 | MISCELLANEOUS WORKS |  |  | 0.000 | 0.00 | 0.00
39 | 8.1 | Debris Removal to be verified by site engineer and security guard which should be maintained in IN Out register |  | NOS. | 25.000 | 0.00 | 0.00
40 | 8.3 | Temporary plumbing, electricity connection to start the execution works. |  | set | 1.000 | 0.00 | 0.00
41 | 8.4 | SS corner Guard on all edges W type as per the specs |  | RFT | 250.000 | 0.00 | 0.00
42 | 8.5 | Dismantling for HVAC, plumbing and other services, |  | SQ.FT | 500.000 | 0.00 | 0.00