## Main Summary
Comparative Statement 3rd Wave -A04
S.NO | Description | Altitude Marketing- Vickram | Pioneer Infra- Priti | Vsas Group- Shubham Singh | Vart Infra- Paresh Gohil | Universal Fintech- Sunali Goenka
|  | 9818318701 | 9833101992 | 9582408654 | 91316413050 | 9820619523
1 | Civil | 1715985 | 2232300 | 1466964.7 | 2018216 | 4141509
2 | Plumbing | 38090.3 | 190700 | 79650 | 146540 | 320845
3 | Electrical | 457581 | 551475 | 415944 | 599750 | 782737.5
4 | Furniture | 217600 | 412000 | 244200 | 222000 | 660000
5 | CCTV | 31700 | 62900 | 37600 | 34160 | 71700
6 | Sprinkler | 60212.5 | 0 | 62450 | 94990 | 146160
7 | Fire | 32961.6 | 0 | 55600 | 65940 | 110505
8 | Lighting | 119351 | 151800 | 73700 | 157390 | 401025
9 | HVAC | 242060 | 215250 | 165718.97 | 194450 | 295875
Total Amount Rs. |  | 2915541.4 | 3816425 | 2601827.67 | 3533436 | 6930356.5
3070156.6506
468328.9806

## C&I
BOQ-CIVIL & INTERIOR WORKS
SN. | AREA | ITEM | UNIT | QTY. | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
[5 empty] | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 |  | ANTI TERMITE TREATMENT
1.1 | ALL MOH & FOH | Providing & doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3" in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4' center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated). | Sq.m. | 42 | 228 | 9576 | 650 | 27300 | 150 | 6300 | 248 | 10416 | 807 | 33894
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF ANTI TERMITE TREATMENT |  |  |  | 9576 |  | 27300 |  | 6300 |  | 10416 |  | 33894
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 |  | CIVIL WORK |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
2.1 |  | WATERPROOFING |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Providing and Applying Fosroc RFX Brush Bond Coating waterproofing to RCC sunken slabs comprising of the following operations. | Sq.m. | 23 | 325 | 7475 | 1100 | 25300 | 500 | 11500 | 1300 | 29900 | 1776 | 40848
|  | 1. Removal of Top Screed from the Mother Slab. 2. Cleaning of the Mother Slab with Hard Brush & Removal of Dirt from the Surface with Air Blowers 3. Applying of the Fosroc RFX Brush Bond Coating on the mother slab with Brush in Clock wise directions & on all 2 Sides Walls till 450m.m Height . If the Floor has to be raised 150m.m 4. After drying of the 1st Coat of the Brush Bond Coating . 2nd Coat is applied in the Anticlockwise Directions 5. After drying of entire Surface say 24 Hours . we will fill Water to 3 Inch Levels for Ponding Testing. 6. Water will be kept for observations for 72 Hours . If Leakage is observed . Water is emptied 7. Above Procedure is Repeated . 8. If No Leakage is observed after 72 Hours . 9. Water will be drained out from the Floor Surface 10. Protective Screeding mixed with FOSROC NITOBOND SBR of Average 25m.m thickness is done on the Water Proofing Surface & Coving on Side Walls . 11. After Dryings of Protective Screed say 2 Days. Drain Lines are laid on the Floor with Slope & main Drain lines chambers are done . 12 . After this floor raising by Light Seaproax block is done followed by Kota Stone Flooring |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2.2 |  | CINDER/ LIGHT WT. SIPORAX BLOCK BATS FILLING |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
a | MOH RAISED AREA (up to 150 mm) | Providing & Filling light wt. Siporex block bats to conceal drainage & plumbing lines. The Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect. | Sq.m. | 20 | 1720 | 34400 | 1200 | 24000 | 950 | 19000 | 660 | 13200 | 3550.5 | 71010
2.3 |  | PCC LAYER |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | Providing & Laying P.C.C 1:3:6 of average thickness 75mm of M 10 grade of concrete ( 1 cement :3 coarse sand:6 graded stone aggregate 20 mm nominal size) as floor base. | Sq.m. | 20 | 496 | 9920 | 1150 | 23000 | 1050 | 21000 | 570 | 11400 | 1533 | 30660
2.4 |  | Block WORK |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| 100 MM THICK BLOCK MASONARY | Providing & Laying of block masonry of thickness 100mm in bund wall, in raised MOH counter area using in cement mortar 1:4 (1 cement :4 coarse sand) mix, joints finished, curing complete as per specification and drawing or as directed by Project Manager. | Sq.m. | 3 | 1080 | 3240 | 2450 | 7350 | 2500 | 7500 | 1540 | 4620 | 2664 | 7992
2.5 |  | PLASTER |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | P/L12-15mm thick plaster in cement mortar 1:4 (1 cement : 4coarse sand) to ceiling, all typesof R.C.C. work, brick work surfaces at all levels in line,level and plumb including smooth cement finish and providing necessary grooves at junctions of walls.Rate shall be inclusive of scaffolding and complete with curing etc | Sq.m. | 10 | 580 | 5800 | 750 | 7500 | 800 | 8000 | 785 | 7850 | 1533 | 15330
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF CIVIL WORK |  |  |  | 60835 |  | 87150 |  | 67000 |  | 66970 |  | 165840
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
3 |  | FLOORING & SKIRTING |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.1 | FLOORING | Providing, fixing & laying in position Approved Tile Flooring of approved make, color, size and shade, Standard thickness in approved pattern to true line and level on average 50mm thk bedding of 1:4 mix cement sand mortar floated with neat cement, filling the joint with matching color Timex /or filling Joint with approved latecrete including cleaning, watering, curing, Gala Cutting for floor Spring & other etc. complete as per detail drawing, as specified and as directed by Architect & Site Incharge. Rate inclusive of all wastage etc complete. |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| (TL-02 FOH & BOH Floor) | Floor Tile TL-02 ( Size :- 600mm x 1200mm) Flooring (Basic Rate of tile Rs. 80/- per sq.ft.) | Sq.m. | 50 | 1830 | 91500 | 2050 | 102500 | 2700 | 135000 | 2250 | 112500 | 3550.5 | 177525
3.2 | SKIRTING |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Tile Skirting TL-02 | Providing & fixing of 100 mm high Tile Skirting (TL-02) over a bed of 20 mm thk. Cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of tile including necessary wastage ,cutting ,grinding & polishing complete. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
|  | Skirting Tile TL-02 (Size :- 600mm x 1200mm) (Basic Rate of tile Rs. 80/- per sq.ft.) | R.m. | 10 | 492 | 4920 | 450 | 4500 | 400 | 4000 | 750 | 7500 | 1068 | 10680
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF FLOORING WORK |  |  |  | 96420 |  | 107000 |  | 139000 |  | 120000 |  | 188205
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 |  | WALL TILING |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
4.1 | MOH WALLS | P/fixing ceramic Wall tiles TL-01 of size - 75x300mm (cut to mentioned size to be provided by vendor), in MOH as per pattern shown in detail drawing over existing wall surface/paneling, setting the tiles in appropriate adhesive as per manufacturer's specifications, joints filled and finished neat with epoxy grout as/spec.(Basic cost of tile Rs. 500/- per sft.) | Sq.m. | 50 | 5525 | 276250 | 8073 | 403650 | 3800 | 190000 | 6680 | 334000 | 10008 | 500400
[6 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
4.2 | FOH & MOH WALLS TILL LOW HEIGHT | P/fixing ceramic Wall tiles TL-02 of size - 600x1200mm, in MOH as per pattern shown in detail drawing over existing wall surface/paneling, setting the tiles in appropriate adhesive as per manufacturer's specifications, joints filled and finished neat with epoxy grout as/spec.(Basic cost of tile Rs. 80/- per sft.) | Sq.m. | 15 | 1790 | 26850 | 2050 | 30750 | 2700 | 40500 | 2250 | 33750 | 3228 | 48420
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF WALL TILING |  |  |  | 303100 |  | 434400 |  | 230500 |  | 367750 |  | 548820
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 |  | WOODWORK & PANELING |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
5.1 | BACK DISPLAY UNIT | Providing and fixing in position 400mm deep Display Unit made of 25x25mm MS frame finish in powder coating PT-03. At lower level, shelf to be provided in complete unit made of FR Ply of 12mm thk. finished with laminate LM-01 from all sides. Provision for aluminum LED strip light to be made under the unit as shown in detail drawing. Provision to fix menu boards in front of this unit to be made as required. Rate shall include all wastage, necessary hardware, fixtures. All complete as per the details, drawings or as directed by Architect/Engineer. Front Elevation Area to be Measured. | Sq.m. | 6 | 12128 | 72768 | 10500 | 63000 | 21528 | 129168 | 16000 | 96000 | 19368 | 116208
5.2 | BACK COUNTER | Providing & Fixing total 750mm deep back counter made of 19mm thk. FR Ply. including shelves & shutters finished with lamiate LM-01 from all visible surfaces & inside as well. Provision of open space to be left at some area as shown in elevation/detail drawing to accomodate under counter equipments. Also provision for flap door for dustbin to be made as shown in detil drawing. Provision of finger groove at top of openable shutters to be made as shown in detail drawing. SS legs to be provided at bottom of complete unit as shown in drawing. Top of counter and front nosing to be finished with Granite ST-01. Provision for electrical points etc to completed as per details & design provided or as directed by Architect. Cost includes completing the job including all finishes with all necessary hard ware complete as mentioned in detail drawings. Elevation area shall be measured. | Sq.m. | 3 | 16832 | 50496 | 32500 | 97500 | 12500 | 37500 | 17000 | 51000 | 33033 | 99099
5.3 | FRONT COUNTER | Low Height Partition (in front of cold display unit) made of 19 mm thk. HDHMR Ply from both inside & outside and top closed with same ply. Finishing of top & front of partition is as explained below and rear finished with Laminate LM-01 as shown in detail drawing. Providing & Fixing total 1000mm deep complete counter. Front partition of counter to be made of 50x50mm MS pipe framework wrapped with 19mm thk. HDHMR from both inside & outside. Box of the counter to be made of 19mm thk. HDHMR including shelves, shutters, drawers etc. Top and front nosing of low height partition & complete counter top to be finished with Corian CR-01. At front of counter, Fluted design panel made out of 25mm thk. HDF board with rounded edges, finished with PU paint PT-04 to be fix over front partition of counter. Same pattern of front & nosing to be repeated on right surface of the counter. Rear surfaces of partition & counter and all internal visible surfaces & drawers, shutters of counter from both sides to be finished with Laminate LM-01. Item to be completed in all respect including necessary hardware. Provision of LED strip inside nosing of counter top to be made at front & right side of counter as shown in detail drawing. Flap Door to enter MOH & partition on right side of LT Panel unit to be made of 50x50mm MS pipe framework wrapped with 19mm thk. HDHMR from both inside & outside. CR-01. At front of partition & flap door, Fluted design panel made out of 25mm thk. HDF board with rounded edges, finished with PU paint PT-04 to be provided. Top of the flap door & partition to be finished with Corian CR-01 along with nosing as per details. Further, 100mm high SS skirting to be provided at front of counter & on right side as well, to be finish with PVD coating PD-01. SS legs to be provided at bottom of complete front & rear counter as shown in detail drawing. SS round pipe of dia. 25mm to be provided on front & right side of front counter only as a design element as shown in detail drawing. Same to be finish with PVD coating PD-01. Guard rail of 50mm dia. SS round pipe to be provided at front and right side of front counter and also on right side of rear counter, to be finish with PVD coating PD-01. Provision of POS machine and cash till/drawer to be made in the counter. Provision for wire manager, electrical etc to completed as per details & design provided or as directed by Architect. Cost includes completing the job including all finishes with all necessary hard ware complete as mentioned in detail drawings. Front Elevation area of counter and front area of flap door + RHS of rear counter shall be measured. | Sq.m. | 7 | 23782 | 166474 | 45500 | 318500 | 16500 | 115500 | 24000 | 168000 | 36150 | 253050
5.4 | SHERA BOARD PANELING | Providing & fixing paneling over existing wall surfaes made of 12mm thk. Shera Board on one side of 50x50mm MS framework @ 600mm c/c bothways to receive different tiles finish over it as per design & details given in drawing/Architect instruction. Rate is inclusive of all necessary hardware & fixtures. | Sq.m. | 40 | 5350 | 214000 | 3500 | 140000 | 2152 | 86080 | 4100 | 164000 | 10905 | 436200
5.5 | HDHMR PANELING | Providing & fixing paneling over existing wall surfaes made of 12mm thk. HDHMR Board on one side of 50x50mm MS framework @ 600mm c/c bothways to receive Paint & Wallpaper finish over it as per design & details given in drawing/Architect instruction. Rate is inclusive of all necessary hardware & fixtures. | Sq.m. | 45 | 3680 | 165600 | 2250 | 101250 | 3800 | 171000 | 4600 | 207000 | 8955 | 402975
5.6 | MDF STRIPES | Providing & fixing 50mm wide stripes made of 12thk. MDF fixed over existing paneling to receive paint finishe over it as per design & details given in drawing/Architect instruction. Rate is inclusive of all necessary hardware & fixtures. | R.m. | 50 | 224 | 11200 | 1650 | 82500 | 200 | 10000 | 4400 | 220000 | 1036.5 | 51825
5.7 | ELECTRICAL PANEL CABINET | Providing and making 750mm deep LT Panel cabinet made up of 19mm thick FR ply finished with Laminate LM-01 from all sides, front shutters made up of 19mm thk Laminated FR ply slit cut as per drawings. MS legs to be provided at the bottom as shown in detailed drawing along with with all necessary hardware, and accesories including handle, lock etc complete as per detail & design given in approved drawing or as directed by Architect/Engineer. Front Elevation Area to be measured. Refer to detail drawing. Basic cost of (Laminate: Rs. 1400 /sheet.) | Sq.m. | 3 | 15808 | 47424 | 28000 | 84000 | 5000 | 15000 | 18000 | 54000 | 15495 | 46485
5.8 | STORAGE RACK | Providing and making 750mm deep Storage Rack cabinet made up of 19mm thick FR ply finished with Laminate LM-01 from all sides, front shutters made up of 19mm thk Laminated FR ply slit cut as per drawings. MS legs to be provided at the bottom as shown in detailed drawing along with with all necessary hardware, and accesories including handle, lock etc complete as per detail & design given in approved drawing or as directed by Architect/Engineer. Front Elevation Area to be measured. Refer to detail drawing. Basic cost of (Laminate: Rs. 1400 /sheet.) | Sq.m. | 2 | 15134 | 30268 | 35000 | 70000 | 8000 | 16000 | 19000 | 38000 | 16965 | 33930
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF WOODWORK |  |  |  | 758230 |  | 956750 |  | 580248 |  | 998000 |  | 1439772
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
6 |  | PAINTING/VENEER/LAMINATE/CORIAN/POLISHING |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
6.1 | PAINT ON CEILING | Providing & applying two or more coats of Plastic paint of approved quality & shade on prepared surface by sand papering the surface, applying one coat of primer, prepare the surface with two coats of full putty, sand papering again, repeating a coat of primer & applying two final roller coats of plastic emulsion paint on internal walls /ceilings /masonry /concrete surfaces incl. scaffolding etc.. |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| PT-01 | Paint PT-01 Rich Charcoal - 8645 | Sq.m. | 20 | 280 | 5600 | 450 | 9000 | 700 | 14000 | 480 | 9600 | 945 | 18900
| PT-02 | Paint PT-02 Absolute White - L161 | Sq.m. | 20 | 280 | 5600 | 450 | 9000 | 700 | 14000 | 480 | 9600 | 945 | 18900
6.2 | PU PAINT ON WALLS | Providing & applying two or more coats of PU paint of approved quality & shade on prepared surface by sand papering the surface, applying one coat of primer, prepare the surface with two coats of full putty, sand papering again, repeating a coat of primer & applying two final roller coats of plastic emulsion paint on internal walls /ceilings /masonry /concrete surfaces incl. scaffolding etc.. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| PT-05 | Paint PT-05 Caravel Yellow - 5135 | Sq.m. | 23 | 1621 | 37283 | 1450 | 33350 | 2200 | 50600 | 560 | 12880 | 6780 | 155940
6.3 | VENEER ON CEILING | Providing & fixing Veneer over eisting surface to completed as per details & design given in drawing/Architect instruction. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| VR-01 | Veneer VR-01, Greenlam American Walnut (Crwon & Qtr. Cut) | Sq.m. | 25 | 2053 | 51325 | 4850 | 121250 | 1800 | 45000 | 2800 | 70000 | 10815 | 270375
6.4 | CORIAN CLADDING | Providing and fixing vertical Corian stripe of width upto 150mm (near cold dispay & louvered storage unit) over exiting panelinf as shown in detail drawing. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| CR-01 | Corian CR-01, C-100 Cubic White, Make - Hanex | Sq.m. | 1.5 | 18000 | 27000 | 6500 | 9750 | 15000 | 22500 | 22500 | 33750 | 29052 | 43578
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF PAINTING/POLISHING |  |  |  | 126808 |  | 182350 |  | 146100 |  | 135830 |  | 507693
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
7 |  | FALSE CEILING WORK |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
7.1 | HDF CEILING (ABOVE MOH & FOH) | Providing & fixing suspended ceiling made of Double 12mm thk. HDF (above MOH & FOH) hanged from the roof slab with the help of necessary framework or suspended grid formed of GI perimeter channel and fixed along the wall by using wood screws & metal expansion rawl plugs, including all drops, coves, offsets in design etc if required, to receive paint finish above MOH & Veneer finish with grooves as required above FOH as shown n ceiling drawing. Rate to be inclusive cutting for lights, grills/ ducts etc., completed as per the details are provided in drawings or as directed by Architect/Engineer. | Sq.m. | 42 | 4400 | 184800 | 2050 | 86100 | 3500 | 147000 | 2800 | 117600 | 17835 | 749070
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF FALSE CEILING |  |  |  | 184800 |  | 86100 |  | 147000 |  | 117600 |  | 749070
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
8 |  | MS/SS WORKS & MISCELLANEOUS WORK |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
8.1 | SITE BARRICADING | Providing and fixing MS framing with GI pre-painted corrugated sheet (3m high) to cover construction portion as indicated in architect's drawing including all fixing material as per requirement of the PMC, provision of secured pedestrian access doors through barricade including all civil work and foundation etc. The barricade will have to be retained and maintained by the contractor till the end of the project. The barricade must be structurally sound to withstand wind and other applicable loads. ( ONLY ACTUAL SURFACE AREA OF THE COVERING TO BE MEASURED FOR PAYMENT ONCE UPTO THE COMPLETION OF THE WORK. ) | Sq.m. |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
8.2 | TRANSITION FLOOR PROFILE | Providing & fixing 25mm wide Brass Floor Transition Profile fixed between two different flooring as shown in detail flooring drawing. | R.m. | 6 | 1336 | 8016 | 2250 | 13500 | 1700 | 10200 | 1050 | 6300 | 3471 | 20826
8.3 | CEILING BRASS PROFILE | Providing & fixing 10mm wide & 4mm high Brass Profile in ceiling over existing surface as shown in detail ceiling drawing. | R.m. | 25 | 1336 | 33400 | 2850 | 71250 | 1000 | 25000 | 1150 | 28750 | 3990 | 99750
8.4 | PLANTERS | Providing and laying planters pots as per selection along with Pot/vask as requiired and as shown in detail drawings. | Nos. | 2 | 1160 | 2320 | 22500 | 45000 | 2500 | 5000 | 4450 | 8900 | 42000 | 84000
8.5 | VERTICAL MS PIPES | Providing & fixing 25x50mm vertical MS hollow pipe fixed at floor & bottom of existing airport's signage portal. Pipe to be finished with 12mm thk. HDF frommm all sides finished with PU Paint PT-06. Rate is inclusive of all necessary hardware & fixtures. Please refer the design & details given in drawing/Architect instruction. | R.m. | 15 | 616 | 9240 | 4500 | 67500 | 1600 | 24000 | 4400 | 66000 | 6000 | 90000
8.6 | RAILING | ProvidProviding and fixing MS railing made of outer MS frame of 25x50mm MS section & internal bars of 12x12mm MS pipe. Comlpete MS work to be finish with Paint PT-03. Top of the railing to be made of 100mm wide & 50mm high handrail made of double 18mm thk. HDHMR board horizontally & both side surfaces to be packed with same board to achieve 50mm height from side. Complete HDHMR work to be finish with Veneer VR-01. Please refer the drawing for complete detail. Rate is inclusive of all necessary hardware & fixtures. Elevation area to be measured of railing. | Sq.m. | 3 | 4760 | 14280 | 14500 | 43500 | 7000 | 21000 | 14300 | 42900 | 19368 | 58104
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF MS/SS WORKS & MISCELLANEOUS WORK |  |  |  | 67256 |  | 240750 |  | 85200 |  | 152850 |  | 352680
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
9 |  | SIGNAGES |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
9.1 | SIGNAGES | "THIRD WAVE COFFEE" backlit acrylic router cut to shape of branding. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| a | Maximum Height of signage 350mm | No. | 1 | 54800 | 54800 | 55000 | 55000 | 27000 | 27000 | 7500 | 7500 | 58500 | 58500
9.2 | SIGNAGES | "CUP LOGO" backlit acrylic router cut to shape of branding. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| a | Maximum Height of signage 350mm | No. | 1 | 12560 | 12560 | 25000 | 25000 | 14000 | 14000 | 7000 | 7000 | 27000 | 27000
9.3 | WALLPAPER | Providing & pasting Tropical Wallpaper over existing surface/paneling. Design of tropical wallpepr to be selected by brand. | Sq.m. | 10 | 3760 | 37600 | 1250 | 12500 | 1761.67 | 17616.7 | 430 | 4300 | 2503.5 | 25035
9.4 | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | SUB TOTAL OF SIGNAGES |  |  |  | 104960 |  | 92500 |  | 58616.7 |  | 18800 |  | 110535
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
9 |  | Miscellaneous |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
9.1 | Equipment | Unloading and shifting till premises | No. | 1 | 4000 | 4000 | 18000 | 18000 | 7000 | 7000 | 30000 | 30000 | 45000 | 45000
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
[6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | TOTAL OF Miscellaneous |  |  |  | 4000 |  | 18000 |  | 7000 |  | 30000 |  | 45000
Total Amount | [5 empty] | 1715985 |  | 2232300 |  | 1466964.7 |  | 2018216 |  | 4141509

## PLUMBING
BILL OF QUANTITIES FOR PLUMBING WORK PROJECT :JONES THE GROCER - EXPRESS
SR. NO. | MATERIAL | DESCRIPTION | UNIT | QTY. | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
[5 empty] | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 |  | WATER SUPPLY PIPES
| CPVC Pipes | Supply, laying, testing & commissioning of FOOD GRADE CPVC pipes conforming to CTS (Copper Tube Size) SDR-11 as per (is 15778 ASTM D 2846) with necessary fittings up to the size of 50 mm dia. (Make – SUPREME / KASTA) including all necessary fitting as per site.
1.01 |  | 15mm dia | R.M. | 10 | 98.8 | 988 | 1150 | 11500 | 260 | 2600 | 520 | 5200 | 448 | 4480
1.02 |  | 20mm dia | R.M. | 15 | 118.56 | 1778.4 | 1250 | 18750 | 290 | 4350 | 550 | 8250 | 483 | 7245
1.03 |  | 25mm dia | R.M. |  | 138.32 |  | 0 | 0 | 0 | 0 | 0 | 0 | 497 | 0
| TOTAL |  |  |  |  | 2766.4 |  | 30250 |  | 6950 |  | 13450 |  | 11725
2 |  | WATER DRAIN PIPES
| UPVC WASTE PIPE | UPVC Pipe for Drainage (Make – SUPREME / KASTA) including all necessary fitting as per site.
2.01 |  | 150mm dia | R.M. |  | 829.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1848 | 0
2.02 |  | 100mm dia | R.M. |  | 612.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1750 | 0
2.03 |  | 75mm dia | R.M. | 10 | 424.84 | 4248.4 | 950 | 9500 | 550 | 5500 | 680 | 6800 | 1729 | 17290
2.04 |  | 50mm dia | R.M. | 10 | 316.16 | 3161.6 | 850 | 8500 | 490 | 4900 | 550 | 5500 | 1694 | 16940
| TOTAL |  |  |  |  | 7410 |  | 18000 |  | 10400 |  | 12300 |  | 34230
3 |  | CHAMBER & GRATING
3.01 | INSPECTION CHAMBER | Supply, Laying, Testing & Commissioning of Approved SS Inspection Chamber along of Size- 300mmx300mm with SS Cover & SS Grating over it. Make Jaquar / Ozone. Including trenching and finishing with ceramic tiles as per dwg and details. | Nos. | 2 | 2470 | 4940 | 12500 | 25000 | 5000 | 10000 | 6500 | 13000 | 29540 | 59080
[6 empty] | 0 |  |  |  | 0 |  |  | 0
3.02 | OPEN GRATING | Providing & Fixing 20mm heavy quality SS triple layer Grating along with Perforated Mesh & Angle Frame of width 200mm, complete as per detail Drawings. Rate inclusive of chamber construction |  |  |  | 0 |  |  |  | 0 |  |  | 0
|  | Size - 560mm x 200mm | R.M. |  | 3556.8 | 0 | 0 | 0 | 0 | 0 | 13500 |  | 0 | 0
|  | Size - 1000mm x 200mm | R.M. |  | 3556.8 | 0 | 0 |  | 0 | 0 | 18000 |  | 0 | 0
| TOTAL |  |  |  |  | 4940 |  | 25000 |  | 10000 |  | 13000 |  | 59080
4 |  | FLOOR TRAP
4.01 | FLOOR TRAP | Supply, Laying, Testing & Commissioning of 100x100mm Floor Trap with Approved Make heavy duty round or Square. | Nos. | 6 | 130 | 780 | 1850 | 11100 | 300 | 1800 | 1500 | 9000 | 2310 | 13860
| TOTAL |  |  |  |  | 780 |  | 11100 |  | 1800 |  | 9000 |  | 13860
5 |  | VALVE AND TAP
5.01 | ANGLE VALVE | Providing & Fixing Angle Valve with connector pipe. | Nos. | 7 | 376.2 | 2633.4 | 3250 | 22750 | 500 | 3500 | 1880 | 13160 | 1470 | 10290
5.02 | LONG BODY TAP | Providing & Fixing Sink Cock. with foot operated | Nos. | 0 | 1630.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4200 | 0
5.03 | Table Mixer | Providing & Fixing Sink Cock. | Nos. | 1 | 1187.5 | 1187.5 | 1850 | 1850 | 1500 | 1500 | 2430 | 2430 | 13860 | 13860
5.04 | Gate Valves | Providing & Fixing PPR Ball Valve ISI mark. (For Inlet) | Nos. | 1 | 642.2 | 642.2 | 2450 | 2450 | 1500 | 1500 | 6700 | 6700 | 26600 | 26600
| TOTAL |  |  |  |  | 4463.1 |  | 27050 |  | 6500 |  | 22290 |  | 50750
6 |  | ACCESSORIES
6.01 | Grease Trap | Providing & Fixing of portable grease trap NGT-14 from Nugreen | Nos. |  | 8398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.02 | Grease Trap | Providing & Fixing of portable grease trap NGT-50 from Nugreen | Nos. |  | 23218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.03 | Bottle Trap | Providing & fixing 32mm CP finished Bottle Trap with wall flanges. (Make – JAQUAR / OZONE) | Nos. | 5 | 611.8 | 3059 | 4250 | 21250 | 2500 | 12500 | 1700 | 8500 | 6440 | 32200
6.04 | Water Meter | 25mm Dia Water meter | Nos. | 1 | 2519.4 | 2519.4 | 3550 | 3550 | 8500 | 8500 | 17000 | 17000 | 19600 | 19600
6.05 | GEYSER | 6 LITER GEYSER | Nos. | 1 | 6718.4 | 6718.4 | 9500 | 9500 | 10000 | 10000 | 8500 | 8500 | 12600 | 12600
6.06 | GEYSER | 35 LITER GEYSER | Nos. |  | 11932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.07 | Waste Coupling | Providing Waste Coupling 32mm size full thread waste coupling to be use for 3-bowl sink. | Nos. |  | 178.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.08 | Water supply connection | water supply connection taken from existing point complete with all necessary fittings. | Nos. | 1 | 1877.2 | 1877.2 | 12500 | 12500 | 3000 | 3000 | 8500 | 8500 | 32200 | 32200
6.09 | Drainage connection | Drainage connection connect to existing drain point complete with all necessary fittings including cleanout plug | Nos. | 1 | 2371.2 | 2371.2 | 10000 | 10000 | 3000 | 3000 | 11500 | 11500 | 35000 | 35000
6.1 | Pressure Pump | Pressure Pump | Nos. |  | 8398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.11 | RO Plant | Providing and fixing of RO Plant on MS platform with all necessary valves and fiting required. | Nos. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.12 | Domestic RO | Providing and fixing of Domestic RO with water storage with all necessary valves and fiting required. | Nos. | 1 | 1185.6 | 1185.6 | 22500 | 22500 | 7000 | 7000 | 22500 | 22500 | 19600 | 19600
6.13 | Water Tank | Providing and fixing of 200 Ltr. Storage Loft Tank on MS Platform with all necessary valves and fiting required. | Nos. |  | 2321.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6.14 | Trench (125 mm wide) | Making 125 mm wide 300 mm deep trench with 4" thk. Block wall on both side of trench. Floor & inner surfaces of walls to be finished with plaster followed with 12mm ceramic tiles. Top of the trench to be covered with floor tile fixed inside L-angle frame placed over another L-angle which is fixed on trench top, complete as per dwg/details. Rate inclusive of making trench, providing finish tiles & top tiles in frame. | RMT |  | 2618 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| TOTAL |  |  |  |  | 17730.8 |  | 79300 |  | 44000 |  | 76500 |  | 151200
| GRAND TOTAL |  |  |  |  | 38090.3 |  | 190700 |  | 79650 |  | 146540 |  | 320845

## ELECTRICAL
THIRD WAVE COFFEE SHOP, A-04_Lucknow Airport.
Estimated Cost - Electrical Works Dated 04-12-2023
The prices are to be quoted in the section mentioned below and shall include the supply, Installation, Testing and commissioning at site of all the equipments, ancillary materials as specified and all such items what so ever required to fulfill the intent and purpose as laid down in the specifications and/or drawings and shall include all taxes and duties on works contract basis.
|  |  |  | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
S. No. | Description | Unit | Qty. | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
|  |  |  | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.)
Design, fabrication, assembling, wiring , supply , Erection , Installation , testing and commissioning of MDB Panels fabricated out of 2mm thick for structural members (Load bearing members) and 1.6mm thick for door and covers (Non load bearing members) CRCA painted sheet steel in cubicle formation with reinforcement of suitable size angle iron, channels, T irons, flats wherever necessary for large meter boards. Cable gland plates shall be provided at top and bottom both and windows for meter reading, locking arrangement (pad-lock & seal) with wiring upto KWH meter & meter to MCB shall be done by using adequately rated flexible single core copper wire. The boards shall be treated with all anticorrosive process before painting as per standards with final approved shade of powder coated as approved, 2 nos. earthing terminals shall be provided for all panels. The boards shall be suitable for 415 V, 3 phase, 4 wire, 50 Hz supply system. Boards shall be fabricated in length, height, depth etc to match with site conditions.
An approval shall be taken for each panel before manufacturing. Galvanised hardwares with zinc passivation shall be used in fabrication of boards.
Note: The following provisions shall be required to be made in the switchboard detailed below
The Switchboard shall have provision for entry of all PVCA cables from the top/bottom as required.
All live accessible parts shall be shrouded and all equipment shall be finger touch proof. The busbar insulation shall be with heat shrinkable sleeves. SMC/DMC shrouds and busbar supports shall be used.
Suitable tinned copper extension links for incoming/outgoing cables shall be provided wherever required
Control circuits includes breaker control switch, auto manual selector switch, anti pumping relay, spring charging trip indication, TIMER, control wiring, Auxiliary contactors MCB’s as required at site.
Positive isolation of all breakers.
All fault level breaking capacity indicates shall be ICS value at 415 volts (ICS = ICU = ICW = 100%).
Space Heater/ light/air filter shall be provided for each vertical compartment
Link and drops from MCCB shall be designed for full rated current of MCCB ratings at same current density as of Main Bus Bar
2 nos. GI earth strip throughout the panel.
1 | MAIN MDB
A | Incoming
1 No. 80 amps 16 kA 440 volt FP MCCB with Thermal Magnetic overcurrent and short circuit and with following
B | Metering, Indication & Protection:
a | 1 Nos. 6 Parameter Multi Function Mater with 3 Nos. Cast Resin CTs and MCBs
b | Breaker ON OFF indication Lamps
c | R-Y-B indication lamps with MCBs
d | ELR with CBCT
C | Bus Bar:
100 A, TPN Al. Bus Bar of suitable length having Current density 1Amp/sq.mm & having high conductivity electrical grade suitable to withstand symmetrical fault level of 25 kA. Neutral busbar shall be of 100% capacity.
D | Outgoings:
a | 1 No. 40 amps 4P MCB ( Type C)
b | 1 No. 25 amps 2P MCB ( Type C)
c | 2 No. 32 amps 2P MCB ( Type C)
d | 1 No. 40 amps 2P MCB + RCCB of 100mA sensitivity.
e | 1 No. 32 amps 4P MCB + RCCB of 100mA sensitivity.
PDB (In built Inside the Panel)
E | 1-40amp FP MCB with - 2 single phase banks each comprising of 40A DP RCCB(100 mA) and 6 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. - 1 single phase banks each comprising of 32A DP RCCB(100 mA) and 6 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings.
| Main MDB as described above | 1 | Set | 10500 | 10500 | 155000 | 155000 | 7664 | 7664 | 157000 | 157000 | 142500 | 142500
[7 empty] | 0 |  | 0 |  | 0 | 0 | 0
1.1 | DISTRIBUTION BOARDS |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Supply, erection, testing and commissioning of the following sheet steel clad wall recess mounting dust and vermin proof double door type distribution boards constructed from 16 SWG sheet steel IP 42 construction, finished with rust proof duly powder coated in approved shade with hinged gasketed door and housing the following complete with P.V.C. insulated copper busbars rated 200 amp with interconnections, neutral and earth bar assembly per phase, earthing terminals complete as approved by Architects. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Note : All MCBs in distribuition board for power circuits shall be of C curve |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
i | Type A |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| 1-40amp FP MCB with 3 single phase banks each comprising of 40A DP RCCB(100 mA) and 6 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | RO | Set | 6216 | [5 empty] | 30500 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
ii | Type B |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| 1-32 amp DP MCB + DP RCCB ( 100mA) and 8 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | 1 | Set | 2989 | 2989 | 15500 | 15500 | 5264 | 5264 | 14200 | 14200 | 21750 | 21750
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
iii | Type C |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| 1-25 amp DP MCB + DP RCCB ( 100mA) and 6 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | 1 | Set | 2989 | 2989 | 14500 | 14500 | 6240 | 6240 | 13500 | 13500 | 20250 | 20250
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | Supply installation testing and commisioning 1.5 kVA online ( 1ph input and 1ph output) UPS with 15 Min power back up complete with in buit Static by pass switch , Mannual external maintenance by pass switch , Rectifiers , Sealed MF batteries etc as required | 1 | No. | 21000 | 21000 | 28500 | 28500 | 13200 | 13200 | 66500 | 66500 | 112500 | 112500
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3 | Supply, laying, testing & commissioning of following sizes of Al/Cu. conductor 1.1 kV grade, armoured, XLPE insulated FRLS LT Cables/ Control Cables including necessary cleats, clamps etc. (Cables shall be partly laid in Pipes, O/H cable tray, on wall as required ) |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3.1 | 3.5C – 35.0 (Al.) FRLS Armoured XLPE Cable * | 40 | Mtrs | 475 | 19000 | 750 | 30000 | 2400 | 96000 | 480 | 19200 | 877.5 | 35100
3.2 | 3C – 6.0 (Cu.) FRLS Armoured XLPE Cable | 20 | Mtrs | 435 | 8700 | 550 | 11000 | 568 | 11360 | 505 | 10100 | 915 | 18300
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| * Approximate and shall be as per point of supply from Airport Panel/ Isolator |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
4 | Supply, erection, testing & commissioning of following sizes of cable end terminations with Single compression gland for 1.1 kV grade, XLPE insulated, Al/Cu Conductor cable |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
4.1 | 3.5C – 35.0 (Al.) FRLS Armoured XLPE Cable *(Double Compression) | 2 | Nos. | 468 | 936 | 1450 | 2900 | 200 | 400 | 910 | 1820 | 1875 | 3750
4.2 | 3C – 6.0 (Cu.) FRLS Armoured XLPE Cable | 2 | Nos. | 420 | 840 | 850 | 1700 | 152 | 304 | 490 | 980 | 1275 | 2550
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
5 | Wiring for DB Submains with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in surface/concealed MS surface/concealed conduit including cost of providing saddles etc as required for surface conduiting and/or cost of cutting and filling chases as required and making suitable end termination with copper lugs complete as required and as below |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
5.1 | 4 x 6 sq.mm + 2 No. 4.0 Sq. mm in 32 mm dia MS Conduit | 12 | Mtrs | 612 | 7344 | 850 | 10200 | 210 | 2520 | 1650 | 19800 | 1147.5 | 13770
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
5.2 | 2 x 10 sq.mm + 1 No. 6 Sq. mm in 25 mm dia MS Conduit | 15 | Mtrs | 660 | 9900 | 750 | 11250 | 168 | 2520 | 1240 | 18600 | 727.5 | 10912.5
5.3 | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit | 15 | Mtrs | 375 | 5625 | 450 | 6750 | 168 | 2520 | 880 | 13200 | 592.5 | 8887.5
5.4 | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit | 40 | Mtrs | 350 | 14000 | 375 | 15000 | 168 | 6720 | 690 | 27600 | 465 | 18600
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
6 | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts/ in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043:1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
6.1 | 25X6 mm GI Strip | 15 | Mtrs | 132 | 1980 | 350 | 5250 | 104 | 1560 | 550 | 8250 | 172.5 | 2587.5
6.2 | 25X3 mm GI Strip | 25 | Mtrs | 115 | 2875 | 250 | 6250 | 104 | 2600 | 290 | 7250 | 127.5 | 3187.5
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
6.3 | 8 SWG Copper Wire | 30 | Mtrs | 350 | 10500 | 110 | 3300 | 144 | 4320 | 280 | 8400 | 232.5 | 6975
6.4 | 8 SWG GI Wire | 80 | Mtrs | 109 | 8720 | 45 | 3600 | 144 | 11520 | 155 | 12400 | 82.5 | 6600
6.5 | 1 Core 6.0 Sq. Mm FRLS Green Wire | 20 | Mtrs | 165 | 3300 | 75 | 1500 | 50 | 1000 | 125 | 2500 | 142.5 | 2850
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
7 | Supply, erection, testing & commissioning of prefabricated GI Perforated type cable trays including Tees / Bends / Crossing / Reducers / Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as required including support at every 1500mm as required |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
7.1 | 150 mm x 40 x 40 x 2 mm thick with 2 Nos. 25X3mm GI Earth Strip | 20 | Mtrs | 319 | 6380 | 1350 | 27000 | 264 | 5280 | 1260 | 25200 | 217.5 | 4350
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
8 | Wiring for MCB controlled normal primary light points/ Wall Point/ Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | 6 | Pt | 2682 | 16092 | 2200 | 13200 | 2848 | 17088 | 1660 | 9960 | 3675 | 22050
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
9 | Wiring for secondary MCB controlled normal light points/ Wall Point/ Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | 25 | Pt | 3000 | 75000 | 1450 | 36250 | 2800 | 70000 | 2170 | 54250 | 3675 | 91875
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
10 | Wiring for MCB controlled Emergency primary light points/ Wall Point/ Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | 1 | Pt | 2640 | 2640 | 2400 | 2400 | 2800 | 2800 | 1680 | 1680 | 3975 | 3975
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
11 | Wiring for secondary MCB controlled Emergency light points/ Wall Point/ Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | 6 | Pt | 2640 | 15840 | 1600 | 9600 | 2800 | 16800 | 2170 | 13020 | 4200 | 25200
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
12 | Wiring for a 5 pin 240 volt 6 amp single phase and neutral switch socket outlet with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall / ceiling including cost of providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade wires and including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and providing and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires complete as requied( Switch and socket shall be as approved by the architect / Client) | 3 | Pt. | 6499 | 19497 | 2400 | 7200 | 3600 | 10800 | 2360 | 7080 | 6375 | 19125
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
13 | Wiring same as in Item 12 above looped from an adjacent 6 amp switch socket outlet as required and providing and fixing of a modular type 5 pin 240 Volt 6 amp shuttered socket outlet and a modular type 6 amp 240 Volt single pole switch in a recessed GI boxes with internal wiring and moulded front plates complete as required. ( Switch and socket shall be as approved by the architect / Client) | 4 | Pt. | 372 | 1488 | 1600 | 6400 | 1320 | 5280 | 850 | 3400 | 5775 | 23100
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
14 | Same as above but switch and socket provided at separate location including wiring berween switch and socket and complete as required | RO | Pt. | [6 empty] | 1330 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
15 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 2.5 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall / Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect / Client) | 4 | Pt. | 6499 | 25996 | 3200 | 12800 | 3000 | 12000 | 2660 | 10640 | 4875 | 19500
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
16 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall / Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect / Client) | 12 | Pt. | 6416 | 76992 | 3650 | 43800 | 2800 | 33600 | 1120 | 13440 | 4875 | 58500
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
17 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the second outlet in 25mm dia 16 SWG MS conduit in wall / Ceiling including cost of providing saddles etc as required for surface conduiting and/or cost of cutting and filling chases and including providing and fixing of two sets of 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted switches with moulded cover plate in a recessed GI box including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch/Socket Shall be as per approved sample by Architect) | 2 | Pt. | 6540 | 13080 | 4400 | 8800 | 3200 | 6400 | 3640 | 7280 | 5775 | 11550
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
18 | Wiring for primary switch board consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A switch with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall / Ceiling including cost of providing saddles etc as required for surface conduiting and/or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A modular switch , safety shutters in a recessed/surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch/Socket Shall be as per approved sample by Architect) Note- Conduits shall be 16 SWG MS on surface and FRLS PVC for wall concealed | 2 | Pt. | 6540 | 13080 | 4500 | 9000 | 3600 | 7200 | 3060 | 6120 | 6375 | 12750
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
19 | Supply installation testing and fixing 3 pin 20A , 240V , single Phase metal Clad industrial socket outlet with 20A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | 2 | Nos. | 5400 | 10800 | 3400 | 6800 | 2560 | 5120 | 3220 | 6440 | 4875 | 9750
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
20 | Supply installation testing and fixing 3 pin 25A/32A , 240V , single Phase metal Clad industrial socket outlet with 25A/32A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | RO | Nos. | 5400 | [5 empty] | 4800 |  | 5775
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
21 | Supply installation testing and fixing 3 pin 40A , 240V , single Phase metal Clad industrial socket outlet with 40A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | 1 | Nos. | 4725 | 4725 | 4600 | 4600 | 3520 | 3520 | 4050 | 4050 | 5775 | 5775
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
22 | Supply installation testing and fixing 5 pin 32A , 415V , single Phase metal Clad industrial socket outlet with 32A FP MCB and complete in all respects( Wiring Excluded from scope of this item) | 1 | Nos. | 7200 | 7200 | 5800 | 5800 | 4320 | 4320 | 8900 | 8900 | 10275 | 10275
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
23 | Supply , fixing & Laying 2.0mm Thick FRLS PVC conduits on surface or concealed complete with PVC junction boxes, cover plates, PVC bends, PVC saddles, base and other accessories all made in PVC with GI screws as required to complete the job. . |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
i | 25 mm dia FRLS PVC conduit | 20 | Mtrs | 121 | 2420 | 95 | 1900 | 144 | 2880 | 96 | 1920 | 127.5 | 2550
ii | 20 mm dia FRLS PVC conduit | 25 | Mtrs | 109 | 2725 | 75 | 1875 | 128 | 3200 | 80 | 2000 | 112.5 | 2812.5
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
24 | Supply , fixing & Laying 16 SWG MS conduits on surface or concealed complete with PVC junction boxes, cover plates, bends, saddles, base and other accessories all made in PVC with GI screws as required to complete the job. . |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
i | 25 mm dia 16 SWG MS conduit | RO | Mtrs | 360 | [5 empty] | 240 |  | 315
ii | 20 mm dia 16 SWG MS conduit | RO | Mtrs | 348 | [5 empty] | 210 |  | 277.5
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
25 | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic. Dust cover / blank shall be provided to protect unused faceplate openings. Termination caps and plastic cover shall be provided to protect jack wiring. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
i | Single outlet face plate with RJ-45 Jack with information outlet | 2 | Nos. | 300 | 600 | 950 | 1900 | 520 | 1040 | 770 | 1540 | 870 | 1740
ii | Duplex outlet face plate with RJ-45 Jack with information outlet | 1 | Nos. | 348 | 348 | 1450 | 1450 | 680 | 680 | 1020 | 1020 | 1575 | 1575
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
26 | Supply,installtion testing and commisioning of Cat-6A UTP cables in existing Conduit complete as required for Telephone and Data System | 50 | Mtrs | 30 | 1500 | 95 | 4750 | 60 | 3000 | 95 | 4750 | 90 | 4500
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
27 | Supplying,installation and commisioning of CAT-6A patch cords 2 mtrs. | 4 | Nos | 425 | 1700 | 450 | 1800 | 1000 | 4000 | 840 | 3360 | 315 | 1260
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
28 | Supplying,installation and commisioning of CAT-6A patch cords 1 mtr. | 4 | Nos | 425 | 1700 | 550 | 2200 | 680 | 2720 | 480 | 1920 | 270 | 1080
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
29 | Installation of following light fixtures including connections and complete in all respects |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
i | 15/12Watt Recessed Down Lighter | 24 | No. | 190 | 4560 | 450 | 10800 | 300 | 7200 | 180 | 4320 | 375 | 9000
ii | LED Strip Light ( Per Meter) | 40 | Mtrs | 300 | 12000 | 110 | 4400 | 224 | 8960 | 70 | 2800 | 120 | 4800
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
iii | Signage | 2 | No. | 3750 | 7500 | 350 | 700 | 2500 | 5000 | 700 | 1400 | 1500 | 3000
iv | 3W Pendant Light | 7 | No. | 360 | 2520 | 550 | 3850 | 192 | 1344 | 280 | 1960 | 225 | 1575
Total For Electrical Works - INR |  |  |  |  | 457581 |  | 551475 |  | 415944 |  | 599750 |  | 782737.5
THE ABOVE EXCLUDES THE FOLLOWING:-
1 | Equipment ( Server , Ports etc) for networking / LAN system / EPABX and Centrex system , however infrastructure like Conduits / Pipes /RJ-45 sockets have been considered
2 | Fire Alarm System
3 | Supply of light fixtures. However installation and Wiring considered

## FURNITURE
FURNITURE INVENTORY_A04 Third Wave Coffee_Lucknow Airport
[5 empty] | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
S.NO | CODE | SIZE (mm) | DESCRIPTION | QTY | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | REFERENCE IMAGE
1 | T1 | W600xD600xH750 | SQUARE TABLE 32MM THICK TABLE TOP MADE OF 19MM PLY BASE BOARD AND TOP OF IT HARDWOOD WD-01, WITH NATURAL POLISH FINISH TO BE MATCHED WITH LAMINATE - GREENLAM 5375 SATURNO WALNUT SUEDE. WITH 32 MM THICKNESS AT THE EDGES, TOP AND SIDE EDGE TO BE MADE HALF ROUND, M.S. CIRCULAR BASE WITH M.S. PIPE (65MM DIA ) TO HOLD THE TABLE TOP, TO BE FINISHED WITH PAINT PT-03. | 8 | 10000 | 80000 | 16500 | 132000 | 9525 | 76200 | 6750 | 54000 | 40500 | 324000
2 | C1 | Dimensions : 560 x 600 x 820 MM Seat Height : 490 MM. | CHAIR SEAT COLOUR : UP-01 MATERIAL OF THE SEAT : LUSTRELL CHARISMA SADDLE FRAME MATERIAL : HARDWOOD WITH NATURAL POLISH, TO BE MATCH WITH LAMINATE - GREENLAM 5375 SATURNO WALNUT SUEDE | 16 | 8600 | 137600 | 17500 | 280000 | 10500 | 168000 | 10500 | 168000 | 21000 | 336000
TOTAL | [5 empty] | 217600 |  | 412000 |  | 244200 |  | 222000 |  | 660000

## CCTV Final
BILL OF QUANTITIES FOR CCTV LOCATION:- A-04 Third Wave coffee_T3_Lucknow Airport
S.No | Items | Specification | Model | Make | Qty | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
[6 empty] | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 | Dome Cameras | Full HD 720p Video Output, Adopt HDTVI Technology, Trud Day & Night, Lens 3.6mm, 12LED, Upto 20M IR Distance | DS-2CE5ZCOT-IRP | Hikvision | 4 | 1890 | 7560 | 5500 | 22000 | 2350 | 9400 | 2240 | 8960 | 5250 | 21000
2 | Bullet Camera | 1080P Outdoor 2 MP bullet camera fixed lens | DS-2CE1ADOT-IT1F | Hikvision | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3 | Digital Video Recorder | 4 Channel DVR, Supported 1mp, H.264 /H.264 & Dual stream video compression, Support HD-TVI/Analoge and AHD Cameras with adaptive access. HDMI and VGA output to 1920x1080P resolution, Supported 1 Hard disk upto 4TB | DS-7A04HGHI-F1/N | Hikvision | 1 | 4250 | 4250 | 13500 | 13500 | 11000 | 11000 | 7700 | 7700 | 8250 | 8250
4 | Digital Video Recorder | 8 Channel DVR, Supported 1mp, H.264 /H.264 & Dual stream video compression, Support HD-TVI/Analoge and AHD Cameras with adaptive access. HDMI and VGA output to 1920x1080P resolution, Supported 1 Hard disk upto 6TB | DS-7A08HGHI-F1/N | Hikvision | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
5 | Digital Video Recorder | 16 Channel DVR, Supported 1mp, H.264 /H.264 & Dual stream video compression, Support HD-TVI/Analoge and AHD Cameras with adaptive access. HDMI and VGA output to 1920x1080P resolution, Supported 1 Hard disk upto 6TB | DS-7A16HGHI-F1/N | Hikvision | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
6 | Digital Video Recorder | 16 Channel DVR, Supported 1mp, H.264 /H.264 & Dual stream video compression, Support HD-TVI/Analoge and AHD Cameras with adaptive access. HDMI and VGA output to 1920x1080P resolution, Supported 2 Hard disk upto 8TB | DS-7016/7216 HQHI/K1 | Hikvision | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
7 | CEILING SUSPENDED CAMERA PIPE | MS power coated white/black color 3.5'-5.5' tele4scopic mount with provision to make mount in straight line and box to install power supply inside for dome camera installation. | No |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
8 | Hard Disk - SURVEILLANCE | 2TB | WD/ Purple | Seagate / Toshiba | 1 | 7700 | 7700 | 8500 | 8500 | 6500 | 6500 | 8400 | 8400 | 10800 | 10800
9 | Hard Disk - SURVEILLANCE | 4TB | WD/ Purple | Seagate / Toshiba | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
10 | Screen | 18-19" | with HDMI | Acer/LG/Dell | 1 | 9600 | 9600 | 12500 | 12500 | 8000 | 8000 |  | 0 | 21750 | 21750
11 | BNC Connectors | [5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
12 | DC Connectors | [5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
13 | Power Supply | 8 Cameras - 10 amps X 2 |  | CP-PLUS / ZEBRONICS | 1 | 1400 | 1400 | 1200 | 1200 | 1500 | 1500 | 4200 | 4200 | 5775 | 5775
14 | Power Supply | 16 Cameras - 20 amps X 2 |  | CP-PLUS / ZEBRONICS | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
15 | HDMI Cable | 5 Mtrs |  | MX | 1 | 1190 | 1190 | 1200 | 1200 | 600 | 600 | 2100 | 2100 | 3300 | 3300
16 | Cameras Installation | All Over India |  | Hikvision | 1 |  | 0 | 4000 | 4000 | 600 | 600 | 2800 | 2800 | 825 | 825
17 | Music System | 10 Watt to 60Watt JBL | CSS1/ST | JBL | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
18 | Music System | Amplifier | Libra 250 | JBL | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
19 | Music System | Amplifier | Libra 500 | JBL | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
20 | Music Installation | All Over India |  | JBL | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Total Amount | [6 empty] | 31700 |  | 62900 |  | 37600 |  | 34160 |  | 71700

## SPRINKLER
BILL OF QUANTITIES FOR SPRINKLER WORK LOCATION:- A-04- Third Wave Coffee_T3_Lucknow Airport
SR. NO. | DESCRIPTION | UNIT | QTY. | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
|  |  |  | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 | Providing, Laying, Jointing & Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C' Heavy Pipe & with necessary support & anchore fastening from slab.
a. | 25 mm dia | Rft. | 0 |  | 0 | [6 empty] | 0 | 0
b. | 32 mm dia | Rft. | 32 | 607.5 | 19440 |  |  | 450 | 14400 | 255 | 8160 | 1155 | 36960
c. | 40 mm dia | Rft. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
d. | 50 mm dia | Rft. | 15 | 727.5 | 10912.5 |  |  | 1000 | 15000 | 360 | 5400 | 1830 | 27450
e. | 65mm dia | Rft. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
2 | Synthetic Enamel Paint. |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | 25 mm dia | Rft. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
b. | 32 mm dia | Rft. | 32 | 48 | 1536 |  |  | 50 | 1600 | 40 | 1280 | 75 | 2400
c. | 40 mm dia | Rft. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
d. | 50 mm dia | Rft. | 15 | 56 | 840 |  |  | 50 | 750 | 44 | 660 | 120 | 1800
e. | 65mm dia | Rft. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
3 | Providing & Fixing of Butterfly Valve. |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | 50 mm dia | No. | 1 | 2660 | 2660 |  |  | 1200 | 1200 | 4800 | 4800 | 8250 | 8250
b. | 65 mm dia | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
4 | Providing & Fixing of Ball Valve. |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | 25 mm dia | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
b. | 32 mm dia | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
c. | 40 mm dia | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
d. | 50 mm dia | No. | 1 | 2663 | 2663 |  |  | 1000 | 1000 | 6200 | 6200 | 2700 | 2700
e. | 65 mm dia | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
5 | HEADER FITTING. |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | Flow Switch | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
b | Pressure Gauge | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
c | Air Release Valve | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
d | 65 mm dia NRV | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
6 | Providing & Fixing C.P. Brass 68 degree Quartzoid Bulb Sprinklers. Make : Tyco / viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed & EN approved. |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | Pendant Type | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
b. | UP Right Type | No. | 3 | 769 | 2307 |  |  | 2000 | 6000 | 1380 | 4140 | 2400 | 7200
7 | Providing & Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make : Tyco / viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed & EN approved for high temperature area in Kitchen temprating shall be 79degree c (QR) |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | Pendant Type | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
b. | UP Right Type | No. | 3 | 768 | 2304 |  |  | 2500 | 7500 | 1450 | 4350 | 3300 | 9900
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
8 | Flexible Sprinkler Drop. |  |  |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
a. | 25mm | No. | 15 | 1170 | 17550 |  |  | 1000 | 15000 | 4000 | 60000 | 3300 | 49500
b. | 100mm | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
c. | 150mm | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
[5 empty] | 0 |  |  |  | 0 |  | 0 | 0 | 0
9 | Drain Valve | No. | 0 |  | 0 |  |  |  | 0 |  | 0 | 0 | 0
Total |  |  |  |  | 60212.5 |  |  |  | 62450 |  | 94990 |  | 146160
NOTE: KINDLY FOLLOW THE GUIDELINES ISSUED BY MALL AUTHORITY FOR THE DETAILED SPECIFICATIPONS OF DIFFERENT ITEMS MENTIONED IN THIS BOQ. SPRINKLER TAP OFF TO BE TAKEN FROM EXISTING SPRINKLER LINE

## FIRE BOQ
BILL OF QUANTITIES FOR FIRE WORK LOCATION:-A-04- Third Wave Coffee_T3_Lucknow Airport
S. NO. | DESCRIPTION | DIAGRAM | UNIT | QTY. | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
[5 empty] | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 | R1 (RESPONSE INDICATORS)
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Response indicators are connected to automatic fire detectors in order to indicate quickly the source of an alarm signal from detectors which are not easily accessible or visible. They light up as soon as the connected fire detector gives an alarm.(Wiring from switches to panel and stair case pressurization not included) |  | Nos | 2 | 252 | 504 |  |  | 2750 | 5500 | 170 | 340 | 525 | 1050
2 | HD (HEAT DETECTOR) INSTALL NEAR HOOD |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) A heat detector is a fire alarm device designed to respond when the convected thermal energy of a fire increases the temperature of a heat sensitive element. The thermal mass and conductivity of the element regulate the rate flow of heat into the element. All heat detectors have this thermal lag (Wiring from switches to panel and stair case pressurization not included) (Edwards / Apollo) |  | Nos | _ | 1836 | [7 empty] | 0
3 | CONVENTIONAL FIRE PANEL |  | Nos | _ | 9000 | [7 empty] | 0
4 | MCP (MANUAL CALL POINT) |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Manual call points are used to initiate an alarm signal, and operate by means of a simple button press or when glass is broken revealing a button. They can form part of a manual alarm system or an automatic alarm system.Model : Edwards / Apollo and FM approved with GI mounting Box |  | Nos | 1 | 1332 | 1332 |  |  | 4000 | 4000 | 3840 | 3840 | 9375 | 9375
5 | H (HOOTER) |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Fire Alarm Systems. A fire alarm system is a electrical / electronic system which is connected with many type of devices such as main panel, smoke / heat detectors, mcp, sounder etc.. to detect the fire event by indiacating audio or visualize signal at the main or individual devices.Model : Edwards / Apollo with GI mounting Box |  | Nos | 1 | 0 | 0 |  |  | 4300 | 4300 | 4650 | 4650 | 9300 | 9300
6 | SD (SMOKE DETECTOR ABOVE CEILING) |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay.Model : Edwards / Apollo. |  | NOS | _ | 1044 | [7 empty] | 0
7 | SD (SMOKE DETECTOR BELOW CEILING) |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model : Edwards / Apollo. |  | NOS | 2 | 547.2 | 1094.4 |  |  | 4000 | 8000 | 2550 | 5100 | 6300 | 12600
8 | MSD (MULTI SENSOR DETECTOR BELOW CEILING) |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model : Edwards / Apollo. |  | NOS | _ | 1350 | [7 empty] | 0
9 | FIRE ALARM SYSTEM LOOPING |  | RMT. | 24 | 375 | 9000 |  |  | 200 | 4800 | 215 | 5160 | 232.5 | 5580
10 | MONITOR MODULE |  |  |  | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
| Providing and fixing Emonitor module . Model : Edwards FMM-1 flash scan type UL listed and FM approved. |  | NOS | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0
11 | 4.5 KG CO2 portable fire extinguiser ARAFFF capacity.(IS. 15683)Providing and fixing water Co2(ISI marked) extinguishers including all accessories as per IS specification with wall bracket with rawl plug. |  | NOS | 1 | 9720 | 9720 |  |  | 8000 | 8000 | 8750 | 8750 | 10200 | 10200
12 | 4 KG ABC Dry powder portable fire extinguiser capacity. (IS. 15683) Providing and fixing (ISI marked) extinguishers including all accessories as per IS specification with wall bracket with rawl plug. |  | NOS | 1 | 6120 | 6120 |  |  | 5000 | 5000 | 2800 | 2800 | 4275 | 4275
13 | 6 KG TRS K-type fire extinguiser capacity. (IS. 15683) Providing and fixing (ISI marked) extinguishers including all accessories as per IS specification with wall bracket with rawl plug. |  | NOS | 1 | 3240 | 3240 |  |  | 9500 | 9500 | 31300 | 31300 | 48000 | 48000
14 | Automatic 5 KG MOUDLAR ABC TYPE fire extinguiser capacity. (IS. 15683) Providing and fixing (ISI marked) extinguishers including all accessories as per IS specification with wall bracket with rawl plug. |  | NOS | _ | 4730.4 | [5 empty] | 8700 |  | 0
15 | Fire Blanket-6'x4' |  | NOS | 1 | 828 | 828 |  |  | 5000 | 5000 | 1400 | 1400 | 6750 | 6750
16 | Acrylic EXIT Glow Sign Board with LED Lights, Size 10 x 6.5 inch, |  | NOS | 1 | 1123.2 | 1123.2 |  |  | 1500 | 1500 | 2600 | 2600 | 3375 | 3375
| TOTAL |  |  |  |  | 32961.6 |  |  |  | 55600 |  | 65940 |  | 110505
NOTE: KINDLY FOLLOW THE GUIDELINES ISSUED BY AIRPORT AUTHORITY FOR THE DETAILED SPECIFICATIPONS OF DIFFERENT ITEMS MENTIONED IN THIS BOQ.

## Lighting
BILL OF QUANTITIES FOR LIGHTING PROJECT : A04 Third wave coffee_T3_Lucknow Airport
S.NO. | DESCRIPTION | UNIT | QTY. | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
|  |  |  | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 | Recessed Down Light - White Powder Coated - COB Led 12W, 4000K, OSHRAM, PHILPHS | NOS | 24 | 1590 | 38160 | 3200 | 76800 | 2000 | 48000 | 3650 | 87600 | 2175 | 52200
2 | GLASS BALL SHAPED PENDANT LIGHT WITH METAL SUSPENSION 250MM DIA GLASS BALL SHAPED PENDANT LIGHT LAMP - 3W LED, 3500K HEIGHT-3250MM BOTTOM (LOCALLY SOURCED) INTERNAL FITTING SHOULD BE PHILPHS | NOS | 7 | 2813 | 19691 | 7500 | 52500 | 2000 | 14000 | 6370 | 44590 | 48000 | 336000
3 | LED STRIP LIGHTS WITH ALUMINUM CHANNEL 5V PER METER, 4000K, PHILPHS, OSHRAM | R.MT | 30 | 2050 | 61500 | 750 | 22500 | 390 | 11700 | 840 | 25200 | 427.5 | 12825
| TOTAL |  |  |  | 119351 |  | 151800 |  | 73700 |  | 157390 |  | 401025

## HVAC
THIRD WAVE COFFEE , LUCKNOW AIRPORT
SCHEDULE OF PRICES- LOW SIDE WORKS
The prices are to be quoted in the below mentioned form and shall include the supply, installation, Testing and Commissioning at site of all the equipments, ancillary materials except where specified otherwise and all such items whatsoever which may be required to fulfill the intent and purpose as laid down in the drawings and specifications shall include all taxes and duties on a basis works contract.
|  |  |  | Altitude Marketing |  | Pioneer Infra |  | VSAS Group |  | Vart Infra |  | Universal Fintech
S.No. | Description | Unit | Qty. | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
Part A | Low Side Works
1 | DUCTING
1.1 | G.I. Sheet Metal Ducting - Site Fabricated
Installation, Testing and Commissioning of site fabricated GSS sheet metal rectangular ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.
1.2.1 | 0.63 MM (24 Gauge) | Sqm. | 70 | 1650 | 115500 | 1550 | 108500 | 1050 | 73500 | 1190 | 83300 | 2175 | 152250
1.2.2 | 0.80 MM (22 Gauge) | Sqm. | RO | 1650 | [5 empty] | 1330 |  | 2325
| Kitchen Ducting |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | INSULATION |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2.1 | Nitrile Rubber Insulation- Class 'O' |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Supplying and fixing of closed cell elastomeric insulation of density 55 kg/cu.m.and K valueof not less than 0.037W/mk at 20 deg C as per specifications and drawings (For indoor applications) with factory Laminated 7 mill woven glass cloth |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2.1.1 | 19 mm thick (AC Supply / Return ducts) | Sqm. | 70 | 1700 | 119000 | 850 | 59500 | 900 | 63000 | 910 | 63700 | 1125 | 78750
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2.2 | Acoustic Lining |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
| Supplying and Application of Acoustic lining within the Supply Air duct with 15 mm thick class 'O' open cell nitrile Rubber of density 140-160 kg./Cubm. as per spefications. |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2.2.1 | 15 MM Thick | Sqm | RO | [6 empty] | 910 |  | 1050
[5 empty] | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3 | DUCT ACCESSORIES |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
3.1 | Supply, Installation, Testing and Commissioning of GI multiblade volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc., as per specifications. | Sqm. | 1 |  | 0 | 12500 | 12500 | 9056.97 | 9056.97 | 9100 | 9100 | 11250 | 11250
3.2 | Supply, Installation, Testing and Commissioning Aluminium Air Grille with Damper | Sq.m | 2 | 3780 | 7560 | 7500 | 15000 | 9056 | 18112 | 11900 | 23800 | 15750 | 31500
3.3 | Continuos Grille 150MM Wide | RM | 5 |  | 0 | 2250 | 11250 | 210 | 1050 | 1370 | 6850 | 2175 | 10875
3.4 | Aluminium Volume Control Damper for grilles | Sqm | 1 |  | 0 | 8500 | 8500 | 1000 | 1000 | 7700 | 7700 | 11250 | 11250
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total Part A |  |  |  |  | 242060 |  | 215250 |  | 165718.97 |  | 194450 |  | 295875