## Master
Mals Adani Lounge, T2 Terminal, Mumbai
|  | Panel | Panel with GST | Installation | Insta with GST | Pan + Insta | Both with GST | Recheck | Difference
Cold Room 1 | Freezer | 194504.5 | 229515.31 | 50000 | 59000 | 244504.5 | 288515.31 | 244504.5 | 0
Cold Room 1 | Chiller | 186120.703 | 219622.4295 | 85000 | 100300 | 271120.703 | 319922.4295 | 271120.703 | 0
Cold Room 2 | Freezer | 222554.145 | 262613.8911 | 50000 | 59000 | 272554.145 | 321613.8911 | 272554.145 | 0
Cold Room 2 | Chiller | 187999.624 | 221839.5563 | 85000 | 100300 | 272999.624 | 322139.5563 | 272999.624 | 0
Cold Room 3 | Chiller | 203754.838 | 240430.7088 | 50000 | 59000 | 253754.838 | 299430.7088 | 253754.838 | 0
|  | 994933.81 |  | 320000 |  | 1314933.81 | 1551621.8958

## Freezer + Chiller 1
Offer for the Freezer
FREEZER Room (100 mm SS/SS) |  | Rate | Amount
SIZE IN METER
Width (Meters) | 2.05
Depth (Meters) | 1.45
Hight (Meters) | 2.743
Wall | 19.201 | 5250 | 100805.25
Ceiling | 2.9725 | 5250 | 15605.625
Door with Double Handle | 1 | 41850 | 41850
Kick Plates | 2 | 3800 | 7600
Strip Curtains | 1 | 7000 | 7000
PUF Slabs | 2.9725 | 2050 | 6093.625
View Port for Freezer Room | 1 | 12950 | 12950
LED Lights | 4 | 650 | 2600
Supply Price- Freezer |  |  | 194504.5
GST @ 18% |  |  | 35010.81
Total Supply Price-Freezer |  |  | 229515.31
Installation Price of Freezer | 1 | 20000 | 20000
ODU stand for Freezer | 1 | Not Required | 0
Dismantle of Old Room | 1 | 10000 | 10000
Kota Finishing | 1 | 20000 | 20000
Installation Price Freezer |  |  | 50000
GST @ 18% |  |  | 9000
Total Installation Price Freezer |  |  | 59000
Total Freezer (Supply+ Installation) without GST |  |  | 244504.5
Total Freezer (Supply+ Installation) with GST |  |  | 288515.31
Chiller Room (60 mm SS/SS) | Qty | Rate | Amount
SIZE IN METER
Width (Meters) | 2.05
Depth (Meters) | 1.71
Hight (Meters) | 2.743
Wall | 20.6274 | 4800 | 99011.328
Ceiling | 3.5055 | 4800 | 16826.4
Door with Double Handle | 1 | 38000 | 38000
Kick Plates | 2 | 3800 | 7600
Strip Curtain | 1 | 6500 | 6500
Puf Slabs | 3.5055 | 1450 | 5082.975
View Port for Chiller Room | 1 | 10500 | 10500
LED Lights | 4 | 650 | 2600
Supply Price- Chller |  |  | 186120.703
GST @ 18% |  |  | 33501.7265
Total Supply Price- Chller |  |  | 219622.4295
Installation Price of Chiller | 1 | 20000 | 20000
ODU stand for Chiller | 1 | Not Required | 0
Dismantle of Old Room | 1 | 10000 | 10000
Kota Finishing | 1 | 20000 | 20000
Debri remove & dump out site |  | 35000 | 35000
Installation Price of Chiller |  |  | 85000
GST @ 18% |  |  | 15300
Total Installation Price Chiller |  |  | 100300
Total Chiller (Supply+ Installation) without GST |  |  | 271120.703
Total Chiller (Supply+ Installation) with GST |  |  | 319922.4295

## Freezer + Chiller 2
Offer for the Freezer
FREEZER Room (100 mm SS/SS) | Qty | Rate | Amount
SIZE IN METER
Width (Meters) | 2.31
Depth (Meters) | 1.84
Hight (Meters) | 2.743
Wall | 22.7669 | 5250 | 119526.225 | 114608.5746
Ceiling | 4.2504 | 5250 | 22314.6 | 21396.5136
Door with Double Handle | 1 | 41850 | 41850 | 38032
Kick Plates | 2 | 3800 | 7600 | 6720
Strip Curtains | 1 | 7000 | 7000 | 6500
PUF Slabs | 4.2504 | 2050 | 8713.32 | 7544.46
View Port for Freezer Room | 1 | 12950 | 12950 | 11250
LED Lights | 4 | 650 | 2600 | 2200
Supply Price- Freezer |  |  | 222554.145 | 208251.5482
GST @ 18% |  |  | 40059.7461 | 37485.2787
Total Supply Price-Freezer |  |  | 262613.8911 | 245736.8269
Installation Price of Freezer | 1 | 20000 | 20000 | 40000
ODU stand for Freezer | 1 | Not Required | 0
Dismantle of Old Room | 1 | 10000 | 10000 | 20000
Kota Finishing | 1 | 20000 | 20000
Installation Price Freezer |  |  | 50000 | 60000
GST @ 18% |  |  | 9000 | 10800
Total Installation Price Freezer |  |  | 59000 | 70800
Total Freezer (Supply+ Installation) without GST |  |  | 272554.145
Total Freezer (Supply+ Installation) with GST |  |  | 321613.8911
Chiller Room (60 mm SS/SS) | Qty | Rate | Amount
SIZE IN METER
Width (Meters) | 2.31
Depth (Meters) | 1.52
Hight (Meters) | 2.743
Wall | 21.0114 | 4800 | 100854.624 |  | 5520
Ceiling | 3.5112 | 4800 | 16853.76
Door with Double Handle | 1 | 38000 | 38000
Kick Plates | 2 | 3800 | 7600
Strip Curtain | 1 | 6500 | 6500
Puf Slabs | 3.5112 | 1450 | 5091.24
View Port for Chiller Room | 1 | 10500 | 10500
LED Lights | 4 | 650 | 2600
10,000 BTU/Hr Climatrol Make R404a IDU | 0 | Old Unit Installaed | 0
15,000 BTU/Hr Climatrol Make R404a IDU | 0 | Old Unit Installaed | 0
Supply Price- Chller |  |  | 187999.624
GST @ 18% |  |  | 33839.9323
Total Supply Price- Chller |  |  | 221839.5563
Installation Price of Chiller | 1 | 20000 | 20000
ODU stand for Chiller | 1 | Not Required
Dismantle of Old Room | 1 | 10000 | 10000
Kota Finishing | 1 | 20000 | 20000
Debri remove & dump out site |  | 35000 | 35000
Installation Price of Chiller |  |  | 85000
GST @ 18% |  |  | 15300
Total Installation Price Chiller |  |  | 100300
Total Chiller (Supply+ Installation) without GST |  |  | 272999.624
Total Chiller (Supply+ Installation) with GST |  |  | 322139.5563

## Chiller
Chiller Room (60 mm SS/SS) | Qty | Rate | Amount
SIZE IN METER
Width (Meters) | 2.1
Depth (Meters) | 2.11
Hight (Meters) | 2.743
Wall | 23.0961 | 4800 | 110861.088
Ceiling | 4.431 | 4800 | 21268.8
Door with Double Handle | 1 | 38000 | 38000 | 43700
SS Kick Plates | 2 | 3800 | 7600 | 4370
Strip Curtain | 1 | 6500 | 6500 | 7475
Puf Slabs | 4.431 | 1450 | 6424.95 | 1667.5
View Port for Chiller Room | 1 | 10500 | 10500 | 12075
LED Lights | 4 | 650 | 2600 | 747.5
Supply Price- Chller |  |  | 203754.838
GST @ 18% |  |  | 36675.8708
Total Supply Price- Chller |  |  | 240430.7088
Installation Price of Chiller | 1 | 20000 | 20000
ODU stand for Chiller | 1 | Not Required
Dismantle of Old Room | 1 | 10000 | 10000
Kota Finishing | 1 | 20000 | 20000
Installation Price of Chiller |  |  | 50000
GST @ 18% |  |  | 9000
Total Installation Price Chiller |  |  | 59000
Total Chiller (Supply+ Installation) without GST |  |  | 253754.838
Total Chiller (Supply+ Installation) with GST |  |  | 299430.7088