## GAS PIPING- BOQ
| WOW CHINA -AHMEDABAD AIRPORT |  |  |  |  | BENCHMARKING RATES of AJ KITCHEN
BOQ FOR GAS PIPING SYSTEM
S/NO | DESCRIPTION | QUANTITY | UNIT | Rate | Amount | Rate | Amount
2 | Supply , instllation ,testing and commissioning of 32 NB CS seamless Sch. 40 pipe and fittings. Pipe conforming to ASTM A 106 Gr. B including required pipe supports | 8 | RMT | 1050 | 8400 | 1050 | 8400
3 | LPG GAS DETECTOR | 2 | RMT | 1120 | 2240 | 1120 | 2240
5 | Supply of 32 NB L&T ball valve. Flanged end 150 # single pc design Fire Safe | 1 | No. | 5320 | 5320 | 5320 | 5320
6 | CONTRO; PANNEL FOR DETECTOR SYSTEM | 1 | Nos. | 12900 | 12900 | 16675 | 16675
7 | Painting of pipes. 2 coats of red oxide and 2 coats of Golden Yellow final paint. Total 120 microns thickness | 8 | RMT | 216 | 1728 | 216 | 1728
8 | 2 mtrs long flexible Suraksha rubber hose for equipment connections | 2 | Nos. | 450 | 900 | 450 | 900
9 | 2nd Stage low pressure regulator for equipment connection. United works make | 2 | Nos. | 3680 | 7360 | 3680 | 7360
10 | Pressure testing as per MGL requirement. Drawing for MGL and CFO submissions | 1 | JOB | 5000 | 5000 | 5000 | 5000
11 | Installation, commissioning charges for all above including tranportation | 1 | JOB | 8000 | 8000 | 8000 | 8000
15 | Solonoid valve 40MM | 1 | Nos. | 10900 | 10900 | 11960 | 11960
17 | 3 Crore wire | 12 | RMT | 180 | 2160 | 228 | 2736
18 | Hooter | 1 | Nos. | 1020 | 1020 | 1415 | 1415
| TOTAL |  |  |  | 65928 |  | 71734
| GST 18% |  |  |  | 77795.04 |  | 84646.12