## High side (Supply)
Client Name: |  |  | FL Group
Travel Food Services |  |  | New no:7, Old no:4, 4th Cross Street,
K Hospitality |  |  | Shenoy Nagar West , Chennai-600030
GSTIN: 33AACCF7383A1ZY
Kind Attention : Mr. Binu / Mr. Josgeshwar Sahu |  |  | Quote: FL-2011/ 850
|  |  | Date:4-3-24 | Revision :0
High Side CHW AHU BOQ
Sr. No. | Description | Unit | Qty | Rates | Amount
1 | Electrostatic Air Cleaners
Supply of electrostatic air cleaner (MAKE : RYDAIR)
a | AIRFLOW : 4000 CFM (L)650 x (W)1250 x (H)550 | Nos. | 1 | 201250 | 201250
| Total |  |  |  | 201250
| GST 28% |  |  |  | 56350
| TOTAL AMOUNT |  |  |  | 257600

## High side (installation)
Low Side CHW AHU BOQ
Sr. No. | Description | Unit | Qty | Rates | Amount
1 | Electrostatic Air Cleaners
Installation, testing and comissioning of electrostatic air cleaner
a | AIRFLOW : 4000 CFM (L)650 x (W)1250 x (H)550 | Nos. | 1 | 7800 | 7800
| Total |  |  |  | 7800
| GST 18% |  |  |  | 1404
| TOTAL AMOUNT |  |  |  | 9204

## Low Side BOQ
Low Side HVAC BOQ
Sr. No. | Description | Unit | Qty | Rates | Amount
1 | AIR DISTRIBUTION SYSTEM
1.1 | GI sheet metal rectangular duct
Supply, Fabrication, Installation, Testing & Commissioning of following gauges of ducting complete with splitters, neccessary supports, dampers, and turning vanes as per specification and HVAC layout. Aproved Makes: JINDAL, TATA, SAIL, Equivalent. All exposed ducts and supports shall be painting with 2 coats of primer & 2 coats of epoxy paint. (Make-JSW/ESSAR)
a | 24 gauge ducting - 0.63 mm thickness (Width upto - 750mm) | Sq. mt | 170 | 1400 | 238000
b | 22 gauge ducting - 0.80 mm thickness (Width 751 - 1500) | Sq. mt | 10 | 1512 | 15120
2 | Accoustic Insulation
| Accoustic lining of duct work with 25mm thick -32kg/m3 Density,Resin Bonded fibreglass Rigid Boards using shalikote primer hot bitumen and mechanically fastened Nuts & Washers,covered with RP tissue and 30 G aluminium perforated sheet as per specs. Makes : KIMMCO,OWEN'S CORNING, U P TWIGA. | Sq. mt |  |  | 0
3 | XLPE Insulation (Supply / Exhaust / Fresh Air Duct) :
Providing and fixing XLPE insulation by applying adhesive on ducts complete as per specifications and drawings. Make-SUPREME / PARAMOUNT. (Exhaust- out side insulation, Fresh air -outside insulation, Supply- Inside insulation, Supply-outside painted.)
a | 13 mm thick | Sq. mt | 200 | 615 | 123000
4 | Thermal Exhaust Duct Insulation ( Only in BOH )
| Exhaust Air Duct insulation with 13mm thick heatlon insulation within store. No insulation for duct outside store. | Sq. mt |  |  | 0
5 | Thermal insulation- (Out side Building )
| Providing and fixing nitrial rubber by applying adhesive outside the ducts complete with 2 layer of UV paint and fiber glass cloth. (13mm thick) | Sq. mt |  |  | 0
4 | Continous / Linear Grilles
Extruded Aluminium Powder Coated Continous / Linear Grilles Of Required Airflow Angles (0/15/30/45 degree deflection: 1 or 2 way) with four side flanges as per requirements. (Make - AIRVISION/COSMOS)
a | 150 mm Width | Rmt | 17 | 2400 | 40800
b | 200 mm Width | Rmt | 6 | 2520 | 15120
5 | Supply Air Square Grille
Supply, installation of aluminium extruded white powder-coated supply air square grilles with four side flanges (0/22.5/45 degree deflection: 1 or 2 way), with aluminium powder coated, multiple flape type with dampers. (Kitchen Area)
a | Neck Size - 300mm x 300mm (Outer Size - 350mm x 350mm) | Nos. | 6 | 2185 | 13110
6 | Return Air Square Grille
Return air square grills without damper shall be four side flanges with active sizes as given below.
a | Neck Size - 300mm x 300mm (Outer Size - 350mm x 350mm) | Nos. | 10 | 2000 | 20000
7 | Canvass Connection
a | Installation of Double Canvass connection for all air outlet / inlet, Fire retardant type with GI flanges for Units. | Nos. | 2 | 2800 | 5600
8 | Volume Control Damper (make - Cosmos/ Caryaire/ Air Product)
| Supply & Installation of volume control damper made of 100x40x1.55mm thk galvanised steel frame & with opposed blades of 1.55mm galvanised sheet steel. | Sq. mt | 3 | 9500 | 28500
9 | Supply Air Gypsum 4 way Diffuser (Diffuser to be mounted on collar with damper)
Supply, installation of aluminium extruded white powdercoated four way square diffuser with damper. Make-AIRVISION/COSMOS
a | Neck Size - 300mm x 300mm (Outer Size - 375mm x 375mm) | Nos. |  |  | 0
10 | Supply Air Round Diffuser (Diffuser to be mounted on collar with damper)
Supply, installation of aluminium extruded powder coated (matching ceiling colour) round diffuser with damper. Make-AIRVISION/COSMOS
a | Neck Size - Ø(300 x300) (Listed Size - Ø(375 x 375)) | Nos. | 8 | 4700 | 37600
11 | Collar Damper (make - Cosmos/ Caryaire/ Air Product)
a | Supply & Installation of Collar Damper gear operated with vertical blades. | Sq.mt | 2 | 5800 | 11600
| TOTAL |  |  |  | 548450
| GST 18% |  |  |  | 98721
| TOTAL AMOUNT |  |  |  | 647171
Note:
Offer valid for 15days.
Scaffolding, Civil Works,Duct Paint,and Unit Shifting done by Customer
MS structural work for outdoor done by Customer
Electrical work done by customer
GST will applicable as per breakup
Any additional items/Qty required will be charged Extra.
Terms of Payment:
100% advance along with purchase order For Unit and 50% advance along with order for Lowside balance after installation.
For FL Group
Authorised signatory