## BOQ Price Bid
|  | RFQ No: R1287 COST COMPARISON REPORT | Comp. Date : 29/06/2024 | Comp. Date : 29/06/2024 | Vendor Name : JP RAI | Vendor Name : JP RAI
|  | RFQ No: R1287 COST COMPARISON REPORT | RFQ #: R1287 | RFQ #: R1287 | Contact Name : NIKHIL | Contact Name : NIKHIL
|  | RFQ No: R1287 COST COMPARISON REPORT | RFQ Date : 26/06/2024 12:18:59 | RFQ Date : 26/06/2024 12:18:59 | Vendor City : | Vendor City :
|  | RFQ No: R1287 COST COMPARISON REPORT | BCD Date : 29/06/2024 18:00:00 | BCD Date : 29/06/2024 18:00:00 | Telephone # : | Telephone # :
|  | RFQ No: R1287 COST COMPARISON REPORT |  |  | Mobile # : 94313 08577 | Mobile # : 94313 08577
PR Number : DCPL-2425-00067 | PR Number : DCPL-2425-00067 | PR Number : DCPL-2425-00067 | PR Number : DCPL-2425-00067 | PR Number : DCPL-2425-00067 | Email : nkhlanand18@gmail.com | Email : nkhlanand18@gmail.com
Package / RFQ Name : TFAS / RFQ / DCPL-2425-00067 | Package / RFQ Name : TFAS / RFQ / DCPL-2425-00067 | Package / RFQ Name : TFAS / RFQ / DCPL-2425-00067 | Package / RFQ Name : TFAS / RFQ / DCPL-2425-00067 | Package / RFQ Name : TFAS / RFQ / DCPL-2425-00067 | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Techanical Score : | Techanical Score :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Quotation Date : | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE :7,100,000.00 | BUDGET PRICE :7,100,000.00 | Quotation Validity Date : | Quotation Validity Date : |  |  | M/s J P Rai | NEW as on 25/08/24
Sr No. | Item Code | Item Description | UOM | Qty | Unit Price | Amount | CC Rates | Amount | Unit Price | Amount
1 |  | Purchase Request for Civil Works | EA | 1.000 |  | 3,728,630.00 |  | 2595125 |  | 2755925
1 |  | Providing Pest Control Anti-termite treatment by appointing a specialized agency as per the specifications mentioned by the Bureau of Indian Standard Agencies specification ( Whichever is higher ) for General Civil , Plumbing Drainage timber Carpentry works , Gypsum related work including 5 Years guarantee under suitable undertaking on stamp paper etc complete as directed.(Mode of Measurement to be on carpet area of floor not the area of surface treated.) | SFT | 2400.000 | 14.00 | 33,600.00 | 10 | 24000 | 12 | 28800
2 |  | Unloading, Lifting and Shifting of all the equipments,Furnitures, CCGL and SOE to the CC premises | JOB | 1.000 | 101000.00 | 101,000.00 | 45000 | 45000 | 45000 | 45000
3 |  | Removing Debris out of site included loading, unloading shifting as per statutory rules and regulations. 3 cum truck | Nos | 10.000 | 6500.00 | 65,000.00 | 4500 | 45000 | 6100 | 61000
4 |  | P A Elastromeric membrane Waterproofing (2 layers) with base preperation screeding protection on mother slabs wall till 900mm height, with membrane water proofing treatment on the mother slab, before doing the treatment mother slab needs to clean properly up to the mark dust free surface needs to achieve to apply the chemical (proof bond BASF, Dr. Fixit Equivalent make) chemical needs to dry properly, After all there should be a water pond testing to be done for water tightness rectifications of defects if any. Complete with 10 years performance guarantee with client s satisfaction. Entire process to be done under guideline supervision of appointed engineering team. | SFT | 1700.000 | 175.00 | 297,500.00 | 110 | 187000 | 120 | 204000
5 |  | P A vata 150 X 150 mm and plaster with water proofing compound including dressing, cleaning, watering, curing etc. complete as per detail drawing or as directed by architect or el. | RFT | 240.000 | 40.00 | 9,600.00 | 65 | 15600 | 65 | 15600
6 |  | Block Work 100 mm thk - Providing and constructing Light weight blocks masonry in cement mortar 1 4 of approved make like Aerocon Siporex etc. Job to include raking out joints, scaffolding, making openings walls, curing etc. in substructure and superstructure to its true line level in cement mortar proportion as specified in all shapes, size, at all heights, depths, leads locations etc. complete. The rate shall also include for cleaning of surface, hacking of RCC surface in contact with brickwork, racking of joints, providing, erecting, dismantling steel scaffolding , curing for 10 days, including 75 mm thk. R.C.C. stiffener at approximately every 1000 mm ht. with required M.S. reinforcement bars and Lintels for Doors and wall openings etc. compete as per the drgs., details specifications. | SFT | 2100.000 | 225.00 | 472,500.00 | 160 | 336000 | 165 | 346500
7 |  | Plaster Work - P A of single coat backing plaster of 15-18 mm thick in CM 1 4 proportion to the walls others surface including scaffolding, curing the joints, etc. The rates are inclusive of providing chicken mesh of 18mm gauge 150mm width at junction of brick RCC etc. at the walls, columns, beams etc., seven days water treatment as anti crack of plaster. Complete as per site engineer s instruction. | SFT | 3200.000 | 115.00 | 368,000.00 | 55 | 176000 | 55 | 176000
8 |  | PCC - Providing and laying up to 50 mm thick cement concrete flooring with 1 4 8 cement concrete laid to proper level and slope in alternate bays including compactions, filling joints, or as directed, finishing smooth with cement Mortar 1 1 of sufficient minimum thickness to give a smooth even surface and curing etc. complete as per architects instructions. | SFT | 800.000 | 110.00 | 88,000.00 | 65 | 52000 | 70 | 56000
9 |  | Coba Filling with 300mm ht block - AAC blocks of Avg. thickness mentioned below; After laying of soil pipes, floor traps is completed the floor of the sunken portion shall be covered with Modiform manually with 15-20 mm wide joints in 20 mm thk. Waterproofing mortar 1 4 ( 1 cement 4 coarse sand )in layers upto the full ht. of sunken portion, having top layer of 50 mm thk waterproof mortar 1 4 ( 1 cement 4 coarse sand ) using specialized W.P. chemical, finished smooth rough with floating coat of neat cement all complete and as per specification. | SFT | 800.000 | 351.00 | 280,800.00 | 210 | 168000 | 225 | 180000
10 |  | Kota Flooring - Providing and Laying KOTA stone of 19mm thk. on avg 75 mm thk. bed of 1 4 cement mortar in proper line and level including neat cement float, filling joints with neat cement slurry of appropriate colour, cleaning, curing, rubbing, complete. Scope includes laying of floor protective cover on the floor and removing of the same when directed along with supply of all necessary materials, labour, tools and tackles complete in line with the Technical Specification, Drawings and as per the direction of the Architect PMC. Including Polishing. Size 550 x 550 Basic Rate 55 Per SQ.FT. | SFT | 920.000 | 175.00 | 161,000.00 | 160 | 147200 | 160 | 147200
11 |  | Fixing laying of 75 mm high kota skirting with bedding of appropriate approved make adhesive colour joint filler inclusive of making all groove chamfering rounding hole where ever required, in proper line and level in all direction, polishing finishing cleaning etc. Complete as per detail drawing, specification and as directed by PMC. size - 75 x 550. Basic Rate 55 Per SQ.FT. | RFT | 250.000 | 125.00 | 31,250.00 | 90 | 22500 | 90 | 22500
12 |  | Providing and fixing 50 mm thk. Fire brick flooring below behind tandoor in cm of ratio 1 4 below tandoor area including roff cement, cutting, curing etc. complete as per detaled drawings and as soecification by architect engg. Incharge. | SFT | 75.000 | 167.00 | 12,525.00 | 185 | 13875 | 185 | 13875
13 |  | Flooring Tilies - Fixing laying of tiles for flooring which includes 75 mm thk. bedding material with mortar of 1 6 ratio (1cement 6sand), spreading of grey cement slurry with minimum of 2kg Sq.mt. ratio over bedding mortar, including 2mm spacer with epoxy grout of approved colour, adhesive of bal Endura or approved equivalent, making of hole where ever required, in proper line and level in all direction, at all height with lead and lift, polishing finishing cleaning etc. as per design and drawing and directed by PMC etc. complete. size 150 x 600. Basic Rate 150 Per SFT (Tiama Teak tiles) | SFT | 1150.000 | 430.00 | 494,500.00 | 285 | 327750 | 295 | 339250
14 |  | Printed Tiles - Fixing laying of tiles for flooring which includes 75 mm thk. bedding material with mortar of 1 6 ratio (1cement 6sand), spreading of grey cement slurry with minimum of 2kg Sq.mt. ratio over bedding mortar, including 2mm spacer with epoxy grout of approved colour, adhesive of bal Endura or approved equivalent, making of hole where ever required, in proper line and level in all direction, at all height with lead and lift, polishing finishing cleaning etc. as per design and drawing and directed by PMC etc. complete. size 300 x 300. Basic Rate 220 Per SFT | SFT | 450.000 | 375.00 | 168,750.00 | 390 | 175500 | 390 | 175500
15 |  | Tiles Skirting - Fixing laying of 100mm high tiles for skirting with bedding of appropriate approved make adhesive colour joint filler inclusive of making all groove chamfering rounding hole where ever required, in proper line and level in all direction, polishing finishing cleaning etc. Complete as per detail drawing, specification and as directed by PMC. size 75 x 600. Basic Rate 120 Per SFT (Tiama Teak tiles) | R.FT. | 175.000 | 165.00 | 28,875.00 | 130 | 22750 | 140 | 24500
16 |  | Live kitchen Wall tiles - Providing and fixing Glazed Decorative wall tiles which includes-approved make of adhesive like bal Endura or equivalent, grey cement paste with backing coat of 1 3 cement mortar not less than 12mm thick as where ever required, joint filler of approved make and colour, as and where ever required, in proper line and level in all direction, at all height with lead and lift, polishing finishing cleaning etc as per design, drawing and directed by PMC etc. all complete. Size 75 x 300 Rate 275per SFT | SFT | 275.000 | 501.00 | 137,775.00 | 465 | 127875 | 465 | 127875
17 |  | Kitchen Wall Tiles - Providing and fixing Ceramic wall tiles which includes-approved make of adhesive like bal Endura or equivalent, dry cladding on calcium board panelling, 2 mm spacer of epoxy grout approved make and colour, as and where ever required, in proper line and level in all direction, at all height with lead and lift, polishing finishing cleaning etc as per design, drawing and directed by PMC etc. all complete. (Color - white ivory) Size 300x600. Rate 45per SFT | SFT | 1625.000 | 135.00 | 219,375.00 | 145 | 235625 | 145 | 235625
18 |  | P F of 304 grade 3mm thick SS Corner guard (30mm x 30mm, mat finished as per approved sample) fixing with conceal tile on each corner of the kitchen s wall before cladding of tiles, so that the corner may be protected from the damages. Complete in proper line level and site engineer s instruction. | RFT | 90.000 | 267.00 | 24,030.00 | 275 | 24750 | 275 | 24750
19 |  | P F of 8 mm thick Antique brass floor inlay fixing with thread screws on each corner of the kitchen s wall before cladding of tiles, so that the corner may be protected from the damages. Complete in proper line level and site engineer s instruction. | RFT | 100.000 | 405.00 | 40,500.00 | 325 | 32500 | 375 | 37500
20 |  | POP Punning - Providing and applying Plaster of Paris punning of average thickness 20 -25mm to existing wall surfaces on existing tiles including chicken mesh in true level and plumb complete as per design and drawing Cleaning the surface properly with sand paper, filling cracks holes with plaster of Paris. Applying lambi putty (lambi putty will be of good quality) sand papering the putty work on chamfers, etc.at any all heights. Rate include cost for making grooves up to 12mm thick if required in horizontal or vertical direction near doors, windows, skirting, floor covering, masking tape and cleaning the area all complete as per drawing, design manufactures specification. | SFT | 2100.000 | 65.00 | 136,500.00 | 45 | 94500 | 45 | 94500
21 |  | Gypsum Ceiling - Providing, making and fixing of Gypsum false ceiling as per manufacturer design and drawing including cut-outs for hvac grill, lights etc. at any all heights. Rate quoted should be including of vertical drop of any heights, mouldings and size mentioned in drawings with necessary required framing in 450 x 900 ultra Gyproc sections, fittings, and fixtures, scaffolding, floor covering, masking tape and cleaning the area all complete as per drawing, design manufactures specification all complete. Rates do not include painting work. | SFT | 520.000 | 155.00 | 80,600.00 | 140 | 72800 | 140 | 72800
22 |  | Stucco Paint - Providing applying three (03) coats of approved Texture Stucco Paint on walls including scraping, primer , filling with putty etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SFT | 650.000 | 451.00 | 293,150.00 | 200 | 130000 | 315 | 204750
23 |  | Plastic Paint - Providing applying three (03) coats of approved Plastic Paint on exposed surface on ceiling including scraping, primer , filling with putty etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SFT | 2020.000 | 65.00 | 131,300.00 | 45 | 90900 | 45 | 90900
24 |  | Duct Paint - Providing applying Three (03) coats of approved satin enamel paint on HVAC ducts, Sprinkler Pipes etc. complete with final coat no brush mark to be visible after painting colour shade as specified. | SFT | 700.000 | 75.00 | 52,500.00 | 40 | 28000 | 45 | 31500
2 |  | Purchase Request for Interior Works | EA | 1.000 |  | 7,505,417.00 |  | 4060380 |  | 4398105
25 |  | Kitchen Door (1200x2400 mm) - Providing fixing in position of wooden FRD single Leaf Door made up of 45mm thick fire rated flush door shutter of approved make thickness, Inner side finished with wooden laminate and outer side with veneer finished in clear pu polish including providing fixing 250mm X 150mm with 6 mm thk. fire rated glass Vision panel and 12mm thk Wooden lipping all around, including of 600 x 225 mm SS push plate and 300mm high SS kick plate, including P F of Door frame made out of CP Teak Ash wood or equivalent with clear pu polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware s such as ss handles ss push plate, floor spring and any other hardware etc required to complete the related works as per design detail. door hardware make consider Dorma Hafele Ozon equilient Need heavy duty floor spring both sides openable. | Nos | 1.000 | 95000.00 | 95,000.00 | 47600 | 47600 | 47600 | 47600
26 |  | Kitchen Door metal fire door (Besides Fire Passage) (1500x2400 mm) - Providing and fixing double leaf fire resistant door frame of section 143 x 57 mm having built in rebate made out of 16 SWG G.I. sheet (zinc coating not less than 120 gm sqm) duly filled with vermuculite based concrete mix, suitable for mounting 60 minutes fire rated door shutters. The frame is fitted withintumuscent fire seal strip of size 10x4 mm (minimum) alround the frame and fixing with dash fastener of approved size and make, including applying a coat of approved brand fire resistant primer, door frame. vision panel, panic bar, lock, handle etc. complete as per direction of Engineer-in-charge.. | Nos | 1.000 | 110000.00 | 110,000.00 | 62500 | 62500 | 62500 | 62500
27 |  | Live Kitchen sliding Door (900x2100 mm) - Providing fixing in position of sliding wooden FRD door made up of 45mm thick fire rated flush door shutter of approved make thickness, both side to be finished with wooden laminate including providing fixing 250mm X 150mm with 6mm thk. fire rated glass Vision panel and 12mm thk Wooden lipping all around, including conceal handle and 300mm high SS kick plate, including P F of Door frame made out of CP Teak Ash wood or equivalent with clear pu polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware s such as sliding channel, s s handles ss push plate, lock, tower bolt and any other hardware etc required to complete the related works as per design detail. door hardware make consider Dorma Hafele Ozon equilient.Need heavy duty floor spring both sides openable. | Nos | 1.000 | 98000.00 | 98,000.00 | 68000 | 68000 | 68000 | 68000
28 |  | Main Door (1800x2700 mm) - P F 12 mm thk. toughened glass double leaf openable door with 20x 40mm MS member on all 3 sides 40 x 40 mm MS bottom member with white black powder coating and all necessary required groove, wooden framing, including glass door with heavy duty floor spring fixing with approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. including door floor lock main door handle. | Nos | 1.000 | 125000.00 | 125,000.00 | 78030 | 78030 | 78030 | 78030
29 |  | Trap Door (600x1200 mm) - Providing and fixing trap doors for access to the service areas. The trap door shall have an external frame made of 50mm x 50mm in good quality seasoned wood scantling on which the shutter is hinged. Shutter shall be made of 19 mm. fire rated Plywood. The exposed side Internal side shall be laminate finish. Concealed heavy duty hinges shall be used to mount the shutters and locking shall be provided with Allen key and panel locks. Sufficient number of hinges and locks shall be provided to avoid sagging of the shutter. Key also shall be supplied. | Nos | 2.000 | 3800.00 | 7,600.00 | 4800 | 9600 | 4800 | 9600
30 |  | Liquor Store Room Door (750x2400 mm) - Providing fixing in position of FRD Single Leaf Door made up of 45mm thick fire rated flush door shutter of approved make thickness, Inner side finished with laminate and outer side with veneer finished in clear pu polish and 100mm high SS kick plate, including P F of Door frame made out of CP Teak Ash wood or equivalent with clear pu polish finish. Size of the frame approximate 175mm wide X 50mm thick. Applicable hardware s such as ss handles, conceal door closer and any other hardware etc required to complete the related works as per design detail. door hardware make consider Dorma Hafele Ozon equilient | Nos | 1.000 | 110000.00 | 110,000.00 | 34000 | 34000 | 42000 | 42000
31 |  | Service Station (1200mm L X550mm W X 900 H )mm - P F service stations in duco finished from outer surface 40 mm thk. top finished in marble. The storage under the Counter should be provided with 6 ht. drawers at top row with wooden ribs with veneer finished in clear pu polish. Top of the shutter having C section brass inlay below openable shutters finished with duco all the visisble areas to be finished with ducco. The drawer should have internal partiton with fabric finish for cutlery, Shutters made out of 19mm thk. fire rated plywood finished with 1mm thk. laminate internally. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. Any 1 drawer (in each service station) should have 3 compartments made in ply finished with fabric for cutlery and bottom storage should have 1 shelf for crockery, shelf in ply finished with white laminate. Plywood - branded ply -- Greenply or Equivalent brand Veneer Make - Euro Greenlam Merino or equivalent (Basic Rate- 140 Sq. ft.) Laminate Make - Euro Greenlam Merino or equivalent (Basic Rate- 40 Sq. ft.) | Nos | 1.000 | 105000.00 | 105,000.00 | 42000 | 42000 | 50000 | 50000
32 |  | Service Station (1580mm L X550mm W X 900 H)mm -P F service stations in duco finished from outer surface 40 mm thk. top finished in marble. The storage under the Counter should be provided with 6 ht. drawers at top row with wooden ribs with veneer finished in clear pu polish. Top of the shutter having C section brass inlay below openable shutters finished with duco all the visisble areas to be finished with ducco. The drawer should have internal partiton with fabric finish for cutlery, Shutters made out of 19mm thk. fire rated plywood finished with 1mm thk. laminate internally. The shutters to be provided with fittings such as hinges, handles, ball catch, locks etc. complete in all respect. The rates for the Shutters to be included. as per design and details. Any 1 drawer (in each service station) should have 3 compartments made in ply finished with fabric for cutlery and bottom storage should have 1 shelf for crockery, shelf in ply finished with white laminate Greenply or Equivalent brand Veneer Make - Euro Greenlam Merino or equivalent (Basic Rate- 140 Sq. ft.) Laminate Make - Euro Greenlam Merino or equivalent (Basic Rate- 40 Sq. ft.) | Nos | 1.000 | 131000.00 | 131,000.00 | 54600 | 54600 | 62500 | 62500
33 |  | MS Display Unit_01I(1050mm L X 200mm W X 3700 H ) - P F Display unit having 25x 25mm MS framework with black powder coating upto ceiling height, having 25 mm thick wooden pati with sandwiched glass shelf as per design @ every 350mm c c including all necessary hardware etc. complete. 20mm thk sandwiched glass(500x230 mm) shelf with cane in center and with 20mm thk. wooden frame with clear pu polish.(10 shelves) | Nos | 2.000 | 225000.00 | 450,000.00 | 48000 | 96000 | 63000 | 126000
34 |  | MS Display Unit_02 (1580mm L X 200mm W X 3700 H ) - P F Display unit having 25x 25mm MS framework with black powder coating upto ceiling height, having 25 mm thick wooden pati with sandwiched glass shelf as per design @ every 350mm c c including all necessary hardware etc. complete. 20mm thk sandwiched glass(500x230 mm) shelf with cane in center and with 20mm thk. wooden frame with clear pu polish.(15 shelf) | Nos | 1.000 | 315000.00 | 315,000.00 | 52000 | 52000 | 70000 | 70000
35 |  | MS Display Unit_03 (on top of service station) (1580mm L X 200mm W X 3700 H) - P F Display unit having 25x 25mm MS framework with black powder coating upto ceiling height, having 25 mm thick wooden pati with sandwiched glass shelf as per design @ every 350mm c c including all necessary hardware etc. complete. 20mm thk sandwiched glass shelf(500x230 mm) with cane in center and with 20mm thk. wooden frame with clear pu polish. (9 shelves) | Nos | 1.000 | 285000.00 | 285,000.00 | 52000 | 52000 | 70000 | 70000
36 |  | Hostess Desk (1040mm L X 500mm W X 1050 H) - Providing and fixing Hostess desk made out of approved make branded ply - Greenply or Equivalent brand and finished with veneer as approved with veneer groves as per design with melamine matt polish 20X20mm MS section finish with black powder coated legs. with ss 3mm thick pvd coated CC Logo Desk to have 2 drawers of ht 155mm, finished with duco outside and veneer mtching laminate inside with inbuilt recessed handles in wood and polish. Basic cost of Veneer 140 - SFT | Nos | 1.000 | 45000.00 | 45,000.00 | 34000 | 34000 | 34000 | 34000
37 |  | Banquet back planter Box (8500 x 300 x 900 HT ) - Providing and fixing of 19mm thk Ply-- Greenply or Equivalent brand apron to be cladded with Veneer Solid Wood finished with clear pu polish all necessary required groove, wooden framing, approved make adhesive and cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | Nos | 1.000 | 91000.00 | 91,000.00 | 52800 | 52800 | 52800 | 52800
38 |  | Banquet Seating (8500 x 680 x 900 HT) - Providing, making and fixing sofa made out of wooden frame work and cladded with 12mm thk approved make branded Ply -- Greenply or Equivalent brand approved fabric with required wooden frame, top rail having 38mm dia brass metal brushed finish rail height upto 150mm and side to have a cane paneling with required wooden frame with incline backrest. the bottom to have storage under seat with openable shutter to keep crockey. finishing cleaning cutting required fixture fasteners etc. as per design drawing as directed by Project Manager etc. complete. Sofa will have high density rubber foam in angle.(Foam used should be approved and to be certified against poisonous and noxious fumes.) Rate includes upholstery of fabrics. Under seating Drawers with heavy duty trolley for storage. Veneer on exterior finish Basic cost @ 140Rs sft,Leatherette Basic cost @ 600 per MTR (Seat leatherette), Fabric Basic cost @ 1575 per MTR (back fabric),38mm dia brass top rail | Nos | 2.000 | 225000.00 | 450,000.00 | 178000 | 356000 | 178000 | 356000
39 |  | P F 12mm thk plywood paneling finished with bamboo Cane from external side internal ply to be finished with stucco texture paint as per app. Structure to be made out of 25 x 25mm thk wooden frame to be finished with clear pu polish with necessary fittings as per design and details. | SFT | 350.000 | 3100.00 | 1,085,000.00 | 1075 | 376250 | 1400 | 490000
40 |  | Wall dado - Veneer panelling - Providing, making and fixing of wall panel made of 12mm thk branded Ply -- Greenply or Equivalent brand with Veneer finish with clear pu polish having wooden molding all necessary required wooden framing, approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height Basic Rate of Veneer @ 120 Rs per SFTwith lead and lift, finishing, cleaning as per design and drawing etc. all complete. | SFT | 200.000 | 951.00 | 190,200.00 | 950 | 190000 | 950 | 190000
41 |  | 38 mm thk. Moulding - Providing, making and fixing of 38 mm thk. wooden mouldings finished with clear pu polish 25 mm offset to be given wherever shuttersd are opening as per detail drawing to be added with all necessary required wooden framing, approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | RFT | 50.000 | 501.00 | 25,050.00 | 275 | 13750 | 275 | 13750
42 |  | 20 m thk. Moulding - Providing, making and fixing of 20 mm thk. wooden mouldings finished with clear pu polish 25 mm offset to be given wherever shuttersd are opening as per detail drawing to be added with all necessary required wooden framing, approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | RFT | 200.000 | 351.00 | 70,200.00 | 275 | 55000 | 275 | 55000
43 |  | Electrical cabinate with aluminium louver shutter (1350x2400 mm) - P F electrical cabinate made out with 25mm thk. plywood with laminate finished as per design the unit to have ready made aluminium louvered with fire rated paint. Including all necessary required wooden framing, approved make adhesive and fasteners, Lock, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. Basic rate of laminate @ 50 Rs per SFT | Nos | 2.000 | 110000.00 | 220,000.00 | 82500 | 165000 | 82500 | 165000
44 |  | Screen Ply boxing panelling on façade - Providing, making and fixing ply boxing made out of 20 x 40 mm aluminium frame work and cladded with 12mm thk approved make branded fire rated Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand finished with app. duco paint on both side. All with required frame finishing cleaning cutting required fixture fasteners etc. as per design drawing as directed by Project Manager etc. complete. | SFT | 25.000 | 1600.00 | 40,000.00 | 1200 | 30000 | 1200 | 30000
45 |  | MS stand above Banquette for bells plants(8500x3000x300 mm) - Providing and fixing M.S frame stand made out of 25mm x 25mm hollow box sections with 19mm thk approved make branded Ply-- Greenply or Equivalent brand apron to be finished with paint as app. with all necessary required groove, wooden framing, approved make adhesive and cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | Nos | 1.000 | 191000.00 | 191,000.00 | 90000 | 90000 | 90000 | 90000
46 |  | Bar Counter - P F 50mm thk. Bar counter made out of 19mm thk approved make branded ply-- Greenply or Equivalent brand finished in australian white marble. Apron to be cladded with frames bamboo cane as per detail and platform in australian white Marble finished based on ply with necessary ms barcket. Erecting brick wall for plumbing 75 mm high brass skirting from outside. The top platform to have 50mm wide Marble finish fascia.Marble Basic Rate 800 - per SQ.FT. | NOS. | 0.000 | 0.00 | .00 |  | 0 |  | 0
47 |  | Top service Counter Ply Base with Neccesory Support to receive the marble | RFT | 25.000 | 6100.00 | 152,500.00 | 550 | 13750 | 1050 | 26250
48 |  | Front Elevation (apron) to be to be made out of 12mm thk approved make branded fire rated Ply) -- Greenply or Equivalent brand with ply and 20mm moulding to be finished with duco paint . Top row finished with 25 x 25 mm ss box section with brass pvd coating cane panelling with beading patti 75mm high brass skirting as per detailed Drawing design. Provision for indirect lighting to be made under the counter. | SFT | 75.000 | 2300.00 | 172,500.00 | 1500 | 112500 | 1500 | 112500
49 |  | 50mm thk Top service platform in Marble | RFT | 22.000 | 3100.00 | 68,200.00 | 950 | 20900 | 1050 | 23100
50 |  | 38mm Dia Foot rest real brass antique finish at the bottom. | RFT | 20.000 | 1200.00 | 24,000.00 | 2200 | 44000 | 2200 | 44000
51 |  | 600mm Flap door for bar area entry finished same as counter appron | Nos | 1.000 | 11000.00 | 11,000.00 | 7000 | 7000 | 7000 | 7000
52 |  | 100mm high brass plate Skirting | RFT | 22.000 | 601.00 | 13,222.00 | 600 | 13200 | 600 | 13200
53 |  | Plywood - branded fire rated Ply-- Greenply or Equivalent brand
54 |  | Bar Display Unit - P F 300 mm deep bar Display unit having 25x 25mm SS box section with brass brushed finish pvd coating brass metal upto ceiling height, having 20 mm thick wooden pati with sandwiched glass shelf as per design, including all necessary hardware etc. complete. 20mm thk sandwiched glass shelf with cane in center and with 20mm thk. wooden frame with clear pu polish provision for led profile light. | SFT | 60.000 | 8500.00 | 510,000.00 | 2050 | 123000 | 2850 | 171000
55 |  | Antique Bronze Mirror | SFT | 60.000 | 501.00 | 30,060.00 | 550 | 33000 | 550 | 33000
56 |  | 25 x 25 mm ss box section with brass brushed finish pvd coating brass metal | RFT | 30.000 | 451.00 | 13,530.00 | 750 | 22500 | 750 | 22500
57 |  | Bar Counter Back (2150x600 mm) - P F of back counter of 600mm wide galaxy black granite top working back counter, with 18mm thick fire rated plywood verticals finished with laminate , counter having 4 nos. of open able shutters (may change as per design) on front side of the unit. Counter top to be finished with 19mm thick black galaxy granite with 38mm dual nose finished. Shutters all the visible part to be finished with 1mm thick laminate, counter s internal part to be finished with 1mm thick light walnut laminate (selected make, basic cost INR. 1200.00 sheet). Rate inclusive of all necessary hardware fittings - like hinges, draw telescopic channels, cup board lock, decorative antique bolt handle, wire managers, etc. (approved branded make) necessary cut out for services requirements. Counter having 75mm high kota skirting existing kobah.Counter to have 150 mm high back balsh in galaxy black granite. Complete as per architectural detail drawing site engineer s instruction. | RFT | 15.000 | 6800.00 | 102,000.00 | 7000 | 105000 | 7000 | 105000
58 |  | Bar Bulkhead(3600x350) mm - P F of 350mm wide Bar Bulkhead glass hanger having 25 X 25mm box section brass metal SS brass brushed finish pvd coating in 2 layers having vertical and horizontal member with 12mm thk toughthned glass shelf having provision for led profile light.The base including 6 mm solid rods band in curve shape to hang the wine glass. The top portion to have 6-8mm thk flutted glass panelling. Rate including all necessary hardware fittings to install the shelves, anchor fastner, ceiling support, scaffolding, etc. as required on site. Complete as per architectural detail drawing site engineer s instruction. | RFT | 12.000 | 6500.00 | 78,000.00 | 8200 | 98400 | 8200 | 98400
59 |  | Entry Glass Partition in curve shape - P F 12 mm thk. toughened glass partitions with 20 x 40mm MS framework with white black powder coating and all necessary required groove, wooden framing, with approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. Providing, making and fixing of wall panel made of 12mm thk fire rated ply -- Greenply or Equivalent brand with MDF and 20 mm thk. wooden molding finished with Duco paint as per design, all necessary required wooden framing, approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. 75 mm high skirting in brass. | SFT | 430.000 | 1851.00 | 795,930.00 | 1050 | 451500 | 1050 | 451500
60 |  | Calcium board Panelling - Providing, making and fixing of wall paneling made of 12mm thk branded calcium board paneling on wall including 20 x 50mm MS framework from slab to slab height of 5000mm (height may vary as per site). framework to be finished with zink oxide and enamel finish with all necessary required framing, approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | SFT | 850.000 | 351.00 | 298,350.00 | 350 | 297500 | 350 | 297500
61 |  | MS framework for curtain wall - P F of 25 x 25mm MS framework with black powder coat upto ceiling height, having intermediate memebr as per design including all necessary hardware etc. complete. | RFT | 175.000 | 401.00 | 70,175.00 | 120 | 21000 | 150 | 26250
62 |  | MS framework for wallpaper - P F of 25 x 25mm MS framework with black powder coat upto ceiling height, having intermediate memebr as per design including all necessary hardware etc. complete. | RFT | 225.000 | 551.00 | 123,975.00 | 120 | 27000 | 150 | 33750
63 |  | Signage bulkhead Façade - Providing, making and fixing of bulkhead 600mm box paneling made of 12mm thk branded bison board V board paneling on wall including MS framework from slab. Framework to be finished with zink oxide and enamel finish. The boxing to be finished with 3 mm thk. black granite finish laminate as per detail drawing. having required holes to fix the signage letter. cost inlcudes all necessary required framing, approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | SFT | 70.000 | 1400.00 | 98,000.00 | 1150 | 80500 | 1150 | 80500
64 |  | Glass partition on live kitchen - P F 10 mm thk. 2 hours fire rated glass partitions with 20 x 40mm MS framework with white black powder coating and all necessary required groove, wooden framing, with approved make adhesive and fasteners, cutting chamfering groove rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | SFT | 125.000 | 1200.00 | 150,000.00 | 2800 | 350000 | 2800 | 350000
65 |  | Frosted Flutted film - P F frosted flutted film install on 10 mm thk. on 2 hours fire rated glass and all necessary required groove, with approved make adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | SFT | 50.000 | 501.00 | 25,050.00 | 75 | 3750 | 85 | 4250
66 |  | Providing chain and Fixing of Bellls as directed by site incharge | Nos | 450.000 | 555.00 | 249,750.00 | 85 | 38250 | 200 | 90000
67 |  | Ceiling Fans - P F of palm leaf ceiling fans paper as per approval, Basic Cost -25000 - | Nos | 6.000 | 3500.00 | 21,000.00 | 27000 | 162000 | 27000 | 162000
68 |  | P F of bamboo blind manual folding curtains as per approval | SFT | 75.000 | 605.00 | 45,375.00 | 320 | 24000 | 325 | 24375
69 |  | Providing, fixing application of water paper with all adhesive wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. | SFT | 150.000 | 325.00 | 48,750.00 | 220 | 33000 | 225 | 33750
70 |  | Size 440 x 600mm - High Resolution Digital printing on HP Canvas STRETCHED on 1 inch wooden frame (stapling on sides) | Nos | 3.000 | 30000.00 | 90,000.00 | 3500 | 10500 | 4500 | 13500
71 |  | Size 440 x 340mm - High Resolution Digital printing on HP Canvas STRETCHED on 1 inch wooden frame (stapling on sides) | Nos | 3.000 | 25000.00 | 75,000.00 | 3000 | 9000 | 4000 | 12000
3 |  | Purchase Request for Plumbing Works | EA | 1.000 |  | 1,314,700.00 |  | 352780 |  | 429380
72 |  | 20 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO Raw WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 222.000 | 390.00 | 86,580.00 | 100 | 22200 | 100 | 22200
73 |  | 25 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO RAW WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 88.000 | 450.00 | 39,600.00 | 120 | 10560 | 120 | 10560
74 |  | 32 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO RAW WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 15.000 | 525.00 | 7,875.00 | 140 | 2100 | 140 | 2100
75 |  | 40 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO RAW WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 15.000 | 610.00 | 9,150.00 | 170 | 2550 | 170 | 2550
76 |  | 20 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver | rft | 100.000 | 430.00 | 43,000.00 | 140 | 14000 | 140 | 14000
77 |  | 25 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver | rft | 15.000 | 535.00 | 8,025.00 | 160 | 2400 | 160 | 2400
78 |  | 20 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | nos | 20.000 | 300.00 | 6,000.00 | 300 | 6000 | 350 | 7000 | CPVC ITEM
79 |  | 25 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | nos | 1.000 | 5500.00 | 5,500.00 | 1050 | 1050 | 1100 | 1100 | CPVC ITEM
80 |  | 32 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | nos | 2.000 | 7000.00 | 14,000.00 | 1575 | 3150 | 1650 | 3300 | CPVC ITEM
81 |  | 110mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | rft | 110.000 | 421.00 | 46,310.00 | 420 | 46200 | 420 | 46200
82 |  | 75mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | rft | 70.000 | 375.00 | 26,250.00 | 350 | 24500 | 350 | 24500
83 |  | 50mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | rft | 55.000 | 542.00 | 29,810.00 | 310 | 17050 | 310 | 17050
84 |  | 50 mm dia - Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in | rft | 15.000 | 75.00 | 1,125.00 | 75 | 1125 | 75 | 1125
85 |  | 40 mm dia - Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in | rft | 15.000 | 65.00 | 975.00 | 65 | 975 | 65 | 975
86 |  | 32 mm dia - Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in | rft | 15.000 | 60.00 | 900.00 | 60 | 900 | 60 | 900
87 |  | Supply, laying, testing commissioning of Kohler Complementary Popular Chrome Polished Floor Drain, 7275IN-CP of Kohler make | nos | 7.000 | 3100.00 | 21,700.00 | 1850 | 12950 | 3100 | 21700
88 |  | Providing and supplying 25 litrs geyser with c.p angle cock of hot and cold pvc connection coupper pipes c.p elbows non return valves mounting bolts etc | nos | 2.000 | 21000.00 | 42,000.00 | 13500 | 27000 | 15000 | 30000
89 |  | Providing and fixing Sink mixture (Swan Neck) | nos | 3.000 | 6500.00 | 19,500.00 | 4450 | 13350 | 5500 | 16500
90 |  | Providing and fixing counter top tap ( Swan Neck ) | nos | 3.000 | 3000.00 | 9,000.00 | 3840 | 11520 | 3840 | 11520
91 |  | Providing and fixing Rinse Mixture | nos | 2.000 | 4600.00 | 9,200.00 | 4600 | 9200 | 4600 | 9200
92 |  | Providing fixing Sink Drain outlet Connection with valve drain pipe complete with all necessary fittings | nos | 6.000 | 5500.00 | 33,000.00 | 2400 | 14400 | 3000 | 18000
93 |  | Size 18 X 24 - Providing fixing SS MADE Greece Trap MAKE Bombay Iron Works or any approved make. OR CONSTRUCTING THE SAME AS PER DRAWING | nos | 3.000 | 25000.00 | 75,000.00 | 15000 | 45000 | 25000 | 75000
94 |  | RO connection only | nos | 2.000 | 2100.00 | 4,200.00 | 1000 | 2000 | 1000 | 2000
95 |  | Providing and fixing 500 LTR water tank for RO water | nos | 1.000 | 11000.00 | 11,000.00 | 10000 | 10000 | 10000 | 10000
96 |  | Providing and fixing of 1HP pressure pump in RO water line | nos | 1.000 | 25000.00 | 25,000.00 | 10000 | 10000 | 20000 | 20000
97 |  | 12 X12 - CHAMBER MAKING IN BRICK WORK WITH 1 4 CEMENT SAND MORTAR INCLUDING MAKING VATA IN ALL EDGES, PLASTERING AND APPLYING ALL SIDE 2 COAT OF DR. FIXIT WATERPROOFING PRODUCT (PIDIFIN 2K) INCLUDING SURFACE PREPRATION AS PER MANUFACURE S SPECIFICATIONS, AFTER THAT FIXING OF CHINA MOSAIC TILES INSIDE OF CHAMBER, JOINT FILLING, CUTTING OF KOTA STONE FLOORING AND FIXING OF GRATING ETC COMPLETE INCLUDING ALL LEAD, LIFTS,CURING, TESTING AS SPECIFIED BY EI. (SS 304 GRATING TO BE INCLUDED) | NOS | 8.000 | 55000.00 | 440,000.00 | 2500 | 20000 | 3500 | 28000 | SS 304 GRATING NOT INCLUDED RATE
98 |  | 18 X12 - CHAMBER MAKING IN BRICK WORK WITH 1 4 CEMENT SAND MORTAR INCLUDING MAKING VATA IN ALL EDGES, PLASTERING AND APPLYING ALL SIDE 2 COAT OF DR. FIXIT WATERPROOFING PRODUCT (PIDIFIN 2K) INCLUDING SURFACE PREPRATION AS PER MANUFACURE S SPECIFICATIONS, AFTER THAT FIXING OF CHINA MOSAIC TILES INSIDE OF CHAMBER, JOINT FILLING, CUTTING OF KOTA STONE FLOORING AND FIXING OF GRATING ETC COMPLETE INCLUDING ALL LEAD, LIFTS,CURING, TESTING AS SPECIFIED BY EI. (SS 304 GRATING TO BE INCLUDED) | NOS | 2.000 | 65000.00 | 130,000.00 | 3850 | 7700 | 5500 | 11000 | SS 304 GRATING NOT INCLUDED RATE
99 |  | 24 X12 - CHAMBER MAKING IN BRICK WORK WITH 1 4 CEMENT SAND MORTAR INCLUDING MAKING VATA IN ALL EDGES, PLASTERING AND APPLYING ALL SIDE 2 COAT OF DR. FIXIT WATERPROOFING PRODUCT (PIDIFIN 2K) INCLUDING SURFACE PREPRATION AS PER MANUFACURE S SPECIFICATIONS, AFTER THAT FIXING OF CHINA MOSAIC TILES INSIDE OF CHAMBER, JOINT FILLING, CUTTING OF KOTA STONE FLOORING AND FIXING OF GRATING ETC COMPLETE INCLUDING ALL LEAD, LIFTS,CURING, TESTING AS SPECIFIED BY EI. (SS 304 GRATING TO BE INCLUDED) | NOS | 1.000 | 75000.00 | 75,000.00 | 4100 | 4100 | 6500 | 6500 | SS 304 GRATING NOT INCLUDED RATE
100 |  | 84 X10 - CHAMBER MAKING IN BRICK WORK WITH 1 4 CEMENT SAND MORTAR INCLUDING MAKING VATA IN ALL EDGES, PLASTERING AND APPLYING ALL SIDE 2 COAT OF DR. FIXIT WATERPROOFING PRODUCT (PIDIFIN 2K) INCLUDING SURFACE PREPRATION AS PER MANUFACURE S SPECIFICATIONS, AFTER THAT FIXING OF CHINA MOSAIC TILES INSIDE OF CHAMBER, JOINT FILLING, CUTTING OF KOTA STONE FLOORING AND FIXING OF GRATING ETC COMPLETE INCLUDING ALL LEAD, LIFTS,CURING, TESTING AS SPECIFIED BY EI. (SS 304 GRATING TO BE INCLUDED) | NOS | 1.000 | 95000.00 | 95,000.00 | 10800 | 10800 | 14000 | 14000 | SS 304 GRATING NOT INCLUDED RATE
[6 empty] | 12548747 |  | 7008285 |  | 7583410