## MUSIC SYSTEM BOQ
AJ KITCHEN @ AHMEDABAD
PA SYSTEM BOQ
DATE: 9.12.2023
SR. No | DESCRIPTION | TOTAL QTY. | UNIT | UNIT RATE | TOTAL AMOUNT
A | PA/MUSIC SYSTEM EQUIPMENTS SUPPLY
1 | Supply & Installation of JBL make Loudspeaker (6 watt) CEILING SPKR to match with Airport PA System | 3 | Nos. |  | 0
2 | Supply of JBL make Loudspeaker 20 watt wall mount SPKR |  | Nos. |  | 0
3 | Supply, installation, testing & commissioning of Control 24CT Microplus JBL make Speakers | RO | Nos.
4 | Supply of Amplifier with Line matching transformers | RO | Nos.
5 | Supply of DSP with Card Model No. BLU-100/BLU 102 | RO | Nos.
6 | Supply of ZONE CONTROLLER Model No. BLU-3 | RO | Nos.
7 | Supply of Paging Mic Model No. DST-995 | RO | Nos.
8 | Supply of DVD Player for BGM | RO | Nos.
9 | Supply & Laying of 2x2.5 Sq.mm FRLS Speaker Cable. The cost of conduit shall be paid separately. | 75 | Mtr. | 45 | 3375
10 | Supply of 3x1.5 Sq.mm FRLS Microphone Cable The cost of conduit shall be paid separately. | RO | Mtr.
11 | Supply of 12U (600mmx800mm) Equipment Rack | RO | Nos.
12 | Supply & Laying of 25mm dia. GI Conduit | 30 | Mtr. | 136 | 4080
| SUB TOTAL FOR MUSIC SYSTEM EQUIPMENTS |  |  |  | 7455
| TOTAL FOR MUSIC SYSTEM EQUIPMENTS |  |  |  | 7455