## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
154495 | A | WATER SUPPLY PIPES |  | 0.00 | 0.00 |  | 0
154496 | 1.00 | CPVC Pipes (RO WATER RAW WATER) Supply, laying, testing commissioning of FOOD GRADE CPVC pipes conforming to CTS (Copper Tube Size) SDR-11 as per (is 15778 ASTM D 2846) with necessary fittings up to the size of 50 mm dia, jointing with CPVC solvent cement of medium body IPS brand or equivalent conform. (Make – AJAY ASHIRVAD ASTRAL) |  | 0.00 | 0.00 |  | 0
154497 | b | 20mm dia | Rmt | 0.00 | 50.00 |  | 0
154498 | c | 25mm dia | Rmt | 0.00 | 25.00 |  | 0
154499 | d | 32mm dia | Rmt | 0.00 | 5.00 |  | 0
154500 | 2.00 | CPVC Pipes (HOT WATER) WITH Thermal Insulation Supply, laying, testing commissioning of CPVC - Schedule 80 (ASTM F 441) Pipes and fittings suitable for Domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards. (Make –ASTRAL PRINCE) WITH Supply Covering (Thermal Insulation) hot water pipes with 6 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature. (Make – ARMAFLEX KFLEX) |  | 0.00 | 0.00 |  | 0
154501 | b | 20mm dia | Rmt | 0.00 | 28.00 |  | 0
154502 | 4.00 | Booster Pump - Crompton Greaves KIRLOSKER Supply, Installation, Commissioning Testing for Booster Pump WITH FLOW SWITCH GRAVITATIONAL FLOW (top to bottom flow) with both side Sensor operations- A) 3CUM PER HR. B) HEAD 25M, C) PHASE SINGLE PHASE, D) PROTECTION IP55, E) MONOBLOCK TYPE |  | 0.00 | 0.00 |  | 0
154503 |  | 0.5 HP | Nos. | 0.00 | 2.00 |  | 0
154504 | B | WATER DRAIN PIPES |  | 0.00 | 0.00 |  | 0
154505 | 1.00 | CI Class Pipes (WASTE PIPE) Supply, Laying , Testing Commissioning of CI (Cast Iron) CLASS Pipes Conforming to IS 3114 1994 and Fittings Conforming to IS 1538 (1993), Cutting the Pipes to required Lengths, Laying in position to required Grade Level , Jointing , Making holes , Pockets , chases in. (Make- TATA JINDAL ESSAR) |  | 0.00 | 0.00 |  | 0
154506 | b | 100mm dia | Rmt | 0.00 | 15.00 |  | 0
154507 | c | 75mm dia | Rmt | 0.00 | 20.00 |  | 0
154508 | 3.00 | GRATING Providing Fixing 20mm heavy quality SS Grating along with Perforated Mesh Angle Frame as per Size , Drawings. Weight not more than 60kg. Rate inclusive of chamber construction, plster water proffing etc. 200mm width |  | 0.00 | 0.00 |  | 0
154509 | a | 1200mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. | 0.00 | 2.00 |  | 0
154510 | e | 200mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. | 0.00 | 8.00 |  | 0
154511 | 3.02 | 300mm width |  | 0.00 | 0.00 |  | 0
154512 | d | 300mm X 300mm with SS Perforated Jali. (Grating Set) | Nos. | 0.00 | 3.00 |  | 0
154513 | 3.03 | 450mm width |  | 0.00 | 0.00 |  | 0
154514 | c | 450mm X 450mm with SS Perforated Jali. (Grating Set) | Nos. | 0.00 | 1.00 |  | 0
154515 | 4.00 | P F Brass CPVC MT FT for Motor and pipe connections etc. |  | 0.00 | 0.00 |  | 0
154516 | b | 25mm | Nos | 0.00 | 4.00 |  | 0
154517 | c | 32mm | Nos | 0.00 | 4.00 |  | 0
154518 | 6.00 | PORTABLE GREASE TRAP Fixing of Portable SS grease trap with 3 bowl sink with complete fittings etc. as per drg. | Nos. | 0.00 | 1.00 |  | 0
154519 | E | CP FIXTURES BRASS VALVES -Jaquar (only continental series) |  | 0.00 | 0.00 |  | 0
154520 | 1.00 | Angle Cock P F Angle Cock. Make- Jaquar | Nos. | 0.00 | 22.00 |  | 0
154521 | 2.00 | Sink Mixer Wall Mounted P F Sink Mixer, Swinging Casted Spout. (Wall Mounted Model) Make- Jaquar | Nos. | 0.00 | 4.00 |  | 0
154522 | 3.00 | Sink Mixer table Mounted P F Sink Mixer, Swinging Casted Spout. (Table Mounted Model) Make- Jaquar | Nos. | 0.00 | 3.00 |  | 0
154523 | 4.00 | Long Neck Bib Cock P F Long Neck Bib Cock with wall Flange. Make- Jaquar | Nos. | 0.00 | 5.00 |  | 0
154524 | 5.00 | Bib Cock Providing Fixing Bib Cock chrome finish with wall Flange. Make- Jaquar | Nos. | 0.00 | 4.00 |  | 0
154525 | 6.00 | Sink Pillar Cock P F Sink Pillar cock with swinging casted spout. Make- Jaquar | Nos. | 0.00 | 4.00 |  | 0
154526 | 7.00 | Sink Cock P F Fixed Sink Cock. Make- Jaquar | Nos. | 0.00 | 3.00 |  | 0
154527 | 8.00 | Pillar Cock P F Tall Pillar Cock for counter flush basin. Make- Jaquar | Nos. | 0.00 | 3.00 |  | 0
154528 | 9.00 | Pre Rinse P F Pre rinse spray valve spray. (Make Aluids) | Nos. | 0.00 | 1.00 |  | 0
154529 | 10.00 | Pneumatic Push Cock P F Pneumatic push cock. Make- Jaquar | Nos. | 0.00 | 2.00 |  | 0
154530 | 11.00 | Foot Paddle Operated Faucet Foot Paddle Operated Faucet. (Below Hand Wash) | Nos. | 0.00 | 2.00 |  | 0
154531 | 14.00 | Bottle Trap Providing fixing 32mm CP finished Bottle Trap with wall flanges. Make- Jaquar | Nos. | 0.00 | 10.00 |  | 0
154532 | 15.00 | Waste Coupling Providing Waste Coupling 32mm size full thread waste coupling to be use. Make- Jaquar | Nos. | 0.00 | 10.00 |  | 0
154533 | 16.00 | Ball Valves (Brass) Providing Fixing Ball Valve ISI mark. (For Inlet) (Make – KITZ ZOLOTO AUDCO) Rates are for BRASS ball valves |  | 0.00 | 0.00 |  | 0
154534 | c | 25mm dia | Nos. | 0.00 | 2.00 |  | 0
154535 | d | 32mm dia | Nos. | 0.00 | 2.00 |  | 0
154536 | 18.00 | Water Meter P F 25 mm water meter complete with required fitting etc. make Kranti | Nos. | 0.00 | 1.00 |  | 0
154537 | E | ACCESSORIES MISCELLANEOUS |  | 0.00 | 0.00 |  | 0
154538 | 1.00 | Flexible Water Pipe Providing Flexible water pipe to connect Angle Valve to faucet | Nos. | 0.00 | 22.00 |  | 0
154539 | 2.00 | Water Indicator Providing water level Indicator for In Raw tank RO water tank with gauge Glass Cock. In BOH Area. | Nos. | 0.00 | 1.00 |  | 0
154540 | 4.00 | Flexible Waste Pipe P F flexible PVC waste pipe on wash basin sink drains | Nos. | 0.00 | 12.00 |  | 0
154541 | 5.00 | Installation of Equipment- Plumbing Scope Installation of plumbing fixtures kitchen equipment provided by client with new hardware as required- PLUMBING SCOPE | Job | 0.00 | 1.00 |  | 0
154542 | F | BOILERS GEYSERS |  | 0.00 | 0.00 |  | 0
154543 | 1.00 | Providing Supplying boiler with Mounting Bolts etc. (Make ONLY JAQUAR) 35 Liter | Nos. | 0.00 | 1.00 |  | 0
154544 | 2.00 | Geyser Storage Providing Supplying 6 Liters Geyser with Mounting Bolts etc. | Nos. | 0.00 | 2.00 |  | 0