## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
148058 |  | Fabrication |  | 0.00 | 0.00 |  | 0
148059 |  | MS Stand for cold room and AC outdoor unit size 4x6x2 Ft | Nos | 0.00 | 4.00 |  | 13550.00
148060 |  | Manager Room M. S frame lifting station with ply and cladded with SS 304 - 2.5x1.6x2 Ft | Nos | 0.00 | 1.00 |  | 18750.00
148061 |  | Entry lifting station with ply and SS palte - 0.5x0.75x0.6m | Nos | 0.00 | 1.00 |  | 14590.00
148062 |  | S.S Pole hanging from Ceiling | RFT | 0.00 | 9.00 |  | 2200.00
148063 |  | Front Counter M.S Frame Work - 6X1.5M | SQM | 0.00 | 9.00 |  | 850.00
148064 |  | Microwave Oven Self with MS Stand - 2X1.5fT | SQF | 0.00 | 3.00 |  | 1450.00
148065 |  | Electrical |  | 0.00 | 0.00 |  | 0
148066 |  | 2 Pole MCB 32A With Box | Nos | 0.00 | 4.00 |  | 3600.00
148067 |  | 63A RCBO 4 Pole | Nos | 0.00 | 1.00 |  | 6250.00
148068 |  | 16 A Switch Board 3 module | Nos | 0.00 | 1.00 |  | 1150.00
148069 |  | Gang Box 16 A Switch Board 6 module | Nos | 0.00 | 3.00 |  | 2275.00
148070 |  | Rubber Mat 1.1 KV ( Supply plus Installation ) - 2x1 Mtr | Nos | 0.00 | 1.00 |  | 3850.00
148071 |  | Main LT Panel ( As per Site Requirement plus SLD) ) | Nos | 0.00 | 1.00 |  | 298756.00
148072 |  | Plumbing |  | 0.00 | 0.00 |  | 0
148073 |  | Supply and installation sink mixer ( Supply plus Installation ) | Nos | 0.00 | 3.00 |  | 3385.00
148074 |  | Supply accessories laying of sink ( Supply plus Installation ) | Nos | 0.00 | 1.00 |  | 2475.00
148075 |  | MOP sink tap and RO Tap ( Supply plus Installation ) | Nos | 0.00 | 1.00 |  | 7890.00
148076 |  | Mop sink connection complete ( Supply plus Installation ) | Nos | 0.00 | 1.00 |  | 1975.00
148077 |  | 3 sink grease trap installation ( Installation ) | Nos | 0.00 | 3.00 |  | 8750.00
148078 |  | Chamber ( Supply plus Installation ) - 300x300mm | Nos | 0.00 | 1.00 |  | 5578.00
148079 |  | S. S Grating ( Supply plus Installation ) - 300x300mm | Set | 0.00 | 2.00 |  | 2598.00
148080 |  | R.O Stand above ceiling with ms pipe with Ply base ( Supply plus Installation ) - 4x4 ft | Set | 0.00 | 1.00 |  | 15000.00
148081 |  | RO Tank plus Pressure Tank ( Supply plus Installation ) | Set | 0.00 | 1.00 |  | 93575.00
148082 |  | Finishes |  | 0.00 | 0.00 |  | 0
148083 |  | S.S Profile near counter entrance | RFT | 0.00 | 7.00 |  | 450.00
148084 |  | TV Stand With MS Framing plus Ply - 1.25x8.5 ft | SQF | 0.00 | 11.00 |  | 1500.00
148085 |  | L- Shape gypsum Ceiling | SQF | 0.00 | 120.00 |  | 550.00
148086 |  | Supply and installation kota stone floor cold room - 2.6x1.9 Mtr | SQF | 0.00 | 53.15 |  | 450.00
148087 |  | Supply and installation kota stone skirting 100mm H cold room | Mtr | 0.00 | 8.40 |  | 225.00
148088 |  | Supply and installation SS sheet packing for above hood 100mm H | RFT | 0.00 | 22.00 |  | 450.00
148089 |  | Ply panelling side counter - 1.25x1.35 Mtr | SQF | 0.00 | 18.16 |  | 380.00
148090 |  | Fire Sprinkler |  | 0.00 | 0.00 |  | 0
148091 |  | Supply and installation sprinkler with accessories and re-work of existing sprinkler | Nos | 0.00 | 6.00 |  | 8759.00
148092 |  | Supply and installation Site of sprinkler rossettle plate | Nos | 0.00 | 6.00 |  | 1125.00
148093 |  | Supply and installation Site of UL listed approved corrugeted sheet SS 304 | Nos | 0.00 | 6.00 |  | 3325.00
148094 |  | Façade |  | 0.00 | 0.00 |  | 0
148095 |  | Supply and installation corian for counter façade drop | Rmt | 0.00 | 8.00 |  | 5250.00`
148096 |  | Supply and installation ms structure façade - 8x1.4 mtr | SQF | 0.00 | 120.51 |  | 875
148097 |  | 12 mm toughned Glass | SQF | 0.00 | 22.31 |  | 845
148098 |  | Mis |  | 0.00 | 0.00 |  | 0
148099 |  | Ply with laminate panelling over DB panel | SQF | 0.00 | 11.30 |  | 650
148100 |  | Hood MS pipe support for hanging | Nos | 0.00 | 1.00 |  | 7500
148101 |  | Self and SS overhead cabinate fixing - 3 Mtr | Set | 0.00 | 1.00 |  | 5500
148102 |  | Mop Hanger | Nos | 0.00 | 1.00 |  | 1500
148103 |  | Supply and installation anti scratch tap | Nos | 0.00 | 1.00 |  | 1250
148104 |  | Supply and installation wall boxing for ac | Nos | 0.00 | 4.00 |  | 2700
148105 |  | Supply and installation chain 1.5 mtr | Nos | 0.00 | 2.00 |  | 1250
148106 |  | Supply and installation panelling above cold room - 10x16 | SQF | 0.00 | 160.00 |  | 450
148107 |  | Supply and installation corian above counter - 2x5 | SQF | 0.00 | 10.00 |  | 2150
148108 |  | Supply and installation SS support for Gas meter | Nos | 0.00 | 1.00 |  | 3600
148109 |  | Supply and Installation pvc strip for microwave oven - 20x7 FT | SQF | 0.00 | 140.00 |  | 325
148110 |  | Equipment installation | Nos | 0.00 | 1.00 |  | 22500
148111 |  | Supply and installation soup dispenser | Nos | 0.00 | 1.00 |  | 7500
148112 |  | Tissue paper holder | Nos | 0.00 | 1.00 |  | 1500
148113 |  | Supply and installation Keyboard | Nos | 0.00 | 2.00 |  | 2750
148114 |  | HVAC |  | 0.00 | 0.00 |  | 0
148115 |  | Supply Installation, Testing and Commissioning of Split AC 1.8 TR - Daikin | Nos | 0.00 | 3.00 |  | 55789
148116 |  | Supply Installation, Testing and Commissioning of Split AC 1.5 TR - Daikin | Nos | 0.00 | 1.00 |  | 43587
148117 |  | 6.4 mm OD Soft Copper ( Insulation-9 mm ) | RM | 0.00 | 14.00 |  | 625
148118 |  | 9.5 mm OD Soft Copper ( Insulation-9 mm ) | RM | 0.00 | 52.00 |  | 785
148119 |  | 12.7 mm OD Soft Copper ( Insulation-9 mm | RM | 0.00 | 14.00 |  | 985
148120 |  | 15.9 mm OD Soft Copper ( Insulation- 9 mm ) | RM | 0.00 | 52.00 |  | 1185
148121 |  | Cable 4 Core 2.5 Sqmm | RM | 0.00 | 80.00 |  | 345