## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
179183 | B | PIPING-COPPER AND DRAIN |  | 0.00 | 0.00 |  | 0
179184 | 1 | Providing fixing of inter connecting copper piping between indoor outdoor units as per manufacturer specifications duly insulated with closed cell nitrile foam tabular insulation of 13mm thickness. All piping inside the room shall be properly supported with hanger in M.S. painted cable tray and exposed piping shall be properly supported in G.I. cable tray with top cover |  | 0.00 | 0.00 |  | 0
179185 | 1.1 | 6.4 mm OD soft copper (Insulation 13 mm) | RM | 0.00 | 1.00 |  | 0
179186 | 1.2 | 9.5 mm OD soft copper (Insulation 13 mm) | RM | 0.00 | 10.00 |  | 0
179187 | 1.3 | 12.7 mm OD soft copper (Insulation 13 mm) | RM | 0.00 | 1.00 |  | 0
179188 | 1.4 | 15.9 mm OD soft copper (Insulation 13 mm) | RM | 0.00 | 50.00 |  | 0
179189 | 1.5 | 28.6 mm OD soft copper (Insulation 13 mm) | RM | 0.00 | 45.00 |  | 0
179190 | 2 | Fabricating and installing following size of perforated G.I cable trays to run the insulated refreigerant pipes (directly exposed to ambient) electrical power control cables (directly exposed to ambient) including horizontal and vertical bends, reducers, tees, cross members other accessories as required and duly supported from the floor as required. |  | 0.00 | 0.00 |  | 0
179191 | 2.1 | 150 mm width X 50 mm depth X 2 mm thickness | RM | 0.00 | 15.00 |  | 0
179192 | 3 | Supplying, installing and testing of UPVC pipe ( heavy duty) with 6 mm thick nitrile rubber insulation with protective coating on condensing water piping and fitting like bends, elbow, tee and union, etc. as per the approved shop drawings and specifications. |  | 0.00 | 0.00 |  | 0
179193 | 3.1 | 32 mm Dia | Rmt | 0.00 | 20.00 |  | 0
179194 | 3.2 | 25mm Dia | Rmt | 0.00 | 1.00 |  | 0
179195 | 4 | Civil works associated with refrigerant piping condensate drain piping. |  | 0.00 | 0.00 |  | 0
179196 | 4.1 | Cutting and chasing of walls floor and making asthetically good appearance finishes. | RM | 0.00 | 5.00 |  | 0
179197 | C | AIR DISTRIBUTION |  | 0.00 | 0.00 |  | 0
179198 |  | (FOR FACTORY FABRICATED DUCTS AS PER “SMACNA” STANDARDS SPECIFICTIONS) |  | 0.00 | 0.00 |  | 0
179199 | 1 | Supply, Fabrication, installation and testing of factory fabricated sheet metal ducts with sleeve joints and supports complete with the approved shop drawings and as required by the specifications and hanging of the ducts to be done by thread wire on metal cushion with gripple support. |  | 0.00 | 0.00 |  | 0
179200 |  | 24G sheet | sq.m | 0.00 | 80.00 |  | 0
179201 |  | 26G sheet | sq.m | 0.00 | 80.00 |  | 0
179202 | 2 | Supplying and erecting GI sheet of fabricated at site and mentioned guage to be used for fabrication of ducting complete with neoprene rubber garkets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required |  | 0.00 | 0.00 |  | 0
179203 |  | 22G sheet | sq.m | 0.00 | 5.00 |  | 0
179204 |  | 24G sheet | sq.m | 0.00 | 5.00 |  | 0
179205 | 3 | Supply, installation, testing and balancing of powder coated Extruded Aluminium Supply air Grilles with volume control dampers in accordance with the approved shop drawings and specifications. (Minimum Chargable area would be 0.1 Sqm Per Pc) | SQMT | 0.00 | 3.00 |  | 0
179206 | 4 | Supplying fixing of opposed blade volume control dampers in supply air duct collars as per approved drawings and specifications. Volume control damper shall be provided at the junction of each branch duct with main duct. Dampers shall be 2 gauge heavier than the gauge of large duct but should not be less than 20 gauge, and shall be rigid in construction so as not to flutter with the passage of air. | SQMT | 0.00 | 0.20 |  | 0
179207 | 5 | Supply, fabrication, installation and testing the flexible connections constructed of fire resistance flexible double canvas sleeve as per the approved shop drawings. | Nos. | 0.00 | 3.00 |  | 0
179208 | 6 | Supply, installation, testing and balancing of Powder coated Anodised extruded aluminium construction exhaust air louvers with bird screen for exhaust air as per specifications and approved shop drawings. (Minimum Chargable area would be 0.1 Sqm Per Pc) | SQMT | 0.00 | 0.10 |  | 0
179209 | 7 | Supply, installation, testing and balancing of Powder coated Anodised extruded aluminium construction. inlet air louvers with bird screen and volume damper for fresh air as per specifications and approved shop drawings. | SQMT | 0.00 | 0.20 |  | 0
179210 | 8 | Supply, installation, testing and balancing of powder coated Extruded Aluminium exhaust air Grilles with volume control dampers in accordance with the approved shop drawings and specifications. (Minimum Chargable area would be 0.1 Sqm Per Pc) | SQMT | 0.00 | 0.20 |  | 0
179211 | D | THERMAL INSULATION |  | 0.00 | 0.00 |  | 0
179212 | 1 | Supply, installation and testing of Acoustic lining with Open cell nitrile rubber with in supply and return air ducts of specified thickness as per the specifications. All ducts shown cross hatched on the approved shop drawings shall be provided with acoustic lining as perthe specifications |  | 0.00 | 0.00 |  | 0
179213 |  | 15 mm thick | sq.m | 0.00 | 10.00 |  | 0
179214 | 2 | Supplying and fixing of following thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber(Class“O”) insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50mm wide and 3mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. |  | 0.00 | 0.00 |  | 0
179215 | 2.1 | 13 mm thick | sq.m | 0.00 | 160.00 |  | 0
179216 | E | ELECTRICAL INSTALLATION |  | 0.00 | 0.00 |  | 0
179217 | 2 | Supply, laying, testing and commissioning of PVC sheathed stranded FRLS wires in MS conduits recessed surface including cutting, chesing the wall surface and making for the same, sizes as given below of copper conductor including terminations complete as required. |  | 0.00 | 0.00 |  | 0
179218 | a) | 2C x 1.5 mm2 (control wiring for IDU to ODU) | RM | 0.00 | 60.00 |  | 0