## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
119903 |  | Laying, testing commissioning of 3.5C x 300 Sq.mm. AL XLPE Cable. | MTR. | 0.00 | 45.00 |  | 0
119904 |  | Supply Laying, testing commissioning of 4C x 16 Sq.mm. CU XLPE Cable. | MTR. | 0.00 | 45.00 |  | 0
119905 |  | Supply, Installation testing and commission of 4C x 16 Sq.mm. CU XLPE Cable termination | NOS | 0.00 | 2.00 |  | 0
119906 |  | Supply Laying, testing commissioning of 1C x 1.5 Sq.mm. CU wire. | MTR. | 0.00 | 12.00 |  | 0
119907 |  | Supply, Installation testing and commission of USB SOCKET | NOS | 0.00 | 18.00 |  | 0
119908 |  | Removing refixing of HANGING LIGHT. with flexible | JOB | 0.00 | 1.00 |  | 0
119909 |  | Supply Installation of 4FIT 40W LED TUBE LIGHT FIXTURE. | NOS | 0.00 | 6.00 |  | 0
119910 |  | Supply Installation of 5W MTR LED STRIP. | MTR. | 0.00 | 13.75 |  | 0
119911 |  | Supply of Addressable single loop Fire Alaram system panel. (Make - Honeybell) Model NFS 320 | NOS | 0.00 | 1.00 |  | 0
119912 |  | Installation, Programming, Testing Commisioning of Addressable single loop Fire Alaram system panel. (Make - Honeybell) Model NFS 320 | NOS | 0.00 | 1.00 |  | 0
119913 |  | Supply, Installation testing and commission of Relay Module UL FM Approved. (Make - Notifier) | NOS | 0.00 | 11.00 |  | 0
119914 |  | Supply, Installation testing and commission of Horn Cum Strober UL FM Approved. (Make - Notifier) | NOS | 0.00 | 3.00 |  | 0
119915 |  | Supply, Installation testing and commission of Smoke Detector UL FM Approved. (Make - Notifier) | NOS | 0.00 | 8.00 |  | 0
119916 |  | Supply, Installation testing and commission of Heat Detector UL FM Approved. (Make - Notifier) | NOS | 0.00 | 3.00 |  | 0
119917 |  | Supply, Installation testing and commission of Manual call point UL FM Approved. (Make - Notifier) | NOS | 0.00 | 3.00 |  | 0
119918 |  | Supply, Installation testing and commission of Monitor Module UL FM Approved. (Make - Notifier) | NOS | 0.00 | 1.00 |  | 0
119919 |  | Installation, Integration commissioning of fire alarm system with all required modules, relays, SMPS with modular Extinguishers. | NOS | 0.00 | 1.00 |  | 0
119920 |  | Supply, Installation testing and commission of Fire Exit Signages | NOS | 0.00 | 3.00 |  | 0
119921 |  | Supply, Installation testing and commission of Fire Extinguisher Signages | NOS | 0.00 | 8.00 |  | 0
119922 |  | Supply, Installation testing and commission of Fire Extinguisher Stand | NOS | 0.00 | 4.00 |  | 0
119923 |  | Supply, Installation testing and commission of Danger Signages | NOS | 0.00 | 4.00 |  | 0
119924 |  | Addition Modification Fire Sprinkler Drain Valve, Pressure Guage, Flow Switch etc. | JOB | 0.00 | 1.00 |  | 0
119925 |  | Replacement of hood lights | Nos | 0.00 | 4.00 |  | 0
119926 |  | Supply Installation of wall mount fan in dish wash area | JOB | 0.00 | 1.00 |  | 0
119927 |  | Replacement of hanging light cable | Nos | 0.00 | 8.00 |  | 0
119928 |  | Supply Installation 30mA RCCB at main DB in kitchen passage | Nos | 0.00 | 1.00 |  | 0
119929 |  | Installation Commission of UPS stebilizer for battery | Job | 0.00 | 1.00 |  | 0