## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
168091 |  | Supply and Installation of 4 Way TPN DB Incomer - 32A FP RCBO 30MA- 1 Nos Outgoing -10 or 16A SP MCB-12 NOS | Nos | 0.00 | 1.00 |  | 19000
168092 |  | Supply and Installation of Energy Meter -415 VAC or 32 AMPS meter - Make L and T, Schneider, Siemens, HPL, ABB and CG.Wooden or metal enclosure to be consider | Nos | 0.00 | 1.00 |  | 10000
168093 |  | Supply and Laying of 4C x 4 Sq mm Cu Armoured Cable | Mtrs | 0.00 | 30.00 | Actual measurement shall be done as per site requirement | 525
168094 |  | Supply and Laying of 3C x 2.5 Sq mm Cu Flexible lead wire | Mtrs | 0.00 | 20.00 | Actual measurement shall be done as per site requirement | 250
168095 |  | Supply and Installation of 40W Led pin type bulb 6000 K | Nos | 0.00 | 6.00 |  | 950
168096 |  | A-32 AMPS 5 PIN INDUSTRIAL PLUG TO BE INC | nos | 0.00 | 1.00 |  | 6500