## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
84352 | B.1 | Supply, Installation, Testing Commissioning of Electric Water Heater with safety valve arrangement and accessories like angle valve, flexible pipes, C.P bolts, screws, washers, etc. and proper supports necessary as per standards and site condition requirements. (Make Crompton Bajaj or equivalent with Airport approval) |  | 0.00 | 0.00 |  | 0
84363 | B.5 | Supply, Installation, Testing Commissioning of (Chlorinated Poly Vinyl Chloride) CPVC Pipe conforming to IS 15778, ASTM D 2846, in SDR 11 Class 1, (temperature range of maximum 82°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Astral Supreme for Pipe and Fittings) |  | 0.00 | 0.00 |  | 0
84370 | B.7 | Supply fixing of Pipe Insulation of 13 mm thick, with Polyethylene-based, closed-cell foam pipe insulation and polymer protective coating to prevent external mechanical damage of approved make for Hot water pipe with a operating temperature range of 0°C to 100°C, Thermal conductivity (?) 0.038 W m-K @ 40°C including suitable adhesives to fix the insulation to pipe. (Make Thermax, Maxima, Fuelpac or equivalent) |  | 0.00 | 0.00 |  | 0
84334 |  | DRAINS, TRAPS CLEANOUTS |  | 0.00 | 0.00 |  | 0
84327 |  | INTERCEPTORS SEPERATORS |  | 0.00 | 0.00 |  | 120000
84371 | B.7.1 | 15 mm Dia | Mtr | 0.00 | 3.00 |  | 250
84335 | A.3 | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 600 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made) |  | 0.00 | 0.00 |  | 55000
84329 | A.1.1 | NGT 8 - Flow Rate (0.30 LPS 18 LPM) | Nos | 0.00 | 3.00 |  | 2300
84328 | A.1 | Supplying, Installing, Testing Commissioning of Greese Trap or Grease Interceptor (Above Ground floor) of 304 grade stainless steel material with interceptor body, preforated bucket, baffles, integral trap, inlet outlep pipe sleeve and stainless steel interceptor cover of approved make and with all necessary fittings connectors etc. (Make Nugreen , Kessel and Concessionaire can propose another make in SS material.) |  | 0.00 | 0.00 |  | 8500
84354 | B.2 | Supply, Installation, Testing Commissioning of RO Filteration Unit for supplying pure filtered potable water to equipments like Combi-steamers baking ovens, Fresh water taps Coolers, Coffee Espresso machines, Dish-washers, Post-mix machines, Ice-machines, and Boiling-water taps etc. with necessary prefilters, filter cartridges, manifold heads, mounting brackets, shutoff valves, flushing valves, pressure gauges, and suitable connectors etc. Final make, model and details to be finalized by specialist vendor after examining the water test report of incoming water supply provided at site. (Make Eco Smart Aquaguard or equivalent with Airport approval) |  | 0.00 | 0.00 |  | 2200
84338 | A.4.1 | 50 mm Dia - Outlet | Nos | 0.00 | 7.00 |  | 150
84337 | A.4 | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 300 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made) |  | 0.00 | 0.00 |  | 0
84332 | A.2 | Supplying, Installing, Testing Commissioning of ABS Air Admittance Valve conforming to EN 12380, with an air admittance air flow rate of 6.1 L s and a temperature range of operation from -20 C to + 60 C of approved make with all necessary adapters, fittings and connectors etc. (Make Astral Supreme for Pipe and Fittings) |  | 0.00 | 0.00 |  | 0
84339 | A.5 | Supplying, Installing, and testing of uPVC P Trap (self-cleaning type) with odor water seal trap of approved make with all necessary adapters, fittings and connectors, etc. (Make Astral Supreme for Pipe and Fittings) |  | 0.00 | 0.00 |  | 50000
84342 | A.6.1 | 75 mm Dia - Outlet | Nos | 0.00 | 1.00 |  | 0
84347 | A.7.2 | 40 mm Dia | Mtr | 0.00 | 11.00 |  | 1800
84326 | A | DRAINAGE SYSTEM |  | 0.00 | 0.00 |  | 0
84333 | A.2.1 | 32 mm Dia | Nos | 0.00 | 4.00 |  | 850
84340 | A.5.1 | 32 mm Dia Outlet | Nos | 0.00 | 6.00 |  | 0
84350 | B | WATER SUPPLY SYSTEM |  | 0.00 | 0.00 |  | 1900
84336 | A.3.1 | 50 mm Dia - Outlet | Nos | 0.00 | 7.00 |  | 12000
84344 |  | DRAINAGE SYSTEMS PIPING |  | 0.00 | 0.00 |  | 0
84343 | A.6.2 | 100 mm Dia - Outlet | Nos | 0.00 | 1.00 |  | 0
84353 | B.1.1 | 30 Liters vertical storage water heater | Nos | 0.00 | 1.00 |  | 850
84355 | B.2.1 | 15 Ltrs Hr - Flow Rate | Nos | 0.00 | 1.00 |  | 750
84348 | A.7.3 | 50 mm Dia | Mtr | 0.00 | 25.00 |  | 0
84357 |  | WATER SUPPLY PIPE VALVES ACCESSORIES |  | 0.00 | 0.00 |  | 0
84351 |  | WATER SUPPLY EQUIPMENTS |  | 0.00 | 0.00 |  | 1900
84330 | A.1.2 | NGT 70 - Flow Rate (2.20 LPS 132 LPM) | Nos | 0.00 | 1.00 |  | 0
84345 | A.7 | Supplying, Installing, Testing, and Commissioning of uPVC Pipe, for drainage with all necessary fittings such as bends, wye s, reducers, san tee s, double wye s, double combinations, san cross, and cleanout plugs etc, of approved make. and with all necessary supports clamps for the above-raised floor pipes as per standards and site conditions requirements. (Make Astral Supreme for Pipe and Fittings) |  | 0.00 | 0.00 |  | 0
84369 |  | PIPING THERMAL INSULATION |  | 0.00 | 0.00 |  | 0
84358 | B.3 | Supply, Installation, Testing Commissioning of Brass Ball Valve with full bore lever operated, SS ball and stem with a pressure rating of 16 Bar of approved make and with all necessary fittings. (Makes NECO or equivalent with Airport approval) |  | 0.00 | 0.00 |  | 2200
84364 | B.5.1 | 15 mm Dia | Mtr | 0.00 | 11.00 |  | 475
84367 | B.6 | Supply, Installation, Testing Commissioning of Copper Pipe conforming to BS 2871 EN 1057, (continous operating temperature range of maximum 90°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Manibhadra fittings or equivalent with Airport approval) |  | 0.00 | 0.00 |  | 0
84356 | B.2.1 | 25 Ltrs Hr - Flow Rate | Nos | 0.00 | 1.00 |  | 450
84365 | B.5.2 | 20 mm Dia | Mtr | 0.00 | 23.00 |  | 525
84368 | B.6.1 | 15 mm Dia | Mtr | 0.00 | 3.00 |  | 2500
84331 |  | VALVES ACCESSORIES |  | 0.00 | 0.00 |  | 0
84359 | B.3.1 | 15 mm Dia | Nos | 0.00 | 4.00 |  | 2200
84362 |  | COLD WATER SUPPLY PIPING |  | 0.00 | 0.00 |  | 0
84341 | A.6 | Supplying, Installing Testing of cast iron Floor Trap (150 mmx 150 mm) with Stainless Steel slotted top cover, odour water seal trap of approved make with all necessary adapters, fittings and connectors etc. (Makes NECO or equivalent with Airport approval) |  | 0.00 | 0.00 |  | 0
84346 | A.7.1 | 32 mm Dia | Mtr | 0.00 | 5.00 |  | 1800
84349 | A.7.4 | 75 mm Dia | Mtr | 0.00 | 4.00 |  | 1900
84360 | B.4 | Supply, Installation, Testing, and Commissioning of chrome plated Angle Valve with wall flange rosette for all plumbing equipment fixtures with a pressure rating of 16 Bar of approved make and with all necessary fittings. Including making good the wall partition as per Architectural Interior Design and as per relevant standards. (Makes NECO or equivalent with Airport approval) |  | 0.00 | 0.00 |  | 0
84361 | B.4.1 | 15 mm Dia Inlet (Outlet size to fit with plumbing eqp fixture connection) | Nos | 0.00 | 20.00 |  | 1800
84366 | B.5.3 | 25 mm Dia | Mtr | 0.00 | 17.00 |  | 552