## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
173488 | 1.0 | DISTRIBUTION BOARD |  | 0.00 | 0.00 |  | 0
173489 | 1.2 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, inter- connections, powder painted including earthing etc. as required. (But without MCB RCCB Isolator) Make Legrand Schneider Hager ABB |  | 0.00 | 0.00 |  | 0
173490 | a | 6 way , Double door | Each | 0.00 | 1.00 |  | 5000
173491 | 1.4 | Supplying and fixing 5 A to 32 A rating, 240 415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB |  | 0.00 | 0.00 |  | 0
173492 | a | Single pole | Each | 0.00 | 4.00 |  | 230
173493 | 1.6 | Supplying and fixing following rating, Four pole, (three phase and neutral), 230 V, Residual Current Breaker with Over-Current (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB |  | 0.00 | 0.00 |  | 0
173494 | a | 25A 2P RCBO | Each | 0.00 | 1.00 |  | 1180
173495 | 2 | L T CABLE SYSTEM |  | 0.00 | 0.00 |  | 0
173496 | 3 | WIRING SYSTEM (Internal wiring) |  | 0.00 | 0.00 |  | 0
173497 | 3.1 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. |  | 0.00 | 0.00 |  | 0
173498 | a | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | Metre | 0.00 | 5.00 |  | 280
173499 | 3.2 | Wiring for light point fan point exhaust fan point call bell point with 2x1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1x1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. |  | 0.00 | 0.00 |  | 0
173500 | a | Point Wiring | No | 0.00 | 3.00 |  | 1000
173501 |  | POWER POINTS |  | 0.00 | 0.00 |  | 0
173502 | 3.3 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. |  | 0.00 | 0.00 |  | 0
173503 | a | 2 X 4 sq. mm + 1 X 2.5 sq. mm earth wire (for Power circuit loop-in-out) | Metre | 0.00 | 20.00 |  | 250
173504 | 3.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 13 6 amps modular universal socket outlet and 13 6 amps modular switch, connection etc. as required. | Each | 0.00 | 4.00 |  | 500
173505 | 3.6 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing Cat6A modular socket, connection etc. as required. (for data telephone) | Each | 0.00 | 3.00 |  | 600
173506 |  | Sub Total WIRING SYSTEM (Internal wiring) |  | 0.00 | 0.00 |  | 0
173507 | LIGHTS | LIGHTS - SUPPLY OF Cove light as per design in the panel with aluminum profile on the sides of panel as per detail design. | RFT | 0.00 | 12.00 |  | 350