## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
107149 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107150 |  | SPLIT UNITS0 DUCTABLE UNITS HIWALL UNITS | 0 | 0.00 | 0.00
107151 |  | Removal of existing 8.5TR Ductable Indoor Units storing them in a good condition | 0 | 0.00 | 0.00
107152 |  | 8.5TR Ductable Unit | Nos | 0.00 | 8.00 |  | 2805
107153 |  | 0 | 0 | 0.00 | 0.00
107154 |  | Re-Installation of existing 8.5TR Ductable Units. Vaccumizing, pressure testing, gas charging commissioning of the same | 0 | 0.00 | 0.00
107155 |  | 8.5TR Ductable Unit | Nos | 0.00 | 8.00 |  | 5865
107156 |  | 0 | 0 | 0.00 | 0.00
107157 |  | Gas Required for commissioning | Kgs | 0.00 | 50.00 |  | 720
107158 |  | 0 | 0 | 0.00 | 0.00
107159 |  | Indoor Stands for 8.5TR Ductable Unit | Nos | 0.00 | 8.00 |  | 1920
107160 |  | 0 | 0 | 0.00 | 0.00
107161 |  | Epoxy paint, Enamel paint modification if required for existing outdoor unit stand | Nos | 0.00 | 8.00 |  | 1920
107162 |  | 0 | 0 | 0.00 | 0.00
107163 |  | 1.5TR Hiwall Split Unit ( 3 Star ) | Nos | 0.00 | 0.00 |  | 540
107164 |  | 0 | 0 | 0.00 | 0.00
107165 |  | REFRIGERANT COPPER PIPING FOR DUCTABLE UNITS | 0 | 0.00 | 0.00
107166 |  | Supply, installation, testing commissioning of refrigerant copper piping connected between odu unit IDU units covered with19 mm thick XLPE insulation. | 0 | 0.00 | 0.00
107167 |  | Liquid Gas Cu Piping with 19mm Al Faced XLPE insulation for Ductable Unit | Rmt | 0.00 | 10.00 |  | 2089
107168 |  | Liquid Gas Cu Piping with 19mm Al Faced XLPE insulation for Hiwall Unit | Rmt | 0.00 | 2.00 |  | 838
107169 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107170 |  | Communication Cable if required. Existing cable will be used. 3 Core x 2.5 Sqm Shielded Copper Cable in PVC Conduits(ODU TO IDU) | Rmt | 0.00 | 0.00 |  | 163
107171 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107172 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107173 |  | FAN | 0 | 0.00 | 0.00 |  | 0
107174 |  | Supply, installation, commissioning testing of Inline fans (Exhaust Fresh Air Fan) | 0 | 0.00 | 0.00 |  | 0
107175 |  | Capacity 400 cfm @ 15 mm WC static pressure- Fresh Air Fan | Nos | 0.00 | 0.00 |  | 23964
107176 |  | Capacity 500 cfm @ 15 mm WC static pressure0 Fresh Air Fan | Nos | 0.00 | 0.00 |  | 23964
107177 |  | Capacity 500 cfm @ 15 mm WC static pressure- Exhaust Air Fan | Nos | 0.00 | 0.00 |  | 19596
107178 |  | Capacity 700 cfm @ 15 mm WC static pressure- Exhaust Air Fan | Nos | 0.00 | 0.00 |  | 19596
107179 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107180 |  | CONDENSATE DRAIN PIPING | 0 | 0.00 | 0.00 |  | 0
107181 |  | Supply, installation, testing Commissioning of PVC drain pipe of following sizes with 9mm thick XLPE insulation. | 0 | 0.00 | 0.00 |  | 0
107182 |  | 50mm dia With 9mm XLP insulation | Rmt | 0.00 | 35.00 |  | 216
107183 |  | 40mm dia With 9mm XLP insulation | Rmt | 0.00 | 12.00 |  | 186
107184 |  | 32mm dia With 9mm XLP insulation | Rmt | 0.00 | 15.00 |  | 156
107185 |  | 25mm dia With 9mm XLP insulation | Rmt | 0.00 | 0.00 |  | 108
107186 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107187 |  | DUCTWORK ACCESSORIES | 0 | 0.00 | 0.00 |  | 0
107188 |  | Rectangular Ducting | 0 | 0.00 | 0.00 |  | 0
107189 |  | 24G0Ducting Factory Fabricated as per IS standards with angle Iron Flanges. (Supply and Installation of GI sheet metal duct, heavy duty GI angle rod wire supports, adjustable volume control Splitter dampers, guide vanes with necessary flexible conne | Sq.m | 0.00 | 265.00 |  | 1292
107190 |  | 22G0 Ducting Factory Fabricated as per IS standards with angle Iron Flanges. (Supply and Installation of GI sheet metal duct, heavy duty GI angle rod wire supports, adjustable volume control Splitter dampers, guide vanes with necessary flexible conn | Sq.m | 0.00 | 125.00 |  | 1588
107191 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107192 |  | Supply, Installation, testing commissioning of factory built Manual Volume Control Dampers | Sq.m | 0.00 | 2.00 |  | 6005
107193 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107194 |  | Supply, Installation, testing commissioning of factory built Collar Volume Control Dampers | Sq.m | 0.00 | 11.00 |  | 6710
107195 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107196 |  | Supply, Installation, testing commissioning of factory built Fire Control Dampers | Sq.m | 0.00 | 0.00 |  | 13466
107197 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107198 |  | Fusible Link for Fire Control Dampers | Nos | 0.00 | 0.00 |  | 1020
107199 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107200 |  | Supply, Installation, testing commissioning of factory built AL Birdscreen with louvers | Sq.m | 0.00 | 1.00 |  | 10884
107201 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107202 |  | Insulated Plenum boxes 200 x 300 x 650 | Nos | 0.00 | 80.00 |  | 2328
107203 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107204 |  | SITC and balancing of grills and deffusers | 0 | 0.00 | 0.00 |  | 0
107205 |  | 3 slot grills for supply air with hit and miss dampers complete with air patern controller. | RM | 0.00 | 70.00 |  | 2340
107206 |  | 3 slot grills for return air without dampers complete with air patern controller. | RM | 0.00 | 0.00 |  | 1608
107207 |  | Linear Air Grilles with Al. VCD0 Linear Fixed Bar Grilles, Horizontal Fixed with removable cores, core styles 1 2 3 way with opposed Blade aluminium Bars, Normal Blade (5 mm nominal thickness) Grille height 16 mm, blade pitch 12.5 mm. 150mm wide linear g | Sq.m | 0.00 | 0.00 |  | 5359
107208 |  | Linear Air Grilles without VCD0 Linear Fixed Bar Grilles for Return Air 150mm wide linear grilles without dampers | Sq.m | 0.00 | 12.00 |  | 5239
107209 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107210 |  | DIFFUSER | 0 | 0.00 | 0.00 |  | 0
107211 |  | Supply Air Diffusers with Al. VCD - Multicone Ceiling Rectangular Diffusers with removable cores, core styles 1 2 3 way with opposed Blade aluminium extruded construction VCD Black Anodized | Nos | 0.00 | 0.00 |  | 1860
107212 |  | Return Air Diffusers without Al. VCD - Multicone Ceiling Rectangular Diffusers with removable cores, core styles 1 2 3 way with opposed Blade aluminium extruded construction. | Nos | 0.00 | 0.00 |  | 1596
107213 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107214 |  | Supply and installation of return air Disc valve (TOILET EXHAUST FRESH AIR) | 0 | 0.00 | 0.00
107215 |  | 150dia | Nos | 0.00 | 0.00 |  | 912
107216 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107217 |  | Supply Installation testing and comissioning of insulated flexible duct of given sizes. Make Twiga or equal | 0 | 0.00 | 0.00 |  | 0
107218 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107219 |  | Dia 200 | Rmt | 0.00 | 60.00 |  | 480
107220 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107221 |  | GI Rings for Flexible Connections | 0 | 0.00 | 0.00 |  | 0
107222 |  | 200 Dia | Nos | 0.00 | 160.00 |  | 480
107223 |  | 300 Dia | Nos | 0.00 | 0.00 |  | 540
107224 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107225 |  | Return air Z Piece ( 300 x 300 x 900 ) with Insulation | Nos | 0.00 | 0.00 |  | 3600
107226 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107227 |  | INSULATIONS-HVAC | 0 | 0.00 | 0.00 |  | 0
107228 |  | Thermal duct insulation | 0 | 0.00 | 0.00 |  | 0
107229 |  | 13mm thick Al.Faced XLPE insulation ( Aerofoam or approved equivalent) | Sq.m | 0.00 | 350.00 |  | 438
107230 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107231 |  | Duct Accoustic Insulation | 0 | 0.00 | 0.00 |  | 0
107232 |  | Acoustic insulation of Ducts0 Physically crosslinked Open cell polyolefin foam with factory applied reinforced aluminium foil having density of 25kg m3 and meeting the Class 0 requirements of Fire safety as per BS 476 Part 6 7.The material shall be an | Sq.m | 0.00 | 125.00 |  | 1092
107233 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107234 |  | Under deck Insulastion | 0 | 0.00 | 0.00 |  | 0
107235 |  | Insulation material shall be Closed Cell Elastomeric Armaflex Nitrile Rubber, Density of Material shall be between 45 + 5 kg m3, Thermal conductivity of elastomeric nitrile rubber shall not exceed 0.035 W m?K at mean temperature of 0?C,• The insulation sh | Sq.m. | 0.00 | 330.00 |  | 708
107236 |  | 0 | 0 | 0.00 | 0.00 |  | 0
107237 |  | Scaffolding for Ducting work at Double height area. | Lot | 0.00 | 1.00 |  | 14097