## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
78132 | I | PANEL SWITCHGEAR |  | 0.00 | 0.00 |  | 0
78133 | 1 | Supply, installation, testing commissioning of Switchgears.(Standard Product) |  | 0.00 | 0.00 |  | 0
78134 |  | MAIN PANEL-1 | Nos. | 0.00 | 1.00 |  | 165000
78135 |  | Incomer 63 AMPS 4P MCB, 10kA |  | 0.00 | 0.00 |  | 0
78136 |  | Meter Protection ELR with CBCT; 60 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG) |  | 0.00 | 0.00 |  | 0
78137 |  | Indication Phase indicating lamps with 6A MCB |  | 0.00 | 0.00 |  | 0
78138 |  | Busbar 75A TPN AL Busbar |  | 0.00 | 0.00 |  | 0
78139 |  | Outgoings |  | 0.00 | 0.00 |  | 0
78140 |  | a) 63A 4P MCB, C TYPE - 3 Nos |  | 0.00 | 0.00 |  | 0
78141 |  | b) 40A 4P MCB, C TYPE - 2 Nos |  | 0.00 | 0.00 |  | 0
78142 |  | c) 32A DP MCB, C TYPE - 2 Nos |  | 0.00 | 0.00 |  | 0
78143 |  | d) 20A 4P MCB, C TYPE - 2 Nos |  | 0.00 | 0.00 |  | 0
78144 |  | e) MPCB SUITABLE for 1.5 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-1 Nos. |  | 0.00 | 0.00 |  | 0
78145 |  | f) MPCB SUITABLE for 1.1 kw motor DOL Starter, Phase Indicating lamps, ON OFF TRIP Indication, ON OFF Push Button-2 Nos. |  | 0.00 | 0.00 |  | 0
78146 | 1.1 | Supply,Installation,Testing and Commissioning of 20 Amps,DP ELMCB 100mA for HVAC Outdoor Isolation all complete with mounting accessories | Nos. | 0.00 | 0.00 |  | 9500
78147 | 1.2 | Supply,Installation,Testing and Commissioning of 63 Amps,3Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. | Nos. | 0.00 | 0.00 |  | 7800
78148 | 1.3 | Supply,Installation,Testing and Commissioning of 40 Amps,4Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. | Nos. | 0.00 | 3.00 |  | 4500
78149 | 1.4 | Supply,Installation,Testing and Commissioning of 32 Amps, DP, MCB for UPS Isolation all complete with mounting accessories for UPS. | Nos. | 0.00 | 2.00 |  | 3050
78150 | 1.14 | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make model No. 6078 80 | Nos. | 0.00 | 2.00 |  | 11110
78151 | 1.17 | 20 32A Rey roll socket complete with 25 amps SPMCB with 3 pin metal clad socket Plug top | Nos. | 0.00 | 2.00 |  | 2810
78152 |  | I) 25A, 3Pin industrial metal clad Socket with MCB – 1nos |  | 0.00 | 0.00 |  | 0
78153 |  | I) 20A, 3Pin industrial metal clad Socket with MCB – 1nos |  | 0.00 | 0.00 |  | 0
78154 |  | ii)set of 2nos 16A Bakelite Socket with 2nos 16A Switch –3nos |  | 0.00 | 0.00 |  | 0
78155 |  | iii) Data Socket – 2nos |  | 0.00 | 0.00 |  | 0
78156 |  | iv) Telephone Socket – 1no. |  | 0.00 | 0.00 |  | 0
78157 | II | UPS |  | 0.00 | 0.00 |  | 0
78158 | 1 | Supply, Installation, testing and commissioning of 3.0 KVA UPS System Single Phase I C Single Phase O G complete with 30 Minutes Battery Back-up the required accessories as specified in the drawings the specifications. | Nos. | 0.00 | 1.00 |  | 75000
78159 | III | DISTRIBUTION BOARDS |  | 0.00 | 0.00 |  | 0
78160 |  | Supply, installation, testing commissioning of Distribution Boards surface flush mounted with Double door containing MCB ELMCB as incomer and SPMCB as outgoing. All MCBs are of 10KA breaking capacity and ELMCBs RCCB should be of 30mA 100 300 mA sensiv |  | 0.00 | 0.00 |  | 0
78161 | 2 | Kitchen Power DB - KPDB | Nos. | 0.00 | 1.00 |  | 24500
78162 |  | 8 way TPN DB |  | 0.00 | 0.00 |  | 0
78163 |  | I C-63A FP MCB -1 Nos |  | 0.00 | 0.00 |  | 0
78164 |  | SUB I C 40A DP RCCB @ 100mA - 3 Nos |  | 0.00 | 0.00 |  | 0
78165 |  | O G -18 # 10 16 20A SP MCB |  | 0.00 | 0.00 |  | 0
78166 | 3 | LDB | Nos. | 0.00 | 1.00 |  | 9000
78167 |  | 12 way SPN DB |  | 0.00 | 0.00 |  | 0
78168 |  | I C-32A RCBO 30mA-1 Nos |  | 0.00 | 0.00 |  | 0
78169 |  | O G -8 # 6 10A SP MCB |  | 0.00 | 0.00 |  | 0
78170 | 4 | UPSDB | Nos. | 0.00 | 1.00 |  | 9000
78171 |  | 12 way SPN DB |  | 0.00 | 0.00 |  | 0
78172 |  | I C-32A RCBO 30mA-1 Nos |  | 0.00 | 0.00 |  | 0
78173 |  | O G -8 # 6 10A SP MCB |  | 0.00 | 0.00 |  | 0
78174 | IV | CABLES ACCESSORIES |  | 0.00 | 0.00 |  | 0
78175 |  | Supply installation of following LT XLPE FRLS cables rated for 600 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with |  | 0.00 | 0.00 |  | 0
78176 | 9 | 4C x 25 Sq. mm A2XFY | Mtr. | 0.00 | 30.00 |  | 310
78177 | 10 | 4C x 16 Sq. mm A2XFY | Mtr. | 0.00 | 10.00 |  | 220
78178 | 11 | 4C x 10 Sq. mm A2XFY | Mtr. | 0.00 | 10.00 |  | 190
78179 | 12 | 4C x 10 Sq. mm 2XFY ( Cu ) | Mtr. | 0.00 | 10.00 |  | 700
78180 | 13 | 4C x 16 Sq. mm 2XFY Cable ( Cu ) | Mtr. | 0.00 | 10.00 |  | 940
78181 | 14 | 4C x 6 Sq. mm 2XFY Cable ( Cu ) | Mtr. | 0.00 | 10.00 |  | 455
78182 | 15 | 4C x 2.5 Sq. mm 2XFY Cable ( Cu ) | Mtr. | 0.00 | 10.00 |  | 280
78183 | 17 | 3C x 4sq. mm YWY cable ( Cu ) | Mtr. | 0.00 | 20.00 |  | 295
78184 | 18 | 3C x 2.5 Sq. mm YWY cable ( Cu ) | Mtr. | 0.00 | 80.00 |  | 228
78185 | 24 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) | Mtr. | 0.00 | 45.00 |  | 495
78186 | 25 | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) | Mtr. | 0.00 | 50.00 |  | 62
78187 | B | Termination of following sizes of cables with Single compression cable gland.(COMET BRAKO) |  | 0.00 | 0.00 |  | 0
78188 | 9 | 4C x 25 Sq. mm A2XFY | Nos. | 0.00 | 2.00 |  | 550
78189 | 10 | 4C x 16 Sq. mm A2XFY | Nos. | 0.00 | 2.00 |  | 450
78190 | 18 | 3C x 2.5 Sq. mm YWY cable ( Cu ) | Nos. | 0.00 | 6.00 |  | 250
78191 | 24 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) | Nos. | 0.00 | 4.00 |  | 365
78192 | 25 | 1Rx1Cx4 Sq.mm YY FRLS Cable (Cu) | Nos. | 0.00 | 2.00 |  | 65
78193 | V | WIRING ACCESSORIES |  | 0.00 | 0.00 |  | 0
78194 |  | 1) Rates for point wiring shall include supply installation of Wires wiring acccessories such as angle holders ceiling roses as required. conduits, conduit accessories such as junction boxes, Ts, elbows etc,Switches, sockets fixtures shall not be |  | 0.00 | 0.00 |  | 0
78195 |  | 2) Unless otherwise specified, all wires in point wiring shall be 2.5 sq.mm |  | 0.00 | 0.00 |  | 0
78196 |  | Stranded copper conductor 1.1 KV grade, I.S.I. marked (P+N+E), |  | 0.00 | 0.00 |  | 0
78197 |  | (FRLSH) PVC insulated . |  | 0.00 | 0.00 |  | 0
78198 |  | Wires shall be colour coded (Red, Yellow and Blue for Phases, |  | 0.00 | 0.00 |  | 0
78199 |  | Black for Neutral Green for earth). |  | 0.00 | 0.00 |  | 0
78200 |  | 3) Looping of wires shall be in fittings and switch boxes only |  | 0.00 | 0.00 |  | 0
78201 |  | 4) Location of switches sockets DBs shown on the drawings shall |  | 0.00 | 0.00 |  | 0
78202 |  | be confirmed with the Architect Consultant Project Manager |  | 0.00 | 0.00 |  | 0
78203 |  | before installation. |  | 0.00 | 0.00 |  | 0
78204 |  | 5) All Surface and concealed Conduits shall be rigid GI conduits of |  | 0.00 | 0.00 |  | 0
78205 |  | size not less than 20 mm dia as per applicable IS. |  | 0.00 | 0.00 |  | 0
78206 |  | 6)The Contractor can take more than one circuit in the same conduit |  | 0.00 | 0.00 |  | 0
78207 |  | provided they are of the same phase. The size of conduit shall be |  | 0.00 | 0.00 |  | 0
78208 |  | decided according to the number of wires in it as per applicable IS as |  | 0.00 | 0.00 |  | 0
78209 |  | specified. |  | 0.00 | 0.00 |  | 0
78210 |  | 7) Payments for light fixtures fans will be made separately as per the |  | 0.00 | 0.00 |  | 0
78211 |  | items given in Light Fixtures Accessories . |  | 0.00 | 0.00 |  | 0
78212 |  | 8) Type location of light fixtures shown in the drawings are |  | 0.00 | 0.00 |  | 0
78213 |  | tentative and subject to revision as per the recommendation of |  | 0.00 | 0.00 |  | 0
78214 |  | Architect Consultant. The quantities (number of points and accessories) |  | 0.00 | 0.00 |  | 0
78215 |  | of point wiring will be revised as actual installed on account of such |  | 0.00 | 0.00 |  | 0
78216 |  | revisions in the layouts. |  | 0.00 | 0.00 |  | 0
78217 |  | 9) Circuit wiring from DBs to the switch boards or first light point shall |  | 0.00 | 0.00 |  | 0
78218 |  | Be included as primary points remaining points of the same looping |  | 0.00 | 0.00 |  | 0
78219 |  | shall be considered as Secondary points and shall be counted in nos. |  | 0.00 | 0.00 |  | 0
78220 |  | 10) Circuit Wiring from DB to Kitchen Power points shall be measured in running meters |  | 0.00 | 0.00 |  | 0
78221 | 1 | Supply, installation, testing commissioning of point wiring for light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points shall |  | 0.00 | 0.00 |  | 0
78222 | a) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) | Nos. | 0.00 | 0.00 |  | 4250
78223 | b) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Nos. | 0.00 | 0.00 |  | 2500
78224 | 1 | Supply, installation, testing commissioning of point wiring for EMER light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points |  | 0.00 | 0.00 |  | 0
78225 | a) | Primary Light points controlled by MCB (1R 3Cx 2.5 sqmm wire) | Nos. | 0.00 | 0.00 |  | 4250
78226 | b) | Secondary Light points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Nos. | 0.00 | 0.00 |  | 2500
78227 | 2 | Supply, installation, testing commissioning of point wiring for light Point points, power points. Point wiring for primary point shall include wiring from Switch Board upto First point of the circuit and shall be measured in nos. Secondary points shal |  | 0.00 | 0.00 |  | 0
78228 | a) | Primary Light Fan points controlled by Switch (1R 3Cx 2.5 sqmm wire) | Nos. | 0.00 | 15.00 |  | 3800
78229 | b) | Secondary Light Fan points looped in the same circuit. (1R 3Cx 2.5 sqmm wire) | Nos. | 0.00 | 22.00 |  | 1550
78230 | c) | DB to SB SB to SB circuit wiring Wiring for switch board controlled by MCB already installed in DB by using 3 X 2.5 sq. mm flexible FRLSH copper wires in 25mm rigid GI conduits as per IS 9537 part-3 or surface mounted. | Mtrs | 0.00 | 80.00 |  | 290
78231 | 5 | Providing point wiring for a cluster of 2 nos.6 amps socket outlets and 1 no. 16A switch pop up box for Computer POS Power Points using 3Cx4 sq. mm PVC insulated copper conductor wires from UPSDB to plug point in Existing Floor Raceway GI Conduits a |  | 0.00 | 0.00 |  | 0
78232 | a) | Primary Point | Nos. | 0.00 | 1.00 |  | 4150
78233 | b) | Secondary points | Nos. | 0.00 | 1.00 |  | 1810
78234 | 7 | Providing point wiring for Raw Power points 1no. 6 16A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4 sq. mm copper conductor wires . (Cost of GI Conduit is included and switch sockets are considered elsewhere). |  | 0.00 | 0.00 |  | 0
78235 | a) | Primary Point | Nos. | 0.00 | 15.00 |  | 4110
78236 | b) | Secondary points | Nos. | 0.00 | 14.00 |  | 1850
78237 | 8 | Providing point wiring for Raw Power points 1no. 6A switch socket outlet on Skirting level to be looped from the nearest point using 3Cx4sq. mm copper conductor wires (Cost of GI Conduit is included and switch sockets are considered elsewhere). (Wires |  | 0.00 | 0.00 |  | 0
78238 | a) | Primary Point | Nos. | 0.00 | 10.00 |  | 4050
78239 | b) | Secondary points | Nos. | 0.00 | 10.00 |  | 2210
78240 | 10 | Providing point wiring for Primary Secondary CCTV points using 3Cx4 sq. mm PVC insulated copper flexible FRLSH cable in already laid 25 mm dia. GI conduit surface mounted on ceiling, concealed in wall and or through partitions with necessary boxes pul | Mtr. | 0.00 | 10.00 |  | 320
78241 | 11 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid GI conduit concealed or surface mounted making connections where ever required to complete the installation.(For Kitchen Power Poi |  | 0.00 | 0.00 |  | 0
78242 | a) | 3Cx4 Sqmm Cu. Wires | Mtr. | 0.00 | 300.00 |  | 210
78243 | b) | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | Mtr. | 0.00 | 10.00 |  | 255
78244 | 12 | Supply installation of 25 mm dia. GI conduit with pull box junction box all accessories for Kitchen Bar Power wiring as per the requirement |  | 0.00 | 0.00 |  | 0
78245 | a | - do - but conduit pipe shall be Rigid type. | Mtr. | 0.00 | 150.00 |  | 220
78246 | b | - do - but flexible conduit pipe | Mtr. | 0.00 | 20.00 |  | 65
78247 | 13 | Supply installation of 20 mm dia. GI conduit with pull box junction box all accessories for Lighting Power wiring as per the requirement |  | 0.00 | 0.00 |  | 0
78248 | a | - do - but conduit pipe shall be Rigid type. | Mtr. | 0.00 | 50.00 |  | 185
78249 | 14 | Supply and installation of Perforated Cable Tray (ASIAN)out of 14 gauge GI sheet complete with necessary fixing arrangement with Anchor Fastener and all other accessories as per the final approval of the Consultant Architect |  | 0.00 | 0.00 |  | 0
78250 | a | 300 x 50 x 2mm | Mtr. | 0.00 | 20.00 |  | 1160
78251 | c | 150 x 50 x 2mm | Mtr. | 0.00 | 30.00 |  | 590
78252 | 15 | Supply and installation of GI trunking (SV POWER ASIAN) with 2 mm thickness properties clamps for suspension at appropriate intervals as per the route approved by Architect Consultant. (For DATA CONTROL WIRING LIGHTING POWER CIRCUITS KITCHEN) |  | 0.00 | 0.00 |  | 0
78253 | e | 50 x 50 x 2mm | Mtr. | 0.00 | 20.00 |  | 550
78254 | 16 | Supply and installation of GI raceway with 2 mm thickness proper ties clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included). |  | 0.00 | 0.00 |  | 0
78255 | c | 1 runs of underfloor GI raceways of size 100 x 40 mm | Mtr. | 0.00 | 20.00 |  | 342
78256 | 17 | Supply installation of GI junction boxes with 2 mm thickness, 2mm thick SS cover with 2” extra on all sides SS cover on top and having screw fixed plates on all four sides with knock out holes for conduits. The plates shall be retained on the sidezs ha |  | 0.00 | 0.00 |  | 0
78257 | d | suitable for 150 x 150 x 50 mm | Nos. | 0.00 | 3.00 |  | 500
78258 | 18 | Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant |  | 0.00 | 0.00 |  | 0
78259 | a | 6A one way plate type switch | Nos. | 0.00 | 20.00 |  | 230
78260 | b | 6A 5 pin Socket outlet | Nos. | 0.00 | 2.00 |  | 375
78261 | c | 6A 5pin switch socket outlet for CCTV Charging point | Nos. | 0.00 | 12.00 |  | 600
78262 | d | 2 nos 6A switch socket outlet | Nos. | 0.00 | 2.00 |  | 1210
78263 | f | 1 nos. 6 16A socket controlled by1nos 6 16A switch for Kitchen | Nos. | 0.00 | 25.00 |  | 750
78264 | h | Data Socket (D-Link) | Nos. | 0.00 | 10.00 |  | 555
78265 | i | Telephone Socket | Nos. | 0.00 | 2.00 |  | 550
78266 | j | TV Socket | Nos. | 0.00 | 4.00 |  | 350
78267 | 16 | Supply, installation of temporary lighting power arrangement for construction purpose of with industrial type switch sockets MCB s ELCB s lighting fittings as required to finish the work for interior contractor necessary electrical protections thr | Job | 0.00 | 1.00 |  | 22000
78268 | 1 | 22 W DOWN LIGHT | Nos. | 0.00 | 32.00 |  | 200
78269 | 4 | TUBE LIGHT | Nos. | 0.00 | 2.00 |  | 100
78270 | VII | EARTHING |  | 0.00 | 0.00 |  | 0
78271 | 3 | Supply erection of G.I. strip of 25 x 3 mm used for earthing on wall, cable trays with necessary clamps fixed on wall painted with bituminous paint in an approved manner. | Mtr. | 0.00 | 60.00 |  | 180
78272 | 5 | Supplying erecting bare copper conductor of 8 swg for earthing purpose | Mtr. | 0.00 | 40.00 |  | 90
78273 | 9 | Supplying installation testing commissioning of earth terminal box | Nos. | 0.00 | 1.00 |  | 2500
78274 | VIII | MISCELLANEOUS |  | 0.00 | 0.00 |  | 0
78275 | 1 | Supply Installation of 6A 3 pin plug top | Nos. | 0.00 | 4.00 |  | 110
78276 | 2 | Supply Installation of 16A 3 pin plug top | Nos. | 0.00 | 8.00 |  | 150
78277 | 4 | Supply laying of Rubber Mats, CPRI tested conforming to standards like BS 921, ASTM-D 178 IEC 479 for different operatng voltage ratings as below. |  | 0.00 | 0.00 |  | 0
78278 | 7 | Supply fixing of the best quality LT Danger Boards(415V) for of approved shape and size as specified by the local electrical authorities written in English, and local Language | Nos. | 0.00 | 1.00 |  | 400
78279 | A | DATA AND TELEPHONE SYSTEM |  | 0.00 | 0.00 |  | 0
78280 | 1 | Supply Installation of 25mm.dia. HMS GI conduit with pull box junction box all accessories for DATA VOICE WIFI wiring as per the requirement. | Mtr. | 0.00 | 150.00 |  | 190
78281 | 2 | Supply Installation of Cat-6 E Cable in above conduits for DATA System. | Mtr. | 0.00 | 200.00 |  | 90