## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
71157 | a.3 | 22 gauge galvanised sheet(Thickness - 0.8 mm) - Up to 1500 mm | Sq.mtr | 0.00 | 0.00 |  | 1200
71169 | H.2.0 | THERMAL INSULATION |  | 0.00 | 0.00 |  | 0
71171 | a.1 | 13 mm thick for External Insulation of duct | Sq.mtr | 0.00 | 0.00 |  | 0
71151 | a | Supply, Installation, Testing and Commissioning of factory made lock-forming quality flat oval spiral ducting of approved makes complying with IS 277 and having 120 GSM coating classification with elbows, turning vanes, volume control dampers, G.I. supports, hangers, etc. required accessories . The price shall include the cost of threaded rod supports Gripples for open ceiling area etc. The item also include providing applying two coat of approved make anti corrosive paint over a coat of primer as per manufacturers architect s recommendations. |  | 0.00 | 0.00 |  | 0
71159 | b.1 | 22 gauge galvanized sheet - For Exhaust fresh Air Duct | Sq.mtr | 0.00 | 24.00 |  | 1476
71168 | b.3 | SITC of Canvas cloth at fan mouth for Exhaust Fresh air unit as per detail specification | Nos | 0.00 | 1.00 |  | 1700
71155 | a.1 | 24 gauge galvanized sheet(Thickness - 0.6 mm) - Up to 750 mm | Sq.mtr | 0.00 | 0.00 |  | 1200
71174 | a.3 | 09 mm thick for External Insulation of Exhaust duct | Sq.mtr | 0.00 | 13.00 |  | 1020
71160 | b.2 | 24 gauge galvanized sheet - For Exhaust fresh Air Duct | Sq.mtr | 0.00 | 13.00 |  | 1260
71158 | b | Supply, Installation, Testing and Commissioning of Site Fabricated rectangular GI ducting of approved makes complying with IS 277 and having 120 GSM coating classification. The price shall include the cost of necessary accessories supports (like flanges, neoprene gaskets, wire ropes, corner saddles, guide vanes, vibration isolators, fire retardant canvas connection in all fan outlet connections, joints, sealing around the duct at wall crossings, labeling, (M.S supports M.S Frame For Duct travelling Vertical up to Terrace, necessary flange type opening at specific interval for duct cleaning etc. for kitchen exhaust duct )as per specifications. The price shall include the cost of threaded rod support. The item also include providing applying two coat of approved make anti corrosive paint over a coat of primer as per manufacturers architect s recommendations,also with cheisling and scaffolding if required. |  | 0.00 | 0.00 |  | 0
71170 | a | Supply Installation of closed cell structure Elastomeric foam based on synthetic nitrile rubber. The insulation material shall have fire performance of Class O acc. to building regulations. Fire propagation shall be tested acc. to BS476 Part 6 1989. It shall be FM approved UL94 tested. |  | 0.00 | 0.00 |  | 0
71173 | a.2 | 09 mm thick for Internal Insulation of duct | Sq.mtr | 0.00 | 24.00 |  | 1120