## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
71387 | 4.1 | 25mm Dia | Nos. | 0.00 | 0.00 |  | 0
71397 | 8 | SITC of grease trap -model NGT-14 Capacity -25.5 lit ( 28 LPM) with all required accessories( SIZE - | Nos | 0.00 | 0.00 |  | 0
71398 | 9 | SITC of grease trap -model NGT-30 Capacity -47.5 lit ( 57 LPM) with all required accessories( SIZE - | Nos | 0.00 | 0.00 |  | 0
71405 | 1.4 | 150 mm Dia | R.mt | 0.00 | 0.00 |  | 0
71411 | 2.3 | Floor trap 110 mm dia with grating(Outlet 75MM dia) | Each | 0.00 | 8.00 |  | 1250
71412 | 2.4 | Nahani trap 110 mm dia with grating(Outlet 75MM dia) | Each | 0.00 | 0.00 |  | 0
71375 | 1.1 | 15 mm Dia | R.mt | 0.00 | 0.00 |  | 0
71361 | A | WATER SUPPLY PIPING |  | 0.00 | 0.00 |  | 0
71376 | 1.2 | 20 mm Dia | R.mt | 0.00 | 50.00 |  | 260
71379 | 2 | Providing fixing gun metal lever operated ball valve. Tested to a pressure of 15 Kg Sqcm. Including flanges union, nuts, bolts, washer etc. Complete as required. |  | 0.00 | 0.00 |  | 0
71377 | 1.3 | 25 mm Dia | R.mt | 0.00 | 20.00 |  | 300
71374 | 1 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes SDR 11, having thermal stability for hot cold water supply including all CPVC plain brass threaded fittings i c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (Concealed work including cutting chases and making good the walls etc.,) Pressure Testing (Pipe shall be tested with 1.5 times working pressure as covered in specifications) |  | 0.00 | 0.00 |  | 0
71389 | 5.1 | 25 mm Dia incoming line | Nos. | 0.00 | 0.00 |  | 0
71382 | 2.3 | 32mm Dia | Nos. | 0.00 | 0.00 |  | 0
71391 | 5.3 | 40 mm Dia incoming line | Nos. | 0.00 | 0.00 |  | 0
71378 | 1.4 | 32mm Dia | R.mt | 0.00 | 15.00 |  | 350
71401 | 1.1 | 50mm Dia | R.mt | 0.00 | 0.00 |  | 0
71381 | 2.2 | 25mm Dia | Nos. | 0.00 | 2.00 |  | 1100
71403 | 1.3 | 100 mm Dia | R.mt | 0.00 | 15.00 |  | 455
71390 | 5.2 | 32 mm Dia incoming line | Nos. | 0.00 | 0.00 |  | 0
71414 |  | Only installation, testing and commissioning of sanitary and C.P. fittings |  | 0.00 | 0.00 |  | 0
71408 | 2 | Providing fixing in position pipe trap of self cleaning design of following sizes for the embedded areas. Making proper connection with , cutting chase hole in floors slabs and bringing the same in proper condition in cement concrete 1 2 4 mix complete as required. including cost of cutting and making good the walls and floors where required. Make |  | 0.00 | 0.00 |  | 1250
71423 | 1 | Making chamber in brick work including internal tiling etc for S.S Grating size, 300mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. | Nos. | 0.00 | 5.00 |  | 12000
71410 | 2.2 | Multi trap 110 mm dia with square grating (Outlet 75MM dia) | Each | 0.00 | 0.00 |  | 0
71425 | 1.1 | Providing and Fixing of S.S. sink without drain board over all size 600x450x200mm Single bowl size - 500x400x200mm with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Nos | 0.00 | 0.00 |  | 0
71383 | 2.4 | 40mm Dia | Nos. | 0.00 | 0.00 |  | 0
71417 | D | S.S. GRATING |  | 0.00 | 0.00 |  | 18000
71380 | 2.1 | 20mm Dia | Nos. | 0.00 | 0.00 |  | 0
71386 | 4 | Providing, fixing, testing and commissioning of Y STRAINER FLANGED END EPOXY COATED WITH SS SCREEN (CR16B) |  | 0.00 | 0.00 |  | 0
71388 | 5 | Providing and fixing of brass multijet water meters with magnetic transmision of IS-779 1994 including with rubber gasket, flanges unions, nuts, bolts, washers, etc. complete as required. Make Kranti |  | 0.00 | 0.00 |  | 0
71415 | 1.1 | Providing and Fixing C.P. brass wall mounted table top sink mixer with swinging spout, wall mounted type complete as required. | Nos | 0.00 | 7.00 |  | 3500
71393 | 6.1 | 5 L Capacity- | Nos. | 0.00 | 0.00 |  | 0
71392 | 6 | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories |  | 0.00 | 0.00 |  | 0
71396 | 7 | SITC of Eco smart RO 200 LPH Capacity with all required accessories | Nos | 0.00 | 0.00 |  | 0
71394 | 6.2 | 20 L Capacity | Nos. | 0.00 | 0.00 |  | 0
71400 | 1 | Providing and fixing Upvc SWR pipes ( Class B Heavy Type) including all fittings (plain or door) e.g. bends, junction, cowls, offsets, access pieces, jointing with rubber ring solvent cement joints,jali,clamps including cutting chase or holes in walls and floors and making good where required.( Inside the building) |  | 0.00 | 0.00 |  | 0
71424 | 2 | Making chamber in brick work including internal tiling etc for S.S Grating size, 1050mm x 350mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. | Nos. | 0.00 | 1.00 |  | 25000
71399 | B | DRAINAGE |  | 0.00 | 0.00 |  | 0
71402 | 1.2 | 75mm Dia | R.mt | 0.00 | 10.00 |  | 400
71409 | 2.1 | P-trap 110 mm dia | Each | 0.00 | 0.00 |  | 0
71416 | 1.2 | Angle Cock with PVC pipe connection upto sink Geyser RO connection | Nos | 0.00 | 12.00 |  | 1050
71384 | 3 | Providing, fixing, testing and commissioning of NRV with forged brass body, brass diaphram and SS seal in water supply pipes. Complete as required. |  | 0.00 | 0.00 |  | 0
71395 | 6.3 | 35 L Capacity- For dishwasher | Nos. | 0.00 | 1.00 |  | 17000
71385 | 3.1 | 25mm Dia | Nos. | 0.00 | 0.00 |  | 0
71413 | C | SANITARY AND C. P. FITTINGS FIXTURES |  | 0.00 | 0.00 |  | 1250
71421 |  | SITC of , testing and commissioning of S.S.Gratings |  | 0.00 | 0.00 |  | 0