## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
101575 |  | Electrical NT Items |  | 0.00 | 0.00 |  | 0
101576 | A | LT CABLE |  | 0.00 | 0.00 |  | 0
101577 | 1 | Supply and laying, effecting proper connections, testing commissioning of the following sizes of 1.1 KV XLPE FRLS armoured unarmoured PVC insulated PVC sheathed aluminium copper conductor cables conforming to IS 1554 and IS 694 for Flexible copper cable Part I - 1976 with latest amendments laid over MS supports in existing RCC ducts laid in ground laid on Cable Trays including clamping the cables to supports in an approved manner as required complete with all accessories.All cables shall have thermo setting insulation XLPE and low emission of smoke and corrosive gas when affected by fire. Necessary Markers shall be provided at the intervals as per the specifications. |  | 0.00 | 0.00 |  | 0
101578 | A | Aluminium cables |  | 0.00 | 0.00 |  | 0
101579 | 1 | 3.5C x 120 Sq.mm. | Mtr. | 0.00 | 150.00 |  | 0
101580 | 2 | 3.5C x 25 Sq.mm. | Mtr. | 0.00 | 110.00 |  | 0
101581 | 3 | 4C x 16 Sq.mm. | Mtr. | 0.00 | 110.00 |  | 0
101582 | B | CABLE TERMINATION |  | 0.00 | 0.00 |  | 0
101583 |  | Making cable and terminations including brass single compression glands and crimping type copper lugs for cable sizes mentioned below for aluminium or copper. |  | 0.00 | 0.00 |  | 0
101584 | 1 | 3.5C x 120 Sq.mm. | Nos. | 0.00 | 2.00 |  | 0
101585 | 2 | 3.5C x 25 Sq.mm. | Nos. | 0.00 | 2.00 |  | 0
101586 | 3 | 4C x 16 Sq.mm. | Nos. | 0.00 | 4.00 |  | 0
101587 | C | Providing and fixing in position the following GI RIGID conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. -32 mm dia GI Conduit | Rmt | 0.00 | 30.00 |  | 0
101588 | D | DB Enclosure Dimmer Controller |  | 0.00 | 0.00 |  | 0
101589 | 1 | Supply installation of Metal Enclosure box with wire connector for modification of existing DB as per detail given. | Nos. | 0.00 | 2.00 |  | 0
101590 | 2 | Supply installation of Enclosure box for light dimmer controller as per detail given. | Nos. | 0.00 | 20.00 |  | 0
101591 | 3 | Supply Installation of Light Dimmer Controller with Enclosuer box as per detail given. | Nos. | 0.00 | 40.00 |  | 0