## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
158900 |  | Material Unloading , Loading and Shifting - All equiment unloading from truck ,shifting and installation | Nos | 0.00 | 1.00 |  | 0
158901 |  | Re-work - Due to rain leakage from roof Ceiling light - 2 nos MCB make legrand- 5 nos RCCB 40amp 4 P make legrand - 3 Nos Wall and ceiling paint - 70 SQFT Ceiling gypsum repair - 40 SQFT Switch socket - 3 Nos Dismantling and Removing and replacement inclusive | Lot | 0.00 | 1.00 |  | 0
158902 |  | Sprinkler Work |  | 0.00 | 0.00 |  | 0
158903 |  | SITC of sprinkler plumbing line as per layout and site condition. | Nos | 0.00 | 4.00 |  | 0
158904 |  | SITC of sprinkler rossette plate | Nos | 0.00 | 4.00 |  | 0
158905 |  | SITC of U.L listed approved corrugated ss 304 | Nos | 0.00 | 4.00 |  | 0
158906 |  | Re-work_ Shifting of sprinkler line due to HVAC ducting route post completion | Nos | 0.00 | 1.00 |  | 0
158907 |  | Mis . |  | 0.00 | 0.00 |  | 0
158908 |  | M.S stand supply and fabrication above ceiling for R.O and tank (Sizes 3 fit x3 fitx2 fit) | Nos | 0.00 | 1.00 |  | 0
158909 |  | WOW Momo counter signage - Revised signage came according to revised drawing color. Cost inclusive of transportation or labour or loading and Unloading, etc. | Nos | 0.00 | 1.00 |  | 0
158910 |  | Plumbing _Tap for R.O tap and Frier ( 2nos ) | Nos | 0.00 | 3.00 |  | 0
158911 |  | Water meter | Nos | 0.00 | 1.00 |  | 0
158912 |  | Gate valve | Nos | 0.00 | 2.00 |  | 0
158913 |  | Grease trap installation | Nos | 0.00 | 2.00 |  | 0
158914 |  | Dismentaling and re-fixing of gyser at new location | Job | 0.00 | 1.00 |  | 0
158915 |  | 50mm drain pump re-work becouse fire supprassion team did damage 4.2 mtr piping with complete fitting | Nos | 0.00 | 1.00 |  | 0
158916 |  | Frier drain 50mm dia pipe installation | Mtr | 0.00 | 1.50 |  | 0
158917 |  | Frier connection pipe | Nos | 0.00 | 2.00 |  | 0
158918 |  | Nahni trap jali (Chilly trap) | Nos | 0.00 | 2.00 |  | 0
158919 |  | Gas meter MS pipe support | RFT | 0.00 | 5.00 |  | 0
158920 |  | T.V stand_ Supply and Installation of TV structure having 50x50mm MS structure with 19m fire rated ply on top finished with approved shade paint hanging from ceiling. | SFT | 0.00 | 12.00 |  | 0
158921 |  | Re-work sink inlet piping becz drawing has mentined low hight and sink hight different dismantling tile and reinstallation pipe and tile for three tap | Nos | 0.00 | 1.00 |  | 0
158922 |  | DB box modification and new shelf installation 0.8x0.75 mtr internally and externally packing behind the main signage board having laminate finish. | Job | 0.00 | 1.00 |  | 0
158923 |  | Drain pump wooden boxing 0.51x0.32x0.39 mtr + counter cash drawer s modification. | Job | 0.00 | 1.00 |  | 0
158924 |  | SS skirting 50mm hight 2.2+0.72+0.8 mtr | Mtr | 0.00 | 3.72 |  | 0
158925 |  | SS plate neas sink for partition to avoid water 1.38x0.67 mtr | Mtr | 0.00 | 1.00 |  | 0
158926 |  | SITC of 10mm thick toughened glass partition including all necessary hardware fitting. | SFT | 0.00 | 33.00 |  | 0
158927 |  | RO pressure Tank | Nos | 0.00 | 1.00 |  | 0
158928 |  | Drainage - 75 Dia CPVC - Additional drainage on floor due to lifting station | RMT | 0.00 | 8.00 |  | 0
158929 |  | Electric work |  | 0.00 | 0.00 |  | 0
158930 |  | Wall electric signage point with wiring work including chisseling of wall for wiring all complete post completion of wall finishing | Point | 0.00 | 12.00 |  | 0
158931 |  | Above ceiling RO, gyser electric and water metter wiring with 6amp switch and socket including 3 moduler box and 6 module | Nos | 0.00 | 3.00 |  | 0
158932 |  | On wall, FAS switch socket including wiring and 8 moduler box | Nos | 0.00 | 1.00 |  | 0
158933 |  | UPS socket 3M utility point incounter | Nos | 0.00 | 1.00 |  | 0
158934 |  | Flier catcher electric box 3M | Nos | 0.00 | 1.00 |  | 0
158935 |  | CCTV monitor | Nos | 0.00 | 1.00 |  | 0