## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
160829 |  | Item Tube Light T5 Lighting to be done in passage and both storage area 30 pcs (22 w tube lights on wall) as new Light Plan Remarks Only BOH of MK Edli provided | No | 0.00 | 4.00 |  | 0
160830 |  | Item Power Point Electrical points + wire to be provided in both area - as per layout (3 x 6 16 amp sockets each kiosk), 3 Module, GI Box, Face Plate etc. 2.5mm Wire FRLS with 25mm MS Conduit. Remarks BOH Ponts | Points | 0.00 | 2.00 |  | 0
160831 |  | Item Rubber Matt. Rubber matt flooring (2 mm thick) only to be done in both area and passage - 1200 sq. Ft Remarks BOH Area | Sqm | 0.00 | 15.00 |  | 0
160832 |  | Item Main Cable 10. Cabling from electrical meter to DB Board - as per site (10 m minimum each side) 4core x10 Sqm FRLS Remarks armoured cable in MK | Mtr. | 0.00 | 10.00 |  | 0
160833 |  | Item Looping Point All exposed conduit for points 1.5mm wire and lights in storage area - for 30 lights (2-3mtr each) Remarks BOH Light only | L S | 0.00 | 4.00 |  | 0
160834 |  | Item Flooring Opt-1 Front 400 mm area where customer stands, needs to be raised by 40 mm (all 5 kiosks) 25mm SHS Farm with 6mm ply with Rubber matt finish. Remarks Customer Area standing area | Sqm | 0.00 | 3.00 |  | 0
160835 |  | Item Refabrication (MK) 23. Refabrication of MS Structures of Masala Kitchen as per new size. Includes cutting , re sizing, wastages, Labour as per new drawing Remarks MK Idli refabrication | L S | 0.00 | 1.00 |  | 0
160836 |  | Item Partition Partition MS Pipe Structure 40mm SHS, 12mm Plywood cladding to receive subarid with vinyl branding. Remarks Only Required in MK Idli Shop | Sqm | 0.00 | 4.00 |  | 0
160837 |  | Item Branding Supply and pasting of HP latex printed artwork with 3mm Sunboard LG Ivory Pioneer media as per approved design artwork Remarks Only Required in MK Idli Shop | Sqft. | 0.00 | 151.00 |  | 0
160838 |  | Item Shop-13, Masala Kitchne 05. Back counter (2400 x 750 x 625 mm) - Front open shelf, inner shelves, shutter at drawing conter-1 Remarks Requirement occur after fabrication | No | 0.00 | 1.00 |  | 0
160839 |  | Item Shop-13, Masala Kitchne 05. Back counter (1400 x 750 x 925 mm) - front open chiller cover unit(counter-4) Remarks Requirement occur after fabrication | No | 0.00 | 1.00 |  | 0
160840 |  | Item Transportation Truck Lot Remarks Additional Transportation for counters | No | 0.00 | 0.00 |  | 0
160841 |  | Item Installation Additional Installation cost for 24 hours, working 20 Days footing, conveyance , overtime charges other allowance Remarks Additional Installation cost for 24 hours, working | No | 0.00 | 1.00 |  | 0