## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
103114 | Distribution Board | Supply, Installation, Testing and commissioning of 32A 4 Pole 100ma TPN MCB | Nos | 0.00 | 2.00 |  | 82
103115 |  | Supply, Installation, Testing and commissioning of 40A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 86
103116 |  | Supply, Installation, Testing and commissioning of 80A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 22
103117 |  | Supply, Installation, Testing and commissioning of 200A 4 Pole 10KA TPN MCCB | Nos | 0.00 | 1.00 |  | 24
103118 |  | Supply, Installation, Testing and commissioning of 250A 4 Pole 36KA TPN MCCB | Nos | 0.00 | 1.00 |  | 101
103119 |  | Supply, Installation, Testing and commissioning of 25A DP 30mA 10kA RCBO | Nos | 0.00 | 7.00 |  | 145
103120 |  | Supply, Installation, Testing and commissioning of 32A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 81
103121 |  | Supply, Installation, Testing and commissioning of 40A DP 30mA 10kA RCBO | Nos | 0.00 | 1.00 |  | 105
103122 |  | Supply, Installation, Testing and commissioning of 63A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 305
103123 |  | Supply, Installation, Testing and commissioning of 6A 10kA SP MCB | Nos | 0.00 | 7.00 |  | 372
103124 |  | Supply and installation of 20 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 700.00 |  | 615
103125 |  | Supply, Installation, Testing and commissioning of 10A 10kA SP MCB | Nos | 0.00 | 51.00 |  | 985
103126 |  | Supply, Installation, Testing and commissioning of 16A 10kA SP MCB | Nos | 0.00 | 52.00 |  | 719
103127 |  | Supply, Installation, Testing and commissioning of 25A 10kA SP MCB | Nos | 0.00 | 10.00 |  | 1350
103128 |  | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 2071
103129 |  | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 6850
103130 |  | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 18500
103131 |  | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 21500
103132 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 0.00 | 4.00 |  | 2780
103133 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 0.00 | 4.00 |  | 2875
103134 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 0.00 | 31.00 |  | 3170
103135 |  | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 4 Nos and One Dol starter provision | Nos | 0.00 | 1.00 |  | 3450
103136 |  | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Nos | 0.00 | 1.00 |  | 215
103137 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Nos | 0.00 | 11.00 |  | 215
103138 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Nos | 0.00 | 12.00 |  | 215
103139 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Nos | 0.00 | 3.00 |  | 215
103140 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Nos | 0.00 | 13.00 |  | 4950
103141 |  | Installtion of LED INDIRECT COVE LIGHT | Mtr | 0.00 | 28.00 |  | 5650
103142 |  | Installtion of DECORATIVE TABLE LAMP | Nos | 0.00 | 4.00 |  | 5850
103143 |  | Supply and installation of 25 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 500.00 |  | 9950
103144 |  | Installtion of DECORATIVE WALL LIGHT type 1 | Nos | 0.00 | 2.00 |  | 4250
103145 |  | Installtion of DECORATIVE WALL LIGHT type 2 | Nos | 0.00 | 12.00 |  | 2150
103146 |  | Installtion of DECORATIVE WALL LIGHT type 3 | Nos | 0.00 | 21.00 |  | 625
103147 |  | Supply and installation of 20 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 165000
103148 |  | Installtion of DECORATIVE HANGING LIGHT | Nos | 0.00 | 7.00 |  | 117500
103149 |  | Installtion of DECORATIVE HANGING CHANDELIER | Nos | 0.00 | 1.00 |  | 150
103150 |  | Supply and installation of 25 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 150
103151 |  | Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 0.00 | 4.00 |  | 300
103152 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 885.00 |  | 300
103153 |  | Fresh Air Motor Connection | Nos | 0.00 | 2.00 |  | 25
103154 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 165.00 |  | 200
103155 |  | Exhaust Motor Connection | Nos | 0.00 | 2.00 |  | 250
103156 |  | Installtion of Air Curtain | Nos | 0.00 | 2.00 |  | 250
103157 |  | Installation of Insect Killer | Nos | 0.00 | 2.00 |  | 250
103158 |  | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 0.00 | 25.00 |  | 350
103159 |  | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 0.00 | 25.00 |  | 400
103160 |  | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 0.00 | 35.00 |  | 550
103161 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 0.00 | 150.00 |  | 950
103162 |  | Supply Fixing of Lugs Punching | Nos | 0.00 | 0.00 |  | 950
103163 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 12.00 |  | 450
103164 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 24.00 |  | 400
103165 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 310
103166 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 450
103167 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 950
103168 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 0.00 | 3.00 |  | 20
103169 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 0.00 | 6.00 |  | 0
103170 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 16
103171 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 31
103172 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 2.00 |  | 40
103173 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 0.00 | 12.00 |  | 42
103174 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 0.00 | 24.00 |  | 150
103175 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 450
103176 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 550
103177 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 4.00 |  | 550
103178 |  | Supply Fixing 5 A Top | Nos | 0.00 | 5.00 |  | 550
103179 |  | Supply Fixing 15 A Top | Nos | 0.00 | 15.00 |  | 680
103180 |  | Supply Installation of - 10 Modular plate with box | Nos | 0.00 | 4.00 |  | 450
103181 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 0.00 | 11.00 |  | 450
103182 |  | Supply Installation of - 6 Modular plate with box | Nos | 0.00 | 5.00 |  | 550
103183 |  | Supply Installation of - 4 Modular plate with box | Nos | 0.00 | 28.00 |  | 531
103184 |  | Supply Installation of - 3 Modular plate with box | Nos | 0.00 | 11.00 |  | 680
103185 |  | Supply Installation of - 2 Modular plate with box | Nos | 0.00 | 5.00 |  | 85
103186 |  | Supply Installation of - 16A switch socket metal Box | Nos | 0.00 | 9.00 |  | 165
103187 |  | Supply Installation of - 5 15A 5 pin socket | Nos | 0.00 | 15.00 |  | 375
103188 |  | Supply Installation of - 5 15A 5 pin switch | Nos | 0.00 | 15.00 |  | 310
103189 |  | Supply Installation of - 5 15A 3 pin socket | Nos | 0.00 | 10.00 |  | 245
103190 |  | Supply Installation of - Data Socket | Nos | 0.00 | 23.00 |  | 195
103191 |  | Supply Installation of - USB charging Sockets | Nos | 0.00 | 11.00 |  | 165
103192 |  | Supply Installation of - Blank Plate | Nos | 0.00 | 10.00 |  | 130
103193 |  | Supply Installation of - 8 Modular Surface Box | Nos | 0.00 | 5.00 |  | 675
103194 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 390
103195 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 110
103196 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 0.00 | 525.00 |  | 395
103197 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 15.00 |  | 450
103198 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 70.00 |  | 1050
103199 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 0.00 | 4.00 |  | 25
103200 |  | Rubber Mat | Nos | 0.00 | 2.00 |  | 110
103201 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 725.00 |  | 240
103202 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 0.00 | 95.00 |  | 275
103203 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 25.00 |  | 41
103204 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 130.00 |  | 1050
103205 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 96.00 |  | 950
103206 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 18.00 |  | 1950
103207 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 40.00 |  | 1025
103208 |  | Supply and Installation of Ceiling Rose | Nos | 0.00 | 45.00 |  | 75