## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
176724 |  | Supply, installation, testing commissioning of Conventional Type optical Smoke Detector with inbuilt scattered light measurement, rate of rise and fixed temperature based technology and LED indication should be on the centre of the detector with mounting base complete as required. | No. | 0.00 | 7.00 |  | 0
176725 |  | Supply, installation, testing commissioning of conventional Manual Call Point (break glass type)complete with push button,enclosed in box with provision of conduit cable coupling.The unit to be painted fire red outside ,white inside and written in case of fire break glass or as required. | No. | 0.00 | 1.00 |  | 0
176726 |  | Supply, installation, testing commissioning of Conventional Hooter cum Strobe complete as required.110 cd light 85 dB adjustable at different locations complete with all fixing accessories etc under false ceiling ,roof,wall etc complete as required. | No. | 0.00 | 1.00 |  | 0
176727 |  | Supply, installation, testing commissioning of 2 zone based conventional Fire alarm control panel with standard set complete as required. | Set | 0.00 | 1.00 |  | 0
176728 |  | Supplying and erecting PVC armoured cable 2 core 1.5 sq. mm FRLS copper conductor complete erected on wall celling as per specification | Mtr. | 0.00 | 38.50 |  | 0