## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
97626 | Distribution Board | Supply, Installation, Testing and commissioning of 32A 4 Pole 100ma TPN MCB | Nos | 0.00 | 2.00 |  | 82
97627 |  | Supply, Installation, Testing and commissioning of 40A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 86
97628 |  | Supply, Installation, Testing and commissioning of 80A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 22
97629 |  | Supply, Installation, Testing and commissioning of 200A 4 Pole 10KA TPN MCCB | Nos | 0.00 | 1.00 |  | 24
97630 |  | Supply, Installation, Testing and commissioning of 250A 4 Pole 36KA TPN MCCB | Nos | 0.00 | 1.00 |  | 101
97631 |  | Supply, Installation, Testing and commissioning of 25A DP 30mA 10kA RCBO | Nos | 0.00 | 7.00 |  | 145
97632 |  | Supply, Installation, Testing and commissioning of 32A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 81
97633 |  | Supply, Installation, Testing and commissioning of 40A DP 30mA 10kA RCBO | Nos | 0.00 | 1.00 |  | 105
97634 |  | Supply, Installation, Testing and commissioning of 63A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 305
97635 |  | Supply, Installation, Testing and commissioning of 6A 10kA SP MCB | Nos | 0.00 | 7.00 |  | 372
97636 |  | Supply and installation of 20 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 700.00 |  | 615
97637 |  | Supply, Installation, Testing and commissioning of 10A 10kA SP MCB | Nos | 0.00 | 51.00 |  | 985
97638 |  | Supply, Installation, Testing and commissioning of 16A 10kA SP MCB | Nos | 0.00 | 52.00 |  | 719
97639 |  | Supply, Installation, Testing and commissioning of 25A 10kA SP MCB | Nos | 0.00 | 10.00 |  | 1350
97640 |  | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 2071
97641 |  | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 6850
97642 |  | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 18500
97643 |  | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 21500
97644 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 0.00 | 4.00 |  | 2780
97645 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 0.00 | 4.00 |  | 2875
97646 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 0.00 | 31.00 |  | 3170
97647 |  | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 4 Nos and One Dol starter provision | Nos | 0.00 | 1.00 |  | 3450
97648 |  | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Nos | 0.00 | 1.00 |  | 215
97649 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Nos | 0.00 | 11.00 |  | 215
97650 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Nos | 0.00 | 12.00 |  | 215
97651 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Nos | 0.00 | 3.00 |  | 215
97652 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Nos | 0.00 | 13.00 |  | 4950
97653 |  | Installtion of LED INDIRECT COVE LIGHT | Mtr | 0.00 | 28.00 |  | 5650
97654 |  | Installtion of DECORATIVE TABLE LAMP | Nos | 0.00 | 4.00 |  | 5850
97655 |  | Supply and installation of 25 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 500.00 |  | 9950
97656 |  | Installtion of DECORATIVE WALL LIGHT type 1 | Nos | 0.00 | 2.00 |  | 4250
97657 |  | Installtion of DECORATIVE WALL LIGHT type 2 | Nos | 0.00 | 12.00 |  | 2150
97658 |  | Installtion of DECORATIVE WALL LIGHT type 3 | Nos | 0.00 | 21.00 |  | 625
97659 |  | Supply and installation of 20 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 165000
97660 |  | Installtion of DECORATIVE HANGING LIGHT | Nos | 0.00 | 7.00 |  | 117500
97661 |  | Installtion of DECORATIVE HANGING CHANDELIER | Nos | 0.00 | 1.00 |  | 150
97662 |  | Supply and installation of 25 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 150
97663 |  | Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 0.00 | 4.00 |  | 300
97664 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 885.00 |  | 300
97665 |  | Fresh Air Motor Connection | Nos | 0.00 | 2.00 |  | 25
97666 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 165.00 |  | 200
97667 |  | Exhaust Motor Connection | Nos | 0.00 | 2.00 |  | 250
97668 |  | Installtion of Air Curtain | Nos | 0.00 | 2.00 |  | 250
97669 |  | Installation of Insect Killer | Nos | 0.00 | 2.00 |  | 250
97670 |  | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 0.00 | 25.00 |  | 350
97671 |  | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 0.00 | 25.00 |  | 400
97672 |  | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 0.00 | 35.00 |  | 550
97673 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 0.00 | 150.00 |  | 950
97674 |  | Supply Fixing of Lugs Punching | Nos | 0.00 | 0.00 |  | 950
97675 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 12.00 |  | 450
97676 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 24.00 |  | 400
97677 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 310
97678 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 450
97679 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 950
97680 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 0.00 | 3.00 |  | 20
97681 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 0.00 | 6.00 |  | 0
97682 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 16
97683 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 31
97684 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 2.00 |  | 40
97685 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 0.00 | 12.00 |  | 42
97686 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 0.00 | 24.00 |  | 150
97687 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 450
97688 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 550
97689 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 4.00 |  | 550
97690 |  | Supply Fixing 5 A Top | Nos | 0.00 | 5.00 |  | 550
97691 |  | Supply Fixing 15 A Top | Nos | 0.00 | 15.00 |  | 680
97692 |  | Supply Installation of - 10 Modular plate with box | Nos | 0.00 | 4.00 |  | 450
97693 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 0.00 | 11.00 |  | 450
97694 |  | Supply Installation of - 6 Modular plate with box | Nos | 0.00 | 5.00 |  | 550
97695 |  | Supply Installation of - 4 Modular plate with box | Nos | 0.00 | 28.00 |  | 531
97696 |  | Supply Installation of - 3 Modular plate with box | Nos | 0.00 | 11.00 |  | 680
97697 |  | Supply Installation of - 2 Modular plate with box | Nos | 0.00 | 5.00 |  | 85
97698 |  | Supply Installation of - 16A switch socket metal Box | Nos | 0.00 | 9.00 |  | 165
97699 |  | Supply Installation of - 5 15A 5 pin socket | Nos | 0.00 | 15.00 |  | 375
97700 |  | Supply Installation of - 5 15A 5 pin switch | Nos | 0.00 | 15.00 |  | 310
97701 |  | Supply Installation of - 5 15A 3 pin socket | Nos | 0.00 | 10.00 |  | 245
97702 |  | Supply Installation of - Data Socket | Nos | 0.00 | 23.00 |  | 195
97703 |  | Supply Installation of - USB charging Sockets | Nos | 0.00 | 11.00 |  | 165
97704 |  | Supply Installation of - Blank Plate | Nos | 0.00 | 10.00 |  | 130
97705 |  | Supply Installation of - 8 Modular Surface Box | Nos | 0.00 | 5.00 |  | 675
97706 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 390
97707 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 110
97708 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 0.00 | 525.00 |  | 395
97709 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 15.00 |  | 450
97710 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 70.00 |  | 1050
97711 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 0.00 | 4.00 |  | 25
97712 |  | Rubber Mat | Nos | 0.00 | 2.00 |  | 110
97713 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 725.00 |  | 240
97714 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 0.00 | 95.00 |  | 275
97715 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 25.00 |  | 41
97716 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 130.00 |  | 1050
97717 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 96.00 |  | 950
97718 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 18.00 |  | 1950
97719 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 40.00 |  | 1025
97720 |  | Supply and Installation of Ceiling Rose | Nos | 0.00 | 45.00 |  | 75