## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
70931 | 16 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Each | 0.00 | 0.00 |  | 0
70932 |  | Incomer |  | 0.00 | 0.00 |  | 0
70942 |  | 6 32A SP MCB - 18 Nos |  | 0.00 | 0.00 |  | 0
70947 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  | 0.00 | 0.00 |  | 0
70951 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70960 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70958 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70964 |  | Incomer |  | 0.00 | 0.00 |  | 0
70966 |  | Sub Incomer |  | 0.00 | 0.00 |  | 0
70967 |  | 3Nos, DP, 40A, RCBO (30mA). |  | 0.00 | 0.00 |  | 0
70929 | F | Electrical |  | 0.00 | 0.00 |  | 0
70952 |  | TPN DB |  | 0.00 | 0.00 |  | 0
70933 |  | 100A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  | 0.00 | 0.00 |  | 0
70937 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70930 | F.1.0 | VTPN DB |  | 0.00 | 0.00 |  | 0
70959 |  | 6 32A SP MCB - 30 Nos |  | 0.00 | 0.00 |  | 0
70939 |  | Incomer |  | 0.00 | 0.00 |  | 0
70975 |  | 40A FP MCB,10kA - 01 No |  | 0.00 | 0.00 |  | 0
70961 | 8 Way TPN DB - Kitchen Equipment+ Lighting+Power DB | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 8 way (4+ 24 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - | Each | 0.00 | 0.00 |  | 0
70956 |  | Sub Incomer |  | 0.00 | 0.00 |  | 0
70963 |  | 8 Way TPN Double door type DB for Power comprising of following - |  | 0.00 | 0.00 |  | 0
70974 |  | Incomer |  | 0.00 | 0.00 |  | 0
70941 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70971 | 6 way TPN DB | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 6 way (4+ 18 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - | Each | 0.00 | 0.00 |  | 0
70977 |  | 3Nos, DP, 40A, RCBO (30mA). |  | 0.00 | 0.00 |  | 0
70945 | 8 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Each | 0.00 | 0.00 |  | 0
70972 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  | 0.00 | 0.00 |  | 0
70950 |  | 6 32 Amp TP MCB- 4 Nos |  | 0.00 | 0.00 |  | 0
70965 |  | 40A FP MCB,10kA - 01 No |  | 0.00 | 0.00 |  | 0
70976 |  | Sub Incomer |  | 0.00 | 0.00 |  | 0
70935 |  | 6 32A SP MCB - 24 Nos |  | 0.00 | 0.00 |  | 0
70936 |  | 6 32 Amp TP MCB- 8 Nos |  | 0.00 | 0.00 |  | 0
70940 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  | 0.00 | 0.00 |  | 0
70946 |  | Incomer |  | 0.00 | 0.00 |  | 0
70957 |  | 3Nos, DP, 63A, RCBO (30mA). |  | 0.00 | 0.00 |  | 0
70973 |  | 8 Way TPN Double door type DB for Power comprising of following - |  | 0.00 | 0.00 |  | 0
70938 | 12 Way VTPN DB - Kitchen Equipment+ Lighting+Power DB | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Each | 0.00 | 0.00 |  | 0
70934 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70954 |  | Incomer |  | 0.00 | 0.00 |  | 0
70968 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70943 |  | 6 32 Amp TP MCB- 6 Nos |  | 0.00 | 0.00 |  | 0
70944 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70948 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70949 |  | 6 32A SP MCB - 12 Nos |  | 0.00 | 0.00 |  | 0
70953 | 12 Way TPN DB - Kitchen Equipment+ Lighting+Power DB | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. | Each | 0.00 | 0.00 |  | 0
70955 |  | 63A FP, MCB of 10kA - 01 No |  | 0.00 | 0.00 |  | 0
70962 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  | 0.00 | 0.00 |  | 0
70969 |  | 6 32A SP MCB - 18 Nos |  | 0.00 | 0.00 |  | 0
70970 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70978 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70979 |  | 6 32A SP MCB - 12 Nos |  | 0.00 | 0.00 |  | 0
70980 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70981 |  | SPN DB |  | 0.00 | 0.00 |  | 0
70983 |  | Incomer |  | 0.00 | 0.00 |  | 0
70982 | 12 Way SPN DB - UPS DB | 12 Way SPN Double door type DB for Power comprising of following - | Each | 0.00 | 0.00 |  | 0
70984 |  | 32A DP MCB - 01 No |  | 0.00 | 0.00 |  | 0
70986 |  | 6 32A SP MCB - 12 Nos |  | 0.00 | 0.00 |  | 0
70987 |  | 16A SP MCB -05 Nos |  | 0.00 | 0.00 |  | 0
70985 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70988 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70989 | 8 Way SPN DB - UPS DB | 8 Way SPN Double door type DB for Power comprising of following - | Each | 0.00 | 1.00 |  | 9500
70990 |  | Incomer |  | 0.00 | 0.00 |  | 0
70991 |  | 25A DP MCB - 01 No |  | 0.00 | 0.00 |  | 0
70992 |  | Outgoing |  | 0.00 | 0.00 |  | 0
70993 |  | 16A SP MCB - 04 Nos |  | 0.00 | 0.00 |  | 0
70994 |  | 10A SP MCB - 02 Nos |  | 0.00 | 0.00 |  | 0
70995 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
70996 | 6 Way SPN DB - UPS DB | 6 Way SPN Double door type DB for Power comprising of following - | Each | 0.00 | 0.00 |  | 0
70997 |  | Incomer |  | 0.00 | 0.00 |  | 0
70998 |  | 16A DP MCB - 01 No |  | 0.00 | 0.00 |  | 0
70999 |  | Outgoing |  | 0.00 | 0.00 |  | 0
71001 |  | 16A SP MCB - 1 No |  | 0.00 | 0.00 |  | 0
71000 |  | 10A SP MCB - 03 Nos |  | 0.00 | 0.00 |  | 0
71003 | VTPN DB | 12 Way SPN Double door type DB for Power comprising of following - | Each | 0.00 | 1.00 |  | 35000
71002 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
71004 |  | Incomer |  | 0.00 | 0.00 |  | 0
71006 |  | Outgoing |  | 0.00 | 0.00 |  | 0
71008 |  | 16A SP MCB -10 Nos |  | 0.00 | 0.00 |  | 0
71009 |  | With all necessary connections |  | 0.00 | 0.00 |  | 0
71010 |  | Isolators ELCB RCBO SWITCH SOCKETS |  | 0.00 | 0.00 |  | 0
71005 |  | 64A FP MCB - 04 No |  | 0.00 | 0.00 |  | 0
71007 |  | 6 32A SP MCB - 12 Nos |  | 0.00 | 0.00 |  | 0
71011 |  | Supply , installation, testing comissioning of DP isolator of 25 A | Each | 0.00 | 0.00 |  | 0
71012 |  | Supply , installation, testing comissioning of DP isolator of 32 A | Each | 0.00 | 2.00 |  | 1100
71013 |  | Supply , installation, testing comissioning of DP isolator of 40 A | Each | 0.00 | 0.00 |  | 0
71014 |  | Supply , installation, testing comissioning of DP MCB of 25 A | Each | 0.00 | 0.00 |  | 0
71015 |  | Supply , installation, testing comissioning of DP MCB of 32 A | Each | 0.00 | 2.00 |  | 1200
71016 |  | Supply , installation, testing comissioning of DP MCB of 40 A | Each | 0.00 | 1.00 |  | 1300
71017 |  | Supply , installation, testing comissioning of FP ELCB of 25 A, 100mA | Each | 0.00 | 0.00 |  | 0
71018 |  | Supply , installation, testing comissioning of FP ELCB of 40 A, 100mA | Each | 0.00 | 0.00 |  | 0
71019 |  | Supply , installation, testing comissioning of FP RCBO of 63 A, 100mA | Each | 0.00 | 0.00 |  | 0
71021 |  | Supply, Installation, testing comissioning of 32 amp TPN MCB | Each | 0.00 | 0.00 |  | 0
71023 |  | Providing and fixing TPN DP enclosure box for indoor purpose | Each | 0.00 | 0.00 |  | 0
71022 |  | Supply, Installation, testing comissioning of 40 amp TPN MCB | Each | 0.00 | 0.00 |  | 0
71020 |  | Supply, Installation, testing comissioning of 10 amp TPN MCB | Each | 0.00 | 0.00 |  | 0
71024 |  | Providing and fixing TPN DP enclosure box (Wheather Proof) for outdoor purposes | Each | 0.00 | 0.00 |  | 0
71025 |  | Providing and Fixing 16 amp single phase Industrial socket | Each | 0.00 | 0.00 |  | 0
71026 |  | Providing and Fixing 25 amp single phase Industrial socket | Each | 0.00 | 0.00 |  | 0
71027 |  | Providing and Fixing 25 amp three phase Industrial socket | Each | 0.00 | 0.00 |  | 0
71028 |  | ISOLATOR - (BEFORE SERVO STABILIZER) |  | 0.00 | 0.00 |  | 0
71032 | Light Point Wiring Specifications | Point wiring shall include FRLS wire with all necessary MMS PVC CONDUIT , with all fittings , accessories , couplings,collars etc., junction pull inspection boxes, wires, supports,bushings lamp holders, ceiling rose, flexible conduit, fan hooks wher |  | 0.00 | 0.00 |  | 0
71035 |  | Primary (First) light point controlled by a MCB in the DB. | Nos | 0.00 | 4.00 |  | 1100
71037 |  | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per sp | RMT | 0.00 | 8.00 |  | 130
71036 |  | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Nos | 0.00 | 8.00 |  | 1050
71039 |  | Supplying erecting mains with 2x4 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire laid with conduit trunking inside pole Bus bars or any other places. | RMT | 0.00 | 4.00 |  | 150
71042 |  | Primary (First) light point controlled by a MCB in the DB. | Nos. | 0.00 | 0.00 |  | 0
71043 |  | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Nos. | 0.00 | 0.00 |  | 0
71033 | Lighting points with PVC conduit | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MMS PVC conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 s |  | 0.00 | 0.00 |  | 0
71034 |  | Primary (First) light point controlled by a 6A switch. | Nos | 0.00 | 4.00 |  | 1100
71030 |  | 100A FP, 25kA Thermal magneticr based MCCB with LSIG Protection with Box(As per the instruction of the Engineer Inchrge) | Each | 0.00 | 1.00 |  | 8000
71029 |  | 125A FP, 25kA Thermal Magnetic based MCCB with LSIG Protection with Box (As per the instruction of the Engineer Inchrge) | Each | 0.00 | 0.00 |  | 0
71038 |  | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.20 mm dia,including all required accessories,etc as per specification. | RMT | 0.00 | 0.00 |  | 0
71044 |  | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per specifi | Rmtr | 0.00 | 0.00 |  | 0
71041 |  | Primary (First) light point controlled by a 6A switch. | Nos. | 0.00 | 0.00 |  | 0
71047 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in PVC Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheislin |  | 0.00 | 0.00 |  | 0
71046 |  | Power Point wiring |  | 0.00 | 0.00 |  | 0
71052 |  | Additional 6 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) Wire will be paid in R | Nos | 0.00 | 0.00 |  | 0
71040 | Lighting points with MS conduit | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MS conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 sided |  | 0.00 | 0.00 |  | 0
71049 |  | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Nos | 0.00 | 8.00 |  | 600
71050 |  | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | Nos | 0.00 | 2.00 |  | 1200
71045 |  | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.20 mm dia,including all required accessories,etc as per specification. | Rmtr | 0.00 | 0.00 |  | 0
71048 |  | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | Nos | 0.00 | 2.00 |  | 750
71053 |  | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in PVC Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling |  | 0.00 | 0.00 |  | 0
71057 |  | Supply and Laying of Wiring for light power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core wire in surface recessed medium class MMS PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for lo | Rmtr | 0.00 | 112.00 |  | 340
71058 |  | Power Point wiring(MS conduit) |  | 0.00 | 0.00 |  | 0
71059 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in MS Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling |  | 0.00 | 0.00 |  | 0
71060 |  | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | Nos | 0.00 | 0.00 |  | 0
71061 |  | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Nos | 0.00 | 0.00 |  | 0
71063 |  | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Nos | 0.00 | 0.00 |  | 0
71062 |  | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | Nos | 0.00 | 0.00 |  | 0
71031 |  | 6 16 Amp Electrical Top | Each | 0.00 | 5.00 |  | 150
71051 |  | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Nos | 0.00 | 4.00 |  | 1090
71064 |  | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in MS Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling a |  | 0.00 | 0.00 |  | 0
71054 |  | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | Nos | 0.00 | 4.00 |  | 1700
71065 |  | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | Nos | 0.00 | 0.00 |  | 0
71066 |  | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring | Nos | 0.00 | 0.00 |  | 0
71067 | Conduiting | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface recess including cutting the wall floor and making good the same in case of recessed conduit as required. |  | 0.00 | 0.00 |  | 0
71069 |  | 25 mm | Rmtr | 0.00 | 50.00 |  | 65
71068 |  | 20 mm | Rmtr | 0.00 | 50.00 |  | 60
71070 |  | 32 mm | Rmtr | 0.00 | 0.00 |  | 0
71071 |  | 40 mm | Rmtr | 0.00 | 0.00 |  | 0
71055 |  | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring | Nos | 0.00 | 12.00 |  | 1300
71072 |  | 50 mm | Rmtr | 0.00 | 0.00 |  | 0
71075 |  | 25 mm | Rmtr | 0.00 | 0.00 |  | 0
71073 |  | Supplying and fixing of following sizes of MS conduit along with accessories in surface recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. |  | 0.00 | 0.00 |  | 0
71074 |  | 20 mm | Rmtr | 0.00 | 0.00 |  | 0
71076 |  | 32 mm | Rmtr | 0.00 | 0.00 |  | 0
71056 |  | Additional 16 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) . Wire will be paid i | Nos | 0.00 | 0.00 |  | 0
71077 |  | 40 mm | Rmtr | 0.00 | 0.00 |  | 0
71078 |  | 50 mm | Rmtr | 0.00 | 0.00 |  | 0
71079 |  | Supplying erecting MMS PVC flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr | 0.00 | 0.00 |  | 0
71080 |  | Supplying erecting G.I. flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr | 0.00 | 14.00 |  | 70
71082 |  | Supply, Installation, Testing Commissioning of G.I Conduit 32mm dia with necessary accessories in wall floor with chiselling appropriately as per specification. | Rmtr | 0.00 | 0.00 |  | 0
71083 |  | Supply, Installation, Testing Commissioning of G.I conduit 25 mm in dia with necessary accessories in RCC work false ceiling false flooring as per specification | Rmtr | 0.00 | 0.00 |  | 0
71084 |  | LT CABLES TERMINATIONS |  | 0.00 | 0.00 |  | 0
71081 |  | Supplying erecting PVC flexible Conduit 50 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr | 0.00 | 5.00 |  | 45
71085 | SUPPLY AND LAYING OF THE CABLES | Supply, Errecting, Termination Commissioning of following sizes of 1.1 KV grade FRLS Armoured Unarmoured Copper Aluminum conductor cables laid over MS supports cable racks trays or fixing on walls including clamping the cable to supports cable racks or |  | 0.00 | 0.00 |  | 0
71086 |  | 4Cx16 Sq.mm AL Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71087 |  | 4Cx25 Sq.mm AL Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71088 |  | 3Cx2.5 Sqmm Cu. Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71089 |  | 3Cx4 Sqmm Cu. Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71090 |  | 3.5Cx35 Sq.mm AL Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71091 |  | 3.5Cx50 Sq.mm AL Arm. XLPE | Rmtr | 0.00 | 5.00 |  | 740
71093 |  | 3.5Cx95 Sq.mm AL Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71092 |  | 3.5Cx70 Sq.mm AL Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71094 |  | 4Cx2.5 Sq.mm Cu. Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71095 |  | 4Cx4 Sq.mm Cu. Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71096 |  | 4C x 6 sq.mm Cu. Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71097 |  | 4Cx10 Sq.mm Cu. Arm. XLPE | Rmtr | 0.00 | 5.00 |  | 749
71098 |  | 4C x 16 sq.mm Cu. Arm. XLPE | Rmtr | 0.00 | 0.00 |  | 0
71099 | CABLE TERMINATION | Supplying and making indoor Cable end Termination of following sizes 1.1kV grade LT XLPE insulated, HR PVC sheathed, stranded Aluminum copper conductor, Armoured Unarmoured cables as per IS 7098 part-I including cost of tinned copper Aluminium heavy du |  | 0.00 | 0.00 |  | 0
71100 |  | 2 3 3.5 4 CORES AL. CABLE WITH AL. LUGS |  | 0.00 | 0.00 |  | 0
71101 |  | 35 sq.mm. | Jt | 0.00 | 0.00 |  | 0
71102 |  | 50 sq.mm. | Jt | 0.00 | 0.00 |  | 0
71103 |  | 70 sq.mm. | Jt | 0.00 | 0.00 |  | 0
71104 |  | Multicore Flexible Cables 1100 Volt Annealed Bare Electrolytic High, Conductivity Copper Conductor Flexible PVC Type A Insulated PVC ST-1 Sheathed Cables in existing Conduit. Conforming to IS 694 1990 including Making Both End terminations with cop | Rmtr | 0.00 | 0.00 |  | 0
71106 |  | 3C x 4.0mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | Rmtr | 0.00 | 0.00 |  | 0
71107 |  | EARTHING (In absence of D.G.Vendor) |  | 0.00 | 0.00 |  | 0
71105 |  | 3C x 2.5mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | Rmtr | 0.00 | 0.00 |  | 0
71109 |  | Supply Laying of 25mmX3mm CU strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.00 | 0.00 |  | 0
71108 |  | Supply Laying of 25mmX3mm GI strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.00 | 0.00 |  | 0
71110 |  | 25X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.00 | 0.00 |  | 0
71111 |  | 35X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.00 | 0.00 |  | 0
71112 |  | 8 SWG GI Earth Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.00 | 0.00 |  | 0
71113 |  | 8 SWG Cu Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.00 | 0.00 |  | 0
71114 |  | Supply, Installation, Testing Commissioning of long life, Maintenance Free advance chemical Earthing System with 20 year service warranty with 8 feet Vertical Pipe in pipe GI Not less than 1.5” (40mm) ID and not less than 1.5mm wall thickness, 20x | No. s | 0.00 | 0.00 |  | 0
71115 |  | Supply, Installation, testing and commissioning of earth pits comprising 600x600x 3mm thick G.I. electrode plate 25 mm dia medium class watering G.I. pipe, G.I. funnel with 20 gauge GI wire mesh, masonary chamber with concrete base, CI manhole cover with | No. s | 0.00 | 0.00 |  | 0
71116 |  | 4.0 sq.mm. Cu. Flexible cable | Rmtr | 0.00 | 0.00 |  | 0
71117 |  | 6.0 sq.mm. Cu. Flexible cable | Rmtr | 0.00 | 0.00 |  | 0
71118 |  | 10 sq.mm. Cu. Flexible cable | Rmtr | 0.00 | 0.00 |  | 0
71119 | D.G Foundation | Generator bedding incl of floor raising with debris (4 to 6 )with necessary brickwork at all sides with 1 2 4 cement sand metal morter bed as PCC IPS plaster on vertical edges, complete in all respects | Sqft | 0.00 | 0.00 |  | 0
71120 |  | Cable Trays |  | 0.00 | 0.00 |  | 0
71121 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner. Including Paints | Rmtr | 0.00 | 16.00 |  | 800
71123 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71122 | Cable Tray -Non Perforated for Kitchen | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71124 | Cable Tray -Non Perforated for Kitchen | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71125 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71127 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71126 | Cable Tray -Non Perforated for Kitchen | Providing erecting Hot deeped Galvanised Non- Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71128 | Cable Tray -Non Perforated for Kitchen | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.00 | 0.00 |  | 0
71129 | Raceway | Provind and laying of 2MM thick GI factory fabricated raceways in partition of the following sizes including providing removable 3 mm thick GI cover knock our holes and fixing accessories complete required including floor supports, bends, access boxes and |  | 0.00 | 0.00 |  | 0
71131 |  | 150mm wide x 40mm deep | Rmtr | 0.00 | 0.00 |  | 0
71130 |  | 300mm wide x 40mm deep | Rmtr | 0.00 | 0.00 |  | 0
71133 |  | 50mm wide x 40mm deep | Rmtr | 0.00 | 0.00 |  | 0
71132 |  | 100mm wide x 40mm deep | Rmtr | 0.00 | 0.00 |  | 0
71135 |  | Excavation Cheselling under floor for laying cables conduits in wall or floor as per requirement, complete with finishing etc | Sq.Mtr | 0.00 | 21.00 |  | 250
71137 |  | SITC of Digital instant GEYSER ABOVE SINK 3 ltr (Ao Smith or equivalent)instant with required accessories) | No. | 0.00 | 0.00 |  | 0
71134 |  | Electrical Related Civil work |  | 0.00 | 0.00 |  | 0
71139 |  | Music System CONDUITING WIRING FOR TELEPHONE DATA MUSIC AND COMPUTER SYSTEM |  | 0.00 | 0.00 |  | 0
71140 |  | SITC of Sony Music System (DAV DZ - 350) or Equivalent Make 5.1 | no | 0.00 | 0.00 |  | 0
71136 |  | Geyser |  | 0.00 | 0.00 |  | 0
71138 |  | SITC of Storage Geyser (25 ltr) AO smith or equivalent used above 3 way sink with required accessories | No | 0.00 | 1.00 |  | 11500
71141 |  | Wiring to music speakers with 2 pairs 40 0.076 flexible wire (PVC insulator, annealed or surface mounted 20 25 mm PVC conduit as directed (from speaker outlet to music junction box). | Rmtr | 0.00 | 0.00 |  | 0
71142 |  | Two nos. telephone jack outlet in 2 module GI outlet -{Refer Details- Electrical (C) below} | Nos | 0.00 | 0.00 |  | 0
71143 |  | Providing and drawing RG-58 co-axial cable for computer system in existing PVC conduit. | Rmtr | 0.00 | 150.00 |  | 53
71144 |  | Cat-6 Cable for Switch to Camera inlcuding conduit. | Rmtr | 0.00 | 200.00 |  | 52
71145 |  | I O Plate including necessary Jack and connections | Nos | 0.00 | 4.00 |  | 450
71175 |  | VGA cable Including spliter | Rmtr | 0.00 | 0.00 |  | 1600
71177 |  | 150mm x 200 x 40mm (W x H) - (18 SWG - 2 mm) with cover with one partition. | Each | 0.00 | 2.00 |  | 250
71176 | Data Modular Box | Data Modular Box |  | 0.00 | 0.00 |  | 0
71178 |  | 100 x 100 x 40mm deep with cover plate for makeline Slap Table Biometric | Each | 0.00 | 20.00 |  | 200
71180 |  | Supplying and fixing 1.6 mm thick MS junction outlet 450X300X100 mm deep boxes with cover plate | Each | 0.00 | 0.00 |  | 0
71179 |  | 300 x 300 x 100 mm deep boxes with cover plate for Electrical Panel | Each | 0.00 | 5.00 |  | 750