## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
159201 | 1.00 | CPVC pipes Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform |  | 0.00 | 0.00 |  | 0
159202 | a | 20mm dia | rft | 0.00 | 350.00 |  | 320
159203 | b | 25mm dia | rft | 0.00 | 75.00 |  | 380
159204 | c | 32mm dia | rft | 0.00 | 35.00 |  | 430
159205 | 2.00 | CPVC pipes (HOT WATER) Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver |  | 0.00 | 0.00 |  | 0
159206 | a | 20mm dia | rft | 0.00 | 100.00 |  | 340
159207 | b | 25mm dia | rft | 0.00 | 6.00 |  | 410
159208 | 3.00 | Thermal Insulation (HOT WATER) Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin |  | 0.00 | 0.00 |  | 0
159209 | a | 20mm dia | rft | 0.00 | 100.00 |  | 360
159210 | b | 25mm dia | rft | 0.00 | 6.00 |  | 425
159211 | 4.00 | Ball Valves Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. |  | 0.00 | 0.00 |  | 0
159212 | a | 20mm dia | nos | 0.00 | 30.00 |  | 3650
159213 | b | 25mm dia | nos | 0.00 | 3.00 |  | 3850
159214 | c | 32mm dia | nos | 0.00 | 1.00 |  | 4200
159215 | 5.00 | UPVC SWR PIPES Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 OR 8 KG |  | 0.00 | 0.00 |  | 0
159216 | a | 100mm dia | rft | 0.00 | 140.00 |  | 580
159217 | c | 50mm dia | rft | 0.00 | 25.00 |  | 320
159218 | 6.000 | Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in |  | 0.00 | 0.00 |  | 0
159219 | a | 50mm dia | rft | 0.00 | 2.00 |  | 450
159220 | 9.000 | Chamber Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN |  | 0.00 | 0.00 |  | 0
159221 | a | SIZE 12 X 12 | nos | 0.00 | 15.00 |  | 22500
159222 | b | SIZE 12 X 36 | nos | 0.00 | 2.00 |  | 58500
159223 |  | SIZE 12 X 80 | nos | 0.00 | 1.00 |  | 87500
159224 | 13.00 | Bib cock Providing and fixing Bib cock with wall flange | nos | 0.00 | 3.00 |  | 2850
159225 | 14.00 | Stop cock Providing and fixing Stop cock with wall flange | nos | 0.00 | 7.00 |  | 2450
159226 | 15.00 | Angle cock Providing and fixing Angle cock with wall flange | nos | 0.00 | 16.00 |  | 2450
159227 | 16.00 | Providing and supplying 25 litrs geyser with c.p angle cock of hot and cold pvc connection coupper pipes c.p elbows non return valves mounting bolts etc | nos | 0.00 | 2.00 |  | 22500
159228 | 17.00 | Providing and supplying 6 litrs geyser with c.p angle cock of hot and cold pvc connection coupper pipes c.p elbows non return valves mounting bolts etc | nos | 0.00 | 2.00 |  | 16500
159229 | 22.00 | Providing and fixing Sink mixture | nos | 0.00 | 8.00 |  | 5600
159230 | 23.00 | Doing Equipment connection And Insallation (labour charges only) | nos | 0.00 | 2.00 |  | 18000
159231 | 33.00 | Supply ,laying,testing commissing of heavy quility SS Grating of thickness 38MM with MS angle runners including fixing with hold fast applaying three coats of anti corrosive Bitumastic paint etc complete and as directed |  | 0.00 | 0.00 |  | 0
159232 | 24.000 | Providing fixing Sink Drain outlet Connection with valve drain pipe complete with all necessary fittings | nos | 0.00 | 8.00 |  | 5250
159233 | 25.00 | Providing fixing SS MADE Greece Trap MAKE Bombay Iron Works or any approved make. OR CONSTRUCTING THE SAME AS PER DRAWING |  | 0.00 | 0.00 |  | 0
159234 | a | Grease Trap Size 18 X 24 | nos | 0.00 | 1.00 |  | 45000