## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
97626 | Distribution Board | Supply, Installation, Testing and commissioning of 32A 4 Pole 100ma TPN MCB | Nos | 0.00 | 2.00 |  | 56
97627 |  | Supply, Installation, Testing and commissioning of 40A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 60
97628 |  | Supply, Installation, Testing and commissioning of 80A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 28
97629 |  | Supply, Installation, Testing and commissioning of 200A 4 Pole 10KA TPN MCCB | Nos | 0.00 | 1.00 |  | 38
97630 |  | Supply, Installation, Testing and commissioning of 250A 4 Pole 36KA TPN MCCB | Nos | 0.00 | 1.00 |  | 95
97631 |  | Supply, Installation, Testing and commissioning of 25A DP 30mA 10kA RCBO | Nos | 0.00 | 7.00 |  | 135
97632 |  | Supply, Installation, Testing and commissioning of 32A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 70
97633 |  | Supply, Installation, Testing and commissioning of 40A DP 30mA 10kA RCBO | Nos | 0.00 | 1.00 |  | 145
97634 |  | Supply, Installation, Testing and commissioning of 63A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 320
97635 |  | Supply, Installation, Testing and commissioning of 6A 10kA SP MCB | Nos | 0.00 | 7.00 |  | 410
97636 |  | Supply and installation of 20 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 700.00 |  | 700
97637 |  | Supply, Installation, Testing and commissioning of 10A 10kA SP MCB | Nos | 0.00 | 51.00 |  | 1540
97638 |  | Supply, Installation, Testing and commissioning of 16A 10kA SP MCB | Nos | 0.00 | 52.00 |  | 1200
97639 |  | Supply, Installation, Testing and commissioning of 25A 10kA SP MCB | Nos | 0.00 | 10.00 |  | 1790
97640 |  | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 2970
97641 |  | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 3700
97642 |  | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 15500
97643 |  | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 19500
97644 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 0.00 | 4.00 |  | 3150
97645 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 0.00 | 4.00 |  | 3350
97646 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 0.00 | 31.00 |  | 4150
97647 |  | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 4 Nos and One Dol starter provision | Nos | 0.00 | 1.00 |  | 5500
97648 |  | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Nos | 0.00 | 1.00 |  | 300
97649 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Nos | 0.00 | 11.00 |  | 300
97650 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Nos | 0.00 | 12.00 |  | 300
97651 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Nos | 0.00 | 3.00 |  | 300
97652 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Nos | 0.00 | 13.00 |  | 2850
97653 |  | Installtion of LED INDIRECT COVE LIGHT | Mtr | 0.00 | 28.00 |  | 4000
97654 |  | Installtion of DECORATIVE TABLE LAMP | Nos | 0.00 | 4.00 |  | 4880
97655 |  | Supply and installation of 25 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 500.00 |  | 9800
97656 |  | Installtion of DECORATIVE WALL LIGHT type 1 | Nos | 0.00 | 2.00 |  | 5000
97657 |  | Installtion of DECORATIVE WALL LIGHT type 2 | Nos | 0.00 | 12.00 |  | 1950
97658 |  | Installtion of DECORATIVE WALL LIGHT type 3 | Nos | 0.00 | 21.00 |  | 65
97659 |  | Supply and installation of 20 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 145000
97660 |  | Installtion of DECORATIVE HANGING LIGHT | Nos | 0.00 | 7.00 |  | 148000
97661 |  | Installtion of DECORATIVE HANGING CHANDELIER | Nos | 0.00 | 1.00 |  | 75
97662 |  | Supply and installation of 25 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 75
97663 |  | Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 0.00 | 4.00 |  | 200
97664 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 885.00 |  | 200
97665 |  | Fresh Air Motor Connection | Nos | 0.00 | 2.00 |  | 25
97666 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 165.00 |  | 200
97667 |  | Exhaust Motor Connection | Nos | 0.00 | 2.00 |  | 200
97668 |  | Installtion of Air Curtain | Nos | 0.00 | 2.00 |  | 150
97669 |  | Installation of Insect Killer | Nos | 0.00 | 2.00 |  | 150
97670 |  | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 0.00 | 25.00 |  | 200
97671 |  | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 0.00 | 25.00 |  | 2000
97672 |  | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 0.00 | 35.00 |  | 400
97673 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 0.00 | 150.00 |  | 1000
97674 |  | Supply Fixing of Lugs Punching | Nos | 0.00 | 0.00 |  | 1000
97675 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 12.00 |  | 800
97676 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 24.00 |  | 300
97677 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 400
97678 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 850
97679 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 1100
97680 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 0.00 | 3.00 |  | 60
97681 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 0.00 | 6.00 |  | 0
97682 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 18
97683 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 25
97684 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 2.00 |  | 46
97685 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 0.00 | 12.00 |  | 50
97686 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 0.00 | 24.00 |  | 170
97687 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 240
97688 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 255
97689 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 4.00 |  | 260
97690 |  | Supply Fixing 5 A Top | Nos | 0.00 | 5.00 |  | 265
97691 |  | Supply Fixing 15 A Top | Nos | 0.00 | 15.00 |  | 260
97692 |  | Supply Installation of - 10 Modular plate with box | Nos | 0.00 | 4.00 |  | 155
97693 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 0.00 | 11.00 |  | 185
97694 |  | Supply Installation of - 6 Modular plate with box | Nos | 0.00 | 5.00 |  | 235
97695 |  | Supply Installation of - 4 Modular plate with box | Nos | 0.00 | 28.00 |  | 238
97696 |  | Supply Installation of - 3 Modular plate with box | Nos | 0.00 | 11.00 |  | 405
97697 |  | Supply Installation of - 2 Modular plate with box | Nos | 0.00 | 5.00 |  | 100
97698 |  | Supply Installation of - 16A switch socket metal Box | Nos | 0.00 | 9.00 |  | 150
97699 |  | Supply Installation of - 5 15A 5 pin socket | Nos | 0.00 | 15.00 |  | 395
97700 |  | Supply Installation of - 5 15A 5 pin switch | Nos | 0.00 | 15.00 |  | 305
97701 |  | Supply Installation of - 5 15A 3 pin socket | Nos | 0.00 | 10.00 |  | 270
97702 |  | Supply Installation of - Data Socket | Nos | 0.00 | 23.00 |  | 220
97703 |  | Supply Installation of - USB charging Sockets | Nos | 0.00 | 11.00 |  | 195
97704 |  | Supply Installation of - Blank Plate | Nos | 0.00 | 10.00 |  | 163
97705 |  | Supply Installation of - 8 Modular Surface Box | Nos | 0.00 | 5.00 |  | 290
97706 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 175
97707 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 115
97708 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 0.00 | 525.00 |  | 135
97709 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 15.00 |  | 650
97710 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 70.00 |  | 1850
97711 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 0.00 | 4.00 |  | 35
97712 |  | Rubber Mat | Nos | 0.00 | 2.00 |  | 98
97713 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 725.00 |  | 375
97714 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 0.00 | 95.00 |  | 650
97715 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 25.00 |  | 60
97716 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 130.00 |  | 1050
97717 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 96.00 |  | 700
97718 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 18.00 |  | 1800
97719 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 40.00 |  | 1500
97720 |  | Supply and Installation of Ceiling Rose | Nos | 0.00 | 45.00 |  | 25