## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
132959 | 1 | Installation of Main Panel and DBs at location as per layout (As per attached GA Specs) supplied by client |  | 0.00 | 0.00 |  | 0
132960 | A | PIZZA HUT | Nos | 0.00 | 1.00 |  | 0
132961 | 2.01 | Supply,Installation,Testing Commissioing of single Three phase UPS with 20minute battery back-up online systems with 2 nos DP MCB in weather proof enclosures. 3KVA -single phase input and single phase output ups with 25A DP MCB and 25A DP MCB on input and output of ups. 6KVA - single phase input and single phase output ups with 40A DP MCB and 40A DP MCB on input and output of ups. |  | 0.00 | 0.00 |  | 0
132962 |  | 6 KVA Floor Mounted | Nos | 0.00 | 1.00 |  | 0