## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
129536 | 1 | Providing, Laying, Jointing Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C Heavy Pipe with necessary support anchore fastening from slab. |  | 0.00 | 0.00 |  | 0
129537 | a. | 25 mm dia | Rft. | 0.00 | 25.00 |  | 0
129538 | b. | 32 mm dia | Rft. | 0.00 | 8.00 |  | 0
129539 | c. | 40 mm dia | Rft. | 0.00 | 20.00 |  | 0
129540 | d. | 50 mm dia | Rft. | 0.00 | 0.00 |  | 0
129541 | e. | 65mm dia | Rft. | 0.00 | 15.00 |  | 0
129542 | 2 | Synthetic Enamel Paint. |  | 0.00 | 0.00 |  | 0
129543 | a. | 25 mm dia | Rft. | 0.00 | 25.00 |  | 0
129544 | b. | 32 mm dia | Rft. | 0.00 | 8.00 |  | 0
129545 | c. | 40 mm dia | Rft. | 0.00 | 20.00 |  | 0
129546 | e. | 65mm dia | Rft. | 0.00 | 15.00 |  | 0
129547 | 3 | Providing Fixing of Butterfly Valve. |  | 0.00 | 0.00 |  | 0
129548 | b. | 80 mm dia | No. | 0.00 | 1.00 |  | 0
129549 | 4 | Providing Fixing of Ball Valve. |  | 0.00 | 0.00 |  | 0
129550 | f. | 80 mm dia | No. | 0.00 | 1.00 |  | 0
129551 | 5 | HEADER FITTING. |  | 0.00 | 0.00 |  | 0
129552 | a. | Flow Switch | No. | 0.00 | 1.00 |  | 0
129553 | b | Pressure Gauge | No. | 0.00 | 1.00 |  | 0
129554 | c | Air Release Valve | No. | 0.00 | 1.00 |  | 0
129555 | d | 80 mm dia NRV | No. | 0.00 | 1.00 |  | 0
129556 | 7 | Providing Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved for high temperature area in Kitchen temprating shall be 79degre |  | 0.00 | 0.00 |  | 0
129557 | a. | Pendant Type | No. | 0.00 | 12.00 |  | 0
129558 | b. | UP Right Type | No. | 0.00 | 0.00 |  | 0
129559 | 8 | Flexible Sprinkler Drop. |  | 0.00 | 0.00 |  | 0
129560 | a. | 25mm | No. | 0.00 | 12.00 |  | 0
129561 | 9 | Drain Valve | No. | 0.00 | 1.00 |  | 0