## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
70852 |  | 20mm nominal bore for sink+ gyser+ RO+ Basin+papsi machine | RMT | 0.00 | 34.00 |  | 330
70853 |  | 25mm nominal bore for main water supply | RMT | 0.00 | 34.00 |  | 420
70881 |  | 50 MM nominal bore | RMT | 0.00 | 0.00 |  | 0
70886 |  | 40mm class 1.0 | Nos | 0.00 | 0.00 |  | 0
70890 |  | 25 mm nominal bore | Nos | 0.00 | 0.00 |  | 0
70850 |  | Providing fixing on walls ceiling floors, medium grade having embossed ISI Mark CPVC pipes of diameter as mentioned below with fittings i.e.connector, clamps, tees, elbows, reducers, male-female etc. necessary fittings. (Supreme Prince Astral or as approved. ) |  | 0.00 | 0.00 |  | 550
70851 |  | 15mm nominal bore | RMT | 0.00 | 0.00 |  | 0
70857 |  | 15mm nominal bore | Nos. | 0.00 | 0.00 |  | 0
70882 |  | Providing, Fixing, testing and commissioning of ISI marked Gun Metal Screwed pattern full way Gate valve with wheel tested to non shock cold working pressure upto 10 kg sq cm(Stop Valve) conforming to IS 778 class 1 including jointing, supporting etc complete and as directed.(Danfoss Jayhiwa Zoloto or equivalent) |  | 0.00 | 0.00 |  | 0
70884 |  | 25mm class 1.0 | Nos | 0.00 | 3.00 |  | 1375
70891 |  | 32 mm nominal bore | Nos | 0.00 | 0.00 |  | 0
70885 |  | 32mm class 1.0 | Nos | 0.00 | 2.00 |  | 1695
70849 | E.1.0 | INTERNAL WATER SUPPLY SYSTEM |  | 0.00 | 0.00 |  | 750
70855 |  | 40mm nominal bore | RMT | 0.00 | 4.00 |  | 610
70888 |  | Providing Fixing 15 mm C.P brass angle valve with C.P copper connecting pipe 375 mm long and nuts washer and C.P brass flange complete ,including cutting and making good the walls where required | Nos | 0.00 | 0.00 |  | 0
70863 |  | 40mm nominal bore | Nos. | 0.00 | 0.00 |  | 0
70893 |  | INTERNAL DRAINAGE SYSTEM |  | 0.00 | 0.00 |  | 0
70894 |  | Providing and fixing UPVC SOIL VENT WASTE SWR pipe of required diameter conforming to I.S.-13592, and I.S.-4985 to withstand continous internal hydroulic pressure of 4 kg cm2 including necessary fixtures and fittings, such as bends, tees,Clean out plugs (for the downtakes near bends). single junctions, double junctions and joining with rubber rings and lubricants, on wall by means of clips or in ground including necessary excavation, laying refilling, trench testing etc. complete. (Prior approval of sample and brand by Ex.Engineer is necessary before use.) (Supreme Prince Astral or as approved. ) |  | 0.00 | 0.00 |  | 0
70887 |  | 50 mm class 1.0 | Nos | 0.00 | 0.00 |  | 0
70897 |  | 50 mm dia. | m | 0.00 | 0.00 |  | 0
70854 |  | 32mm nominal bore | RMT | 0.00 | 1.00 |  | 530
70901 |  | 150 mm dia. | m | 0.00 | 0.00 |  | 0
70856 |  | Providing fixing of ISI Mark CPVC ball valves of followig dia pipes as mentioned below (Make - supreme prince astral or as approved) |  | 0.00 | 0.00 |  | 0
70858 |  | 20mm nominal bore for sink+ gyser+ RO+ Basin+papsi machine | Nos. | 0.00 | 0.00 |  | 0
70861 |  | 32mm nominal bore | Nos. | 0.00 | 0.00 |  | 0
70866 |  | 25MM nominal bore | RMT | 0.00 | 0.00 |  | 0
70904 |  | SITC RO Water booster pump 0.5 HP Auto Cut Type , mounting with rubber pad nut bolt (Make Crompton Grundfoss,Danfoss ,Kirloskar or equivalent) |  | 0.00 | 0.00 |  | 0
70883 |  | 20mm class 1.0 | Nos | 0.00 | 3.00 |  | 1250
70899 |  | 75 mm dia. | m | 0.00 | 16.00 |  | 405
70906 |  | Providing and fixing of PVC water storage tanks of the approved quality, including making solid work complete in all respects with gate valve and necessary accessiories(Sintex or equivalent make ) | Ltr | 0.00 | 0.00 |  | 0
70895 |  | 32 mm dia | m | 0.00 | 0.00 |  | 0
70900 |  | 110 mm dia. | m | 0.00 | 16.00 |  | 460
70903 |  | SITC RO Water booster pump upto 1 HP Auto Cut Type , mounting with rubber pad nut bolt (Make Crompton Grundfoss,Danfoss ,Kirloskar or equivalent) | Nos. | 0.00 | 0.00 |  | 0
70859 |  | 25mm nominal bore for main water supply | Nos. | 0.00 | 0.00 |  | 0
70864 |  | Providing fixing on walls ceiling floors,C class G I C class pipe of diameter as mentioned below with screwed sockets, joints necessary. (Supreme Prince Astral or as approved. ) |  | 0.00 | 0.00 |  | 0
70889 |  | Providing and fixing brass ball balve with SS 304 stem and ball,teflon seat complete. |  | 0.00 | 0.00 |  | 0
70908 |  | Constructing brick masonry manhole with 1st class bricks in cement mortar 1 5(1 cement 5 fine sand) RCC top slab with 1 2 4 mix (1 cement 2coarse sand 4graded stone aggregate 20mm nominal size) foundation concrete 1 4 8 mix (1 cement 4 coarse sand 8 graded stone aggregate 40mm nominal size) inside and out side plastering 12mm thick with cement mortar 1 3(1 cement 3 coarse sand) finished with a floating coat of neat cement inside and rough plaster on outside and making channels in cement concrete 1 2 4 mix(1 cement 2 coarse sand 4 graded stone aggregate 20mm nominal size) neatly finished complete as per standard design including excavation refilling and disposal of surplus earth.Inside size 80X80 cms and 60 cms deep including C.I cover with frame (light duty) 455 x 610 mm internal dimensions total weight of cover and frame not less than 38 kg(wt. Of cover 23 kg and wt.of frame15kg). | Each | 0.00 | 0.00 |  | 0
70892 |  | 40 mm nominal bore | Nos | 0.00 | 0.00 |  | 0
70896 |  | 40 mm dia | m | 0.00 | 11.00 |  | 310
70898 |  | 65mm dia | m | 0.00 | 0.00 |  | 0
70911 |  | Providing Fixing following fixtures, the rate for the following shall be inclusive of all necessary fixtures, accessories attachments to make them operational, etc. complete to the satisfaction of the Architect COST EXCLUDES INTERNAL CONCEALED PLUMBING WITH C.P.V.C. P.V.C. PIPES ONLY (part of plumbing boq) |  | 0.00 | 0.00 |  | 0
70912 | WC (Details - Refer Toilet Specs.) | Hindware - Enigma or equivalent- wall mounted closet with Quiet-Close seat and cover (Catalogue no. 92024, Colour - Star white) | No. | 0.00 | 0.00 |  | 0
70902 |  | Providing ,laying, testing commissioning of approved Multi floor trap Nahani trap with Chilly trap of required sizes, including jointing etc. complete and as directed. (GMGR Chilly or equivalent) | Nos. | 0.00 | 0.00 |  | 0
70905 |  | Providing and fixing of PVC water vertical type storage tanks of the approved quality, including making solid work complete in all respects with gate valve, float valve and necessary accessiories .(Sintex or equivalent make of Capacity - 200-250 ltrs) | Nos | 0.00 | 0.00 |  | 0
70913 | Cocealed Cistern with flush plate | Hindware or equivalent- Conceale Cistern (Concealo) and Face Plate (Concealo - Shell) Flushing cistern can be identify from Vendor according to WC. | No. | 0.00 | 0.00 |  | 0
70907 |  | EXTERNAL SEWERAGE |  | 0.00 | 0.00 |  | 0
70915 | Wash Basin | Hindware table top wash basin Fornte white 91043 or equivalent | No. | 0.00 | 0.00 |  | 0
70909 |  | Gt (18 x18 ) with 1 st Class brick in cement mortar 1 5 (1 cement 5 cement) m.s grating with pcc SS Cover, 18 x 18 inside size complete and inside chamber base finish in PCC and brick surface to be finished with tile | Each | 0.00 | 0.00 |  | 0
70916 | Toilet accessories | Toilet paper holder with cover - Hindware - (Catalogue no. F880003) or equivalent | No. | 0.00 | 0.00 |  | 0
70910 |  | Sanitarywares Fittings |  | 0.00 | 0.00 |  | 0
70914 | Wash Basin (Details - Refer Toilet Specs.) | Hindware Magma -1719 Artistic Basin-510X360X120 wall hung (white) or equivalent. | No. | 0.00 | 0.00 |  | 0
70918 | Tissue Dispenser | Dolphy Multifold Stainless Steel Towel Paper Dispenser | No. | 0.00 | 1.00 |  | 2775
70917 | Soap Dispenser Wash Basin (Details - Refer Toilet Specs.) | Dolphy White ABS Wall Mounted 400 ml Liquid Soap Dispenser Dolphy – DSDR 0065 which is manual not automatic. But the alternative specs are mentioned for Automatic.- will use current only of Dolphy censor one will be use for flagship stores only. | No. | 0.00 | 0.00 |  | 0
70919 | Pillar Cock for Wash Basin | Hindware - Quadra Pillar cock - (Catalogue no. F380001CP, Finish - Chrome) or equivalent | No. | 0.00 | 1.00 |  | 2500
70921 | Jet Spray (Health Faucet) (Details - Refer Toilet Specs.) | Hindware-Health Faucet F 160013 CP ABS With Rubbit Cleaning System | No. | 0.00 | 0.00 |  | 0
70924 | 40 mm Dia Pipe | 40 mm CPVC Dia Pipe for 3 way sink for all inclusive fittings | Each | 0.00 | 1.00 |  | 7500
70923 | Sink Mixer For 3 way Sink | Providing and fixing C.P brass wall mounted sink mixer with swinging spout including cutting and making good the walls where required. (3 way Sink ) | Each | 0.00 | 1.00 |  | 5500
70925 | Kitchen Paper Holder | SS Kitchen Paper Holder 9 (Make Hindware chrome F840008CP or equivalent) | Each | 0.00 | 1.00 |  | 1500
70926 | Waste Coupling | Waste Coupling for 3Way sink and Makeline sink | No. | 0.00 | 1.00 |  | 5500
70927 | Waste Flexible Pipe | PVC Waste flexible Pipe of 1.0m length and 25 mm dia (make SBD Shineman etc) | No. | 0.00 | 0.00 |  | 0
70928 | Conceal Coak | Conceal coak for makeline sink (Make- Hindware F310003ACP OR equivalent) Regular Body Suitable for 15mm Pipe Line with Spindle Extension Plastic Protection Cap (without Exposed Parts) OR equivalent | NO. | 0.00 | 1.00 |  | 2100
70920 | Bib cock | Hindware -Quadra which is actually “Quadra Bib Cock 2 in 1 with wall flange” or equivalent | No. | 0.00 | 1.00 |  | 2420
70922 | Bottle Trap | Hindware-Addons - Bottle Trap 32mm With 125mm 175mm Long Wall Connection Pipe Wall Flange (ECONOMY MODEL) | No. | 0.00 | 1.00 |  | 3200