## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
141224 |  | Fabrication |  | 0.00 | 0.00 |  | 0
141225 |  | MS Stand for cold room and AC outdoor unit size 4x6x2 Ft | Nos | 0.00 | 4.00 |  | 13550.00
141226 |  | Manager Room M. S frame lifting station with ply and cladded with SS 304 - 2.5x1.6x2 Ft | Nos | 0.00 | 1.00 |  | 18750.00
141227 |  | Entry lifting station with ply and SS palte - 0.5x0.75x0.6m | Nos | 0.00 | 1.00 |  | 14590.00
141228 |  | S.S Pole hanging from Ceiling | RFT | 0.00 | 9.00 |  | 2200.00
141229 |  | Front Counter M.S Frame Work - 6X1.5M | SQM | 0.00 | 9.00 |  | 850.00
141230 |  | Microwave Oven Self with MS Stand - 2X1.5fT | SQF | 0.00 | 3.00 |  | 1450.00
141231 |  | Electrical |  | 0.00 | 0.00 |  | 0
141232 |  | 2 Pole MCB 32A With Box | Nos | 0.00 | 4.00 |  | 3600.00
141233 |  | 63A RCBO 4 Pole | Nos | 0.00 | 1.00 |  | 6250.00
141234 |  | 16 A Switch Board 3 module | Nos | 0.00 | 1.00 |  | 1150.00
141235 |  | Gang Box 16 A Switch Board 6 module | Nos | 0.00 | 3.00 |  | 2275.00
141236 |  | Rubber Mat 1.1 KV ( Supply plus Installation ) - 2x1 Mtr | Nos | 0.00 | 1.00 |  | 3850.00
141237 |  | Main LT Panel ( As per Site Requirement plus SLD) ) | Nos | 0.00 | 1.00 |  | 298756.00
141238 |  | Plumbing |  | 0.00 | 0.00 |  | 0
141239 |  | Supply and installation sink mixer ( Supply plus Installation ) | Nos | 0.00 | 3.00 |  | 3385.00
141240 |  | Supply accessories laying of sink ( Supply plus Installation ) | Nos | 0.00 | 1.00 |  | 2475.00
141241 |  | MOP sink tap and RO Tap ( Supply plus Installation ) | Nos | 0.00 | 1.00 |  | 7890.00
141242 |  | Mop sink connection complete ( Supply plus Installation ) | Nos | 0.00 | 1.00 |  | 1975.00
141243 |  | 3 sink grease trap installation ( Installation ) | Nos | 0.00 | 3.00 |  | 8750.00
141244 |  | Chamber ( Supply plus Installation ) - 300x300mm | Nos | 0.00 | 1.00 |  | 5578.00
141245 |  | S. S Grating ( Supply plus Installation ) - 300x300mm | Set | 0.00 | 2.00 |  | 2598.00
141246 |  | R.O Stand above ceiling with ms pipe with Ply base ( Supply plus Installation ) - 4x4 ft | Set | 0.00 | 1.00 |  | 15000.00
141247 |  | RO Tank plus Pressure Tank ( Supply plus Installation ) | Set | 0.00 | 1.00 |  | 93575.00
141248 |  | Finishes |  | 0.00 | 0.00 |  | 0
141249 |  | S.S Profile near counter entrance | RFT | 0.00 | 7.00 |  | 450.00
141250 |  | TV Stand With MS Framing plus Ply - 1.25x8.5 ft | SQF | 0.00 | 11.00 |  | 1500.00
141251 |  | L- Shape gypsum Ceiling | SQF | 0.00 | 120.00 |  | 550.00
141252 |  | Supply and installation kota stone floor cold room - 2.6x1.9 Mtr | SQF | 0.00 | 53.15 |  | 450.00
141253 |  | Supply and installation kota stone skirting 100mm H cold room | Mtr | 0.00 | 8.40 |  | 225.00
141254 |  | Supply and installation SS sheet packing for above hood 100mm H | RFT | 0.00 | 22.00 |  | 450.00
141255 |  | Ply panelling side counter - 1.25x1.35 Mtr | SQF | 0.00 | 18.16 |  | 380.00
141256 |  | Fire Sprinkler |  | 0.00 | 0.00 |  | 0
141257 |  | Supply and installation sprinkler with accessories and re-work of existing sprinkler | Nos | 0.00 | 6.00 |  | 8759.00
141258 |  | Supply and installation Site of sprinkler rossettle plate | Nos | 0.00 | 6.00 |  | 1125.00
141259 |  | Supply and installation Site of UL listed approved corrugeted sheet SS 304 | Nos | 0.00 | 6.00 |  | 3325.00
141260 |  | Façade |  | 0.00 | 0.00 |  | 0
141261 |  | Supply and installation corian for counter façade drop | Rmt | 0.00 | 8.00 |  | 5250.00`
141262 |  | Supply and installation ms structure façade - 8x1.4 mtr | SQF | 0.00 | 120.51 |  | 875
141263 |  | 12 mm toughned Glass | SQF | 0.00 | 22.31 |  | 845
141264 |  | Mis |  | 0.00 | 0.00 |  | 0
141265 |  | Ply with laminate panelling over DB panel | SQF | 0.00 | 11.30 |  | 650
141266 |  | Hood MS pipe support for hanging | Nos | 0.00 | 1.00 |  | 7500
141267 |  | Self and SS overhead cabinate fixing - 3 Mtr | Set | 0.00 | 1.00 |  | 5500
141268 |  | Mop Hanger | Nos | 0.00 | 1.00 |  | 1500
141269 |  | Supply and installation anti scratch tap | Nos | 0.00 | 1.00 |  | 1250
141270 |  | Supply and installation wall boxing for ac | Nos | 0.00 | 4.00 |  | 2700
141271 |  | Supply and installation chain 1.5 mtr | Nos | 0.00 | 2.00 |  | 1250
141272 |  | Supply and installation panelling above cold room - 10x16 | SQF | 0.00 | 160.00 |  | 450
141273 |  | Supply and installation corian above counter - 2x5 | SQF | 0.00 | 10.00 |  | 2150
141274 |  | Supply and installation SS support for Gas meter | Nos | 0.00 | 1.00 |  | 3600
141275 |  | Supply and Installation pvc strip for microwave oven - 20x7 FT | SQF | 0.00 | 140.00 |  | 325
141276 |  | Equipment installation | Nos | 0.00 | 1.00 |  | 22500
141277 |  | Supply and installation soup dispenser | Nos | 0.00 | 1.00 |  | 7500
141278 |  | Tissue paper holder | Nos | 0.00 | 1.00 |  | 1500
141279 |  | Supply and installation Keyboard | Nos | 0.00 | 2.00 |  | 2750
141280 |  | HVAC |  | 0.00 | 0.00 |  | 0
141281 |  | Supply Installation, Testing and Commissioning of Split AC 1.8 TR - Daikin | Nos | 0.00 | 3.00 |  | 55789
141282 |  | Supply Installation, Testing and Commissioning of Split AC 1.5 TR - Daikin | Nos | 0.00 | 1.00 |  | 43587
141283 |  | 6.4 mm OD Soft Copper ( Insulation-9 mm ) | RM | 0.00 | 14.00 |  | 625
141284 |  | 9.5 mm OD Soft Copper ( Insulation-9 mm ) | RM | 0.00 | 52.00 |  | 785
141285 |  | 12.7 mm OD Soft Copper ( Insulation-9 mm | RM | 0.00 | 14.00 |  | 985
141286 |  | 15.9 mm OD Soft Copper ( Insulation- 9 mm ) | RM | 0.00 | 52.00 |  | 1185
141287 |  | Cable 4 Core 2.5 Sqmm | RM | 0.00 | 80.00 |  | 345