## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
163093 | A | CONVENTIONAL FIRE DETECTION SYSTEM |  | 0.00 | 0.00 |  | 0
163094 | a. | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall | Mts. | 0.00 | 35.00 |  | 310
163095 | d. | Supply Installation of Heat Detector with base (ADDRESABLE) | Nos | 0.00 | 2.00 |  | 8500
163096 | e. | Supply Installation of Manual Breakglass Unit (ADDRESABLE) | No | 0.00 | 1.00 |  | 9500
163097 | f. | Supply Installation of Hooter (ADDRESABLE) | No | 0.00 | 1.00 |  | 15500
163098 | h. | Supply Installation of 8 Zone Fire Alarm Panel with Auto Dialing Facility (ADDRESABLE) | No. | 0.00 | 1.00 |  | 325000