## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
102812 | Distribution Board | Supply, Installation, Testing and commissioning of 32A 4 Pole 100ma TPN MCB | Nos | 0.00 | 2.00 |  | 60
102813 |  | Supply, Installation, Testing and commissioning of 40A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 80
102814 |  | Supply, Installation, Testing and commissioning of 80A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 25
102815 |  | Supply, Installation, Testing and commissioning of 200A 4 Pole 10KA TPN MCCB | Nos | 0.00 | 1.00 |  | 45
102816 |  | Supply, Installation, Testing and commissioning of 250A 4 Pole 36KA TPN MCCB | Nos | 0.00 | 1.00 |  | 105
102817 |  | Supply, Installation, Testing and commissioning of 25A DP 30mA 10kA RCBO | Nos | 0.00 | 7.00 |  | 145
102818 |  | Supply, Installation, Testing and commissioning of 32A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 81
102819 |  | Supply, Installation, Testing and commissioning of 40A DP 30mA 10kA RCBO | Nos | 0.00 | 1.00 |  | 155
102820 |  | Supply, Installation, Testing and commissioning of 63A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 315
102821 |  | Supply, Installation, Testing and commissioning of 6A 10kA SP MCB | Nos | 0.00 | 7.00 |  | 425
102822 |  | Supply and installation of 20 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 700.00 |  | 625
102823 |  | Supply, Installation, Testing and commissioning of 10A 10kA SP MCB | Nos | 0.00 | 51.00 |  | 1850
102824 |  | Supply, Installation, Testing and commissioning of 16A 10kA SP MCB | Nos | 0.00 | 52.00 |  | 1150
102825 |  | Supply, Installation, Testing and commissioning of 25A 10kA SP MCB | Nos | 0.00 | 10.00 |  | 2150
102826 |  | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 2150
102827 |  | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 2680
102828 |  | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 0
102829 |  | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 0
102830 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 0.00 | 4.00 |  | 3200
102831 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 0.00 | 4.00 |  | 3500
102832 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 0.00 | 31.00 |  | 4700
102833 |  | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 4 Nos and One Dol starter provision | Nos | 0.00 | 1.00 |  | 5600
102834 |  | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Nos | 0.00 | 1.00 |  | 275
102835 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Nos | 0.00 | 11.00 |  | 275
102836 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Nos | 0.00 | 12.00 |  | 275
102837 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Nos | 0.00 | 3.00 |  | 275
102838 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Nos | 0.00 | 13.00 |  | 4500
102839 |  | Installtion of LED INDIRECT COVE LIGHT | Mtr | 0.00 | 28.00 |  | 8500
102840 |  | Installtion of DECORATIVE TABLE LAMP | Nos | 0.00 | 4.00 |  | 10500
102841 |  | Supply and installation of 25 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 500.00 |  | 12500
102842 |  | Installtion of DECORATIVE WALL LIGHT type 1 | Nos | 0.00 | 2.00 |  | 6500
102843 |  | Installtion of DECORATIVE WALL LIGHT type 2 | Nos | 0.00 | 12.00 |  | 1750
102844 |  | Installtion of DECORATIVE WALL LIGHT type 3 | Nos | 0.00 | 21.00 |  | 95
102845 |  | Supply and installation of 20 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 155000
102846 |  | Installtion of DECORATIVE HANGING LIGHT | Nos | 0.00 | 7.00 |  | 165000
102847 |  | Installtion of DECORATIVE HANGING CHANDELIER | Nos | 0.00 | 1.00 |  | 150
102848 |  | Supply and installation of 25 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 150
102849 |  | Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 0.00 | 4.00 |  | 150
102850 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 885.00 |  | 150
102851 |  | Fresh Air Motor Connection | Nos | 0.00 | 2.00 |  | 150
102852 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 165.00 |  | 150
102853 |  | Exhaust Motor Connection | Nos | 0.00 | 2.00 |  | 150
102854 |  | Installtion of Air Curtain | Nos | 0.00 | 2.00 |  | 150
102855 |  | Installation of Insect Killer | Nos | 0.00 | 2.00 |  | 150
102856 |  | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 0.00 | 25.00 |  | 150
102857 |  | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 0.00 | 25.00 |  | 500
102858 |  | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 0.00 | 35.00 |  | 150
102859 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 0.00 | 150.00 |  | 500
102860 |  | Supply Fixing of Lugs Punching | Nos | 0.00 | 0.00 |  | 500
102861 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 12.00 |  | 500
102862 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 24.00 |  | 500
102863 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 400
102864 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 700
102865 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 900
102866 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 0.00 | 3.00 |  | 45
102867 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 0.00 | 6.00 |  | 0
102868 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 25
102869 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 25
102870 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 2.00 |  | 35
102871 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 0.00 | 12.00 |  | 45
102872 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 0.00 | 24.00 |  | 145
102873 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 200
102874 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 200
102875 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 4.00 |  | 250
102876 |  | Supply Fixing 5 A Top | Nos | 0.00 | 5.00 |  | 300
102877 |  | Supply Fixing 15 A Top | Nos | 0.00 | 15.00 |  | 450
102878 |  | Supply Installation of - 10 Modular plate with box | Nos | 0.00 | 4.00 |  | 300
102879 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 0.00 | 11.00 |  | 300
102880 |  | Supply Installation of - 6 Modular plate with box | Nos | 0.00 | 5.00 |  | 350
102881 |  | Supply Installation of - 4 Modular plate with box | Nos | 0.00 | 28.00 |  | 400
102882 |  | Supply Installation of - 3 Modular plate with box | Nos | 0.00 | 11.00 |  | 550
102883 |  | Supply Installation of - 2 Modular plate with box | Nos | 0.00 | 5.00 |  | 75
102884 |  | Supply Installation of - 16A switch socket metal Box | Nos | 0.00 | 9.00 |  | 100
102885 |  | Supply Installation of - 5 15A 5 pin socket | Nos | 0.00 | 15.00 |  | 525
102886 |  | Supply Installation of - 5 15A 5 pin switch | Nos | 0.00 | 15.00 |  | 475
102887 |  | Supply Installation of - 5 15A 3 pin socket | Nos | 0.00 | 10.00 |  | 425
102888 |  | Supply Installation of - Data Socket | Nos | 0.00 | 23.00 |  | 325
102889 |  | Supply Installation of - USB charging Sockets | Nos | 0.00 | 11.00 |  | 300
102890 |  | Supply Installation of - Blank Plate | Nos | 0.00 | 10.00 |  | 275
102891 |  | Supply Installation of - 8 Modular Surface Box | Nos | 0.00 | 5.00 |  | 575
102892 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 300
102893 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 300
102894 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 0.00 | 525.00 |  | 300
102895 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 15.00 |  | 550
102896 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 70.00 |  | 850
102897 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 0.00 | 4.00 |  | 75
102898 |  | Rubber Mat | Nos | 0.00 | 2.00 |  | 250
102899 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 725.00 |  | 500
102900 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 0.00 | 95.00 |  | 750
102901 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 25.00 |  | 65
102902 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 130.00 |  | 1000
102903 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 96.00 |  | 600
102904 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 18.00 |  | 2500
102905 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 40.00 |  | 2500
102906 |  | Supply and Installation of Ceiling Rose | Nos | 0.00 | 45.00 |  | 75