## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
128691 |  | DUCTING G.I. Sheet Metal Ducting - Factory Fabricated Installation, Testing and Commissioning of factory fabricated GSS sheet metal rectangular ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required |  | 0.00 | 0.00 |  | 0
128692 |  | 0.50 MM (26 Gauge) | Sqm. | 0.00 | 40.00 |  | 0
128693 |  | 0.63 MM (24 Gauge) | Sqm. | 0.00 | 50.00 |  | 0
128694 |  | 0.80 MM (22 Gauge) | Sqm. | 0.00 | 10.00 |  | 0
128695 |  | G.I. Sheet Metal Ducting - Site Fabricated - Installation, Testing and Commissioning of site fabricated GSS sheet metal rectangular ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. |  | 0.00 | 0.00 |  | 0
128696 |  | 0.63 MM (24 Gauge) | Sqm. | 0.00 | 10.00 |  | 0
128697 |  | 0.80 MM (22 Gauge) | Sqm. | 0.00 | 5.00 |  | 0
128698 |  | INSULATION Nitrile Rubber Insulation- Class O Supplying and fixing of closed cell elastomeric insulation of density 55 kg or cu.m.and K valueof not less than 0.037W or mk at 20 deg C as per specifications and drawings (For indoor applications) with factory Laminated 7 mill woven glass cloth |  | 0.00 | 0.00 |  | 0
128699 |  | 19 mm thick (Fresh Air Ducts) | Sqm. | 0.00 | 25.00 |  | 0
128700 |  | 25 mm thick (Exhaust Air ducts) | Sqm. | 0.00 | 55.00 |  | 0
128701 |  | DUCT ACCESSORIES |  | 0.00 | 0.00 |  | 0
128702 |  | Supply, Installation, Testing and Commissioning of GI multiblade volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc., as per specifications. | Sqm. | 0.00 | 1.00 |  | 0
128703 |  | Supply, Installation, Testing and Commissioning and fixing of powder coated extruded aluminium Supply or Exhaust Air Grills with damper as per specifications | Sq.m | 0.00 | 0.60 |  | 0
128704 |  | Supply, Installation, Testing and Commissioning of Exhaust Air Opening damper complete with suitable links, lever and quadrants for manual control of airflow and with suitable links , lever and quadrants for manual control of airflow and neoprene rubber gaskets, nuts, bolts, screws, flanges etc., as per specifications | Sqm | 0.00 | 1.00 |  | 0
128705 |  | Canvas - Supply and Installation of double skin fire retardant canvas connection for AHU Fan Section , Exhaust Units , Ductable Units etc. | Sqm. | 0.00 | 6.00 |  | 0