## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
173470 | 1.0 | DISTRIBUTION BOARD |  | 0.00 | 0.00 |  | 0
173471 | 1.2 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, inter- connections, powder painted including earthing etc. as required. (But without MCB RCCB Isolator) Make Legrand Schneider Hager ABB |  | 0.00 | 0.00 |  | 0
173472 | a | 6 way , Double door | Each | 0.00 | 1.00 |  | 5000
173473 | 1.4 | Supplying and fixing 5 A to 32 A rating, 240 415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB |  | 0.00 | 0.00 |  | 0
173474 | a | Single pole | Each | 0.00 | 4.00 |  | 230
173475 | 1.6 | Supplying and fixing following rating, Four pole, (three phase and neutral), 230 V, Residual Current Breaker with Over-Current (RCBO), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make Legrand Schneider Hager ABB |  | 0.00 | 0.00 |  | 0
173476 | a | 25A 2P RCBO | Each | 0.00 | 1.00 |  | 1180
173477 | 3 | WIRING SYSTEM (Internal wiring) |  | 0.00 | 0.00 |  | 0
173478 | 3.1 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. |  | 0.00 | 0.00 |  | 0
173479 | a | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | Metre | 0.00 | 5.00 |  | 280
173480 | 3.2 | Wiring for light point fan point exhaust fan point call bell point with 2x1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1x1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. |  | 0.00 | 0.00 |  | 0
173481 | a | Point Wiring | No | 0.00 | 3.00 |  | 600
173482 |  | POWER POINTS |  | 0.00 | 0.00 |  | 0
173483 | 3.3 | Wiring for circuit submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface recessed steel conduit as required. |  | 0.00 | 0.00 |  | 0
173484 | a | 2 X 4 sq. mm + 1 X 2.5 sq. mm earth wire (for Power circuit loop-in-out) | Metre | 0.00 | 20.00 |  | 250
173485 | 3.4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 13 6 amps modular universal socket outlet and 13 6 amps modular switch, connection etc. as required. | Each | 0.00 | 4.00 |  | 500
173486 | 3.6 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing Cat6A modular socket, connection etc. as required. (for data telephone) | Each | 0.00 | 3.00 |  | 600
173487 | Lights | Supply of Lights Sides and front edges to be finished with Corean - Acrylic surface with Cove light with LED profile light with collarless aluminum profile as per design and drawings. | rft | 0.00 | 14.00 |  | 350