## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
104214 | Distribution Board | Supply, Installation, Testing and commissioning of 32A 4 Pole 100ma TPN MCB | Nos | 0.00 | 2.00 |  | 1265
104215 |  | Supply, Installation, Testing and commissioning of 40A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 1921
104216 |  | Supply, Installation, Testing and commissioning of 80A 4 Pole 100ma TPN MCB | Nos | 0.00 | 1.00 |  | 6000
104217 |  | Supply, Installation, Testing and commissioning of 200A 4 Pole 10KA TPN MCCB | Nos | 0.00 | 1.00 |  | 18125
104218 |  | Supply, Installation, Testing and commissioning of 250A 4 Pole 36KA TPN MCCB | Nos | 0.00 | 1.00 |  | 19500
104219 |  | Supply, Installation, Testing and commissioning of 25A DP 30mA 10kA RCBO | Nos | 0.00 | 7.00 |  | 2610
104220 |  | Supply, Installation, Testing and commissioning of 32A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 2790
104221 |  | Supply, Installation, Testing and commissioning of 40A DP 30mA 10kA RCBO | Nos | 0.00 | 1.00 |  | 3100
104222 |  | Supply, Installation, Testing and commissioning of 63A DP 30mA 10kA RCBO | Nos | 0.00 | 3.00 |  | 3325
104223 |  | Supply, Installation, Testing and commissioning of 6A 10kA SP MCB | Nos | 0.00 | 7.00 |  | 185
104224 |  | Supply and installation of 20 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 700.00 |  | 52
104225 |  | Supply, Installation, Testing and commissioning of 10A 10kA SP MCB | Nos | 0.00 | 51.00 |  | 185
104226 |  | Supply, Installation, Testing and commissioning of 16A 10kA SP MCB | Nos | 0.00 | 52.00 |  | 185
104227 |  | Supply, Installation, Testing and commissioning of 25A 10kA SP MCB | Nos | 0.00 | 10.00 |  | 185
104228 |  | Supply Installation testing commission of following 16 way SPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 4150
104229 |  | Supply Installation testing commission of following 6 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 4950
104230 |  | Supply Installation testing commission of following 8 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 2.00 |  | 5100
104231 |  | Supply Installation testing commission of following 16 way TPN DB Box Fixing with Proper Cable Tie and Lugs Fixing | Nos | 0.00 | 1.00 |  | 8575
104232 |  | Supply and installation connection testing and commissioning of following 3 Face 5 TPN 32 A Socket, With Box and 3 Face Top,32A 4pole TPN MCB complete fixing | Nos | 0.00 | 4.00 |  | 3480
104233 |  | Supply and installation testing commission of following single phase 20A metal cladded socket and MCB with top and box | Nos | 0.00 | 4.00 |  | 1950
104234 |  | Supply and installation testing commission of following 6 16A switch and socket Cannector Stip | Nos | 0.00 | 31.00 |  | 555
104235 |  | Supply and installation testing commission of following L T make VFD PANEL suitable motors (FOR KITCHEN EXHAUST FRESH AIR BLOWER) 5 HP VFD - 4 Nos and One Dol starter provision | Nos | 0.00 | 1.00 |  | 132000
104236 |  | Main LT Panel - Supply Installation Testing Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | Nos | 0.00 | 1.00 |  | 95000
104237 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 1 | Nos | 0.00 | 11.00 |  | 130
104238 |  | Installtion of SPOT LIGHT ( CONCEAL LIGHT ) type 2 | Nos | 0.00 | 12.00 |  | 130
104239 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 3000K | Nos | 0.00 | 3.00 |  | 275
104240 |  | Installtion of 2 X 2 CEILING MOUNT PANEL LIGHT- 6000K | Nos | 0.00 | 13.00 |  | 275
104241 |  | Installtion of LED INDIRECT COVE LIGHT | Mtr | 0.00 | 28.00 |  | 25
104242 |  | Installtion of DECORATIVE TABLE LAMP | Nos | 0.00 | 4.00 |  | 200
104243 |  | Supply and installation of 25 mm PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 500.00 |  | 55
104244 |  | Installtion of DECORATIVE WALL LIGHT type 1 | Nos | 0.00 | 2.00 |  | 200
104245 |  | Installtion of DECORATIVE WALL LIGHT type 2 | Nos | 0.00 | 12.00 |  | 230
104246 |  | Installtion of DECORATIVE WALL LIGHT type 3 | Nos | 0.00 | 21.00 |  | 230
104247 |  | Supply and installation of 20 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 22
104248 |  | Installtion of DECORATIVE HANGING LIGHT | Nos | 0.00 | 7.00 |  | 330
104249 |  | Installtion of DECORATIVE HANGING CHANDELIER | Nos | 0.00 | 1.00 |  | 380
104250 |  | Supply and installation of 25 mm Flexible PVC Conduit including Chasing and Refilling the Trench As per the Rout Shown in the drawing and approved by Consultant at site including clamping and closing the Open Pipe and Temporarily by suitable And Covers Against Entry of Dust or any Other Foreign Materials. | Mtr | 0.00 | 70.00 |  | 24
104251 |  | Installtion of TUBELIGHT (Legnth - 1200mm) (Supply Installation) | Nos | 0.00 | 4.00 |  | 550
104252 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 2.5 sqmm,1 x 1.5 FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 885.00 |  | 99
104253 |  | Fresh Air Motor Connection | Nos | 0.00 | 2.00 |  | 950
104254 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 2 x 4 sqmm,1 x 2.5 sq.mm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 165.00 |  | 139
104255 |  | Exhaust Motor Connection | Nos | 0.00 | 2.00 |  | 850
104256 |  | Installtion of Air Curtain | Nos | 0.00 | 2.00 |  | 450
104257 |  | Installation of Insect Killer | Nos | 0.00 | 2.00 |  | 400
104258 |  | Supply and fixing of 75mm x 75mm Casing Box | Mtr | 0.00 | 25.00 |  | 285
104259 |  | Supply and fixing of 100mm x 100mm Casing Box | Mtr | 0.00 | 25.00 |  | 350
104260 |  | Supply and fixing of 150mm x 150mm Casing Box | Mtr | 0.00 | 35.00 |  | 450
104261 |  | Installation connection testing and commission of following 2 Core Flexible WIRE Copper Conductor PVC insulated Wires Pulled Through Heavy Gauge Laid Concealed over False Ceiling Orin Wall Chases for Speaker And SubWoofer. (Within Existing conduit) - Music System | Mtr | 0.00 | 150.00 |  | 20
104262 |  | Supply Fixing of Lugs Punching | Nos | 0.00 | 0.00
104263 |  | Supply Fixing of - 4 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 12.00 |  | 16
104264 |  | Supply Fixing of - 6 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 24.00 |  | 31
104265 |  | Supply Fixing of - 10 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 40
104266 |  | Supply Fixing of - 16 sq.mm Pin Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 42
104267 |  | Supply Fixing of - 120 sq.mm Ring Type Lugs (Alluminium) | Nos | 0.00 | 8.00 |  | 135
104268 |  | Supply Fixing of - 4 sq.mm x 4 core Glands | Nos | 0.00 | 3.00 |  | 425
104269 |  | Supply Fixing of - 6 sq.mm x 4 core Glands | Nos | 0.00 | 6.00 |  | 525
104270 |  | Supply Fixing of - 10 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 525
104271 |  | Supply Fixing of - 16 sq.mm x 4 core Glands | Nos | 0.00 | 2.00 |  | 525
104272 |  | Supply Fixing of - 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 2.00 |  | 660
104273 |  | Supply and punching of double compression gland of 4 sq.mm x 4 core Glands | Nos | 0.00 | 12.00 |  | 425
104274 |  | Supply and punching of double compression gland of 6 sq.mm x 4 core Glands | Nos | 0.00 | 24.00 |  | 425
104275 |  | Supply and punching of double compression gland of 10 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 525
104276 |  | Supply and punching of double compression gland of 16 sq.mm x 4 core Glands | Nos | 0.00 | 8.00 |  | 525
104277 |  | Supply and punching of double compression gland of 50 sq.mm x 3.5 core Glands | Nos | 0.00 | 4.00 |  | 660
104278 |  | Supply Fixing 5 A Top | Nos | 0.00 | 5.00 |  | 85
104279 |  | Supply Fixing 15 A Top | Nos | 0.00 | 15.00 |  | 165
104280 |  | Supply Installation of - 10 Modular plate with box | Nos | 0.00 | 4.00 |  | 375
104281 |  | Supply Installation of - 8 Modular plate (Horizontal) with box | Nos | 0.00 | 11.00 |  | 305
104282 |  | Supply Installation of - 6 Modular plate with box | Nos | 0.00 | 5.00 |  | 235
104283 |  | Supply Installation of - 4 Modular plate with box | Nos | 0.00 | 28.00 |  | 195
104284 |  | Supply Installation of - 3 Modular plate with box | Nos | 0.00 | 11.00 |  | 165
104285 |  | Supply Installation of - 2 Modular plate with box | Nos | 0.00 | 5.00 |  | 130
104286 |  | Supply Installation of - 16A switch socket metal Box | Nos | 0.00 | 9.00 |  | 675
104287 |  | Supply Installation of - 5 15A 5 pin socket | Nos | 0.00 | 15.00 |  | 390
104288 |  | Supply Installation of - 5 15A 5 pin switch | Nos | 0.00 | 15.00 |  | 110
104289 |  | Supply Installation of - 5 15A 3 pin socket | Nos | 0.00 | 10.00 |  | 395
104290 |  | Supply Installation of - Data Socket | Nos | 0.00 | 23.00 |  | 315
104291 |  | Supply Installation of - USB charging Sockets | Nos | 0.00 | 11.00 |  | 950
104292 |  | Supply Installation of - Blank Plate | Nos | 0.00 | 10.00 |  | 25
104293 |  | Supply Installation of - 8 Modular Surface Box | Nos | 0.00 | 5.00 |  | 110
104294 |  | Supply and installation of 100mm x 100 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 240
104295 |  | Supply and installation of 150mm x 150 mm Junction Box with SS Cover plate | Nos | 0.00 | 2.00 |  | 275
104296 |  | Supply and Installation connection Testing and commissioning of following Cat 6 Data Cable Wire (Data Voice) | Mtr | 0.00 | 525.00 |  | 39
104297 |  | Supply fixing of 300mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 15.00 |  | 750
104298 |  | Supply fixing of 150mm x 50mm x 2mm thick perforated cable tray. | Mtr | 0.00 | 70.00 |  | 550
104299 |  | Supply and installation testing commission of following 1 no.of 4way weather proof box fixing for outdoor unit cable lugs proper fixing | Nos | 0.00 | 4.00 |  | 1850
104300 |  | Rubber Mat | Nos | 0.00 | 2.00 |  | 650
104301 | Light ,Power & Point Circuit Wiring | Supply and installation of concealed wiring using 3 X1.5 sqmm FRLS Copper Conductor PVC Insulated wires (with proper R.Y.B. Colour Code)Laid Concealed Over false Ceiling or in wall chases Proper Fixing | Mtr | 0.00 | 725.00 |  | 79
104302 |  | Supply and installation connection of G.I 25mm x 6mm Earthing Patti | Mtr | 0.00 | 95.00 |  | 105
104303 |  | 4 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 25.00 |  | 295
104304 |  | 6 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 130.00 |  | 364
104305 |  | 10 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 96.00 |  | 575
104306 |  | 25 sq.mm x 4 core Copper Armoured Cable - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 18.00 |  | 955
104307 |  | 120 sq.mm x 3.5 coreXLPE INSULATED ALUMINIUM ARMORED CABLE - Supply and Installation Connection of 1100 V Grade Armoud Cable Having Sector Circular Shaped Aluminium Copper Conductor PVC insulated Cores, Laid Up, PVC Tape Wrapped Inner Sheathed, GI Strip Wire Armoured And Over All Extruded PVC Sheathed Confirming To IS 1554, Laid On Wall) Ceiling Using GI Clamps And Spacer As Per Route Shown At Site And Further As Directed By Consultant At Site in the following size. | Mtr | 0.00 | 40.00 |  | 650
104308 |  | Supply and Installation of Ceiling Rose | Nos | 0.00 | 45.00 |  | 50