## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
166012 | 11 | FIRE DETECTION ALARM SYSTEM (FAS) |  | 0.00 | 0.00 |  | 0
166013 | 11.01 | SITC of FRLS 2C x 1.5sq. mm 1100V copper conducter, PVC insulated and shielded, Armoured and overall PVC sheathed cable for Fire Alarm System. Cable shall be cleated to wall. (Red BLACK colour) | Rmt | 0.00 | 180.00 | As Per Drawings - 122 Rmt Considered Scope Includes Checking of Existing Laid Cable and Properly aligned , Rectified and Re Installed as per Drawings | 0
166014 | 11.03 | ADDRESSABLE SYSTEM |  | 0.00 | 0.00 |  | 0
166015 | a | SITC of addressable Smoke Detector | Nos | 0.00 | 8.00 |  | 0
166016 | b | SITC of addressable Heat Detector with base | Nos | 0.00 | 2.00 |  | 0
166017 | c | SITC of addressable Manual Break-Glass Unit | Nos | 0.00 | 2.00 |  | 0
166018 | d | SITC of addressable Hooter | Nos | 0.00 | 1.00 |  | 0
166019 | e | SITC of 1 loop Fire Alarm Panel. | Nos | 0.00 | 1.00 |  | 0
166020 | f | SITC of Control Module | Nos | 0.00 | 1.00 | Control Module 1 Nos and Monitor Module -2 Nos | 0
166021 | g | SITC of Fault Isolator Module | Nos | 0.00 | 1.00 |  | 0