## PriceBidservice
SubItemUniqueCode | ItemCode | ItemName | UOM | Rate | Quantity | Remarks | SupplierRate
160859 | 1 | EXHAUST AIR BLOWER Supply,Installation,testing commissioning of the following Centrifugal Blower would be used to supply Exhaust Air into the Kitchen, Fan to have Backward inclined Blades, Impeller Should be statically and Dynamically Balanced, Motor to have Squirrel cage, to operate on 3Phase 50Hz AC supply, TEFC Class F Insulation, IE2 Type Motor - Crompton Siemens Make, Fan would be supplied with Anti Vibration Pads (Approved make - APC) Air quantity Static 6800 CFM 65 mm (Note -Contractor should check actual ducting length of exhaust system before ordering the exhaust fan any disturbance kindly noted to consultant) | Nos | 0.00 | 1.00 |  | 0
160860 | 2 | FRESH AIR BLOWER Supply,Installation,testing commissioning of the following Centrifugal Blower would be used to supply Fresh Air into the Kitchen, Fan to have Backward inclined Blades, Impeller Should be statically and Dynamically Balanced, Motor to have Squirrel cage, to operate on 3Phase 50Hz AC supply, TEFC Class F Insulation, IE2 Type Motor - Crompton Siemens Make, Fan would be supplied with Anti Vibration Pads (Approved make - APC) Air quantity Static 5540 CFM 50 mm | Nos | 0.00 | 1.00 |  | 0