## PriceBid
SEQUENCEID | ITEMCODE | ITEMNAME | UOMCODE | QUANTITY | Currency | HSNCode | ItemBidStatus | UnitPrice | DiscountPer | GSTPer
1 |  | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | NOS | 2.000 | INR | 9984 | Bidding | 10500 | 0.00 | 18
2 |  | 16 amps 4P MCB with 25A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make | NOS | 3.000 | INR | 9984 | Bidding | 10350 | 0.00 | 18
3 |  | 16A Rey roll socket complete with 16 amps SPMCB with 3 pin metal clad socket - Legrand make - kitchen power | NOS | 2.000 | INR | 9984 | Bidding | 10400 | 0.00 | 18
4 |  | CABLES ACCESSORIES Supply installation of following LT XLPE FRLS cables rated for 600 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with | NOS | 1.000 | INR | 9984 | Bidding | 11200 | 0.00 | 18
5 |  | 4C x 16 Sq. mm A2XFY | MTR | 60.000 | INR | 9984 | Bidding | 775 | 0.00 | 18
6 |  | WIRING ACCESSORIES Supply, installation, testing commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant | NOS | 10.000 | INR | 9984 | Bidding | 1450 | 0.00 | 18
7 |  | 16A 5pin switch socket outlet | NOS | 20.000 | INR | 9984 | Bidding | 775 | 0.00 | 18
8 |  | 32A industrial BOX with MCB and Soket | NOS | 20.000 | INR | 9984 | Bidding | 4650 | 0.00 | 18
9 |  | LIGHTING FITTINGS INSTALLATION 2ft x 2ft Led downlighter recessed mounted with wiring | NOS | 15.000 | INR | 9984 | Bidding | 2985 | 0.00 | 18
10 |  | Supply and fixing 2 X 2 CELING exhaust fan with wiring | NOS | 6.000 | INR | 9984 | Bidding | 5355 | 0.00 | 18
11 |  | Supply and fixing hanging light with wiring for main facade area | NOS | 4.000 | INR | 9984 | Bidding | 1255 | 0.00 | 18
12 |  | Supply and fixing spot light with wiring in black colour | NOS | 70.000 | INR | 9984 | Bidding | 1850 | 0.00 | 18
13 |  | Supply and fixing 2 celling mounted spot light with wiring | NOS | 30.000 | INR | 9984 | Bidding | 1765 | 0.00 | 18
14 |  | Supply and fixing wall light as per approved sample with wiring | NOS | 16.000 | INR | 9984 | Bidding | 1455 | 0.00 | 18
15 |  | Led strip light | MTR | 100.000 | INR | 9984 | Bidding | 185 | 0.00 | 18
16 |  | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible FRLS wire in already laid FRLS GI conduit concealed or surface mounted making connections where ever required to complete the installation. | NOS | 1.000 | INR | 9984 | Bidding | 6950 | 0.00 | 18
17 |  | 2R x 2.5Sqmm + 1R x 2.5Sqmm Cu. Wires | MTR | 500.000 | INR | 9984 | Bidding | 390 | 0.00 | 18
18 |  | 2R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | MTR | 500.000 | INR | 9984 | Bidding | 415 | 0.00 | 18
19 |  | 4R x 4Sqmm + 1R x 2.5Sqmm Cu. Wires | MTR | 300.000 | INR | 9984 | Bidding | 428 | 0.00 | 18
20 |  | 4R x 6Sqmm + 1R x 2.5Sqmm Cu. Wires | MTR | 200.000 | INR | 9984 | Bidding | 495 | 0.00 | 18
21 |  | Supply & installation of 25 mm dia. GI conduit with pull box junction box & all accessories for Lighting & Power wiring as per the requirement | NOS | 1.000 | INR | 9984 | Bidding | 4250 | 0.00 | 18
22 |  | - do - but conduit pipe shall be Rigid type. | MTR | 200.000 | INR | 9984 | Bidding | 195 | 0.00 | 18
23 |  | - do - but flexible conduit pipe | MTR | 100.000 | INR | 9984 | Bidding | 155 | 0.00 | 18
24 |  | CCTV Cabling Change work - supply and laying cat-6 wire 350 miter for camera | RM | 350.000 | INR | 9984 | Bidding | 68 | 0.00 | 18
25 |  | Light Fitting Supply and fixing with connection of hanging light as per approved sample (as per design) | NOS | 3.000 | INR | 9984 | Bidding | 1550 | 0.00 | 18